2012 Load Impact Evaluation of San Diego Gas & Electric’s Peak Time Rebate Program

CALMAC Study ID ######

for

San Diego Gas & Electric

Steven D. Braithwait, 
Daniel G. Hansen, and
Marlies Hilbrink

April 1, 2013

Table of Contents

Executive Summary	1

Project Objectives	1

Analysis Approach	1

Key Study Findings	2

1.	Introduction and Key Issues	5

1.1 Project Goals	5

1.2 Roadmap to report	6

2. Resources Covered in the Study	6

2.1 Program features	6

2.2 PTR events in 2012	7

2.3 Participant characteristics	7

2.4 Observed loads on selected event days and non-event days	10

3. Analysis Methods	18

3.1 Sample design	19

3.2 Level of analysis	19

3.3 Estimating Ex Post Load Impacts	20

4. Study Findings – Ex Post Load Impacts	21

4.1 Summary load impacts	21

4.2 Program-level load impacts and confidence intervals	29

4.3 Estimated hourly load impacts	30

4.4 Customer-level load impacts	31

5. CRL Settlement and Baseline Analysis	37

5.1 Introduction	37

5.2 Methodology	37

5.3 CRL settlement and baseline analysis results	39

5.4 Summary of CRL Baseline Analysis	45

6. SDEC conservation effects	46

6.1 Analysis Approach	46

6.2 Comparison of Treatment and Control Usage Profiles in 2011 and 2012	47

6.3 SDEC Conservation Impacts	49

7. Ex Ante Evaluation	53

7.1 Ex Ante Load Impact Requirements	53

7.2 Description of Methods	53

7.3 Enrollment Forecasts	56

7.4 Reference Loads and Load Impacts	57

8. Conclusions and recommendations	60

Appendix A. Model Selection and Validity Assessment	62

A.1 Model Specification Tests	62

List of Tables

Table ES–1: Estimated PTR Usage Impacts by Major Customer Group	3

Table 2–1: PTR Event Days	7

Table 2–2: PTR Subgroup Populations and Sample Sizes	8

Table 2–3: SDEC PTR Participants	9

Table 2–4: Type of Notifications Requested by SDEC PTR Participants	9

Table 2–5: Characteristics of the Opt-in Alert Sample	10

Table 2–6: Sample Characteristics of the Remaining Population	10

Table 4–1: Estimated Per-Customer and Aggregate PTR Usage Reductions – SDEC Participants	23

Table 4–2: Estimated Per-Customer and Aggregate PTR Usage Reductions – Non-SDEC Opt-in Alert	25

Table 4–3: Per-Customer and Aggregate PTR Usage Reductions –  All Opt-in Alert, including Summer Saver and SDEC	26

Table 4–4: Estimated PTR Usage Impacts by Major Customer Group	27

Table 4–5: Estimated PTR Usage Impacts by Usage Level and Low Income –  SDEC and Opt-in Alert	28

Table 4–6: Effect of Awareness on Estimated PTR Usage Reductions	29

Table 4–7: Overall PTR Usage Reductions and Confidence Intervals –  Opt-in Alert and Non-Alert Population	30

Table 4–8: Fractions of Significant Customer-Level Usage Reductions and Increases –  Opt-in Alert and Non-Alert Population	31

Table 5–1: PTR Usage Impacts by Reducers and Increasers	40

Table 5–2: Average PTR Usage Impacts by Customer Type	40

Table 5–3: Overall CRL Baseline Performance, by Event Type and Day Type	41

Table 5–4: Overall CRL Baseline Performance, by Event	43

Table 6–1: Difference in Differences Estimate of SDEC Conservation Effect –  Average Hourly Consumption (August and September)	50

Table 6–2: Basic Fixed Effects Model Estimate of SDEC Conservation Effect	51

Table 6–3: Daily Fixed Effects Models of SDEC Conservation Effect	52

Table 6–1: Descriptions of Terms included in the Ex Ante Regression Equation	55

Table 7–1: PTR Enrollment Forecast	57

Table A–1: Weather Variables Included in the Tested Specifications	63

Table A–2: List of Event-Like Non-Event Days by Event Day Type	64

Table A–3: Specification Test Results for the “Winning” Model	65

Table A–4: Synthetic Event-Day Tests by Customer Group, Population Customers	71

Table A–5: Synthetic Event-Day Tests by Customer Group, Alert Customers	71

List of Figures

Figure 2–1: Observed Average Customer Loads for August 9 and 10 Event Days  Coastal; SDEC Alert Only	11

Figure 2–2: Observed Average Customer Loads for August 9 and 10 Event Days  Coastal; Opt-in Alert	12

Figure 2–3: Observed Average Customer Loads for August 9 and 10 Event Days  Inland; SDEC Alert Only	13

Figure 2–4: Observed Average Customer Loads for August 9 and 10 Event Days  Inland; Opt-in Alert	14

Figure 2–5: Observed Average Customer Loads for September 15 Event;  Inland; SDEC Alert Only and Opt-in Alert	15

Figure 2–6: Observed Average Customer Loads – July 20 Event Inland; Opt-in Alert and Population	16

Figure 2–7: Observed Average Customer Loads – August 9 & 10 Events Inland; Opt-in Alert and Population	17

Figure 2–8: Observed Average Customer Loads – September 15 Event Inland; Alert and Population	18

Figure 4–1: Estimated PTR Usage Reductions for SDEC Participants Average Hourly Load Impacts (kWh), by Customer Group & Event	24

Figure 4–2: Hourly Estimated Reference Load, Observed Load, and Estimated Load Impacts –  Opt-in Alert; Average Event	30

Figure 4–3: Fractions of Significant Customer-Level Usage Reductions and Increases –  Opt-in Alert and Non-Alert Population	32

Figure 4–4: Average Load Profiles for Responders on Events and Event-like Days –  Opt-in Alert; Coastal and Inland	33

Figure 4–5: Average Load Profiles for Non-Responders on Events and Event-like Days –  Opt-in Alert; Coastal and Inland	34

Figure 4–6: Average Load Profiles for All Opt-in Alert Customers on Events and Event-like Days –  Coastal and Inland	35

Figure 4–7: Average Load Profiles for Responders on Events and Event-like Days –  Non-Alert Population; Coastal and Inland	36

Figure 5–1: Overall CRL Baseline Performance, by Event Type and Day Type	42

Figure 5–2: Percentiles of CRL Baseline Errors, by Event Type and Day Type	42

Figure 5–3: Overall CRL Baseline Performance by Event	44

Figure 5–4: Percentiles of CRL Baseline Errors, by Event	45

Figure 6–1: Average Daily Load Profiles of SDEC and Control Group Customers –   August–September 2011	48

Figure 6–2: Average Daily Load Profiles of SDEC and Control Group Customers –   August–September 2012	49

Figure 7–1: PTR Opt-in Alert Reference Load and Load Impacts –  (August Peak Day; 2015; 1-in-2 Weather Scenario; Portfolio-level)	58

Figure 7–2: PTR Opt-in Alert Reference Load and Load Impacts –  (August Peak Day; 2015; 1-in-2 Weather Scenario; Program-level)	58

Figure 7–3: PTR Average Event-Hour Load Impacts for August of Each Forecast Year, by Program/Portfolio Level and Weather Scenario (Opt-in Alert Customers)	59

Figure 7–4: Opt-in Alert PTR Portfolio-Level Average Event-Hour Load Impacts:   by Monthly Peak Day (2015; 1-in-2 Weather Scenario)	60

Figure A–1: Average Event-Hour Load Impacts by Specification: Population, Coastal, Medium Use	66

Figure A–2: Average Event-Hour Load Impacts by Specification, Population, Coastal, High Use	66

Figure A–3: Average Event-Hour Load Impacts by Specification, Population, Inland, Med. Use	67

Figure A–4: Average Event-Hour Load Impacts by Specification, Population, Inland, High Use	67

Figure A–5: Average Event-Hour Load Impacts by Specification, Opt-in Alert, Coastal, Med. Use	68

Figure A–6: Average Event-Hour Load Impacts by Specification, Opt-in Alert, Coastal, High Use	69

Figure A–7: Average Event-Hour Load Impacts by Specification, Opt-in Alert, Inland, Med. Use	69

Figure A–8: Average Event-Hour Load Impacts by Specification, Opt-in Alert, Inland, High Use	70

# Executive Summary

This report documents the ex post and ex ante load impact evaluations of San Diego Gas & Electric’s (SDG&E) 2012 Peak Time Rebate (PTR) program. In 2012, all SDG&E residential customers were automatically enrolled in PTR. SDG&E arranged for day-ahead public announcements (e.g., through radio and TV news, and weather features) of PTR events (which are also referred to as “Reduce your Use” days), and all customers have the opportunity to earn bill credits for usage reductions during event hours. Customers are also encouraged to sign up to receive electronic notification, or alerts, of events through email or text messages (or both).

The impact evaluation also includes an analysis of a subset of customers located in the City of San Diego who enrolled in the San Diego Energy Challenge (SDEC). The SDEC is a separate effort within the PTR (Reduce Your Use) program that involves a competition among middle schools in the San Diego Unified School District, in which schools earn entries into a sweepstakes for every percentage point of their school population that signs up.

## Project Objectives

The primary goals of the project are to estimate ex post and ex ante load impacts, or usage reductions, associated with the overall PTR program and with SDEC in particular. In addition, the ex post evaluation is required to estimate event-day usage reductions for a range of subgroups of PTR participants, such as by climate zone, and by customers who requested electronic notification of events, and to evaluate the effect of SDEC participation on customers’ overall average summer energy usage (i.e., conservation). The ex post evaluation also includes an analysis of the performance of the program’s customer-specific reference level (CRL), which is used in settlement to estimate customers’ usage reductions during event hours for purposes of calculating bill credits.

## Analysis Approach

The evaluation approach involved first designing and selecting samples of customers from two populations of SDG&E residential customers – the approximately 41,000 customers who opted to receive electronic notification, or alerts of PTR events, and the approximately one million non-Summer Saver customers, other than SDEC and alert customers, who did not receive electronic event notification. Customer-level regression equations were then estimated using hourly load data for all of about 4,500 SDEC participants, 650 customers with installed In-Home Display (IHD) or Programmable Communicating Thermostat (PCT) devices, and samples of 17,000 opt-in alert customers, and 35,000 customers in the remaining population. These equations resulted in estimates of hourly load impacts for each analyzed customer, for each of the seven PTR events called in 2012. Results from the estimated equations were then tabulated and summarized to provide program impacts for the various requested categories of customers.

## Key Study Findings

The key overall finding from this study is that the average SDG&E customer who opted to receive electronic notification, or alerts, of PTR events succeeded in reducing their electricity usage during event periods by relatively small but statistically significant amounts of approximately 0.06 kWh per hour, and 5 to 8 percent of their reference load. These opt-in alert customers include about 850 SDEC customers (the remaining SDEC customers received email notification through the program by default), and 41,000 customers from the general population. The average customer in the remaining population of more than 1 million did not appear to reduce usage by any significant amount. In fact, most estimates indicated increases in usage (not statistically significant), likely due to unknown factors such as potentially greater weather-sensitive usage on event days than could be explained by the regression models.

Table ES–1 summarizes PTR usage impact results for the average event for each of the major relevant SDG&E customer sub-groups, differentiated by climate zone. The first three rows in each panel show usage impacts for: 1) SDEC participants; 2) those customers opting to receive PTR alerts; and 3) those with IHD/PCT devices. Overall, those three groups reduced usage on average during PTR events by 2.2, 5.0, and 2.7 percent respectively, relative to their reference loads. The PTR usage impacts for the Summer Saver participants who opted to receive PTR alerts are shown in the last line of the “All” results, since those results were not reported by climate zone.

The remaining population of non-opt-in alert customers is divided approximately evenly between those who registered for My Account and those that did not. Little difference was found between these groups, and the average estimated load impacts for both imply usage increases during PTR events. These estimates are not statistically significant, and likely reflect event-day responses to weather conditions or other factors that are not fully explained by the regression equations.

Table ES–1: Estimated PTR Usage Impacts by Major Customer Group

The above findings are generally comparable to those from last year’s evaluation of the 2011 PTR pilot program. That study, which faced challenges due to the unusual nature of several of the events, found an average 0.06 kWh per hour usage reduction on the most typical of the five events, which translated into a 4.5 percent reduction.

Among the more detailed findings of the current study are the following:

- The SDEC customers who received only default notification reduced usage by an average of only a tenth of the amount of those who opted to receive alerts.

- Usage reductions of the average opt-in alert customer in the general population were quite consistent across the two climate zones, three customer size categories, and standard vs. low income tariff.

- Approximately half of the population of customers who did not opt-in to receive alerts did register for My Account, which allows online access to their energy usage data and bill payments. However, the average My Account customer did not reduce usage on PTR events by a statistically significant amount.

- The approximately 650 customers who received an IHD or PCT device reduced usage on average by about the same amount as the average opt-in alert customer, although that amount represented a smaller percent reduction because the IHD customers generally had somewhat higher usage levels.

- Analysis of a sample of customers who were separately surveyed as part of a process evaluation found that those who reported being aware of a specific recent PTR event reduced their usage on average across all events by substantially greater amounts than did those who said they were not aware of the event, for both opt-in alert and non-alert categories.

A separate analysis was conducted to evaluate whether SDEC participants changed their overall summer energy consumption (as distinct from their usage during PTR events) in response to the program. This analysis consisted of a difference-in-differences approach that compared average summer usage between 2011 and 2012 for the SDEC participants and a matched control group selected from the available sample of the non-opt-in alert population. The analysis found an overall reduction in average summer usage for SDEC participants of approximately 6 percent relative to the control group.

The CRL baseline analysis assessed the accuracy and bias of the CRL method for representing customers’ baseline loads for each of the seven actual events, as well as for eight simulated event days that were similar to the actual event days. The study found generally poor CRL accuracy, with average absolute errors in the range of 30 to 40 percent relative to the true baseline load. In terms of bias, the mean errors on weekday events averaged 0.11 and 0.16 kWh per hour for the actual and simulated events, with relatively large standard deviations of 0.5 and 0.7 kW.

The median errors were less than the mean errors, implying that there were relatively more positive errors than negative, and their values were greater. Thus, the CRL on average had an upward bias in 2012. Looking at the distribution of errors, the errors for half of all customers fell in the range of -0.05 kW to 0.20 kW. Thus, for the remaining half of customers, the CRL understated the true baseline for a quarter of customers by more than 0.05 kW, and it overstated the true baseline for another quarter of customers by more than 0.20 kW.

Since the CRL for a given event depends on customers’ usage on prior days, the nature of baseline errors can vary substantially across events, depending in part on prior weather conditions. Two examples for PTR in 2012 illustrate the point. One weekday event was called on a relatively mild day following a series of relatively hot days, which resulted in overstated baseline loads that exceeded “true” values for nearly all customers (thus nearly all customers were likely overpaid in bill credits). In contrast, two weekend events were called on days that were substantially hotter than previous weekend days, which resulted in CRLs that understated the true baselines of about half of all customers, in some cases by relatively large amounts (e.g., 0.25 to 1 kWh per hour). Thus, approximately half of all customers were likely underpaid for these events. The magnitudes of the CRL errors identified in this study suggest that it may be useful to examine potential modifications to the CRL method, such as a day-of adjustment.

# Introduction and Key Issues

This report documents the ex post and ex ante load impact evaluations of San Diego Gas & Electric’s (SDG&E) 2012 Peak Time Rebate (PTR) program. In 2012, all SDG&E residential customers were automatically enrolled in PTR. SDG&E arranged for day-ahead public announcements (e.g., through radio and TV news, and weather features) of PTR events (which are also referred to as “Reduce your Use” days), and all customers have the opportunity to earn bill credits for usage reductions during event hours. Customers are also encouraged to sign up to receive electronic notification, or alerts, of events through email or text messages (or both).

The impact evaluation also includes an analysis of a subset of customers located in the City of San Diego who enrolled in the San Diego Energy Challenge (SDEC). The SDEC is a separate effort within the PTR (Reduce Your Use) program that involves a competition among middle schools in the San Diego Unified School District, in which schools earn entries into a sweepstakes for every percentage point of their school population that signs up. In addition, participation points can be earned through usage reductions on PTR event days of customers who affiliate with a school. The school with the highest participation points for each event wins a cash prize for school supplies, and individual prizes may be won by customers. All SDEC participants received email alerts of PTR events by default from SDG&E under the SDEC “brand”, regardless of whether they had enrolled to receive separate electronic alerts from SDG&E.

## 1.1 Project Goals

The primary goals of the project are to estimate ex post and ex ante load impacts, or usage reductions, associated with the overall PTR program and with SDEC. In addition, the ex post evaluation is required to estimate event-day usage reductions for certain subgroups within PTR. The overall evaluation includes the following specific activities:

In the ex post evaluation, for each PTR (Reduce Your Use) event day, estimate:

- Program-level hourly load reductions;

- Average participants’ hourly load reduction;

- Hourly load reductions by various subgroups, including the following:

  - by climate zone (Coastal and Inland),

  - by choice of event notification (e.g., requested alerts by email or text message),

  - presence of in-home display (IHD) units,

  - presence of PCTs curtailed by a third-party vendor,

  - presence of solar systems,

  - by size category (e.g., low, medium, and high-usage),

  - by low-income customers (i.e., those on tariff DRLI),

  - for customers who have enrolled in the online My Account website,

  - for customers identified as “aware” of PTR events in post-event web surveys; and

  - for customers located in Orange County, at the northern edge of SDG&E’s service area;

  - Hourly load reductions of SDEC participants; and

  - Incremental load reductions due to the SDEC program.

- Estimate the conservation effects of the SDEC program (i.e., the changes in summer energy usage for the SDEC participants between 2011 and 2012.

- As part of the ex post evaluation, conduct an analysis of the performance of the program’s customer-specific reference level (CRL), which is used to estimate usage reductions during event hours for purposes of calculating bill credits.

- In the ex ante evaluation, estimate the following:

  - Program-level hourly load reductions on monthly system peak days and a typical event day, for 1-in-2 and 1-in-10 weather years;

  - Average participant’s hourly load reductions for the same day types.

The baseline analysis of the CRL involves two main activities. One summarizes a variety of statistics on usage reductions and bill credits paid, as calculated by SDG&E using the CRLs, and as implied by the customer-level regressions estimated in this measurement and evaluation (M&E) project. The other activity consists of an evaluation of the accuracy and bias of the CRL method for measuring customer-level baselines on both event days and event-like non-event days. In the latter case, CRLs for “synthetic,” or test events are compared to observed loads on those days. In the former case, CRLs for actual events are compared to baselines constructed from the customer-level regressions that are estimated in the ex post evaluation. As part of the baseline analysis, we also report the frequency of “over-payments” and “under-payments” that are implied by the CRL calculations, compared to both the regression-based baselines (for actual events) and the observed loads (for synthetic events).

## 1.2 Roadmap to report

Section 2 describes features of the PTR program. Section 3 discusses technical issues and the methodology used in conducting the study. Section 4 presents ex post load impact results. Section 5 presents the CRL baseline analysis. Section 6 describes a separate analysis of the overall energy savings (conservation) effect of SDEC. Section 7 presents the ex ante forecast of PTR load impacts. Section 8 offers conclusions and recommendations.

# 2. Resources Covered in the Study

This section begins by describing the features of the PTR program. It then lists the events that were called in 2012. Finally, it characterizes the nature of the participants in the various subgroups of interest.

## 2.1 Program features

SDG&E’s PTR (Reduce Your Use) program includes the following features:

- Two rebate levels are available—a basic level of $0.75/kWh and a premium level of $1.25/kWh for customers who use automated enabling technology installed through a SDG&E program. For 2012, only those customers who are enrolled in SDG&E’s Summer Saver air conditioner direct load control program are eligible for the premium level.

- Load reductions for rebate purposes are measured relative to a customer-specific reference level (CRL) based on an average of the highest 3 out of the most recent 5 similar non-event days.

- There is no maximum number of events, though rebate levels were designed assuming nine events each year. Seven events were called in 2012 through mid-September. The event window is 11 a.m. to 6 p.m.

- Customers received an educational kit containing information on the PTR program, how they can earn bill credits by reducing usage on event days, and the benefit of enrolling to receive day-ahead event notification through email and/or text message. Customers also have access to online information through My Account on their consumption history, CRL, event performance, and online rebate calculation.

## 2.2 PTR events in 2012

Table 2–1 summarizes the seven PTR events that were called in 2012. It shows the SDG&E maximum system demand, day of week, average temperature, day type, and type of event (e.g., test). The two Saturday events are shaded. The California ISO called Flex Alert days on two of the PTR event days, August 10 and 14, and did not call any additional Flex Alert days.

Table 2–1: PTR Event Days

## 2.3 Participant characteristics

This section provides information on the customers in various subgroups and samples of PTR participants that were used in the evaluation. Due to the large overall number of participants, samples of some large categories of customers were designed and their load data were included in the evaluation. For smaller categories, the entire population in the category was included. Table 2–2 provides an overview of the eligible PTR population, its breakdown into various subgroups of interest into which the population was segmented, and the samples for some of those groups that were used in the evaluation. The methods used to design the samples are described in Section 3.

As indicated in the table, Summer Saver participants were excluded from this evaluation and were analyzed in the context of the evaluation of that program. All SDEC and IHD/PCT customers were included in the evaluation, with the exception of a few due to data issues. Relatively large samples of the Opt-in Alert customers and the remaining population (after excluding all of the other subgroups), were selected and analyzed. In some cases, such as the approximately 50 percent of the population that signed up for MyAccount, customers in that category were represented as drawn in the samples.

Table 2–2: PTR Subgroup Populations and Sample Sizes

The following subsections illustrate the characteristics of the customers in the largest subgroups. Those who enrolled in the San Diego Energy Challenge are presented first, followed by descriptions of the sample of the “Opt-in Alert” customers who enrolled to receive day-ahead electronic notification, or alerts, of PTR events. Finally, we describe the population and sample of the remaining participants who did not enroll in SDEC or to receive Alerts.

### 2.3.1 Participant characteristics – SDEC

Table 2–3 summarizes the number and summer average hourly usage of the customers enrolled in SDEC in 2012. Values are provided by climate zone, enrollment to receive electronic event notification (alerts), and rate (standard or low-income). Two types of percentage values are shown in the table. The rows that indicate the two climate zones show overall values for participants in the two climate zones relative to the total. All other values show percentages relative to the total within each climate zone. As shown, two-thirds of SDEC participants reside in the Coastal climate zone, and as a result have somewhat lower average summer usage than the overall average. In both climate zones, nearly 20 percent of participants enrolled to receive email or text message alerts of PTR events. Overall, about 34 percent of SDEC participants were served under the low-income (DRLI) tariff, and they were somewhat less likely to enroll to receive email or text alerts, especially in the Inland climate zone.

Table 2–3: SDEC PTR Participants

Table 2–4 indicates the percentage breakdown of customers who requested PTR event notification by type of alert—email, text message, or both. The majority requested emails only.

Table 2–4: Type of Notifications Requested by SDEC PTR Participants

### 2.3.2 Customer characteristics – Opt-in Alert

Table 2–5 summarizes the characteristics of the sample that represents the population of Opt-in Alert customers. The sample was based on a stratified random design, as described in Section 3, in which relatively higher fractions of high-use and medium-use customers were selected, due to the greater variability in their usage patterns.

Table 2–5: Characteristics of the Opt-in Alert Sample

### 2.3.3 Customer characteristics – Sample of non-alert population

Table 2–6 summarizes characteristics of the sample representing the remaining population of PTR customers. As for the Alert sample, the “remaining population” sample was skewed toward high-use and medium-use customers.

Table 2–6: Sample Characteristics of the Remaining Population

## 2.4 Observed loads on selected event days and non-event days

This sub-section lays the groundwork for determining likely magnitudes of estimated PTR usage reductions by providing the reader with examples of observed average-customer load profiles for selected customer groups on certain event and non-event days. We focus first on the SDEC customers. The differences in load profiles are indicative of the estimated PTR load impacts reported in Section 4. However, a lack of fully comparable non-event days limits the extent to which load impacts may be observed directly as differences between event and non-event day load profiles. The formal estimates of ex post load impacts designed to meet the Protocols are produced by the regression-based methodology described in Section 3, and are presented in Section 4.

### 2.4.1 SDEC

The following figures show hourly load and temperature profiles for the average “SDEC Alert Only” and “Opt-in Alert” customer in both climate zones, on selected event days and non-event days, to illustrate differences in event-hour usage patterns between customer groups and between event and non-event days.

Figure 2–1 shows the average loads for the Coastal SDEC-Alert Only customers for August 8 – 10, where the 9th and 10th were event days. It is difficult to assign specific load differences in this figure to reductions due to the event. For example, the lower load on August 9 is consistent with relatively lower temperatures on that day up to the middle of the event window, which could imply some combination of a weather effect and/or event usage reductions. Also, the fact that the loads on the 8th and 10th were similar even though temperatures were higher on the 10th could imply some event response. Small usage reductions for both event days were estimated by the regression analysis.

Figure 2–1: Observed Average Customer Loads for August 9 and 10 Event Days 
Coastal; SDEC Alert Only

Figure 2–2 shows load profiles for the same days for the average Opt-in Alert customer in the Coastal group. In this case, the loads on both event days lie substantially below the load on August 8. This result is consistent with the relatively larger and significant usage reductions for this group that were estimated in the regressions.

Figure 2–2: Observed Average Customer Loads for August 9 and 10 Event Days 
Coastal; Opt-in Alert

Figure 2–3 shows loads and temperature for the same days for the average customer in the Inland group that received SDEC alerts only. Similar to the case with the Coastal customers, the lower load on August 9 is consistent with relatively lower temperatures on that day. The somewhat lower load on the 10th compared to the 8th, even though temperatures were generally higher on the 10th during the event window could imply some event response, as estimated in the regression.

Figure 2–3: Observed Average Customer Loads for August 9 and 10 Event Days 
Inland; SDEC Alert Only

Figure 2–4 shows load profiles for the same days for the average Opt-in Alert customer in the Inland group. Similar to the comparable Coastal group, the loads on both event days lie substantially below the August 8 load. These results are consistent with the significant usage reductions estimated in the regressions.

Figure 2–4: Observed Average Customer Loads for August 9 and 10 Event Days 
Inland; Opt-in Alert

Figure 2–5 shows the average customer loads for the September 15 event for the Inland SDEC alerts only group and the Opt-in Alert group. This day had the highest temperature of any of the events, and is also unique in that it is a Saturday, and the high temperatures on that day and the previous day were isolated occurrences after a string of moderate days. The load for the Opt-in Alert group is substantially lower than the SDEC alert only group, which is consistent with the differences in estimated usage reductions.

Figure 2–5: Observed Average Customer Loads for September 15 Event; 
Inland; SDEC Alert Only and Opt-in Alert

### 2.4.2 Opt-in Alert and population customers

While no formal control group was available to assist in estimating PTR load impacts, the findings of no significant usage reductions on the part of the non-alert population customers suggests comparing the average population customer load to the average Alert customer load to view potential load impacts. The following figures make that comparison for several events for the average customer in the Inland climate zone. Figure 2–6 makes the comparison for the July 20 event and the prior non-event day. The top and bottom solid lines within the event window show the Alert and Population loads respectively on July 19. The two dashed lines in the middle show the loads for the same customers on the July 20 event day, with the Alert load beginning above the Population and then dropping below during the event window, suggesting response to the PTR event.

Figure 2–6: Observed Average Customer Loads – July 20 Event
Inland; Opt-in Alert and Population

Figure 2–7 shows comparable pairs of load profiles for August 8 and the following two event days on August 9 and 10. As in the previous figure, the Alert load lies above the Population load on the non-event day, but the profiles are much closer on both event days, which is consistent with event-day usage reductions on the part of Alert customers relative to the Population.

Figure 2–7: Observed Average Customer Loads – August 9 & 10 Events
Inland; Opt-in Alert and Population

Figure 2–8 compares Alert and Population loads on the final event day, on Saturday September 15, and the prior non-event day. As in the previous figures, the Alert load on the non-event day is higher than that of the Population load. On the event day, the Alert load begins above the Population load, then appears to “kink” downward somewhat, unlike the other three loads, suggesting some event-day response.

Figure 2–8: Observed Average Customer Loads – September 15 Event
Inland; Alert and Population

# 3. Analysis Methods

This section discusses technical issues that need to be addressed in this study, including sample design, methods for estimating ex post load impacts, and development of the ex ante forecasts. Sample design was based on customer and usage data provided by SDG&E, and was guided by targeted levels of precision in estimating load impacts. Our approach for conducting the ex post impact evaluation involves exploration and testing of regression-based methods for estimating load impacts for event-based demand response programs. These methods apply regression analysis to hourly load data for subgroups and samples of participating customers in various groups of interest, using customers’ loads on non-event days as controls for their use on event days (i.e., “participant-only” approach). The analysis controls for factors other than PTR events that influence customers’ load profiles, including hour of day, day of week, and weather conditions, and also includes hourly variables that indicate event days. The coefficients on the event variables allow direct estimation of hourly PTR load impacts for each event day.

## 3.1 Sample design

The key factors that guided the sample design were the number of characteristics by which the sample should be stratified (e.g., climate zone and customer size), as well as possible separate treatment of certain key population groups (e.g., enrollment in SDEC and presence of IHD), and the required sample sizes. Discussions with SDG&E staff at the PI meeting and subsequently led to the following overall sample design framework:

- Summer Saver participants were excluded from the target population and their PTR load response will be estimated in a separate evaluation.

- The SDEC participants (approximately 4,600) were treated as a separate “certainty” sample due to their relatively small number and strong interest by SDG&E in load impact results for that group.

- The IHD participants (approximately 600) were also treated as a separate “certainty” sample.

- The Alert group (about 48,000) was removed from the remaining population and over-sampled to achieve a designed 95/5 degree of confidence and precision.

- Net-metering customers with solar installations were also held out of the target population and analyzed separately.

- The remaining eligible target population of approximately a million customers was sampled at a rate designed to obtain 90/10 precision at the climate zone level. The sample was stratified by climate zone (Coastal and Inland) and size (small, medium, and high-use customers, based on summer average daily usage). Information on usage variability by climate zone and size obtained from the 2011 PTR pilot, along with population counts from the target population were combined to allocate the sample to strata using Neyman allocation methods.

- A control group of SCE customers may be selected in a separate sample design undertaken in conjunction with an impact evaluation of SCE’s PTR program.

- The remaining sub-groups of interest (CARE/low-income customers, My Account customers, and Orange County customers) were to be evaluated using the relevant customers of those types that were drawn into the analysis samples or subgroups.

Sample size requirements are generally related to two primary factors: 1) the variability in usage across customers, and 2) the expected size of the event-day usage reductions that need to be estimated. We worked closely with SDG&E staff on the sample design and selection of customers. As described above, CA Energy Consulting designed separate samples of Alert customers and customers in the remaining eligible population, and SDG&E selected customers at random according to the design parameters (i.e., sample sizes and sample strata). The sample sizes and comparable target populations were summarized in Section 2.3.

## 3.2 Level of analysis

The relatively large number of customer types for which PTR load impact results have been requested suggested that the most straightforward approach to the evaluation would be to use customer-level regression analysis, which allows results for customers to be aggregated into any relevant category.

In a preliminary analysis of SDEC customers, we conducted initial tests of the performance of various possible regression specifications using data for the average customer in four subgroups of participants, differentiated by climate zone (Coastal and Inland) and type of event notification (“Requested PTR Alert” and “SDEC Alert Only”). The regression testing focused on the selection of the most effective set of weather variables. We applied the selected models to data for the average customer in each group to produce preliminary estimates of PTR load impacts by group and event.

Similar testing was conducted for the Alert and “Remaining population” groups, as described in Appendix A. The selected regression models were applied to customer-level data for the customers in each of the certainty subgroups and the samples.

## 3.3 Estimating Ex Post Load Impacts

The model presented below represents the “base” ex post load impact model that was used to estimate hourly impacts for each event day, for the individual customer accounts, while controlling for factors such as weather conditions and regular daily and monthly usage patterns (i.e., accounting for differences in load levels across hours of the day, days of the week, and months of the year). The base model is:

The variables are explained in the table below.

| Variable Name / Term | Variable / Term Description |
| --- | --- |
| Qt | the customer’s demand in hour t |
|  and the various ’s | the estimated parameters |
| hi,t | a dummy variable for hour i |
| DRt | an indicator variable for program event days |
| Wtht | weather conditions during hour t (e.g., measured by CDD, CDH, or THI) |
| E | the number of event days that occurred during the program year |
| MornLoadt | a variable equal to the average of the day’s load in hours 1 through 10 |
| DTi,t | a dummy variable for day type i |
| MONTHi,t | a series of dummy variables for each month |
| SEPi,t | a dummy variable for the month of September |
| et | the error term. |

The first term in the equation that contains the double summation signs is the component of the equation that allows estimation of hourly load impacts (the bEvti coefficients). It does so via the hourly indicator variables hi,t interacted with the event variables (indicated by DRt). The remaining terms in the equation are designed to control for weather and other periodic factors (e.g., hours, days, and months) that determine customers’ loads. The interaction of day-type indicators with the hourly indicators is designed to account for potentially different hourly load profiles on different days of the workweek and weekends.

We allow for a different hourly profile during the month of September to account for changes in usage patterns that may occur when summer ends and children return to school. The “morning load” variable is used in the same spirit as the optional day-of adjustment to the 10-in-10 baseline method currently used in some DR programs (e.g., Demand Bidding Program). That is, it is intended to adjust the reference load (i.e., the regression-based estimate of the loads that are expected to occur on a given day, including the load that would have occurred on event days if the events had not been called) for unobservable exogenous factors that cause loads to vary from day to day. Finally, the models were estimated using Newey-West standard errors that account for autocorrelation of one hour.

We have tested a variety of specifications to determine the regression model that performs best according to several performance and validity tests. As noted above, these tests are conducted using average-customer data (e.g., by climate zone) rather than at the individual customer level. The model variations and the performance statistics are reported in an appendix.

# 4. Study Findings – Ex Post Load Impacts

This section reports findings from the customer-level regressions in the ex post load impact analysis. The following four types of results are presented:

- Summary load impacts, in the form of average hourly reference loads and load impacts for the average customer and in aggregate, for each event day and a typical, or average, event day for several different customer groups of interest;

- Summary load impacts at the program level, including estimated confidence intervals;

- Illustrative hourly load impacts for selected customer groups and event days; and

- Findings on distributions of estimated load impacts across sample customers in various customer groups.

## 4.1 Summary load impacts

Average hourly event-period reference loads and load impacts for each PTR event are shown first for SDEC customers, differentiated by climate zone and type of notification. These are followed by similar results for the Opt-in Alert customers outside of SDEC. Estimated load impacts for the average event are then showed by several larger groups of interest. Finally, load impacts for SDEC and Opt-in Alert are broken out by customer size and standard/low-income rate.

### 4.1.1 SDEC results

Estimated average hourly reference loads and usage reductions, or load impacts (LI), at an average customer and aggregate level, are shown in Table 4–1 for each event, for all SDEC participants, differentiated by climate zone (Coastal and Inland) and type of notification (SDEC alert only and Opt-in PTR alert). Also shown are the number of customer accounts in each group and the average event temperature. The estimated usage reductions are illustrated in Figure 4–1.

Estimated usage reductions for the two groups that requested PTR alerts are statistically significant and reasonably consistent across events, averaging 0.055 kWh per hour for customers in the Coastal zone and 0.10 kW for those in the Inland zone. Estimates for the groups receiving only default SDEC alerts are generally smaller and more variable, with statistically significant reductions in a few hours for the first two or three events, but also several cases of usage increases and non-significant reductions. The usage reductions for the Coastal and Inland Opt-in PTR alert groups average 7.7 percent and 9.7 percent respectively, with the Inland estimates less variable across events. As shown in the last row, the aggregate load impact provided by the 4,600 SDEC participants is 0.08 MW for the average event.

Table 4–1: Estimated Per-Customer and Aggregate PTR Usage Reductions – SDEC Participants

Figure 4–1: Estimated PTR Usage Reductions for SDEC Participants
Average Hourly Load Impacts (kWh), by Customer Group & Event

### 4.1.2 Results for Opt-in Alert customers

Estimated load impacts for the approximately 41,000 customers outside of SDEC who opted to receive electronic event notifications, or alerts, are shown in Table 4–2 for each PTR event. The average customer in the Coastal and Inland climate zones reduced usage by 0.062 kW and 0.067 kW respectively during event hours. Results varied considerably across events, particularly for the Inland climate zone. The estimated load impacts represent 5.8 percent and 4.2 percent of the reference loads for the two groups. Aggregate hourly usage reductions across both climate zones totaled 2.65 MW.

Table 4–2: Estimated Per-Customer and Aggregate PTR Usage Reductions – Non-SDEC Opt-in Alert

Table 4–3 pulls together estimated PTR load impacts for all three groups of opt-in alert customers: 1) Summer Saver participants who also opted to receive PTR alerts, 2) those SDEC participants who opted to receive PTR alerts (as reported in Table 4–1), and 3) the opt-in alert customers whose results are reported in Table 4–2. The Summer Saver results were developed in the evaluation of that program, and are only reported here and in the associated Protocol tables for completeness. The PTR usage reductions of Summer Saver participants who opted to receive PTR alerts are notably larger in both level and percentage terms than the opt-in alert customers in the other two groups. They also have substantially larger reference loads. Aggregate PTR load impacts across the three groups of opt-in alert customers total 3.9 MW for the average event, or 6.6 percent of the total reference load.

Table 4–3: Per-Customer and Aggregate PTR Usage Reductions – 
All Opt-in Alert, including Summer Saver and SDEC

### 4.1.3 Distribution of load impacts for the average event across major groups

No significant usage reductions were found for the average customer in the remaining population that did not participate in SDEC, receive an IHD or PCT device, or opt to receive PTR alerts. Thus, a presentation of results by event for these customers is of little value. Instead, Table 4–4 summarizes results for the average event for all relevant SDG&E customer groups, differentiated by climate zone. The first three rows in each panel show results for SDEC participants, those customers opting to receive PTR alerts, and those with IHD/PCT devices. Overall, those groups reduced usage on average during PTR events by 2.2, 5.0, and 2.7 percent respectively. The PTR usage impacts for the Summer Saver participants who opted to receive PTR alerts are shown in the last line of the “All” results, since those results were not reported by climate zone.

The remaining population is shown divided approximately evenly among those who signed up for MyAccount and those that did not. Little difference was found between the groups, and the average estimated load impacts implied usage increases during PTR events. As shown below, these estimates were not statistically significant, and likely reflect event-day responses to weather or other factors that are not fully explained by the regression equations.

Table 4–4: Estimated PTR Usage Impacts by Major Customer Group

### 4.1.4 Results by customer size, standard/low-income rates, and awareness

Two additional requested breakdowns of the results are by customer size (low, medium, and high-usage categories) and income category, defined by the domestic tariffs (standard or low-income). These breakdowns are shown in Table 4–5 for the SDEC participants and opt-in Alert groups, the only ones to provide significant usage reductions. The pattern of usage reductions across customer size generally follows the size of reference load, with the exception of the high-usage SDEC group. The percentage load impacts for the opt-in Alert customers are close to 5 percent for each usage category. The average low-income customers in both groups have slightly lower reference loads and load impacts, resulting in somewhat smaller percentage load impacts than the standard tariff customers.

Table 4–5: Estimated PTR Usage Impacts by Usage Level and Low Income – 
SDEC and Opt-in Alert

To examine the effect of customer awareness on estimated PTR usage reductions, we conducted a separate analysis of load data for a post-event survey sample of SDG&E customers conducted as part of the PTR process evaluation. Approximately 2,000 non-Summer Saver customers were surveyed, the majority of which were conduced online. The customers were asked a series of questions regarding their general awareness of the PTR program and their ability to earn credits. One specific question asked about their specific awareness of the September 15 event, shortly after which the survey was undertaken. We used their response to that question as an indicator of awareness, and compared usage changes for “aware” and “non-aware” customer groups.

The surveyed customers were drawn from four of the customer groups for which we have reported estimated usage reductions. They are the following:

- SDEC customers receiving only default SDEC alerts;

- SDEC customers who opted to receive PTR alerts;

- Non-SDEC customers who opted to receive PTR alerts (Opt-in alert);

- Non-SDEC customers who received no alerts (non-notified population).

We divided the surveyed customers into eight groups, consisting of “aware” and “non-aware” versions of each of the above four groups. We then averaged the hourly loads across all customers in each group, and applied our usual regression model to estimate hourly load impacts for each event. The resulting reference loads and load impacts are summarized in Table 4–6. With the exception of the “No Alert” group in the last row, the aware customers show greater usage reductions than non-aware customers, especially for the two Opt-in Alert groups (SDEC and non-SDEC), for which the estimated load impacts are substantially larger. On the basis of this limited information, it appears that the combination of taking the initiative to request electronic notification of events and understanding the operation of the program sufficiently to be aware when events are called tends to produce the greatest usage reductions on event days.

Table 4–6: Effect of Awareness on Estimated PTR Usage Reductions

## 4.2 Program-level load impacts and confidence intervals

It is of interest to examine confidence intervals around the estimated PTR load reductions for the Opt-in Alert customers and the load increases estimated for the remaining population. Table 4–7 shows customer counts, reference loads, estimated load impacts (for the average event-hour of the average event), and 90% confidence intervals for the above two groups of SDG&E PTR customers in 2012. The first row in the table shows results for the opt-in Alert group. The second row shows results for the general population, excluding opt-in Alert customers and SDEC participants. The Alert group shows an overall load reduction of 3.1 MW, or nearly 6 percent of their aggregate reference load. The estimated load impacts are statistically significant, and a 90 percent confidence interval ranges from 1.7 to 4.6 MW of load reduction.

The estimated load impacts for the general population are negative, indicating higher usage on event days than predicted by the other variables in the regression models, including weather effects. However, the estimates are not statistically significant (that is, they cannot be distinguished statistically from zero), which produces a relatively wide 90 percent confidence interval, ranging from a usage increase of 3.7 percent to a usage reduction of 0.7 percent.

Table 4–7: Overall PTR Usage Reductions and Confidence Intervals – 
Opt-in Alert and Non-Alert Population

## 4.3 Estimated hourly load impacts

Figure 4–2 illustrates the hourly profile of the estimated reference load, observed load and estimated load impacts for the overall opt-in Alert group on the average PTR event day. Note the observable kink in the observed load in the first hour of the event (hour-ending 12 noon) and the relatively constant estimated usage reduction of about 3 MWh/hour over the event period.

Figure 4–2: Hourly Estimated Reference Load, Observed Load, and Estimated Load Impacts – 
Opt-in Alert; Average Event

## 4.4 Customer-level load impacts

This section provides summary statistics from the customer-level regressions on the fractions of customers in various groups whose estimated load impacts were either negative and significant (i.e., load reductions) or positive and significant (i.e., load increases). The first two columns in Table 4–8 show percentages of customers whose estimated load impacts implied statistically significant load reductions on average across all events and event hours. The six categories of Alert and non-Alert Population customers are defined by climate zone and usage levels. The percentages of significant “reducers” range from about 25 percent for low-usage customers in the Coastal climate zone to 38 percent for high-usage customers in the same zone. While the average population customer showed no significant reduction, as reported in Section 4.2, the table shows that 17 to 21 percent of those customers were found to have significantly reduced usage.

The last two columns show percentages of customers in the six groups whose estimated load impacts were positive and significant, indicating higher usage during PTR event periods. Since there is no logical reason for customers to increase usage because of the event, we can only surmise that the event variables in the regression are picking up the effect of some unknown omitted variable, such as an extreme weather effect that is not accounted for by the weather variables in the regression. Nevertheless, even in the overall responsive Alert group, 14 to 24 percent of customers were found to have positive and significant event coefficients. Those percentages are higher in the Population groups, ranging from 18 to 32 percent.

Table 4–8: Fractions of Significant Customer-Level Usage Reductions and Increases – 
Opt-in Alert and Non-Alert Population

Averaging the estimated load impacts across the opt-in alert responders produces average usage reductions for the average event of 0.31 and 0.45 kWh per hour for the Coastal and Inland climate zones respectively, or 0.37 kWh per hour for the whole group of opt-in alert responders. This contrasts with the estimated 0.06 kWh per hour usage reduction for the average opt-in alert customer (including responders and non-responders).

Figure 4–3 illustrates the findings shown in Table 4–7. The bars show generally larger percentages of significant “reducers” at higher levels of usage among the Alert groups and relatively constant percentages for the Population groups. On the flip side, percentages of “increasers” tend to increase with usage level for the Population groups and increase by lesser amounts for the Alert groups. All of the above trends are consistent with the overall finding of statistically significant usage reductions for the Alert customers, and not statistically significant usage increases for Population customers.

Figure 4–3: Fractions of Significant Customer-Level Usage Reductions and Increases – 
Opt-in Alert and Non-Alert Population

To illustrate the usage patterns of the customers who were found to be “responders,” Figure 4–4 shows the average responder load profile (collapsed across usage category) for the average event day and the average event-type day, for the Coastal and Inland climate zones. The event-day load profiles, shown in heavy dashed lines, display clear evidence of “notched” usage reductions during the seven-hour event period. In contrast, the average loads on event-like non-event days show no such notched behavior.

Figure 4–4: Average Load Profiles for Responders on Events and Event-like Days – 
Opt-in Alert; Coastal and Inland

In contrast, Figure 4–5 shows load profiles averaged across the same days for all opt-in alert customers except the responders shown in the previous figure, including those found to have increased usage by significant amounts. In this case, the event-day loads are higher than the non-event day loads, substantially so for the Inland customers, and show no evidence of event-day usage reductions.

Figure 4–5: Average Load Profiles for Non-Responders on Events and Event-like Days – 
Opt-in Alert; Coastal and Inland

To complete the picture for opt-in alert customers, Figure 4–6 shows event-day and non-event day load profiles averaged across all of those customers, by climate zone. It is effectively this type of averaging that is done when reporting the average customer usage impacts in the ex post evaluation. Focusing on the heavy dashed event-day lines, it is possible to see slight event-period notches beginning in hour-ending 12 and ending in hour-ending 18. These slight notches, formed by combining the strongly significant usage reductions of the “responders” in Figure 4–4 with the non-responders in Figure 4–5, represent the small but statistically significant usage reductions (e.g., 0.07 kWh per hour) reported for the average opt-in alert customer.

Figure 4–6: Average Load Profiles for All Opt-in Alert Customers on Events and Event-like Days – 
Coastal and Inland

In contrast to the well-defined usage reductions for the opt-in alert “responders,” Figure 4–7 shows only slightly-defined reductions for the average customer in the non-alert population with statistically significant usage reductions.

Figure 4–7: Average Load Profiles for Responders on Events and Event-like Days – 
Non-Alert Population; Coastal and Inland

# 5. CRL Settlement and Baseline Analysis

## 5.1 Introduction

One additional objective of the ex post evaluation is to calculate and report a number of statistics involving the relationship between customers’ CRLs (i.e., the program baselines) and their observed usage levels during 2012 PTR event hours. Another is to assess the performance of the program CRL method in representing customers’ loads on event days and event-like days. The first category of analysis involves summarizing PTR event-day usage changes as measured by the program CRL. A second category of analysis involves a baseline analysis of the performance of the CRL in predicting customers’ loads during events or event-like days. As part of this analysis, we also examine the frequency with which customers appear to have been over-paid or under-paid for usage reductions, where the findings are based on estimated usage reductions from the customer-level regressions in the ex post evaluation.

The first category of CRL analysis involves producing the following statistics:

- The number (and percent) of customers who used less than their CRL for each event;

- The total load reduction measured according to the CRL, by event, including data for all customers; and

- The total load reduction by event according to the CRL, for only those customers who used less than their CRL (this amount represents the PTR load reduction for which SDG&E paid bill credits).

## 5.2 Methodology

The calculations of customers’ usage relative to their CRLs were conducted in the following steps:

- Construct CRLs for each event and each customer included in the ex post load impact evaluation;

- Compare those values to the customers’ observed usage during the event; and

- Summarizing differences in usage relative the CBLs, for those whose usage fell below their CRL, those whose usage was greater than the CRL, and for all customers.

The CRL baseline analysis was conducted for both actual event days in 2012, as well as a set of event-like non-event days, or simulated events, in July, August, and September. In the case of actual events, customers’ CRLs were compared to the reference loads implied by the customer-level regression analyses conducted in the 2012 ex post evaluation (i.e., estimated load impacts are added to the observed event-day loads to create a “but for the event” reference load). In the case of selected simulated events, the observed loads during the event window on the event-like days serve as true baselines, which are then compared to the calculated CRLs.

Two types of performance metrics were calculated for the CRL baseline: 1) measures of accuracy (e.g., the average of absolute values of the errors), and 2) measures of bias (i.e., the tendency of a baseline to under-state or over-state the true baseline). In both types of metrics, the calculations begin with the basic notion of a baseline error, which is the difference between the baseline for that period that is “predicted” by the program CRL method and the “actual,” or “true,” baseline during an event window. Under this convention, a positive error implies that the CRL prediction exceeds the true baseline (i.e., it is biased upward). Given stakeholders’ interest in the bill credit impacts suggested by baseline errors, most of the baseline performance results are reported in terms of levels of errors. However, since levels of errors can differ substantially across customers due to differences in load levels, it can also be useful to divide baseline errors by the level of the true baseline load to produce percentage errors. These are discussed below. It is also instructive to calculate and report baseline performance statistics for different types of events (e.g., events on weekdays and weekends, or isolated hot days vs. consecutive events), and to report distributions of baseline errors as well as mean or median values.

### 5.2.1 Accuracy

A common accuracy metric is the average of the absolute values of the errors or percent errors over the relevant observations, such as customers and events, where smaller values represent greater accuracy. The key feature of these measures is that the absolute values treat positive and negative errors equally, rather than, for example, allowing them to cancel each other in the averaging process. The relevant formulas for Mean Absolute Error (MAE), or Mean Absolute Percentage Error (MAPE), are the following:

MAE = (1/n) ∑ |(LPi – LAi)|, and

MAPE = (1/n) ∑ |(LPi – LAi)|/ LAi ,
where the summation is over all observations, i = 1 to n of customers and event hours, 
LAh 	is the “actual” observed or regression-based baseline load, and 
LPh 	is the CRL predicted baseline load.

### 5.2.2 Bias

Bias metrics are designed to measure the extent to which errors tend to be positive or negative, or in the present application, for the CRL method to have a tendency to under-state or over-state true baseline values. Three basic metrics have been used in previous baseline studies to indicate the degree of bias—mean error, median error, and percentiles of the distribution of errors, where the errors may be stated in levels or percentages. The mean error is simply the average of errors across events and/or customers. The median error is the midpoint of the distribution of errors.

A principle advantage of the median, rather than the mean in the context of baseline errors, is that errors and percentage errors for some customers can be quite large, and can sometimes dominate the mean value, making it not representative of the full distribution. Presenting percentile statistics provides a more comprehensive picture of the full distribution of baseline errors than either the mean or median values alone. This study reports mean and median errors, along with standard deviations, and the following percentile values: 10%, 25%, 50% (the median value), 75%, and 90%.

## 5.3 CRL settlement and baseline analysis results

### 5.3.1 CRL-based statistics

Table 5–1 reports total changes in usage relative to the CRL, in PTR event-windows, on each event day, for three categories of customers—those who were observed to have reduced usage relative to their CRL (“reducers”), those who increased usage relative to their CRL (“increasers”), and net effect for all customers. The first three columns show the event date, the number of customers who reduced usage, and their percentage of the total. The next three columns show the total usage changes of reducers, increasers, and all customers. The last two columns show the net impacts per hour for the seven-hour event window, and that net impact per hour per customer.

The percentage of reducers relative to the program CRL averages 60 percent, and ranges from somewhat more than half of all consumers on the two Saturday events (August 11 and September 15) to 80 percent on the August 21 event. Total energy reductions of the “reducers” during event hours averaged 1,700 MWh, ranging from about 1,000 to 3,500 MWh across events. Total increases in energy consumption relative to the CRL for the “increasers” averaged 1,600 MWh, and ranged from 362 to nearly 2,700 MWh. The overall net impact measured by the CRLs averaged a reduction of about 100 MWh, or 14.6 MW per event-hour, and ranged from an estimated net reduction of more than 3,000 MWh on the August 21 event to a net increase of nearly 1,500 MWh on August 11. Hourly net impacts per customer ranged from an estimated increase of 0.185 kW to a reduction of 0.39 kW, and averaged a 0.013 kW reduction.

Table 5–1: PTR Usage Impacts by Reducers and Increasers

Table 5–2 shows how the average changes in usage in Table 5–1 are distributed across key customer groups, including the SDEC customers, customers who opted to receive electronic alerts, those with IHDs or PCTs, and the remaining population. The percentages of CRL-based reducers in SDEC and the alert group are somewhat greater than in the remaining population. This result is consistent with the finding that the total impact of the reducers in those two groups exceeds the total impact of the increasers by relatively more than for the remaining population. This finding is also illustrated by the net load impacts per customer in the last column, which are greatest for the IHD/PCT and alert groups, somewhat smaller for SDEC customers, and essentially zero for the remaining population.

Table 5–2: Average PTR Usage Impacts by Customer Type

### 5.3.2 CRL baseline analysis

The CRL baseline analysis was conducted at the individual customer level, and then aggregated to the group level (e.g., each of the six alert and population sample sub-groups), and finally to the overall level, using appropriate sample scaling factors. Table 5–3 summarizes the performance of the CRL method at the highest level: that is, averaging across all customers and all events, by event and day type. The first two columns indicate the event type (Actual or Simulated) and day type (weekday or weekend). The next two columns report the overall average event-hour CRL and true baseline values for the average customer and event. The following three columns show mean errors and standard deviations, and mean absolute errors, all in units of kWh per event-hour. The final set of columns reports percentile values of the errors, where the median value is the 50th percentile.

Focusing first on overall accuracy, the mean absolute errors (MAE) on weekday events are approximately 0.3 kW on actual events and 0.4 kW on simulated events, or approximately 30 to 40 percent given the true baseline of approximately 1 kW. The MAEs on weekend events are somewhat larger. Turning to measures of bias, and allowing positive and negative errors to cancel, the mean errors on weekday events are 0.11 and 0.16 kW for actual and simulated events, with relatively large standard deviations of 0.5 and 0.7 kW. The median errors are less than the mean errors, implying that there are relatively more positive errors than negative, and their values are greater. This implies that the CRL generally has an upward bias, which is confirmed by comparing the upper to lower percentile values.

Table 5–3: Overall CRL Baseline Performance, by Event Type and Day Type

Figure 5–1 illustrates the MAE, mean errors, and standard deviations shown in Table 5–3, while Figure 5–2 illustrates the percentiles of CRL errors. The relatively wide range of errors may be seen in both the standard deviations around the mean, and in the percentiles of errors.

Figure 5–1: Overall CRL Baseline Performance, by Event Type and Day Type

Figure 5–2: Percentiles of CRL Baseline Errors, by Event Type and Day Type

Given the large variability of CRL errors, it is of interest to examine potential underlying factors, such as differences across events. As shown in Table 5–4 and the following figures, the CRL errors vary considerably across events. The table shows the dates of the actual and simulated events, where dates in bold are weekend days (all Saturdays). Two notable results are the following. First, for the events on July 20, August 11, and September 15 (where the latter two event days are Saturdays), the median errors are nearly zero and the mean errors are negative. That is, the CRL tended to understate the true baseline for those events. Second, the mean and median errors for the sixth event, on August 21, are both much larger than for the other weekday events. This result is consistent with the unusually high percentage of estimated “reducers” shown for that event in Table 5–1, suggesting that the customer CRLs tended to overstate the true baselines on that event. Note that the mean and median errors for the following day, which was selected as a simulated event, are comparably large and positive. A review of daily weather data indicates that August 21 and 22 had relatively mild temperatures that followed several days of much higher temperatures. Such conditions likely explain why the CRLs exceeded the true baseline loads for those days.

Table 5–4: Overall CRL Baseline Performance, by Event

Figure 5–3: Overall CRL Baseline Performance by Event

The percentiles of errors shown in Figure 5–4 illustrate that most customers were likely overpaid in bill credits for the event on August 21, and would have been similarly overpaid on the following day if an event had been called (i.e., nearly all of the errors are positive on both days). In contrast, with nearly zero medians and relatively large negative errors, about half of the customers were likely underpaid on the two Saturday events (August 11 and September 15).

Figure 5–4: Percentiles of CRL Baseline Errors, by Event

## 5.4 Summary of CRL Baseline Analysis

At an overall level, combining results across all customers and events, the CRL method produces relatively high average errors (measured by the mean absolute error) in the range of 30 to 40 percent of the true baseline load, which average about 1.1 kW on weekday events and 1.2 to 1.5 on weekend events. In terms of bias, the mean errors on weekday events were 0.11 and 0.16 kW for actual and simulated events, with relatively large standard deviations of 0.5 and 0.7 kW. The median errors are less than the mean errors, implying that there are relatively more positive errors than negative, and their values are greater. Thus, the CRL generally has an upward bias. Looking at the distribution of errors, the errors for half of all customers fall in the range of – 0.05 kW to 0.20 kW. For the remaining half of customers, the CRL understates the true baseline for a quarter of customers by more than 0.05 kW, and it overstates the true baseline for another quarter of customers by more than 0.20 kW.

Since the CRL for a given event depends on customers’ usage on prior days, the nature of baseline errors can vary substantially across events, depending in part on prior weather conditions. Two examples for PTR in 2012 illustrate the point. One weekday event was called on a relatively mild day following a series of relatively hot days, which resulted in overstated baseline loads for nearly all customers. In addition, two weekend events were called on days that were substantially hotter than previous weekend days, which resulted in CRLs that understated the true baselines of about half of all customers, in some cases by relatively large amounts (e.g., 0.25 to 1 kWh per hour).

# 6. SDEC conservation effects

In addition to analyzing the effects of SDEC participation on usage reductions during PTR event hours, SDG&E is also interested in examining effects on overall electricity consumption. In particular, SDG&E wishes to measure usage changes of SDEC participants between the summer months of 2011 and 2012. An important barrier to estimating the conservation effects of SDEC participation over this time frame is the major difference in summer weather conditions between the two years; that is, the summer of 2011 was considerably milder than the summer of 2012, leading to nominally higher electricity use in 2012.

## 6.1 Analysis Approach

To aid in disentangling potential conservation effects of SDEC from weather differences, our analysis involved selection of a control group of comparable non-SDEC customers, which allows a comparison of differences in energy consumption between the summers of 2011 and 2012 for SDEC participants to those of the control group customers.

Specifically, each SDEC participant’s 25 usage measures were compared to the same usage measures for all customers from the population sample within the same zip code. The measures were compared using standard, or z-scores, which normalize differences in measures by standard deviations of the measure in the population. Z-scores were calculated for each matching candidate, and the population customer with the lowest z-score was selected as the match and included in the control group. Formally, for each SDEC participant, z-scores were calculated for each hourly load measure, and then averaged across hours and added to the score for average usage, as follows:

, and

SDECj represents the SDEC customer for which a match is required, the subscript i represents each potential match from the sample population in the relevant ZIP code, and σ represents the standard deviation of the usage measure across all potential matches. That is, the z-scores for the 24 hourly kWh measures are averaged to produce ZAi, which is added to the z-score for the 25th measure, ZBi, average kWh across August and September. The service account with the lowest overall z-score, Zi, was included in the control group. Population service accounts may be matched to multiple SDEC participants and are weighted according to the number of SDEC participant matches.

## 6.2 Comparison of Treatment and Control Usage Profiles in 2011 and 2012

To illustrate the comparability of usage patterns of the SDEC participants and the matched control group, Figure 6–1 illustrates average hourly electricity usage for the two groups in 2011, before customers were invited to participate in SDEC. As shown, profiles for the two groups are almost identical with the exception of hours in the morning and evening where SDEC energy consumption is slightly higher than that of the control group.

Figure 6–1: Average Daily Load Profiles of SDEC and Control Group Customers –  
August–September 2011

To provide an initial comparison of post-SDEC usage patterns, Figure 6–2 shows average hourly usage in August and September 2012 for the same customers represented in Figure 6–1. The shape of the 2012 load profile for SDEC participants is similar to that for the control group but is lower in all hours. A fundamental question is the extent to which this difference represents an SDEC conservation effect or the result of some other factors that were omitted in the matching process (e.g. differences in weather sensitivity). For example, as noted above, weather in summer 2011 was milder than that in 2012, which could mean that the 2011 electricity usage data used to determine treatment and control matches was based largely on usage other than air conditioning energy consumption. If there is an underlying difference in the presence and usage of air conditioning between population and SDEC service accounts, then we would expect 2012 usage profiles to differ between the groups as a result of higher temperatures, with or without conservation effects.

Figure 6–2: Average Daily Load Profiles of SDEC and Control Group Customers –  
August–September 2012

## 6.3 SDEC Conservation Impacts

### 6.3.1 Basic statistical analysis

The availability of usage data for periods before and after SDEC participation, and for both the SDEC treatment customers and a matched control group, a simple estimate of SDEC conservation effects may be obtained by a straightforward difference-in-differences approach. The results from this basis statistical approach are shown in Table 6–1. The first row shows average hourly kWh usage for August through September 2011 for SDEC participants and the control group. The second row shows comparable values for 2012, and the third row calculates the year-to-year differences. As shown in the third row, average hourly electricity usage for SDEC participants increased by 0.096 kWh between 2011 and 2012. In contrast, the control group saw an average increase of 0.154 kWh. The difference between these two values (difference-in-differences) is shown in the bottom row and represents one measure of the SDEC conservation effect—0.058 kWh, or 8% of the 2012 control group load.

Table 6–1: Difference in Differences Estimate of SDEC Conservation Effect – 
Average Hourly Consumption (August and September)

| Year | SDEC Participants | Control Group |
| --- | --- | --- |
| 2011 | 0.575 | 0.573 |
| 2012 | 0.670 | 0.727 |
| Difference | 0.096 | 0.154 |
| Difference-in-differences | 0.058 | 8.0% |

### 6.3.2 Fixed-effects models of conservation

We can formalize the difference-in-differences approach by specifying a fixed-effects regression model, and applying it to customer-level average kWh data. The first and most basic fixed-effects model is specified as follows:

where:

i represents a treatment or control customer;

t represents year;

Qit represents average hourly kWh usage during August and September for customer i in year t;

yr2012 is an indicator variable that equals one in 2012 and zero otherwise;

yr2012xSDECi equals one for SDEC participants during 2012 and zero otherwise;

vi is the fixed effect for customer i; and

εt is the error term.

The model includes two observations per customer, one representing average hourly kWh during August through September 2011, and another for the same period in 2012. The model also includes independent variables for customer-specific fixed effects, which account for differences in average usage levels between customers, and an indicator for yr2012. Finally, an interaction term between yr2012 and SDECi participation is also included and provides the estimated coefficient of interest. That is, the coefficient on that variable represents the difference between the average SDEC participant and the average control group customer in their change in average usage between 2011 and 2012.

Table 6–2 presents the estimated coefficients from the fixed-effects model described above.  The right column contains estimated coefficients for a variant of the model where the dependent variable is calculated over non-event days only (i.e. excludes data for six days in 2012 on which PTR events were called). Excluding the 2012 event days in calculating average hourly energy use potentially allows investigation of the confounding effects of the PTR program on energy usage reductions. In both models, the estimated constant term represents average hourly kWh electricity usage in 2011 for treatment and control customers. The second coefficient indicates that average hourly electricity usage for both customer types increased by 0.154 kWh (or 0.146 kWh) in 2012. However, the third coefficient indicates that participation in the SDEC program reduces the 2012 increase by 0.058 kWh (or 0.056 kWh in the second model) to only 0.096 kWh (0.096 = 0.154 – 0.058) in the first model. That coefficient on the interaction term represents the estimated conservation effect and corresponds to the simple difference-in-differences calculation in Table 6–1.

Table 6–2: Basic Fixed Effects Model Estimate of SDEC Conservation Effect

|  | Dependent variable: |
| --- | --- |
| Variable | Average kWh | Average Non-Event kWh |
| Constant | 0.574++ | 0.574++ |
|  | (0.002) | (0.002) |
| yr2012 | 0.154++ | 0.146++ |
|  | (0.004) | (0.004) |
| yr2012*SDEC | -0.058++ | -0.056++ |
|  | (0.006) | (0.006) |
| Observations | 16,906 | 16,906 |
| R-squared | 0.176 | 0.166 |
| Number of service accounts | 7,137 | 7,137 |
| Standard errors in parentheses. ++ p<0.01, + p<0.05 |

As illustrated in Figure 6–2 above, the usage reductions of the average SDEC participant and control group customer appear to take place in all hours of the day. This feature raises questions about what behaviors the treatment customers may have undertaken in order to reduce usage in all hours. In an attempt to verify the conservation findings and to further disentangle weather effects, an additional fixed-effects model was estimated using daily, rather than yearly, average usage data along with a weather variable. The daily fixed-effects model is specified as follows:

Where the additional variables are:

CDD65 equals the difference between the day’s average temperature and 65 if the average temperature is above 65 and equals zero otherwise; and

DTyped is an indicator variable for each day of the week.

This equation models customers’ average hourly kWh electricity usage per day as a function of weather (represented by cooling degree days), day of the week, year, and year interacted with SDEC treatment. Two variations of the model including additional interactions between weather and indicator variables are also estimated. Results for the daily fixed effect-models are reported in Table 6–3.

Table 6–3: Daily Fixed Effects Models of SDEC Conservation Effect

|  | Dependent variable: |
| --- | --- |
| Variable | Average kWh | Average kWh | Average kWh |
| Constant | 0.531++ | 0.531++ | 0.547++ |
|  | (0.001) | (0.001) | (0.001) |
| yr2012 | 0.062++ | 0.060++ | -0.008++ |
|  | (0.001) | (0.001) | (0.002) |
| yr2012*SDEC | -0.059++ | -0.055++ | -0.044++ |
|  | (0.001) | (0.001) | (0.002) |
| Monday | -0.018++ | -0.018++ | -0.017++ |
|  | (0.001) | (0.001) | (0.001) |
| Tuesday | -0.043++ | -0.043++ | -0.038++ |
|  | (0.001) | (0.001) | (0.001) |
| Wednesday | -0.045++ | -0.045++ | -0.040++ |
|  | (0.001) | (0.001) | (0.001) |
| Thursday | -0.064++ | -0.064++ | -0.059++ |
|  | (0.001) | (0.001) | (0.001) |
| Friday | -0.048++ | -0.048++ | -0.049++ |
|  | (0.001) | (0.001) | (0.001) |
| Saturday | -0.018++ | -0.018++ | -0.020++ |
|  | (0.001) | (0.001) | (0.001) |
| CDD65 | 0.016++ | 0.017++ | 0.013++ |
|  | (0.000) | (0.000) | (0.000) |
| CDD65*SDEC |  | -0.001++ | 0.000 |
|  |  | (0.000) | (0.000) |
| CDD65*yr2012 |  |  | 0.009++ |
|  |  |  | (0.000) |
| CDD65*SDEC*yr2012 |  |  | -0.001++ |
|  |  |  | (0.000) |
| Observations | 1,026,768 | 1,026,768 | 1,026,768 |
| R-squared | 0.105 | 0.105 | 0.108 |
| Number of service accounts | 7,138 | 7,138 | 7,138 |
| Standard errors in parentheses. ++ p<0.01, + p<0.05 |

Again, the estimated coefficient on the interaction term yr2012*SDEC represents the conservation effect of interest. In the first model, the conservation effect is estimated to be 0.059 kWh (see bold values in the table), which is very similar to the results presented in Tables 6-1 and 6-2. The remaining two models include interaction terms that allow weather sensitivity to vary across treatment status and across years. This added flexibility results in somewhat smaller conservation estimates of 0.055 and 0.044 kWh. Given the strongly significant coefficients on the interactive variables, a logical conclusion is that the most comprehensive model, shown in the third column does the best job of controlling for as many factors as possible in estimating SDEC conservation effects.

The average hourly conservation effect of 0.044 kWh represents 6.1 percent of the average control group customer usage in 2012, and translates into 1.1 kWh per day, or 129 kWh for the 122 days in June through September. When applied to the 4,633 SDEC participants, the total energy savings are approximately 600 MWh.

# 7. Ex Ante Evaluation

This section describes the ex ante load impact requirements, methods used, assumptions made, and the resulting load impact forecasts.

## 7.1 Ex Ante Load Impact Requirements

The DR Load Impact Evaluation Protocols require that hourly load impact forecasts for event-based DR resources must be reported at the program level and by Local Capacity Area (LCA) for the following scenarios:

- For a typical event day in each year; and

- For the monthly system peak load day in each month for which the resource is available;

under both:

- 1-in-2 weather-year conditions, and

- 1-in-10 weather-year conditions.

at both:

- the program level (i.e., in which only the program in question is called), and

- the portfolio level (i.e., in which all demand response programs are called).

The program-level load impacts include load impacts from customers dually enrolled in PTR and Summer Saver. The portfolio-level load impacts exclude customers enrolled in the Summer Saver program.

## 7.2 Description of Methods

This section describes the methods used to develop reference loads for the relevant customer base and event day-types, and to develop percentage load impacts for a typical event day.

### 7.2.1 Development of Reference Loads and Load Impacts

Reference loads and load impacts for all of the required factors were developed in the following series of steps:

- Define data sources

- Estimate ex ante regressions and simulate reference loads by customer group and scenario

- Calculate percentage load impacts by customer group

- Apply percentage load impacts to the reference loads

- Scale the reference loads using enrollment forecasts

Each of these steps is described below.

Define data sources

In the ex ante forecast, we consider only opt-in alert customers. The majority of these customers are represented by the sample of approximately 17,000 customers. Some additional opt-in alert customers are contained in the sub-set of SDEC customers. These are merged in with the larger sample of customers to represent all opt-in alert PTR customers.

The percentage load impacts that are applied to the reference loads to create hourly load impacts are based upon the ex post load impacts from the 2012 ex post evaluation. Because the ex ante forecast includes non-summer months (i.e., because PTR events may be called in any month of the year) but we do not observe any events during those months, we use information from the Statewide Pricing Pilot (SPP) to adjust the summer load impacts to the conditions in the non-summer months.

Simulate reference loads

In order to develop reference loads, we first re-estimated regression equations for the average customer in each cell defined by climate zone, size, and whether the customer was in SDEC. Separate equations were estimated for the summer months of May through October, and for the remaining non-summer months. These equations were then used to simulate reference loads by customer type under the various scenarios required by the Protocols (e.g., the typical event day in a 1-in-2 weather year).

For the summer months, the re-estimated regression equations were similar in design to the ex post load impact equations described in Section 3.3, differing in two ways. First, the ex ante models excluded the morning-usage variables. While these variables are useful for improving accuracy in estimating ex post load impacts for particular events, they complicate the use of the equations in ex ante simulation. That is, they would require a separate simulation of the level of the morning load. The second difference between the ex post and ex ante models is that the ex ante models use CDH65 as the weather variables in place of the weather variables used in the ex post regressions. The primary reason for this is that ex ante weather days were selected based on current-day temperatures, not factoring in lagged values. Therefore, we determined that this method is the most consistent way of reflecting the 1-in-2 and 1-in-10 weather conditions in the reference loads.

Because PTR events may be called in any month of the year, we estimated separate regression models to allow us to simulate non-summer reference loads. The non-summer model is shown below. This model is estimated separately from the summer ex ante model. It only differs from the summer model in three ways: it includes HDHt variables, where the summer model does not; the month dummies relate to a different set of months; and the event variables are removed (because no event days occurred during the regression timeframe). Table 6–1 describes the terms included in the equation.

Table 6–1: Descriptions of Terms included in the Ex Ante Regression Equation

| Variable Name | Variable Description |
| --- | --- |
| Qt | the demand in hour t for the modeled customer group |
| The various b’s | the estimated parameters |
| hi,t | a dummy variable for hour i |
| CDHt | cooling degree hours |
| HDHt | heating degree hours |
| MONt | a dummy variable for Monday |
| FRIt | a dummy variable for Friday |
| DTYPEi,t | a series of dummy variables for each day of the week |
| MONTHi,t | a series of dummy variables for each month |
| et | the error term. |

Once these models were estimated, we simulated 24-hour load profiles for each required scenario. The typical event day was assumed to occur in August. Much of the differences across scenarios can be attributed to varying weather conditions. The definitions of the 1-in-2 and 1-in-10 weather years were provided by SDG&E.

Calculate forecast percentage load impacts

The ex ante percentage load impacts are based on the estimated ex load impacts from the 2012 program year. That is, we calculate the average hourly percentage load impacts across the event days. To account for the effect of changing weather conditions and seasons on customer price responsiveness, we varied the hourly percentage load impacts from the ex post typical event day using the estimated elasticity of substitution equations from the SPP. In those equations, the elasticity of substitution varies with the weather conditions (the difference between peak and off-peak cooling degree hours), the central air conditioning saturation rate, and season (summer, winter, and “inner” winter).

Using these SPP equations, we simulated the elasticity of substitution for the ex post typical event day using the conditions averaged across the PY2012 event days. We then performed the same calculation for each of the Protocol scenarios. The hourly percentage load impacts for each Protocol scenario were then calculated as the ex post typical event day percentage load impacts multiplied by the ratio of the SPP elasticity of substitution for the Protocol day divided by the value for the PY2012 typical event day.

The uncertainty-adjusted scenarios of load impacts were developed using the variability of the percentage load impacts across the event days. Specifically, we calculated the standard deviation of the percentage load impacts for each hour of the typical event day. These values were adjusted using the SPP-based elasticity ratios described above.

Finally, the percentage load impacts are shifted to account for the event windows required by the Protocols, which are 1:00 to 6:00 p.m. from April through October and 4:00 to 9:00 p.m. in all other months. The event window is reduced from the historical window of seven hours to the forecast window of five hours as follows: the 2nd and 3rd hours of the historical window are averaged together to form the 2nd hour of the forecast window; and the 4th and 5th hours of the historical window are averaged together to form the 3rd hour of the forecast window. To account for the timing of the window, the load impacts are shifted back two hours (for April through October) to four hours (for all other months), with zero load impact values inserted at the beginning of the day.

Apply percentage load impacts to reference loads for each event scenario. In this step, the percentage load impacts were applied to the reference loads for each scenario to produce all of the required reference loads, estimated event-day loads, and scenarios of load impacts.

Apply forecast enrollments to produce program-level load impacts. The enrollment forecast provided by SDG&E was used to scale up the per-customer reference loads and load impacts for each customer group. We then added results across customer groups as necessary for reporting purposes.

## 7.3 Enrollment Forecasts

Table 7–1 shows the PTR enrollment forecast provided by SDG&E, which includes only customers who are assumed to opt into event notification. SDG&E expects a significant increase in these customer between 2013 and 2014 (increasing by 16 percent), with the growth rate converging to 1.1 percent in subsequent years. SDEC customers are assumed to continue in the program in their current numbers, with only those opting to receive PTR alerts included in these enrollments. Increases in enrollment for the remaining customers are spread proportionately across the climate zone and size groups.

Table 7–1: PTR Enrollment Forecast

| Year | August Opt-in Alert Enrollment |
| --- | --- |
| 2013 | 63,221 |
| 2014 | 73,221 |
| 2015 | 73,807 |
| 2016 | 74,675 |
| 2017 | 75,522 |
| 2018 | 76,355 |
| 2019 | 77,183 |
| 2020 | 78,003 |
| 2021 | 78,826 |
| 2022 | 79,658 |
| 2023 | 80,499 |

## 7.4 Reference Loads and Load Impacts

We provide the following illustrative information regarding the load impact forecasts, including the hourly profile of reference loads and load impacts for typical event days; and the pattern of estimate load impacts across months. Figure 7–1 shows estimated reference load, event-day load, and load impacts (right axis) for the portfolio-level results (i.e., excluding Summer Saver customers, since both SS and PTR programs are assumed to be called) for opt-in alert PTR customers on the August peak day in 2015 in the 1-in-2 weather scenario. Figure 7–2 shows program-level results (i.e., including the PTR load impacts of customers who are dually enrolled in the Summer Saver program), for the same scenario.

Figure 7–1: PTR Opt-in Alert Reference Load and Load Impacts – 
(August Peak Day; 2015; 1-in-2 Weather Scenario; Portfolio-level)

Figure 7–2: PTR Opt-in Alert Reference Load and Load Impacts – 
(August Peak Day; 2015; 1-in-2 Weather Scenario; Program-level)

Figure 7–3 illustrates the average event-hour ex ante load impacts for August of each forecast month. Results are differentiated by program versus portfolio level and weather year (1-in2 versus 1-in-10), in units of MW. Load impacts increase more sharply between 2013 and 2014, in parallel with the enrollment forecast. The program-level load impacts shown in the top two lines differ between weather scenarios by more than the portfolio-level results shown in the lower two lines. This outcome is due to the larger size and greater weather sensitivity of the Summer Saver customers, who are included only in the program-level load impacts.

Figure 7–3: PTR Average Event-Hour Load Impacts for August of Each Forecast Year, by Program/Portfolio Level and Weather Scenario (Opt-in Alert Customers)

Figure 7–4 illustrates the pattern of average portfolio-level event-hour load impacts across months in 2015 in a 1-in-2 weather year. Estimated load impacts are greatest during summer months, reaching their highest level in September.

Figure 7–4: Opt-in Alert PTR Portfolio-Level Average Event-Hour Load Impacts:  
by Monthly Peak Day (2015; 1-in-2 Weather Scenario)

All of the tables required by the DR Protocols are provided in an Appendix.

# 8. Conclusions and recommendations

This study found small but statistically significant usage reductions on PTR event days in 2012 for the average of the approximately 41,000 SDG&E customers who opted to receive electronic event notification, or alerts. In contrast, the more than 1 million customers who did not receive PTR alerts showed virtually no usage reductions. Analysis of a separate group of customers who were identified in a post-event survey to identify customers who were “aware” of the event found substantially greater usage reductions among aware customers than for those who were not aware. These results seem to imply that achieving greater PTR event-day load reductions will require more customer education to increase awareness and understanding of the program, and to encourage signing up to receive alerts.

In addition to reporting on the nature of PTR usage impacts, this study found that the program baseline method for calculating usage changes and bill credits performed relatively poorly. In addition to raising fairness issues (e.g., some customers being paid for “false” usage reductions and others not being paid due to under-stated reductions), these results suggest that customers could become wary about the value of attempting to reduce usage. Discussion of ways to improve the CRL, or baseline method seems warranted.

# Appendix A. Model Selection and Validity Assessment

## A.1 Model Specification Tests

A range of model specifications were tested before arriving at the model used in the ex post load impact analysis. The basic structure of the model is shown in Section 3.3. The tests are conducted using average-customer data by customer group, where customer groups are defined by region (coastal or inland), size, and whether they opted to receive an event alert.

The model variations are based on differing methods of characterizing weather conditions. We tested 18 different combinations of weather variables. The weather variables include: heat index (HI); the 3-hour moving average if HI; temperature-humidity index (THI); the 3-hour moving average of THI; the 24-hour moving average of THI; cooling degree hours (CDH), including both a 60 and 65 degree Fahrenheit threshold; the 3-hour moving average of CDH; the 24-hour moving average of CDH; and the one-day lag of cooling degree days (CDD), including both a 60 and 65 degree Fahrenheit threshold. A list of the 18 combinations of these variables that we tested is provided in Table A–1.

Table A–1: Weather Variables Included in the Tested Specifications

| Model Number | Included Weather Variables |
| --- | --- |
| 1 | HI |
| 2 | HI, HI_MA3 |
| 3 | HI, HI_MA3, LagCDD65 |
| 4 | CDH60, LagCDD60 |
| 5 | CDH65, LagCDD65 |
| 6 | CDH65, CDD65, LagCDD65 |
| 7 | HI, CDD60, LagCDD60 |
| 8 | THI, CDD60, LagCDD60 |
| 9 | THI, CDD65, LagCDD65 |
| 10 | CDH60, CDH60_MA3, LagCDD60 |
| 11 | CDH65, CDH65_MA3, LagCDD65 |
| 12 | THI, THI_MA3, LagCDD65 |
| 13 | CDH60_MA3, CDH60_MA24 |
| 14 | CDH65_MA3, CDH65_MA24 |
| 15 | THI_MA3, THI_MA24 |
| 16 | CDH60_MA3, LagCDD60 |
| 17 | CDH65_MA3, LagCDD65 |
| 18 | THI_MA3, LagCDD65 |

The model variations are evaluated according to two primary validation tests:

- Ability to predict usage on event-like non-event days. Specifically, we identified a set of days that were similar to event days, but were not called as event days (i.e., “test days”). The use of non-event test days allows us to test model performance against known “reference loads,” or customer usage in the absence of an event. We estimate the model excluding one of the test days and use the estimates to make out-of-sample predictions of customer loads on that day. The process is repeated for all of the test days. The model fit (i.e., the difference between the actual and predicted loads on the test days, during afternoon hours in which events are typically called) is evaluated using mean absolute percentage error (MAPE) as a measure of accuracy, and mean percentage error (MPE) as a measure of bias.

- Performance on synthetic event days (e.g., event-like non-event days that are treated as event days in estimation), to test for “event” coefficients that demonstrate statistically significant bias, as opposed to expected non-significance, since customers have no reason to modify usage on days that are not actual events. This is an extension of the previous test. The same test days are used, with a set of hourly “synthetic” event variables included in addition to the rest of the specification to test whether non-zero load impacts are estimated for these days. A successful test involves synthetic event load impact coefficients that are not statistically significantly different from zero.

### A.1.1 Selection of Event-Like Non-Event Days

In order to select event-like non-event days, we created an average weather profile using the load-weighted average across customers, each of which is associated with a weather station. We “scored” each day (separately for weekends and weekdays) by comparing the values of HI, CDH65, and the one-day lag of CDH65 to the values for each event day. For example, we calculated the following statistic for each day relative to the first day: abs(HIt – HIEvt) / StdDev(HI). A similar score was calculated for the other two weather measures, and the sum of the three was used to rank the days. We selected the three lowest-scoring days (low scores indicate greater similarity to the event day) for each event day. Days were excluded from the list as necessary (e.g., to exclude other event days).

Table A–2: List of Event-Like Non-Event Days by Event Day Type

| Weekday | Weekend |
| --- | --- |
| 7/13/2012 | 8/18/2012 |
| 8/6/2012 | 9/1/2012 |
| 8/7/2012 | 9/22/2012 |
| 8/8/2012 |  |
| 8/15/2012 |  |
| 8/22/2012 |  |
| 8/30/2012 |  |
| 9/10/2012 |  |
| 9/13/2012 |  |
| 9/19/2012 |  |
| 9/20/2012 |  |

### A.1.2 Results from Tests of Alternative Weather Specifications

As described above, we tested 18 different sets of weather variables for each of 12 customer sub-groups. The tests are conducted by estimating one model for every customer group (12), specification (18), and event-like day (14). Each model excludes one event-like day from the estimation model and uses the estimated parameters to predict the usage for that day. The MPE and MAPE are calculated across the event windows of the withheld days.

Table A–3 shows the adjusted R-squared, mean percentage error (MPE), and mean absolute percentage error (MAPE) for the selected (“winning”) specification for each utility and program, which was specification 14 from Table A-1 (which uses the 3-hour and 24-hour moving averages of CDH65). The values in parentheses are the standard deviations of the statistic across the 18 specifications. The adjusted R-squared values are uniformly high (in excess of 0.96) and vary little across the specifications tested. The bias (measured using MPE) tends to be positive, indicating a tendency for the model to overstate true baselines. However, the bias results are mixed for the most responsive groups found in the bottom two rows of the table (with opt-in notice, in the inland zone, for the medium and large sizes). The biases generally tend to be small. However, the -1.6 percent bias for the high-use, opt-in notice, coastal customers is an exception, and is reasonably large given the relatively small magnitude of the estimated load impacts.

Model error, as measured by MAPE, ranges from 2.0 percent to 7.0 percent across the customer groups. The error rate does not display much variation across the alternative specifications (as indicated by the small standard errors).

Table A–3: Specification Test Results for the “Winning” Model

| Opted into Alert? | Region | Size Group | MPE | MAPE | Adjusted R2 |
| --- | --- | --- | --- | --- | --- |
| No | Coastal | Low Use | 0.3% (0.2%) | 2.0% (0.2%) | 0.988 (0.002) |
|  |  | Medium Use | 0.1% (0.4%) | 2.6% (0.4%) | 0.989 (0.004) |
|  |  | High Use | -1.1% (0.5%) | 3.0% (0.3%) | 0.988 (0.004) |
|  | Inland | Low Use | 0.7% (0.5%) | 3.6% (0.6%) | 0.981 (0.005) |
|  |  | Medium Use | 0.8% (0.7%) | 4.9% (0.9%) | 0.983 (0.005) |
|  |  | High Use | 0.1% (0.6%) | 3.9% (0.9%) | 0.986 (0.005) |
| Yes | Coastal | Low Use | 1.1% (0.2%) | 3.8% (0.2%) | 0.981 (0.003) |
|  |  | Medium Use | 0.2% (0.4%) | 4.0% (0.3%) | 0.984 (0.005) |
|  |  | High Use | -1.6% (0.6%) | 4.8% (0.2%) | 0.982 (0.006) |
|  | Inland | Low Use | 0.4% (0.5%) | 7.0% (0.3%) | 0.963 (0.005) |
|  |  | Medium Use | 0.8% (0.7%) | 5.7% (0.9%) | 0.979 (0.006) |
|  |  | High Use | -0.5% (0.7%) | 4.9% (1.0%) | 0.983 (0.005) |

For each specification, we estimated a single model that included all of the days (i.e., not withholding any event-like days), but using a single set of actual event variables (i.e., a 24-hour profile of the average event-day load impacts). The results of these tests demonstrate the implication on estimated load impacts associated with each tested specification.

Figures A–1 through A–8 show the estimated hourly load impacts for the average event for each of the 18 level models by notice/climate zone/size. (For brevity, we omit the figures for the low-use groups since they account for a very small share of total load impacts.) The first four figures show the results for the “population” customers (i.e., those that did not opt into notification alerts). For each group, the estimated load impacts are uniformly wrong signed during event hours. The specification we selected, which is shown by the bold line, tends to minimize the extent of this effect. The model results show that different weather specifications can have strong effects on estimated load impacts, but cannot completely remove wrong-signed load impacts from the estimates (presumably because there are no load impacts to be found for these groups).

Figure A–1: Average Event-Hour Load Impacts by Specification: Population, Coastal, Medium Use

Figure A–2: Average Event-Hour Load Impacts by Specification, Population, Coastal, High Use

Figure A–3: Average Event-Hour Load Impacts by Specification, Population, Inland, Med. Use

Figure A–4: Average Event-Hour Load Impacts by Specification, Population, Inland, High Use

Figures A-5 through A-8 show the range of estimated load impacts for customers who opted into the alert notifications. The range of estimated load impacts across models tends to be smaller for these customers than it is for the population customers. This is likely due to the fact that the customers exhibited more demand response, such that the event days have a response “signal” to identify. In the absence of that, the event variables will attempt to account for any unexplained variations, which could be positively or negatively signed.

Figure A–5: Average Event-Hour Load Impacts by Specification, Opt-in Alert, Coastal, Med. Use

Figure A–6: Average Event-Hour Load Impacts by Specification, Opt-in Alert, Coastal, High Use

Figure A–7: Average Event-Hour Load Impacts by Specification, Opt-in Alert, Inland, Med. Use

Figure A–8: Average Event-Hour Load Impacts by Specification, Opt-in Alert, Inland, High Use

### A.1.3 Synthetic Event Day Tests

For the specification selected from the testing described in Section A.1.2, we conducted an additional test. The selected specification was estimated on the aggregate customer data, including a set of 24 hourly “synthetic” event-day variables. These variables equaled one on the days listed in Table A–1, with a separate estimate for each hour of the day.

If the model produces synthetic event-day coefficients that are not statistically significantly different from zero, the test provides some added confidence that our actual event-day coefficients are not biased. That is, the absence of statistically significant results for the synthetic event days indicates that the remainder of the model is capable of explaining the loads on those days.

Tables A–4 and A-5 present the results of this test for each customer group, showing only the coefficients during a typical event window of hours-ending 12 through 18. Bold type indicates that the estimated coefficient is statistically significantly different from zero with 90 percent confidence. The majority of the estimated coefficients pass the test (they are not statistically significantly different from zero). The notable exceptions are found in the two coastal high use customer groups, which have six statistically significant coefficients between them. The positive sign of these coefficients indicates the potential that the load impacts are underestimated for these groups. However, Figures A-2 and A-6 show that the estimated load impacts for actual event days are not increased by selecting a different specification. Therefore, while it is possible that the results in the tables indicate that we have conservative load impact estimates, we did not discover a model that improves the situation.

Table A–4: Synthetic Event-Day Tests by Customer Group, Population Customers

| Hour | Coastal | Inland |
| --- | --- | --- |
|  | Low Use | Medium Use | High Use | Low Use | Medium Use | High Use |
| 12 | 0.000 | -0.001 | 0.023 | -0.001 | -0.004 | -0.005 |
| 13 | 0.002 | 0.002 | 0.031 | 0.000 | -0.004 | 0.009 |
| 14 | 0.001 | 0.007 | 0.050 | -0.002 | -0.003 | 0.008 |
| 15 | 0.001 | 0.005 | 0.056 | -0.001 | 0.000 | 0.016 |
| 16 | 0.000 | 0.001 | 0.040 | -0.005 | -0.010 | -0.006 |
| 17 | -0.004 | -0.003 | 0.029 | 0.001 | -0.007 | 0.008 |
| 18 | -0.003 | 0.000 | 0.032 | 0.002 | -0.010 | 0.009 |

Table A–5: Synthetic Event-Day Tests by Customer Group, Alert Customers

| Hour | Coastal | Inland |
| --- | --- | --- |
|  | Low Use | Medium Use | High Use | Low Use | Medium Use | High Use |
| 12 | 0.001 | 0.001 | 0.034 | -0.001 | -0.001 | 0.024 |
| 13 | -0.001 | 0.000 | 0.038 | 0.006 | 0.002 | 0.035 |
| 14 | -0.001 | 0.005 | 0.059 | 0.015 | 0.001 | 0.031 |
| 15 | 0.002 | 0.003 | 0.074 | 0.006 | 0.003 | 0.046 |
| 16 | -0.008 | 0.000 | 0.064 | 0.000 | -0.012 | 0.025 |
| 17 | -0.009 | -0.004 | 0.058 | -0.002 | -0.001 | 0.037 |
| 18 | -0.004 | 0.003 | 0.046 | 0.000 | 0.001 | 0.039 |

# Footnotes

The analysis in this evaluation excludes customers who are enrolled in the Summer Saver air conditioner cycling program, as their PTR load impacts have been estimated in the context of the Summer Saver evaluation. For completeness, the PTR load impacts of the Summer Saver participants are reported in ex post and ex ante tables in this report.

Closer examination of the customer-level results indicates that about 25 to 35 percent of the opt-in alert customers, by group, reduced usage by consistent and statistically significant amounts that were 5 to 6 times the magnitude of the average opt-in alert customer.

Approximately 2,900 Summer Saver participants also opted to receive PTR alerts, and they reduced usage on average by 0.4 kW, or 23 percent, where these greater usage reductions are presumably due to their greater air conditioning usage capacity than non-SS customers.

Since the average customer’s load is approximately 1 kWh per hour during the event window, these errors may be considered to approximate the corresponding percentage errors (e.g., a 0.20 kW error is approximately a 20 percent error).

The opposite was the case for two weekend events, for which the CRLs were generally biased downward, largely due to events being called on days that were considerably hotter than previous weekend days.

SDG&E is also interested in investigating changes in overall energy consumption of SDEC customers, as discussed below.

Usage reductions for Summer Saver participants will be estimated in the evaluation of that program.

The “highest” days are those with the highest total consumption between the event window hours of 11 a.m. to 6 p.m. For events called on weekend or holiday days, the CRL is total consumption during the above hours on the highest of the three preceding weekend days.

The values in the table do not include SDEC participants who were also enrolled in the Summer Saver program, as usage reductions for these customers will be estimated and included in the Summer Saver evaluation.

Customers enrolled in SDEC actually received separate default email alerts from SDG&E, which mention the opportunity to win points through the challenge for usage reductions during the event hours on the following day. Thus, in the SDEC portion of this overall PTR evaluation, we refer to customers who did not opt to receive email or text alerts of Reduce Your Use days as “SDEC Alert Only.”

The use of the morning load variable assumes that variations in the morning load are related to variations in reference loads later in the day; but that the changes in the morning load are not part of the customer’s response to the event itself (e.g., pre-cooling). If customers do shift usage to morning hours, the presence of the morning variable could produce an upward bias in the load impact estimate. (That is, the reference load will be shifted too high under the assumption that exogenous factors have increased the customer’s reference load.) In our experience, there does not appear to be a significant amount of pre-cooling or other load shifting behavior, at least into hours 1 through 10 on event days, and the presence of the morning load variable has helped to estimate more reasonable load impacts in some difficult cases of highly variable loads. We will continue to examine event-day behavior for the 2012 program year to ensure that this remains the case, and remove the variable if we determine that it is not improving the load impact estimates.

The results shown are based on analysis of the sample of opt-in Alert customers. These results are then scaled up to the full group based on appropriate sample scaling factors.

The Summer Saver evaluation is documented in “2012 Ex Post and Ex Ante Load Impact Evaluation of San Diego Gas & Electric Company's Summer Saver Program and Peak Time Rebate Program for Summer Saver Customers,” April 1, 2013, by Freeman, Sullivan and Company.

Like the current study, the evaluation of PTR load impacts for Summer Saver participants found no significant usage reductions for those who did not opt to receive PTR alerts.

To simplify the calculation of confidence intervals, the values in this table are developed from group-level models, rather than the customer-level regressions, where the groups are distinguished by climate zone and customer size. Load impact coefficients and standard errors from the six group-level models for the opt-in Alert and non-alert population were then combined using appropriate sample scaling factors to produce standard errors for the two overall groups.

Some have referred to the case of over-payments as “free ridership,” presumably as an analog to the case of customers receiving energy efficiency payments for actions that they would have taken in any case. However, the analogy is not strictly appropriate for demand response programs, since customers have no incentive to reduce usage without the bill credit offer. In addition, others have pointed out the importance of the flip side of under-payments in cases where the CRL under-states what customers’ loads would have been on an event day. It is generally accepted that the best estimate of that load is the reference load implied by the customer-level ex post regressions.

By convention, reductions in usage are shown as positive values and increases in usage as negative values.

Since the average values of the true baseline during event hours are close to one kWh/hour, the errors shown in the table (which are also in units of kWh per hour) may be interpreted as approximately equal to percentage errors (e.g., an error of 0.2 kW is approximately 20% of the true baseline load).

As noted above, matched population service accounts are weighted based on the number of SDEC participants to which the account is matched.

Averaging over 24 hours, the mean percent error (MPE) between treatment and control group load profiles is -0.2% and the mean absolute percent error (MAPE) is 1.2%. When analyzed by zip code, of which there are 29, there is somewhat more variation between treatment and control load profiles. However, the fit is still quite good. All zip codes but one have MPEs between -1.3% and 0.8% and MAPEs less than 3.8%. The outlying zip code, which only has 21 of 4,227 SDEC customers included in this analysis, has an MPE of -6.5% and a MAPE of 9.9%.

Although these models are estimated by a fixed effects estimator, the procedure is equivalent to ordinary least squares when a dummy variable, or indicator variable, is included for each customer.

Conservation effects during all hours were also verified by estimating 24 hourly fixed-effects models, yielding hourly estimates of conservation. While there was variation from hour to hour in the size of the effects, all 24 hours showed load reductions ranging from -0.04 kWh to -0.083 kWh.

Behaviors such as reducing thermostat set points could result in such shifts in usage patterns to the extent that air conditioning is needed during overnight hours.

SDG&E’s entire service area is considered to be one LCA.

The California SPP included a voluntary CPP rate for residential and small commercial customers, as well as a TOU rate, an information-only component, and a residential enabling technology component. Customers’ price response was modeled by a demand model for which an elasticity of substitution and overall elasticity were estimated. In this study, we used the relevant model for voluntary CPP.

Heating degree hours (HDH) was defined as MAX[0, 60 – TMP], where TMP is the hourly temperature expressed in degrees Fahrenheit. Customer-group-specific HDH values are calculated using data from the most appropriate weather station. In the non-summer model, CDH variables are also calculated with a threshold of 60 degrees Fahrenheit.

Note that the ex ante protocols specify a five-hour event window, so PTR load impacts are shown only for those hours. This contrasts with the seven event hours shown in ex post results.

Ex ante event hours are 1 p.m. – 6 p.m. in summer and 4 p.m. – 9 p.m. in non-summer months.

A separate set of validation models was estimated for the SDEC customers, using average customer load profiles for four customer groups defined by climate zone and whether the customer opted into event notification (versus being defaulted onto it).

HI = c1 + c2T + c3R + c4TR + c5T2 + c6R2 + c7T2R + c8TR2 + c9T2R2 + c10T3 + c11R3 + c12T3R + c13TR3 + c14T3R2 + c15T2R3 + c16T3R3, where T = ambient dry-bulb temperature in degrees Fahrenheit and R = relative humidity (where 10 percent is expressed as “10”). The values for the various c’s may be found here: http://en.wikipedia.org/wiki/Heat_index.

THI = T – 0.55 x (1 – HUM) x (T – 58) if T>=58 or THI = T if T<58, where T = ambient dry-bulb temperature in degrees Fahrenheit and HUM = relative humidity (where 10 percent is expressed as “0.10”).

Cooling degree hours (CDH) was defined as MAX[0, Temperature – Threshold], where Temperature is the hourly temperature in degrees Fahrenheit and Threshold is either 60 or 65 degrees Fahrenheit. Customer-specific CDH values are calculated using data from the most appropriate weather station.

Cooling degree days (CDD) are defined as MAX[0, (Max Temp + Min Temp) / 2 – Threshold], where Max Temp is the daily maximum temperature in degrees Fahrenheit and Min Temp is the daily minimum temperature. Customer-specific CDD values are calculated using data from the most appropriate weather station.

It is also possible that the event-like non-event days are sufficiently different from the actual event days that the results of Table A-4 represent differences in the model’s ability to explain usage on the different types of event days, rather than indicating that the model systematically underestimates load impacts for two of the twelve customer groups.