BEFORE THE PUBLIC UTILITIES COMMISSION

OF THE STATE OF CALIFORNIA

| Application of Southern California Edison Company (U 338 E) for Approval of Demand Response Programs, Goals and Budgets for 2009-2011 | Application 08-06-001 (Filed June 2, 2008) |
| --- | --- |
| Application of San Diego Gas & Electric Company (U 902 M) for Approval of Demand Response Programs and Budgets for Years 2009 through 2011 | Application 08-06-002 (Filed June 2, 2008) |
| Application of Pacific Gas and Electric Company For Approval of 2009-2011 Demand Response Programs and Budgets (U 39 E) | Application 08-06-003 (Filed June 2, 2008) |

DATA RESPONSE OF SAN DIEGO GAS & ELECTRIC COMPANY (U 902 M) REQUIRING ADDITIONAL COST-EFFECTIVENESS INFORMATION

STEVEN D. PATRICK

Attorney for:

SAN DIEGO GAS & ELECTRIC COMPANY

555 W. Fifth Street, Suite 1400

Los Angeles, CA   90013-1011

Telephone:  (213) 244-2954

Facsimile:   (213) 629-9620

E-mail:	  spatrick@sempra.com
Dated:  February 23, 2009

BEFORE THE PUBLIC UTILITIES COMMISSION

OF THE STATE OF CALIFORNIA

| Application of Southern California Edison Company (U 338 E) for Approval of Demand Response Programs, Goals and Budgets for 2009-2011 | Application 08-06-001 (Filed June 2, 2008) |
| --- | --- |
| Application of San Diego Gas & Electric Company (U 902 M) for Approval of Demand Response Programs and Budgets for Years 2009 through 2011 | Application 08-06-002 (Filed June 2, 2008) |
| Application of Pacific Gas and Electric Company For Approval of 2009-2011 Demand Response Programs and Budgets (U 39 E) | Application 08-06-003 (Filed June 2, 2008) |

DATA RESPONSE OF SAN DIEGO GAS & ELECTRIC COMPANY (U 902 M) REQUIRING ADDITIONAL COST-EFFECTIVENESS INFORMATION

Pursuant to Administrative Law Judge’s Ruling of February 11, 2009, San Diego Gas & Electric Company (“SDG&E”) submits its response to a data request from the Energy Division dated February 10, 2009 in the above-captioned proceeding.  The data request asked all three investor-owned utilities to provide more information on the inputs and formulas used in their respective cost-effectiveness calculations.  The data response is included as Attachment A.  Confidential pricing data has been redacted from the public version.

Respectfully submitted

By:       						        							Steven D. Patrick

Attorney for:

SAN DIEGO GAS & ELECTRIC COMPANY

555 W. Fifth Street, Suite 1400

Los Angeles, CA   90013-1011

Telephone:  (213) 244-2954

Facsimile:   (213) 629-9620

E-mail:	  spatrick@sempra.com

Dated:   February 23, 2009

CERTIFICATE OF SERVICE

I hereby certify that I have this day served a copy of the foregoing DATA RESPONSE OF SAN DIEGO GAS & ELECTRIC COMPANY (U 902 M) REQUIRING ADDITIONAL COST-EFFECTIVENESS INFORMATION by electronic mail to each party of record in A.08-06-001, A.08-06-002 and A.08-06-003.  Any party on the service list who has not provided an electronic mail address was served by placing copies in properly addressed and sealed envelopes and by depositing such envelopes in the United States mail with first-class postage prepaid.

Copies were also sent via Federal Express to Administrative Law Judge Jessica T. Hecht and Commissioner Rachelle B. Chong.

Dated at Los Angeles, California this 23rd day of February 2009.

Marivel Munoz

The cost-effectiveness data provided by the utilities is not sufficient to enable the Commission to determine the accuracy of the utilities’ cost-effectiveness estimations.  We ask that each utility provide:

Question 1: Any work papers associated with the cost-effectiveness calculations included as part of testimony submitted on September 19, 2008

SDG&E Response 1:

See attached Work Papers of Kevin McKinley.

Question 2: For each program in Table 1, provide the information in Tables 2 - 4 below in a spreadsheet.  Please include all data in the spreadsheet itself so that it does NOT contain any external links.

Table 1

All IOUs

CBP Day-Ahead

CBP Day-of

BIP

CPP

SDG&E

Summer Saver

SCE

DBP

Summer Discount

AP1

RTP

PG&E

DBP

AMP

Smart AC

Smart Rate

BEC-SF

BEC-other

PLS

Peak Choice

Note: CBP day-ahead and day-of should be treated as two separate programs.

Question 2-Continued

For each program and each SPM test (excluding the Participant Test), provide the lifecycle total benefits and costs used to compute the benefit/cost ratio that was included in your testimony.  Discount the lifecycle costs to the same year as used in your program filings.  Use 1 in 2 Load Impact data and the individual program calculation (not the portfolio calculations).  Add any additional costs and benefits not listed in the tables that were used to compute the B/C ratio for each program.  Include adders used only for sensitivity analysis as a row in the table but not in the totals or the B/C ratio.  For example, the GHG adder in the Table 2 below is included as a benefit, but would not be included in the total.

Table 2

| Total Resource Cost Test (NPV $) |
| --- |
| Costs | Benefits |
| Administrative Costs |  | Avoided Capacity Costs |  |
| Total Equipment Costs |  | Avoided Energy Costs |  |
| Participant Costs |  | Avoided T&D Costs |  |
|  |  | [Avoided GHG] |  |
| Total |  | Total |  |
| B/C Ratio (Should Match 2009-2011 Program Filing) |  |

Table 3

| Program Administrator Test (NPV $) |
| --- |
| Costs | Benefits |
| Administrative Costs |  | Avoided Capacity Costs |  |
| Utility Equipment Costs |  | Avoided Energy Costs |  |
| Incentive Payments |  | Avoided T&D Costs |  |
| Total |  | Total |  |
| B/C Ratio (Should Match 2009-2011 Program Filing) |  |

Question 2-Continued

Table 4

| Ratepayer Impact Measure (NPV $) |
| --- |
| Costs | Benefits |
| Revenue Loss from Decreased Sales |  | Avoided Capacity Costs |  |
| Administrative Costs |  | Avoided Energy Costs |  |
| Utility Equipment Costs |  | Avoided T&D Costs |  |
| Incentive Payments |  | Penalty payments |  |
| Total |  | Total |  |
| B/C Ratio (Should Match 2009-2011 Program Filing) |  |

SDG&E Response 2:

Answers are on the attached Workbook Tables 2, 3 and 4

Question 3. For each benefit and cost used to compute B/C ratios, please provide a brief written explanation (one or two paragraphs) of how that benefit or cost was determined.  Include references to previously-submitted testimony or documents in this proceeding or in R. 07-01-041.

For avoided capacity costs, please provide a brief explanation of how the effective avoided cost for that particular program was derived from the incremental capacity value using adjustments such as SCE’s A and B factors for program availability and notification, line losses, and reserve margins.

This explanation should include a list of the inputs used to compute that cost or benefit, and the details of the computation.   An example of the type of explanation required is: “The inputs to the avoided capacity cost for this program are incremental capacity value, line losses, reserve margin, load impacts, A factor and B factor.  The incremental capacity value of $120 is calculated on Vol. III page 45 of our 9/19/08 Amended Testimony.  Load impacts for this program are in Vol. X page 211 of our 9/19/08 Amended Testimony.  The monthly A factors for this program are found on page 12 of the data response in R. 07-01-041 submitted on August…”  For avoided T&D cost, please explain the extent to which the right place, right certainty and/or right time criteria apply to that program and how the determination of the extent to which that program avoids T&D costs was made.  If that calculation was not made previously, please attempt – to the best of your ability – to provide a rough estimate of the extent to which the avoided T&D cost should apply to each program.

SDG&E Response 3:

Costs

1) Administrative Costs: The following values were included in the program budgets and therefore included in the cost effectiveness calculations:

- Administrative and General (A&G) costs

- related labor costs of the program;

- pension costs and benefits;

- payroll taxes;

- short-term incentive payments (collectively “labor overhead costs”);

SDG&E Response 3-Continued:

b. The following values are not in the budgets and therefore not in the cost effectiveness calculations:

- regulatory costs;

- community affairs costs;

- legal expenses

2) Participant Costs: Customer costs remain an area of needed research in evaluating DR programs.  In lieu of any data that quantitatively estimates customer costs when responding to DR programs, SDG&E has used the incentive payment as a proxy for these costs.  Theoretically, customers use incentive payments to offset their costs in responding to demand side management programs.  As a result, the incentive payment, in SDG&E’s view, is a reasonable proxy for customer costs until such a time as better information becomes available. This approach is consistent with section B.3 of the parties’ CE framework.  See McKinley Testimony Page 3.

3) Incentive Payments: Payments made to customers to help offset the costs of buying and installing Energy Efficient equipment.  These values come from the program budgets and are estimated based on what program managers feel will be necessary to promote the measure and achieve CPUC goals.

4) Revenue Lost from Decreased sales:  Revenue lost to other ratepayers when an Energy Efficient measure is installed. It is calculated by taking the kWh reduction due to the installation of EE measure times the appropriate rate for the customer installing the measure.

SDG&E Response 3-Continued:

Benefits

1)  Avoided Capacity: The parties’ CE Framework provided that the generation capacity costs avoided by a DR program will be based on the annual market price ($/kW-year) of the capacity of a new combustion turbine (CT), annualized using a real economic carrying charge rate that takes into account return, income taxes, ad valorem taxes and depreciation, with fixed O&M added, and reduced to reflect expected “gross margins” earned by selling energy (“CT cost”).

SDG&E is committed to using public data in its analysis of the cost-effectiveness of DR programs to the extent possible.  The latest available public information on the cost of peaking capacity in San Diego County is the cost of the Miramar II peaking plant, proposed for completion in 2009.  This type of peaking plant, an LM 6000 combustion turbine, is typical of the type of plant SDG&E would expect to be installed in its service territory in the 2009-2011 time frame but for DR programs.

The cost of the Miramar II plant includes construction and environmental costs specific to San Diego as well as other fixed costs including property taxes that are also specific to San Diego.

SDG&E Response 3-Continued:

The capital costs of $1,215 per kW are contained in SDG&E’s RFO Contract Approval Request, filed June 16, 2008, while the Operating & Maintenance costs are assumed to be consistent with the operating characteristics of Miramar I as filed in SDG&E Advice Letter 1621-E.

The 2009 CT installed costs are then converted to an annual kW-year figure based on a real economic carrying charge (RECC) similar to the approach shown in the direct testimony of James S. Parsons in SDG&E’s GRC Phase 2 (A.07-01-041) except to update the cost of capital from 8.23 percent to 8.40 percent, consistent with the recent Commission-adopted change in SDG&E’s cost of capital.  The RECC factor is based on a 25 year book life, 15 year federal tax life, 20 year state tax life, federal tax rate of 35 percent, state tax rate of 8.84 percent, and an ad valorum tax rate of 1.207 percent (ad valorum taxes are included within the RECC factor rather than the fixed O&M).  The full capacity value is calculated as $135 per kW-year.

As described in section C.1 of the parties’ CE Framework, the above capacity value is reduced to reflect expected “gross margins” that could be earned by the CT in selling energy into the wholesale market.  SDG&E has calculated “gross margins” using the same expected electric market prices as are used in the electricity price calculation based on the hourly price profile from the year 2012 of the LTPP adjusted for average electric market prices in 2009-2011.

SDG&E Response 3-Continued:

A stochastic method was employed to reflect the uncertainty of and the correlation between wholesale market electric price and natural gas prices, and the relationship between those prices when the CT is operating.  Based on a simulation analysis, gross margins were calculated to be $22 per kW-year.

The resulting $113 per kW-year is adjusted upward for two factors per section C.1 of the parties’ CE Framework – line losses and avoided reserve margin.  The line loss factor is estimated to be 9.34 percent based on losses at peak from the California Energy Commission (CEC) report, CEC-200-2007-015-SF.  The line loss factor from the CEC report is specific to peak line losses in San Diego.  The annual generation capacity reserve margin SDG&E must maintain during the program evaluation period to comply with resource adequacy requirements established by the CPUC is 15 percent.  For each MW of peak reduction, the DR program also reduces the need for SDG&E to add capacity to maintain a 15 percent reserve margin.  The capacity value of DR programs without usage or availability constraints equivalent to the full annualized and adjusted CT cost is thus calculated to be $142 per kW-year.

For DR programs with constraints on their availability and/or how often they can be used, SDG&E uses an hourly stochastic method consistent with parties’ CE Framework section C.2 that takes into consideration the capacity value of the DR programs during those the highest-valued periods in which the program is available and can be used.

SDG&E Response 3-Continued:

The value of generation capacity in those periods is determined by allocating the annual market value of generation capacity among the hours of the year in proportion to the relative need for capacity in those hours but for the DR programs.  For DR programs available from May through October from 11 am to 6 pm on weekdays, the value of this capacity is 73 percent of the full cost of a CT.  That is, the likelihood of the need for added capacity will occur 73 percent of the time in those hours that the DR programs are available.  The remainder will occur in the winter on-peak periods, summer semi-peak periods, and on summer off-peak hours (weekend and holiday afternoon hours).

SDG&E has used the 73 percent value for all DR programs available during the summer, even those with a limit of 4 hours, because they are available for any consecutive 4 hours within the 11-6 pm time period. Because of the flexibility in design, SDG&E has the ability to call any consecutive 4 hours within the 11- 6 time frame, thus likely avoiding demand in the peak hours within the period.  On the other hand, the Base Interruptible Program, which can be called 30 times at any time of the year, has its value reduced to only 98 percent of the full, adjusted value of a CT. See McKinley Testimony at page 4.

SDG&E has also attempted to quantify only the relative value of day-ahead versus day-of notification programs.  In the ancillary services market, a CT with 10 minute start-up capability can earn revenues for being available if needed.  These revenues are part of the revenue stream along with gross margins earned in the energy market.

SDG&E Response 3-Continued:

SDG&E has assumed that the value for any day-of notification DR program is the same as provided by a CT for purposes of this valuation.  No discount or adjustment is proposed for notification periods longer than 10 minutes; and similarly, no adjustment is made for DR programs that can provide load reductions faster than 10 minutes.

However, SDG&E has provided for a discount to day-ahead programs based on potential forecast errors and potential unexpected events.  In a day-ahead DR program, the customer must be notified the day prior to being called upon to reduce load.  In most cases, forecasts will be sufficiently close to actual outcomes, and the day-ahead program will provide as much value as a day-of program.  However, in cases where unexpected events occur or weather forecasts badly miss the mark, a DR program’s load reduction could be needed, but would not be available because it was not called the day before.  SDG&E has tried to quantify this effect in a simple and understandable way based on historical data.

For this analysis, SDG&E has assumed that “system stress” occurs when its peak exceeds 3,800 mW and peak CAISO loads exceed 44,000 MW.  SDG&E DR programs are generally not triggered when peak load is less than 3,800 MW.  The statewide value was determined by the lowest peak demand associated with a CAISO called stage 1 alert in the summer months over 2004-2007.

SDG&E Response 3-Continued:

The first type of DR program trigger for SDG&E is a weather trigger for San Diego.  Analysis of the weather trigger of 87 degrees at the Miramar weather station on the top twelve peak load days shows that over the period 2004 through 2007, the forecast trigger would have failed to call the DR program on an actual peak day 23 percent of the time.  However, for many of those days, the statewide system was not stressed and statewide resources would be more than adequate to handle the San Diego weather forecast failure.  However, overall 8 percent of the time, peak days in San Diego occurred when the day-ahead weather trigger failed and the statewide system was under stress (peak greater than 44,000 MW) and the statewide day-ahead forecast was an underestimate of the resources needed the next day.  In the times when the system is in stress and the CAISO is dealing with an under-forecast statewide, the CAISO would not have excess resources available to provide to San Diego.  Thus 8 percent of the time the failure of the day-ahead trigger would have deprived SDG&E of significant resources needed to meet peak demand.    The second type of trigger is a price trigger based on market prices.  For example, the Capacity Bidding Program trigger is based on the day-ahead price for the SP-15 “super peak” product.  The program may be called when the market price exceeds the trigger price based on 15 MMbtu/MWh times the burnertip gas price expressed in MMBtu.  The market prices are based on market participants’ expectations of the next day prices, which in turn are based on expected demand and supply for electricity.  To the extent the forecast of market participants in the day-ahead market significantly underestimates the next day’s conditions, a DR program based on the price trigger may not be called.

SDG&E Response 3-Continued:

To assess the forecast error for this trigger, SDG&E analyzed peak load data on the days between July and September for 2004 through 2007.  Market participants’ expectations are assumed to be the same as the CAISO’s day-ahead forecast.  Analysis of the errors in the trigger involves looking at days with CAISO actual demand in excess of 44,000 MWs.  For each of those days, a forecast error was determined to have occurred if the demand forecast was more than 1,000 MWs less that the actual system load (2.2 percent).  Based on the data reviewed, forecast errors that were significant underestimates occurred roughly 13 percent of the time with both a 44,000 MW stress level and a 43,000 MW stress level criteria.

Based on the data reviewed, a discount for day-ahead programs of 10 percent seems reasonable and appropriate.  See McKinley Testimony page 10.

2) Avoided T&D: In D.03-02-068, the Commission describes a distribution planning process that accounts for distributed generation (DG) on the utility distribution system.  The process is based on the record developed in R.99-10-025 and the Distribution Report published by the Energy Division on April 17, 2000, which discusses in depth how SDG&E operates and plans its distribution system and the impact of DG on the distribution system.  D.03-02-068 requires DG to meet four criteria  - -  right time, right size, right place, and “physical assurance” - -in order to allow SDG&E to avoid any T&D costs.  Physical assurance provides a guarantee that the customer load will not increase if the DG unit does not perform; this minimizes the impact of the customer on the distribution system.

SDG&E Response 3-Continued:

The same principles apply to DR programs.  For most DR programs, customer participation is voluntary and typically involves no long-term commitment, thus providing no assurance of load reduction (physical assurance).  Further, in some cases there are no penalties for non-performance, making the estimate of load reduction highly uncertain.

But for some programs, physical assurance is created by a technology solution giving the utility control of equipment.  In those cases, there are avoided T&D costs if the remaining criteria of D.03-02-068 are present: right location, right size, and right time.  In addition, with enough dispersed small load reductions, there will be some statistical regularity in the aggregation of many small sources that can be relied on.  The statistical regularities provide a form of physical assurance.

The parties’ CE Framework for T&D in section E.2 calls for utilities to establish a default avoided T&D cost which will be applied to DR programs which meet “right place” and “right certainty” criteria.  The default avoided T&D costs is calculated from marginal transmission and distribution costs by using the component of these marginal costs associated with non-ISO transmission and distribution substation equipment, which is principally related to transformer capacity.  For DR programs with physical assurance through technological solutions, the default 2009 T&D avoided cost is $28 kW-year.  This value is based on the analysis of incremental distribution costs avoided or deferred by lowering peak demand through the demand response programs enabled by the automated metering infrastructure proposed in A.05-03-015.

SDG&E Response 3-Continued:

The 2005 value of $22 per kW-year was adjusted to an RECC basis and updated for the escalation in costs since 2005.

For DR programs with physical assurance through statistical regularities of widespread participation of small customers, the $28/kW-year figure is discounted by the ratio of MWs avoided at the 10th percentile to the MWs avoided at the 50th percentile as measured by the load impact protocols.  The more uncertain the load reduction, the lower the value of the DR program in avoiding T&D costs.

3) Avoided Energy: Consistent with the parties’ CE framework, the value of avoided electricity generation is based on wholesale energy prices averaged over the highest-price hours of an hourly price forecast based on average year conditions.  For DR programs where the trigger is not a price trigger, SDG&E has used the hourly load profile from its resource planning model in conjunction with average forward market electric prices in 2009 through 2011 to calculate energy prices in the highest-price hours.  For programs with specific price triggers, SDG&E has used the higher of the price trigger and the wholesale energy prices averaged over the highest-price hours.

With DR resources, SDG&E would purchase less energy during summer peak hours.  Therefore, DR programs allow SDG&E to avoid electric T&D line losses on the SDG&E system since the energy would not be transported through the SDG&E system.

SDG&E Response 3-Continued:

The calculation of this benefit is based on the summer on-peak line losses at the secondary level adopted for EE in D. 05-04-024 of 8.1 percent. See McKinley Testimony at page 9.

4) Avoided GHG: Environmental avoided costs are based on section F.4 of the parties’ CE Framework. DR reduces CO2 by avoiding the energy that would otherwise be produced by a CT, resulting in greenhouse gas (GHG) benefits compared to the operation of a CT.  The values of these benefits are based on the maximum pollution rates and the avoided cost values in the Energy Efficiency analysis, adopted in D.05-04-024.

For DR programs that shift load away from peak hours, an offset in benefit is included for the hours in which increased energy is used.  The hourly prices are calculated consistently with the avoided energy costs described above. See McKinley Testimony at page 9.

Question 4: For each category of cost or benefit used in response to question (2), provide the information in Table 5 below in a spreadsheet.  If a different formulation is used for different programs, please provide all formulations and indicate which programs have which formulation.  For  each cost or benefit in the first column, provide in the second column a list of the inputs used to compute that cost or benefit, and in the third column the ‘simplified’ mathematical formula used to compute the cost or benefit in the third column.  Provide only “simplified” formulas – in other words, for the purpose of filling out this table, ignore any discounting or that some of the inputs are time-varying.  Illustrative examples are provided in the table below.  For each cost or benefit, add, delete, or change the given inputs and formulas below as necessary.  Note that this table is essentially a summary of the information provided in question #3 above.  In the fourth column please state the frequency over which the cost or benefit is computed.

Table 5

| Cost or Benefit | Inputs | Formula | Time period |
| --- | --- | --- | --- |
| Avoided Capacity Costs | Avoided Capacity Cost in $/kW-Month (ACC), Load Impact in kW (LI) | ACC*LI | monthly |
| Avoided Energy Costs | Avoided Energy Cost $/kWh (AEC), Load Impact in kW (LI), expected event hours (hr) | AEC*LI*hr | hourly |
| Avoided T&D Costs | Avoided T&D Cost in $/kW-Yr, Load Impact in kW, right certainty factor, right place factor, right time | ATDC*LI*rc*rp*rt | annually |
| Incentive Payments | For each incentive payment, show the units (i.e. customer, $/kW, $/AC-Ton, % bill reduction), units enrolled or reduced (accounts, kW, AC-tons etc.), frequency of payment (month, summer months, curtailment event) and number of payments expected per year per customer (i.e. months enrolled, number of events per year) | per incentive type. (i.e. $/kW * kW enrolled * months enrolled) | per incentive type |
| Penalties | For each penalty, show the units (i.e., $kW, $kWh) and expected penalties incurred per year (in penalty units and $) |  |  |

| Participant Costs | Equal to Incentive Payments or percentage thereof? |  |  |
| --- | --- | --- | --- |
| Revenue Loss from Decreased Sales | Rates, Load Impact in kW |  | hourly |
| Administrative Costs |  |  | annually |
| [add as needed] |  |  |  |

SDG&E Response 4:

Answered in Table 5 of the attached Workbook

Question 5: Provide a spreadsheet that calculates the NPV of each component of costs and benefits in Table 5 for each program in Table 1.  An example of such a table is provided in Table 6 below.  Use the same or similar table format in your response.

SDG&E response:

Answered in Table 6 of the attached Workbook

Table 6: Continued

Question 6. Please provide the any overhead and administrative costs that are tracked at the portfolio level and not included by program in your response to question 2 and 5 in the format provided in Table 7.

Table 7

| Portfolio Costs ($/year) | 2009 | 2010 | 2011 |
| --- | --- | --- | --- |
| Allocated Overhead |  |  |  |
| Marketing & Outreach |  |  |  |
| EM&V |  |  |  |
| [insert others as needed] |  |  |  |
| Total |  |  |  |

All tables can be found in the attached spreadsheet.  Please note that each IOU is required to fill out each of the above tables separately for each program.  Submitting some or all of the data in an alternate format is not acceptable.  If, for any reason, you cannot comply with any part of this data request, you must contact Energy Division as soon as possible.

SDG&E Response 6:

SDG&E does not have any additional overhead and administrative costs not included in the programs.

# Footnotes

such as those referred to in SDG&E Testimony of  Kevin C. McKinley, p. 5, footnote 8, and p. 6-18 of PG&E’s Amended Testimony.

CE Framework, C.1, pages 2-3.

Consistent with CE framework section C.4, a plant in SDG&E’s service territory was utilized for analysis...

The Miramar II plant is based on wet cooling technology and also includes “black start” capability. The costs should be adjusted downward to remove the cost of black start capability which DR cannot provide, but increased for the cost of dry cooling since future plants are likely to have dry cooling.  The cost of dry cooling is assumed to be roughly equal to the cost of black start capability.

SDG&E’s RFO Contract Approval Request, filed June 16, 2008, page 27, $56.5 million for the 46.5 MW plant.

The Miramar II plant is based on the same LM6000 technology as the Miramar I plant. Operating costs are assumed to be similar, so the escalated cost data from Miramar I is used where comparable data is not available on Miramar II.

See workpapers for more detail.

The simulations were completed using Crystal Ball software based on historical data on mean reversion rates, correlations, and market price volatilities.  The characteristics of the CT are averages over the lifetime of the CT and forward price relationships from forward markets in 2009-2011 are assumed to be representative of the average price relationships over the lifetime of the CT. See workpapers for more details.

See workpapers for added description.

This is consistent with Section F.2 of the parties’ Consensus Framework, that a CT will not be given any more value than a DR program because it can provide ancillary services versus day-of DR programs with longer notification periods.

It is noted that the weather forecast failure figure increases to 17 percent if the statewide stress criteria were to be lowered to 43,000 MW.

Consistent with CE Framework section E.3.

CE Framework section E.4 includes a requirement that the DR have sufficient certainty of providing long-term reduction

See spreadsheet, cpucavoided26.xls, emissions tab, available at www.ethree.com.