QUESTION 19.1:

- With respect to wp_anderson 10.xls as it compares with SoCalGas’ response to IWC-01, Q.1.5, which is replicated below for your convenience:

wp_anderson 10.xls:

SoCalGas response to IWC-01, Q.1.5:

  - The SoCalGas response to IWC-01, Q.1.5 shows the peak day demand of each customer class by year for the last ten years.  The average of the SoCalGas EG peak day demand over the last five years is 586 MMcfd.  The file wp_anderson 10.xls, however, projects a peak day demand for EG between 671 and 1074 MMcfd.  For each scenario, please explain in detail what assumptions account for the substantial increase in the projected peak day load relative to the historical peak day loads.

  - What portion of the projected peak day load growth (Q.19.1.1) is expected to occur with customers that are served at the transmission level versus those served at the distribution level?

  - The SoCalGas response to IWC-01, Q.1.5 shows the peak day demand of each customer class by year for the last ten years.  The average of the SDG&E EG peak day demand over the last five years is 138 MMcfd.  The file wp_anderson 10.xls, however, projects a peak day demand for EG between 147 and 208 MMcfd.  For each scenario, please explain in detail what assumptions account for the substantial increase in the projected peak day load relative to the historical peak day loads.

  - What portion of the projected peak day load growth (Q.19.1.3) is expected to occur with customers that are served at the transmission level versus those served at the distribution level?

RESPONSE 19.1.1:

The data provided in response to IWC-01, Q1.5 was data based on the largest single day for the combined SoCalGas and SDG&E system during that year. The largest send out in a given year may be driven by high core load, as was the case in 2007, or by high EG load as was the case in 2000 and 2001.  The table shows that the amount of EG load on the peak system day can vary substantially from year to year due to many factors including whether the peak day was driven by high core or non-core loads and events that impact EG demand such as electric demand, generating resources availability, and transmission constraints.  Also since this table is based on the days of highest total demand, the values for EG load in this table may or may not be the highest or even near the highest EG load that occurred during winter in that year.

The forecasted values in wp_Anderson.xls are based on the single highest forecasted EG demand in December of each year.  Thus, the two tables show two different things and thus one can’t directly compare the two tables.  The forecast for future years also includes resources that did not exist in the historical values. From now to 2011, over 2600 MW of new gas-fired generating resources were forecasted to be added in SDG&E and SoCalGas territories that weren’t in any of the historical years. There were more gas-fired plants added after 2011. All of these additional gas-fired plants could add to the peak demand that weren’t in the historical data.

RESPONSE 19.1.2:

Beyond the BCAP period, which uses the CGR forecast, units were not modeled with a distinction between transmission and distribution service levels. Thus, the data are not available to calculate the percentage beyond BCAP period, which is shown below.

RESPONSE 19.1.3:

See response to 19.1.1

RESPONSE 19.1.4:

See response to 19.1.2.

QUESTION 19.2:

- Is the EG and Large Cogen Forecast presented in Table 1 of Mr. Anderson’s testimony a forecast of average year throughput?

RESPONSE 19.2:

The annual gas throughput forecast in Table 1 was based on average year assumptions for hydro conditions and electric load demand.

QUESTION 19.3:

- Please explain footnote 3 as it pertains to the forecast in Table 1.

RESPONSE 19.3:

There is one electric generation plant in SoCalGas Service area that is served by a wholesale customer of SoCalGas.  Its gas volumes are included in the wholesale loads.

QUESTION 19.4:

- Please separate the EG and Large Cogen Forecast presented in Table 1 of Mr. Anderson’s testimony into the following categories:  Small Distribution level EG/Cogen, Small Transmission level EG/Cogen, Large Distribution level EG/Cogen, Large Transmission level EG/Cogen.

RESPONSE 19.4:

The table below shows the requested data for the SoCalGas and SDG&E combined EG loads for the BCAP period.

Note: Small is defined as customers with daily average volume of less than 3 Mths.

QUESTION 19.5:

- Please separate the EG and Large Cogen Peak Day Demand Forecast presented in Table 2 of Mr. Anderson’s testimony into the following categories:  Small Distribution level EG/Cogen, Small Transmission level EG/Cogen, Large Distribution level EG/Cogen, Large Transmission level EG/Cogen.

RESPONSE 19.5:

The table below shows the requested data for the SoCalGas and SDG&E combined EG loads for the periods that were updated for the BCAP analysis.  Data are not available for later years as explained in response to 19.1.2.

Note: Small is defined as customers with daily average volume of less than 3 Mths.

QUESTION 19.6:

- Referring to the information in Figure 1 in Mr. Anderson’s testimony, what is the correlation between the extent of hydro availability and the level of EG peak day demand over this 10 year period?  Please provide the response in the form of an Excel file.

RESPONSE 19.6:

Figure 1 showed that there is a relationship between gas throughput and PNW/California hydro availability. SoCalGas and SDG&E did not calculate a correlation.

QUESTION 19.7:

- SoCalGas’ response to IWC-01, Q.13 states:

If parties are interested in seeing the input data, they must request and sign the confidentiality agreement with Ventyx (formerly known as Global Energy Decisions).  SoCalGas/ SDG&E modeled the customers’ data in details.  The output data are customer specific which the utilities are obligated to protect under the confidentiality agreement.  SDG&E/SoCalGas are willing to work with parties to provide non-confidential data that show summarized results within our service territory.

  - Please provide a copy of the confidentiality agreement.

RESPONSE 19.7.1:

Per the phone conversation of November 20, 2008 between Mr. Pedersen and Mr. Gilmore, Ventyx is now requiring that any party requesting access to this information execute a Nondisclosure Agreement directly with Ventyx.  In the meanwhile, the attached files contain data SDG&E and SoCalGas agreed to provide in advance.

QUESTION 19.8:

- Regarding the dates of the peak days that were identified in the SoCalGas response to IWC-01, Q.1.5, please provide peak day usage for each TLS customer for the years 2003-2007. Customer account information should be removed, but the customer’s tariff should be indicated.  Please provide this data electronically in Excel format (any Excel format is ok) or comma separated variables (.csv).

RESPONSE 19.8:

SoCalGas does not have this information prepared or readily available, as peak day usage for TLS customers was not utilized in the development of our TLS proposal.