## Summary
District: |  | NE
Total Facilities to Audit: |  | 36
Order Type |  | 101
Count Of Inspectors: |  | 22
Year/Quarter: |  | 20231
Employee Name | District |  | Calendar Quarter | Personnel Number | Total Structures | 1.5% Audit
ADRIAN BEAVER | NE |  | 20231 | 00011079 | 144 | 2
AGUSTIN ALCARAZ | NE |  | 20231 | 00137157 | 42 | 1
ANGEL VELASQUEZ | NE |  | 20231 | 00092544 | 25 | 1
BENJAMIN DIETRICH | NE |  | 20231 | 00002477 | 104 | 2
BRIAN WELCH | NE |  | 20231 | 00065798 | 130 | 2
CARL LOPATY | NE |  | 20231 | 00092592 | 1 | 1
CHRISTOPHER SIMMONS | NE |  | 20231 | 00078752 | 7 | 1
DREW HOTCHKISS | NE |  | 20231 | 00005385 | 76 | 1
EDWARD ORTEGA | NE |  | 20231 | 00138306 | 64 | 1
FRANK OTT | NE |  | 20231 | 00011288 | 375 | 6
GARRY DEL ROSARIO | NE |  | 20231 | 00003746 | 123 | 2
HARPREET TUNG | NE |  | 20231 | 00139188 | 14 | 1
JEFFREY WRIGHT | NE |  | 20231 | 00009897 | 122 | 2
JONATHAN DAVIS | NE |  | 20231 | 00010659 | 39 | 1
JOSE BARBA | NE |  | 20231 | 00005348 | 25 | 1
KYLE LIVERSAGE | NE |  | 20231 | 00114629 | 24 | 1
MICHAEL DIAZ | NE |  | 20231 | 00118027 | 17 | 1
MICHAEL DWYER | NE |  | 20231 | 00065799 | 41 | 1
MYLES WOOD | NE |  | 20231 | 00135670 | 133 | 2
SHAWN DUNBAR | NE |  | 20231 | 00004140 | 8 | 1
STEVE AMADOR | NE |  | 20231 | 00000643 | 195 | 3
STEVE FUNES | NE |  | 20231 | 00139202 | 116 | 2

## Details
Total 101 Structures: 1,825 / Total to Audit based on 1.5% = 27
Employee Name | Notification | Equipment Description | Equipment | SubEquipment Text | Damage Code | Damage Code Description | Activity Text | Ref Date | Street | Thomasbroguide | Notes | Supervisor signature
ADRIAN BEAVER | 100022879869 | ED:POLE:P257700 | 605017782 |  | D299 | No Repairs Needed | Cleared | 03/31/2023 | 16971HWY. 76 W/O VALLEY CENTER RD | 1051-D7 | OK. | N.S 06/17 | TIER 3
ADRIAN BEAVER | 100023071207 | ED:POLE:P130922 | 600083505 |  | D299 | No Repairs Needed | Cleared | 03/20/2023 | 1 POLE E/O 21789 CRESTWIND RD | 1129-B5 | OK. | N.S 06/17 | TIER 2
#N/A
#N/A
AGUSTIN ALCARAZ | 100022879530 | ED:POLE::P214725 | 600051235 |  | D299 | No Repairs Needed | Cleared | 01/09/2023 | HWY 76 N/O SAMS MOUNTAIN | 1051-C6 | OK. | N.S 06/17 | TIER 3
#N/A
#N/A
ANGEL VELASQUEZ | 100022885486 | ED:POLE::P228401 | 600063209 |  | D299 | No Repairs Needed | Cleared | 03/17/2023 | CRESTLINE RD (PPN) | 1052-H4 | OK. | N.S 06/17 | TIER 3
#N/A
#N/A
BENJAMIN DIETRICH | 100022881510 | ED:POLE::P714474 | 600091900 |  | D299 | No Repairs Needed | Cleared | 02/01/2023 | S/O 15581 OLD GUEJITO GR. RD S/O O MELROSE RCH | 1111-A6 | OK. | N.S 06/17 | TIER 3
BENJAMIN DIETRICH | 100022881068 | ED:POLE::P615779 | 600061123 |  | D299 | No Repairs Needed | Cleared | 02/02/2023 | 24500 CROWN HILL LN. | 1111-D3 | OK. | N.S 06/17 | TIER 3
#N/A
#N/A
BRIAN WELCH | 100022879212 | ED:POLE::P10409 | 600045939 |  | D299 | No Repairs Needed | Cleared | 02/02/2023 | R/O 30225 N RIVER RD | 1067-G6 | OK. | N.S 06/17 | NO
BRIAN WELCH | 100022878885 | ED:POLE::P199431 | 600076405 |  | D299 | No Repairs Needed | Cleared | 02/02/2023 | AF 3220 GOPHER CYN RD | 1068-F6 | OK. | N.S 06/17 | TIER 2
#N/A
#N/A
CARL LOPATY | 100022776395 | ED:POLE:P295875 | 606648384 |  | I466 | CIP Equip/Wires Loose -Temp Secured | CIP Pending | 01/09/2023 | C/O MIDWAY DR. & N/O VALLEY PKWY. | 1110-C7 | OK. | N.S 06/17 | NO
#N/A
#N/A
CHRISTOPHER SIMMONS | 100022879407 | ED:POLE::P186064 | 600082154 |  | I283 | Damaged/Missing/Incorrect Sta. Pole ID | Field Cleared | 01/03/2023 | C/O LOST HORIZON DR. &RANCHO HEIGHTS RD. | 1000 | OK. | N.S 06/17 | TIER 3
CHRISTOPHER SIMMONS | 100022879407 | ED:POLE::P186064 | 600082154 |  | R227 | Damaged Missing Warning Signs (Mr. Ouch) | Field Cleared | 01/03/2023 | C/O LOST HORIZON DR. &RANCHO HEIGHTS RD. | 1000 | OK. | N.S 06/17 | TIER 3
#N/A
#N/A
DREW HOTCHKISS | 100022885667 | ED:POLE::P219004 | 600075425 |  | D299 | No Repairs Needed | Cleared | 01/25/2023 | PALOMAR VISTA RD /RD N/O 3417 | 1052-C2 | OK. | N.S 06/17 | TIER 3
#N/A
#N/A
EDWARD ORTEGA | 100022881177 | ED:POLE::P619295 | 600063968 |  | I246 | SDGE/Cust Pole or Stub Pole Dmged/Broken | Pending | 03/16/2023 | HIDDEN VALLEY W/O GUETITO | 1111-D3 | OK. | N.S 06/17 | TIER 3
#N/A
#N/A
FRANK OTT | 100023238317 | ED:POLE::P717484 | 600088356 |  | R227 | Damaged Missing Warning Signs (Mr. Ouch) | Field Cleared | 03/17/2023 | 27120 N.BROADWAY | 1089-H5 | OK. | N.S 06/17 | TIER 2
FRANK OTT | 100022881656 | ED:POLE::P512856 | 600091790 |  | D299 | No Repairs Needed | Cleared | 02/24/2023 | W/O LAZY T RANCH/ OLD WAGON RD | 1111-C6 | OK. | N.S 06/17 | TIER 3
FRANK OTT | 100022885213 | ED:POLE::P810811 | 600083951 |  | R227 | Damaged Missing Warning Signs (Mr. Ouch) | Field Cleared | 03/06/2023 |  | 1151-A4 | OK. | N.S 06/17 | TIER 3
FRANK OTT | 100023071924 | ED:POLE::P670431 | 600053350 |  | I203 | Damaged / Missing Visibility Strips | Field Cleared | 03/22/2023 | 14411 SPRINGVALE ST. | 1190-H4 | OK. | N.S 06/17 | NO
FRANK OTT | 100023071929 | ED:POLE::P670437 | 600053426 |  | R227 | Damaged Missing Warning Signs (Mr. Ouch) | Field Cleared | 03/22/2023 | 14545 SPRINGVALE ST. | 1190-H4 | OK. | N.S 06/17 | NO
FRANK OTT | 100023071949 | ED:POLE::P670442 | 600053994 |  | I203 | Damaged / Missing Visibility Strips | Field Cleared | 03/22/2023 | 13431 STANDISH DR. | 1190-H4 | OK. | N.S 06/17 | NO
FRANK OTT | 100023071949 | ED:POLE::P670442 | 600053994 |  | R220 | Guy Buried | Field Cleared | 03/22/2023 | 13431 STANDISH DR. | 1190-H4 | OK. | N.S 06/17 | NO
#N/A
#N/A
GARRY DEL ROSARIO | 100022886221 | ED:POLE::P223800 | 600048683 |  | D299 | No Repairs Needed | Cleared | 01/03/2023 |  | 1051-F6 | OK. | N.S 06/17 | TIER 3
GARRY DEL ROSARIO | 100023070839 | ED:POLE::P513433 | 600072752 |  | D299 | No Repairs Needed | Cleared | 03/30/2023 | 1047 LA MOREE RD | 1129-B2 | OK. | N.S 06/17 | NO
#N/A
#N/A
HARPREET TUNG | 100022880827 | ED:POLE::P116652 | 600064623 |  | D299 | No Repairs Needed | Cleared | 03/17/2023 | 3RD POLE W/O P116649 | 1111-B3 | OK. | N.S 06/17 | TIER 3
#N/A
#N/A
JEFFREY WRIGHT | 100022879722 | ED:POLE::P218250 | 600075474 |  | D299 | No Repairs Needed | Cleared | 01/24/2023 | 17325 HWY 76 VILLAGE NUR. | 1051-F7 | OK. | N.S 06/17 | #N/A
JEFFREY WRIGHT | 100022885766 | ED:POLE::P219183 | 600069288 |  | D299 | No Repairs Needed | Cleared | 03/09/2023 | SW/O ST. PARK RD | 1052-D3 | OK. | N.S 06/17 | #N/A
#N/A
#N/A
JONATHAN DAVIS | 100022885151 | ED:POLE::P410188 | 600083381 |  | D299 | No Repairs Needed | Cleared | 02/28/2023 |  | 1150-H4 | OK. | N.S 06/17 | #N/A
#N/A
#N/A
JOSE BARBA | 100023070306 | ED:POLE::P611455 | 600082183 |  | D299 | No Repairs Needed | Cleared | 02/28/2023 | A/F 2245 BARHAM DR. PN/E | 1129-D1 | OK. | N.S 06/17 | #N/A
#N/A
#N/A
KYLE LIVERSAGE | 100022879436 | ED:POLE::P186119 | 600081272 |  | D299 | No Repairs Needed | Cleared | 03/17/2023 | RANCHO HEIGHTS RD. | 1000 | OK. | N.S 06/17 | #N/A
#N/A
#N/A
MICHAEL DIAZ | 100023072626 | ED:POLE::Z171704 | 600047450 |  | D299 | No Repairs Needed | Cleared | 03/29/2023 | DIRT RD. S/O 12948 GATE DR. / IN FIELD | 1190-F5 | OK. | N.S 06/17 | #N/A
#N/A
#N/A
MICHAEL DWYER | 100022880387 | ED:POLE::P810394 | 600089159 |  | I234 | Damaged/Missing High Volt Signs - 2-Man | Field Cleared | 01/06/2023 | W/O 27125 IIPAY LN. | 1091-D5 | OK. | N.S 06/17 | #N/A
#N/A
#N/A
MYLES WOOD | 100023073388 | ED:POLE::P578420 | 600047557 |  | D299 | No Repairs Needed | Cleared | 03/09/2023 | 12419 METATE LN. | 1190-C6 | OK. | N.S 06/17 | #N/A
MYLES WOOD | 100023073143 | ED:POLE::P774141 | 600049548 |  | D299 | No Repairs Needed | Cleared | 03/10/2023 | 12738 LA VISTA WAY | 1190-D5 | OK. | N.S 06/17 | #N/A
#N/A
#N/A
SHAWN DUNBAR | 100022881369 | ED:POLE::P815343 | 600088803 |  | D299 | No Repairs Needed | Cleared | 03/08/2023 | S/O 16777 YUCCA TR. | 1111-D7 | OK. | N.S 06/17 | #N/A
#N/A
#N/A
STEVE AMADOR | 100022880352 | ED:POLE::P814689 | 600047506 |  | D299 | No Repairs Needed | Cleared | 02/28/2023 | N/O 27500 CANAL RD. | 1091-D3 | OK. | N.S 06/17 | #N/A
STEVE AMADOR | 100022880873 | ED:POLE::P200049 | 600063009 |  | D299 | No Repairs Needed | Cleared | 02/28/2023 | A\F 278 OAKVALE RD | 1111-A3 | OK. | N.S 06/17 | #N/A
STEVE AMADOR | 100022880443 | ED:POLE::P200036 | 600069630 |  | D299 | No Repairs Needed | Cleared | 01/06/2023 | 16700 BLK GUEJITO RD | 1111-D2 | OK. | N.S 06/17 | #N/A
#N/A
#N/A
STEVE FUNES | 100022879026 | ED:POLE::P515576 | 600050557 |  | D299 | No Repairs Needed | Cleared | 01/12/2023 | 4202 KARI LANE | 1067-G4 | OK. | N.S 06/17 | #N/A
STEVE FUNES | 100022879029 | ED:POLE::P610763 | 600050855 |  | D299 | No Repairs Needed | Cleared | 01/12/2023 | 4208 KARI LANE | 1067-G4 | OK. | N.S 06/17 | #N/A

## Sheet1
Notification
100022879530
100022879869
100022885486
100023071207
100022881510
100022881068
100022879212
100022878885
100022776395
100022879407
100022879407
100022885667
100022881177
100023238317
100022881656
100022885213
100023071924
100023071929
100023071949
100023071949
100022886221
100023070839
100022880827
100022879722
100022885766
100022885151
100023070306
100022879436
100023072626
100022880387
100023073388
100023073143
100022881369
100022880352
100022880873
100022880443
100022879026
100022879029

## Sheet2
Notification Nbr | HFTD
100022776395 | NO
100022878885 | TIER 2
100022879212 | NO
100022879407 | TIER 3
100022879530 | TIER 3
100022879869 | TIER 3
100022880827 | TIER 3
100022881068 | TIER 3
100022881177 | TIER 3
100022881510 | TIER 3
100022881656 | TIER 3
100022885213 | TIER 3
100022885486 | TIER 3
100022885667 | TIER 3
100022886221 | TIER 3
100023070839 | NO
100023071207 | TIER 2
100023071924 | NO
100023071929 | NO
100023071949 | NO
100023238317 | TIER 2