## Summary
| Forecasted SDG&E Capital Expenses |  |  |  | Forecasted Total Capital Expenses
Category | 2017 | 2018 | 2019 |  | 2017 | 2018 | 2019
New Business - Demand | 20846 | 26182 | 27710 |  | 27879 | 34357 | 36266
Easements | 871 | 1037 | 1097 |  | 871 | 1037 | 1097
Capacity | 8376 | 6773 | 9108 |  | 8376 | 6773 | 9108
Capacity-Substation | 5016 | 5369 | 16068 |  | 5016 | 5369 | 16068
Reliability | 80827 | 153525 | 139174 |  | 80827 | 153525 | 139174
Reliability-Substation | 29423 | 29711 | 32447 |  | 29423 | 29711 | 32447
Franchise | 16170 | 21527 | 16170 |  | 34309 | 40026 | 35036
Safety and Risk Management | 84551 | 114301 | 185137 |  | 84551 | 114301 | 185137
Mandated | 31819 | 33075 | 31819 |  | 32326 | 33534 | 31819
Miscellaneous | 25548 | 23740 | 24749 |  | 25548 | 23740 | 24749
Overhead Pools | 71155 | 94462 | 114145 |  | 71155 | 94462 | 114145
Overhead Pools-Substation | 13948 | 25924 | 48346 |  | 13948 | 25924 | 48346
New Business - Customer | 25538 | 21838 | 23727 |  | 30877 | 27052 | 29357
Total | 414088 | 557464 | 669697 |  | 445106 | 589811 | 702749
Capacity-Related Local & Feeder Distribution Costs | 10418.252 | 8377.6665 | 11390.0144
Substation-Capacity | 7058.7793 | 9347.0875 | 32107.3612
Percentage of Forecasted Total Capital Expense Paid by SDG&E
| 2017 | 2018 | 2019 | 3-Year Average
New Business Demand | 74.77% | 76.21% | 76.41% | 75.8%
New Business Customer | 82.71% | 80.73% | 80.82% | 81.42%
New Business Customer - Installation | 99.47% | 98.52% | 98.3% | 98.76%

## SDGE Dollar Forecast
APPENDIX A – LIST OF BUDGET CODES IN NUMERICAL ORDER
GROSS CAPITAL
Budget Code | Budget Name | Category | Category Details | Estimated 2017 | Estimated 2018 | Estimated 2019
00100.0 | ELEC TRANS LINE RELI | TRANSMISSION DRIVEN PROJECTS | Reliability | 1000 | 1000 | 1000
00102.0 | ELEC TRANS LINE RELO | MANDATED | Reliability | 39 | 39 | 39
00103.0 | TRANSMISSION SUBSTAT | TRANSMISSION DRIVEN PROJECTS | Reliability-Substation | 99 | 99 | 99
00105.0 | ELECTRIC TRANS. STRE | FRANCHISE | New Business Customer | 154 | 154 | 154
00202.0 | ELECTRIC METERS & RE | MATERIALS | New Business Customer | 4156 | 5106 | 5974
00203.0 | DISTRIBUTION SUBSTAT | RELIABILITY/IMPROVEMENTS | Reliability-Substation | 1569 | 1569 | 1569
00204.0 | ELECTRIC DISTRIBUTIO | NEW BUSINESS | Easements | 871 | 1037 | 1097
00205.0 | ELECTRIC DIST. STREE | FRANCHISE | Franchise | 5241 | 5241 | 5241
00206.0 | ELECTRIC DISTRIBUTIO | EQUIP/TOOLS/MISC | Miscellaneous | 4833 | 2531 | 3029
00209.0 | FIELD SHUNT CAPACITO | CAPACITY/EXPANSION | Capacity-Substation | 587 | 587 | 587
00210.0 | CONVERSION FROM OH T | FRANCHISE | Franchise | 10929 | 10929 | 10929
00211.0 | CONVERSION FROM OH-U | NEW BUSINESS | New Business Customer | 1396 | 1550 | 1706
00213.0 | CITY OF SAN DIEGO SU | FRANCHISE | Franchise | 0 | 0 | 0
00214.0 | TRANSFORMERS | MATERIALS | Miscellaneous | 20715 | 21209 | 21720
00215.0 | OH RESIDENTIAL NB | NEW BUSINESS | New Business Demand | 525 | 640 | 680
00216.0 | OH NON-RESIDENTIAL N | NEW BUSINESS | New Business Demand | 681 | 801 | 841
00217.0 | UG RESIDENTIAL NB | NEW BUSINESS | New Business Demand | 9320 | 12288 | 13070
00218.0 | UG NON-RESIDENTIAL N | NEW BUSINESS | New Business Demand | 4655 | 5591 | 5872
00219.0 | NEW BUSINESS INFRAST | NEW BUSINESS | New Business Demand | 5665 | 6862 | 7247
00224.0 | NEW SERVICE INSTALLA | NEW BUSINESS | New Business Customer | 4925 | 5918 | 6228
00225.0 | CUSTOMER REQUESTED U | NEW BUSINESS | New Business Customer | 5130 | 5612 | 6191
00226.0 | MANAGEMENT OF OH DIS | RELIABILITY/IMPROVEMENTS | Reliability | 6338 | 6338 | 6338
00227.0 | MANAGEMENT OF UG DIS | RELIABILITY/IMPROVEMENTS | Reliability | 3493 | 3493 | 3493
00228.0 | REACTIVE SMALL CAPIT | CAPACITY/EXPANSION | Capacity | 1831 | 1831 | 1831
00229.0 | CORRECTIVE MAINTENAN | MANDATED | Mandated | 10803 | 10803 | 10803
00230.0 | REPLACEMENT OF UNDER | RELIABILITY/IMPROVEMENTS | Reliability | 11800 | 26257 | 15564
00235.0 | TRANSFORMER & METER | NEW BUSINESS | New Business Customer | 3474 | 3474 | 3474
00236.0 | CAPITAL RESTORATION | RELIABILITY/IMPROVEMENTS | Reliability | 10832 | 11162 | 11502
00289.0 | SWITCH REPLACEMENT & | MANDATED | Mandated | 5438 | 5438 | 5438
00901.0 | 2100/00901.0 | OVERHEAD POOLS | Overhead Pools | 60788 | 81200 | 97618
00904.0 | 2100/00904.0 | OVERHEAD POOLS | Overhead Pools-Substation | 13948 | 25924 | 48346
00905.0 | 2100/00905.0 | OVERHEAD POOLS | Overhead Pools | 4495 | 5870 | 7157
00906.0 | 2100/00906.0 | OVERHEAD POOLS | Overhead Pools | 5872 | 7392 | 9370
01269.0 | POINT LOMA-INSTALL T | RELIABILITY/IMPROVEMENTS | Reliability-Substation | 7003 | 501 | 0
02258.0 | SALT CREEK LAND PURC | CAPACITY/EXPANSION | Capacity-Substation | 3336 | 0 | 0
05253.0 | OCEAN RANCH 69/12KV | CAPACITY/EXPANSION | Capacity-Substation | 170 | 3859 | 14558
06129.0 | SOUTH ORANGE COUNTY | TRANSMISSION DRIVEN PROJECTS | Reliability | 932 | 7645 | 4345
06247.0 | REPLACEMENT OF LIVE | MANDATED | Safety and Risk Management | 685 | 685 | 685
06254.0 | EMERGENCY TRANSFORME | RELIABILITY/IMPROVEMENTS | Reliability-Substation | 40 | 1000 | 50
06260.0 | REMOVE 4KV SUBS. FRO | RELIABILITY/IMPROVEMENTS | Reliability-Substation | 0 | 8954 | 11393
07144.0 | FIBER OPTIC FOR RELA | TRANSMISSION DRIVEN PROJECTS | Reliability-Substation | 391 | 391 | 391
07245.0 | TELEGRAPH CANYON-4TH | RELIABILITY/IMPROVEMENTS | Reliability | 1771 | 0 | 0
08165.0 | TL 629 DE-GC-CN SW P | TRANSMISSION DRIVEN PROJECTS | Reliability | 26155 | 39209 | 40035
08253.0 | SUBSTATION CAPACITOR | CAPACITY/EXPANSION | Capacity-Substation | 923 | 923 | 923
08260.0 | C1047, CSW - NEW CIRCUIT | CAPACITY/EXPANSION | Capacity | 1840 | 0 | 0
09137.0 | TL 649 OTAY-SAN YSID | TRANSMISSION DRIVEN PROJECTS | Reliability | 412 | 854 | 0
09153.0 | TL676-MISSION TO MES | TRANSMISSION DRIVEN PROJECTS | Reliability | 1015 | 3554 | 0
09271.0 | MARGARITA SUB-NEW 12 | RELIABILITY/IMPROVEMENTS | Reliability | 722 | 0 | 0
10135.0 | LOS COCHES SUB-REBUI | TRANSMISSION DRIVEN PROJECTS | Reliability-Substation | 1403 | 0 | 0
10144.0 | TL691 AVO-MON WOOD T | TRANSMISSION DRIVEN PROJECTS | Reliability | 68 | 162 | 0
10146.0 | TL695/6971 RECONDUCT | TRANSMISSION DRIVEN PROJECTS | Capacity | 123 | 1140 | 0
10147.0 | TL697 SAN LUIS REY W | TRANSMISSION DRIVEN PROJECTS | Reliability | 196 | 2324 | 0
10149.0 | WOOD TO STEEL POLE R | TRANSMISSION DRIVEN PROJECTS | Reliability | 66 | 245 | 0
10265.0 | AVIAN PROTECTION PRO | MANDATED | Mandated | 1635 | 1635 | 1635
11126.0 | TL663 MISSION TO KEA | TRANSMISSION DRIVEN PROJECTS | Reliability | 0 | 173 | 0
11133.0 | TL664-WOOD TO STEEL | TRANSMISSION DRIVEN PROJECTS | Reliability | 305 | 0 | 0
11144.0 | ON-RAMP AERIAL LIGHT | MANDATED | Mandated | 0 | 1256 | 0
11246.0 | SMART TRANSFORMERS | DER INTEGRATION | Reliability | 258 | 0 | 0
11247.0 | ADVANCED ENERGY STOR | DER INTEGRATION | Reliability | 0 | 5154 | 10000
11249.0 | INSTALL SCADA ON LIN | RELIABILITY/IMPROVEMENTS | Reliability | 289 | 5346 | 5295
11253.0 | WIRELESS FAULT INDIC | RELIABILITY/IMPROVEMENTS | Reliability | 340 | 4386 | 4345
11256.0 | C1023, LI: NEW 12KV | CAPACITY/EXPANSION | Capacity | 2459 | 0 | 0
11261.0 | SEWAGE PUMP STATION | RELIABILITY/IMPROVEMENTS | Reliability-Substation | 1546 | 331 | 0
11267.0 | SCADA EXPANSION-DIST | RELIABILITY/IMPROVEMENTS | Reliability | 0 | 6976 | 6976
12137.0 | TL6916-WOOD TO STEEL | TRANSMISSION DRIVEN PROJECTS | Reliability | 0 | 0 | 258
12149.0 | TL694-WOOD TO STEEL | TRANSMISSION DRIVEN PROJECTS | Reliability | 0 | 0 | 762
12243.0 | PHASOR MEASUREMENT U | RELIABILITY/IMPROVEMENTS | Reliability | 2016 | 2016 | 2016
12246.0 | ADVANCED GROUND FAUL | RELIABILITY/IMPROVEMENTS | Reliability | 321 | 321 | 321
12247.0 | SMART ISOLATION & RE | RELIABILITY/IMPROVEMENTS | Reliability | 1356 | 1356 | 1356
12249.0 | ADVANCED WEATHER STA | RELIABILITY/IMPROVEMENTS | Reliability | 208 | 208 | 988
12266.0 | CONDITION BASED MAIN | RELIABILITY/IMPROVEMENTS | Reliability | 1546 | 1546 | 1546
13130.0 | TL674A DEL MAR RECON | TRANSMISSION DRIVEN PROJECTS | Reliability | 18 | 18 | 2466
13242.0 | KEARNY 69/12KV SUB R | RELIABILITY/IMPROVEMENTS | Reliability-Substation | 4500 | 7000 | 0
13243.0 | NEW VINE 69/12KV SUB | CAPACITY/EXPANSION | Reliability-Substation | 10942 | 0 | 0
13244.0 | STREAMVIEW 69/12KV S | RELIABILITY/IMPROVEMENTS | Reliability-Substation | 50 | 50 | 50
13247.0 | FIRM GRC BLANKET BUD | SAFETY AND RISK MANAGEMENT | Safety and Risk Management | 57780 | 57780 | 57780
13264.0 | DISTRIBUTED GENERATI | MANDATED | Mandated | 0 | 0 | 0
13266.0 | DISTRIBUTION AERIAL | RELIABILITY/IMPROVEMENTS | Safety and Risk Management | 119 | 119 | 119
14140.0 | TL698 WOOD TO STEEL | TRANSMISSION DRIVEN PROJECTS | Reliability | 0 | 762 | 762
14143.0 | POWAY SUBSTATION REB | RELIABILITY/IMPROVEMENTS | Reliability-Substation | 177 | 0 | 0
14243.0 | BORREGO SPRINGS MICR | DER INTEGRATION | Reliability | 1769 | 515 | 0
14249.0 | SF6 SWITCH REPLACEME | SAFETY AND RISK MANAGEMENT | Safety and Risk Management | 3509 | 14088 | 14088
14259.0 | VANADIUM FLOW BATTER | DER INTEGRATION | Reliability | 539 | 0 | 0
15243.0 | SUBSTATION SCADA EXP | RELIABILITY/IMPROVEMENTS | Reliability-Substation | 547 | 554 | 0
15246.0 | RANCHO SANTA FE SUB | SAFETY AND RISK MANAGEMENT | Safety and Risk Management | 3144 | 3035 | 0
15257.0 | LARGE-SCALE COMM INF | SAFETY AND RISK MANAGEMENT | Safety and Risk Management | 0 | 5020 | 5020
15258.0 | MIDCOAST TROLLEY EXT | NEW BUSINESS | New Business Customer | 6303 | 24 | 0
15259.0 | FIRE THREAT ZONE ADV | SAFETY AND RISK MANAGEMENT | Safety and Risk Management | 1337 | 1337 | 1337
16142.0 | C584, PAR: EXTEND C584 | CAPACITY/EXPANSION | Capacity | 0 | 406 | 0
16243.0 | MICROGRID FOR ENERGY | DER INTEGRATION | Reliability | 0 | 5894 | 7916
16244.0 | METEOROLOGY-OUTAGE P | RELIABILITY/IMPROVEMENTS | Reliability | 717 | 0 | 0
16245.0 | METEOROLOGY-FIRE BEH | RELIABILITY/IMPROVEMENTS | Reliability | 272 | 0 | 0
16252.0 | ELECTRIC INTEGRITY R | SAFETY AND RISK MANAGEMENT | Safety and Risk Management | 788 | 14858 | 52406
16254.0 | NEW CIRCUIT 12KV |  | REMOVE | 0 | 0 | 0
16255.0 | ADDITION OF BOLLARDS | SAFETY AND RISK MANAGEMENT | Safety and Risk Management | 5969 | 8977 | 3700
16257.0 | VAULT MAINTENANCE | RELIABILITY/IMPROVEMENTS | Reliability | 0 | 1000 | 1000
16258.0 | OIR WORST CIRCUITS | RELIABILITY/IMPROVEMENTS | Reliability | 2502 | 2502 | 2502
16259.0 | TP: C261, C262, C263 Re-ROUTE | SAFETY AND RISK MANAGEMENT | Safety and Risk Management | 0 | 0 | 3842
16260.0 | MORRO HILL SUB REBUI | RELIABILITY/IMPROVEMENTS | Reliability-Substation | 12 | 1118 | 3751
16267.0 | C1447 MTO: EXTENSION | CAPACITY/EXPANSION | Capacity | 390 | 0 | 0
16268.0 | C1450, MTO:NEW 12 KV | CAPACITY/EXPANSION | Capacity | 0 | 1219 | 0
16269.0 | JAMACHA NEW BANK & N | CAPACITY/EXPANSION | Capacity | 0 | 444 | 5178
16272.0 | DOHENY DESALINATION | CAPACITY/EXPANSION | Capacity | 0 | 0 | 366
17242.0 | TWIN ENGINE HELICOPT | SAFETY AND RISK MANAGEMENT | Safety and Risk Management | 10000 | 0 | 0
17244.0 | VOLT/VAR OPTIMIZATIO | DER INTEGRATION | Reliability | 0 | 500 | 100
17245.0 | ITF-INTEGRATED TEST | DER INTEGRATION | Reliability | 523 | 1050 | 0
17246.0 | BORREGO MICROGRID 3. | DER INTEGRATION | Reliability | 209 | 5230 | 0
17247.0 | SUBSTATION RELAY MOD | RELIABILITY/IMPROVEMENTS | Reliability | 0 | 0 | 0
17249.0 | TEE MODERNIZATION | SAFETY AND RISK MANAGEMENT | Safety and Risk Management | 950 | 3820 | 5730
17250.0 | PACIFIC AVE 20B CONV | FRANCHISE | Franchise | 0 | 2226 | 0
17251.0 | ESPOLA RD 20B CONVER | FRANCHISE | Franchise | 0 | 2121 | 0
17252.0 | SOUTH SANTA FE DR 20 | FRANCHISE | Franchise | 0 | 1010 | 0
17253.0 | ELECTRIC DISTRIBUTIO | RELIABILITY/IMPROVEMENTS | Reliability | 0 | 3300 | 3300
17254.0 | ACCELERATED POLE LOA | SAFETY AND RISK MANAGEMENT | Safety and Risk Management | 270 | 4582 | 40430
87232.0 | POLE REPLACEMENT AND | MANDATED | Mandated | 13943 | 13943 | 13943
93240.0 | DISTRIBUTION CIRCUIT | RELIABILITY/IMPROVEMENTS | Reliability | 2800 | 2990 | 4949
97248.0 | DISTRIBUTION SYSTEM | CAPACITY/EXPANSION | Capacity | 1733 | 1733 | 1733
99282.0 | REPLACE OBSOLETE SUB | RELIABILITY/IMPROVEMENTS | Reliability-Substation | 1144 | 8144 | 15144
Result |  |  |  | 414088 | 557464 | 669697

## Total Forecast
APPENDIX A – LIST OF BUDGET CODES IN NUMERICAL ORDER
GROSS CAPITAL
Budget Code | Budget Name | Category | Category Details | Estimated 2017 | Estimated 2018 | Estimated 2019
00100.0 | ELEC TRANS LINE RELI | TRANSMISSION DRIVEN PROJECTS | Reliability | 1000 | 1000 | 1000
00102.0 | ELEC TRANS LINE RELO | MANDATED | Reliability | 39 | 39 | 39
00103.0 | TRANSMISSION SUBSTAT | TRANSMISSION DRIVEN PROJECTS | Reliability-Substation | 99 | 99 | 99
00105.0 | ELECTRIC TRANS. STRE | FRANCHISE | New Business Customer | 154 | 154 | 154
00202.0 | ELECTRIC METERS & RE | MATERIALS | New Business Customer | 4156 | 5106 | 5974
00203.0 | DISTRIBUTION SUBSTAT | RELIABILITY/IMPROVEMENTS | Reliability-Substation | 1569 | 1569 | 1569
00204.0 | ELECTRIC DISTRIBUTIO | NEW BUSINESS | Easements | 871 | 1037 | 1097
00205.0 | ELECTRIC DIST. STREE | FRANCHISE | Franchise | 5241 | 5241 | 5241
00206.0 | ELECTRIC DISTRIBUTIO | EQUIP/TOOLS/MISC | Miscellaneous | 4833 | 2531 | 3029
00209.0 | FIELD SHUNT CAPACITO | CAPACITY/EXPANSION | Capacity-Substation | 587 | 587 | 587
00210.0 | CONVERSION FROM OH T | FRANCHISE | Franchise | 10929 | 10929 | 10929
00211.0 | CONVERSION FROM OH-U | NEW BUSINESS | New Business Customer | 2557 | 2828 | 3101
00213.0 | CITY OF SAN DIEGO SU | FRANCHISE | Franchise | 18139 | 18499 | 18866
00214.0 | TRANSFORMERS | MATERIALS | Miscellaneous | 20715 | 21209 | 21720
00215.0 | OH RESIDENTIAL NB | NEW BUSINESS | New Business Demand | 747 | 906 | 961
00216.0 | OH NON-RESIDENTIAL N | NEW BUSINESS | New Business Demand | 809 | 950 | 998
00217.0 | UG RESIDENTIAL NB | NEW BUSINESS | New Business Demand | 12658 | 16055 | 16993
00218.0 | UG NON-RESIDENTIAL N | NEW BUSINESS | New Business Demand | 6251 | 7502 | 7877
00219.0 | NEW BUSINESS INFRAST | NEW BUSINESS | New Business Demand | 7414 | 8944 | 9437
00224.0 | NEW SERVICE INSTALLA | NEW BUSINESS | New Business Customer | 4951 | 6007 | 6336
00225.0 | CUSTOMER REQUESTED U | NEW BUSINESS | New Business Customer | 8637 | 9387 | 10288
00226.0 | MANAGEMENT OF OH DIS | RELIABILITY/IMPROVEMENTS | Reliability | 6338 | 6338 | 6338
00227.0 | MANAGEMENT OF UG DIS | RELIABILITY/IMPROVEMENTS | Reliability | 3493 | 3493 | 3493
00228.0 | REACTIVE SMALL CAPIT | CAPACITY/EXPANSION | Capacity | 1831 | 1831 | 1831
00229.0 | CORRECTIVE MAINTENAN | MANDATED | Mandated | 10803 | 10803 | 10803
00230.0 | REPLACEMENT OF UNDER | RELIABILITY/IMPROVEMENTS | Reliability | 11800 | 26257 | 15564
00235.0 | TRANSFORMER & METER | NEW BUSINESS | New Business Customer | 3504 | 3504 | 3504
00236.0 | CAPITAL RESTORATION | RELIABILITY/IMPROVEMENTS | Reliability | 10832 | 11162 | 11502
00289.0 | SWITCH REPLACEMENT & | MANDATED | Mandated | 5438 | 5438 | 5438
00901.0 | 2100/00901.0 | OVERHEAD POOLS | Overhead Pools | 60788 | 81200 | 97618
00904.0 | 2100/00904.0 | OVERHEAD POOLS | Overhead Pools-Substation | 13948 | 25924 | 48346
00905.0 | 2100/00905.0 | OVERHEAD POOLS | Overhead Pools | 4495 | 5870 | 7157
00906.0 | 2100/00906.0 | OVERHEAD POOLS | Overhead Pools | 5872 | 7392 | 9370
01269.0 | POINT LOMA-INSTALL T | RELIABILITY/IMPROVEMENTS | Reliability-Substation | 7003 | 501 | 0
02258.0 | SALT CREEK LAND PURC | CAPACITY/EXPANSION | Capacity-Substation | 3336 | 0 | 0
05253.0 | OCEAN RANCH 69/12KV | CAPACITY/EXPANSION | Capacity-Substation | 170 | 3859 | 14558
06129.0 | SOUTH ORANGE COUNTY | TRANSMISSION DRIVEN PROJECTS | Reliability | 932 | 7645 | 4345
06247.0 | REPLACEMENT OF LIVE | MANDATED | Safety and Risk Management | 685 | 685 | 685
06254.0 | EMERGENCY TRANSFORME | RELIABILITY/IMPROVEMENTS | Reliability-Substation | 40 | 1000 | 50
06260.0 | REMOVE 4KV SUBS. FRO | RELIABILITY/IMPROVEMENTS | Reliability-Substation | 0 | 8954 | 11393
07144.0 | FIBER OPTIC FOR RELA | TRANSMISSION DRIVEN PROJECTS | Reliability-Substation | 391 | 391 | 391
07245.0 | TELEGRAPH CANYON-4TH | RELIABILITY/IMPROVEMENTS | Reliability | 1771 | 0 | 0
08165.0 | TL 629 DE-GC-CN SW P | TRANSMISSION DRIVEN PROJECTS | Reliability | 26155 | 39209 | 40035
08253.0 | SUBSTATION CAPACITOR | CAPACITY/EXPANSION | Capacity-Substation | 923 | 923 | 923
08260.0 | C1047, CSW - NEW CIRCUIT | CAPACITY/EXPANSION | Capacity | 1840 | 0 | 0
09137.0 | TL 649 OTAY-SAN YSID | TRANSMISSION DRIVEN PROJECTS | Reliability | 412 | 854 | 0
09153.0 | TL676-MISSION TO MES | TRANSMISSION DRIVEN PROJECTS | Reliability | 1015 | 3554 | 0
09271.0 | MARGARITA SUB-NEW 12 | RELIABILITY/IMPROVEMENTS | Reliability | 722 | 0 | 0
10135.0 | LOS COCHES SUB-REBUI | TRANSMISSION DRIVEN PROJECTS | Reliability-Substation | 1403 | 0 | 0
10144.0 | TL691 AVO-MON WOOD T | TRANSMISSION DRIVEN PROJECTS | Reliability | 68 | 162 | 0
10146.0 | TL695/6971 RECONDUCT | TRANSMISSION DRIVEN PROJECTS | Capacity | 123 | 1140 | 0
10147.0 | TL697 SAN LUIS REY W | TRANSMISSION DRIVEN PROJECTS | Reliability | 196 | 2324 | 0
10149.0 | WOOD TO STEEL POLE R | TRANSMISSION DRIVEN PROJECTS | Reliability | 66 | 245 | 0
10265.0 | AVIAN PROTECTION PRO | MANDATED | Mandated | 1635 | 1635 | 1635
11126.0 | TL663 MISSION TO KEA | TRANSMISSION DRIVEN PROJECTS | Reliability | 0 | 173 | 0
11133.0 | TL664-WOOD TO STEEL | TRANSMISSION DRIVEN PROJECTS | Reliability | 305 | 0 | 0
11144.0 | ON-RAMP AERIAL LIGHT | MANDATED | Mandated | 0 | 1256 | 0
11246.0 | SMART TRANSFORMERS | DER INTEGRATION | Reliability | 258 | 0 | 0
11247.0 | ADVANCED ENERGY STOR | DER INTEGRATION | Reliability | 0 | 5154 | 10000
11249.0 | INSTALL SCADA ON LIN | RELIABILITY/IMPROVEMENTS | Reliability | 289 | 5346 | 5295
11253.0 | WIRELESS FAULT INDIC | RELIABILITY/IMPROVEMENTS | Reliability | 340 | 4386 | 4345
11256.0 | C1023, LI: NEW 12KV | CAPACITY/EXPANSION | Capacity | 2459 | 0 | 0
11261.0 | SEWAGE PUMP STATION | RELIABILITY/IMPROVEMENTS | Reliability-Substation | 1546 | 331 | 0
11267.0 | SCADA EXPANSION-DIST | RELIABILITY/IMPROVEMENTS | Reliability | 0 | 6976 | 6976
12137.0 | TL6916-WOOD TO STEEL | TRANSMISSION DRIVEN PROJECTS | Reliability | 0 | 0 | 258
12149.0 | TL694-WOOD TO STEEL | TRANSMISSION DRIVEN PROJECTS | Reliability | 0 | 0 | 762
12243.0 | PHASOR MEASUREMENT U | RELIABILITY/IMPROVEMENTS | Reliability | 2016 | 2016 | 2016
12246.0 | ADVANCED GROUND FAUL | RELIABILITY/IMPROVEMENTS | Reliability | 321 | 321 | 321
12247.0 | SMART ISOLATION & RE | RELIABILITY/IMPROVEMENTS | Reliability | 1356 | 1356 | 1356
12249.0 | ADVANCED WEATHER STA | RELIABILITY/IMPROVEMENTS | Reliability | 208 | 208 | 988
12266.0 | CONDITION BASED MAIN | RELIABILITY/IMPROVEMENTS | Reliability | 1546 | 1546 | 1546
13130.0 | TL674A DEL MAR RECON | TRANSMISSION DRIVEN PROJECTS | Reliability | 18 | 18 | 2466
13242.0 | KEARNY 69/12KV SUB R | RELIABILITY/IMPROVEMENTS | Reliability-Substation | 4500 | 7000 | 0
13243.0 | NEW VINE 69/12KV SUB | CAPACITY/EXPANSION | Reliability-Substation | 10942 | 0 | 0
13244.0 | STREAMVIEW 69/12KV S | RELIABILITY/IMPROVEMENTS | Reliability-Substation | 50 | 50 | 50
13247.0 | FIRM GRC BLANKET BUD | SAFETY AND RISK MANAGEMENT | Safety and Risk Management | 57780 | 57780 | 57780
13264.0 | DISTRIBUTED GENERATI | MANDATED | Mandated | 507 | 459 | 0
13266.0 | DISTRIBUTION AERIAL | RELIABILITY/IMPROVEMENTS | Safety and Risk Management | 119 | 119 | 119
14140.0 | TL698 WOOD TO STEEL | TRANSMISSION DRIVEN PROJECTS | Reliability | 0 | 762 | 762
14143.0 | POWAY SUBSTATION REB | RELIABILITY/IMPROVEMENTS | Reliability-Substation | 177 | 0 | 0
14243.0 | BORREGO SPRINGS MICR | DER INTEGRATION | Reliability | 1769 | 515 | 0
14249.0 | SF6 SWITCH REPLACEME | SAFETY AND RISK MANAGEMENT | Safety and Risk Management | 3509 | 14088 | 14088
14259.0 | VANADIUM FLOW BATTER | DER INTEGRATION | Reliability | 539 | 0 | 0
15243.0 | SUBSTATION SCADA EXP | RELIABILITY/IMPROVEMENTS | Reliability-Substation | 547 | 554 | 0
15246.0 | RANCHO SANTA FE SUB | SAFETY AND RISK MANAGEMENT | Safety and Risk Management | 3144 | 3035 | 0
15257.0 | LARGE-SCALE COMM INF | SAFETY AND RISK MANAGEMENT | Safety and Risk Management | 0 | 5020 | 5020
15258.0 | MIDCOAST TROLLEY EXT | NEW BUSINESS | New Business Customer | 6918 | 66 | 0
15259.0 | FIRE THREAT ZONE ADV | SAFETY AND RISK MANAGEMENT | Safety and Risk Management | 1337 | 1337 | 1337
16142.0 | C584, PAR: EXTEND C584 | CAPACITY/EXPANSION | Capacity | 0 | 406 | 0
16243.0 | MICROGRID FOR ENERGY | DER INTEGRATION | Reliability | 0 | 5894 | 7916
16244.0 | METEOROLOGY-OUTAGE P | RELIABILITY/IMPROVEMENTS | Reliability | 717 | 0 | 0
16245.0 | METEOROLOGY-FIRE BEH | RELIABILITY/IMPROVEMENTS | Reliability | 272 | 0 | 0
16252.0 | ELECTRIC INTEGRITY R | SAFETY AND RISK MANAGEMENT | Safety and Risk Management | 788 | 14858 | 52406
16254.0 | NEW CIRCUIT 12KV |  | REMOVE | 0 | 0 | 0
16255.0 | ADDITION OF BOLLARDS | SAFETY AND RISK MANAGEMENT | Safety and Risk Management | 5969 | 8977 | 3700
16257.0 | VAULT MAINTENANCE | RELIABILITY/IMPROVEMENTS | Reliability | 0 | 1000 | 1000
16258.0 | OIR WORST CIRCUITS | RELIABILITY/IMPROVEMENTS | Reliability | 2502 | 2502 | 2502
16259.0 | TP: C261, C262, C263 Re-ROUTE | SAFETY AND RISK MANAGEMENT | Safety and Risk Management | 0 | 0 | 3842
16260.0 | MORRO HILL SUB REBUI | RELIABILITY/IMPROVEMENTS | Reliability-Substation | 12 | 1118 | 3751
16267.0 | C1447 MTO: EXTENSION | CAPACITY/EXPANSION | Capacity | 390 | 0 | 0
16268.0 | C1450, MTO:NEW 12 KV | CAPACITY/EXPANSION | Capacity | 0 | 1219 | 0
16269.0 | JAMACHA NEW BANK & N | CAPACITY/EXPANSION | Capacity | 0 | 444 | 5178
16272.0 | DOHENY DESALINATION | CAPACITY/EXPANSION | Capacity | 0 | 0 | 366
17242.0 | TWIN ENGINE HELICOPT | SAFETY AND RISK MANAGEMENT | Safety and Risk Management | 10000 | 0 | 0
17244.0 | VOLT/VAR OPTIMIZATIO | DER INTEGRATION | Reliability | 0 | 500 | 100
17245.0 | ITF-INTEGRATED TEST | DER INTEGRATION | Reliability | 523 | 1050 | 0
17246.0 | BORREGO MICROGRID 3. | DER INTEGRATION | Reliability | 209 | 5230 | 0
17247.0 | SUBSTATION RELAY MOD | RELIABILITY/IMPROVEMENTS | Reliability | 0 | 0 | 0
17249.0 | TEE MODERNIZATION | SAFETY AND RISK MANAGEMENT | Safety and Risk Management | 950 | 3820 | 5730
17250.0 | PACIFIC AVE 20B CONV | FRANCHISE | Franchise | 0 | 2226 | 0
17251.0 | ESPOLA RD 20B CONVER | FRANCHISE | Franchise | 0 | 2121 | 0
17252.0 | SOUTH SANTA FE DR 20 | FRANCHISE | Franchise | 0 | 1010 | 0
17253.0 | ELECTRIC DISTRIBUTIO | RELIABILITY/IMPROVEMENTS | Reliability | 0 | 3300 | 3300
17254.0 | ACCELERATED POLE LOA | SAFETY AND RISK MANAGEMENT | Safety and Risk Management | 270 | 4582 | 40430
87232.0 | POLE REPLACEMENT AND | MANDATED | Mandated | 13943 | 13943 | 13943
93240.0 | DISTRIBUTION CIRCUIT | RELIABILITY/IMPROVEMENTS | Reliability | 2800 | 2990 | 4949
97248.0 | DISTRIBUTION SYSTEM | CAPACITY/EXPANSION | Capacity | 1733 | 1733 | 1733
99282.0 | REPLACE OBSOLETE SUB | RELIABILITY/IMPROVEMENTS | Reliability-Substation | 1144 | 8144 | 15144
Result |  |  |  | 445106 | 589811 | 702749

## Reference
Budget Code | Budget Code Name | Local Engineering -Distribution | Local Engineering -Substation | Department OH | Contract Administration
8260 |  | No | No | No | No
8260 |  | No | No | No | No
8260 |  | No | No | No | No
11133 | TL664-WOOD TO STEEL | No | No | No | No
11133 | TL664-WOOD TO STEEL | No | No | No | No
11133 | TL664-WOOD TO STEEL | No | No | No | No
11256 | C1023, LI: NEW 12KV | No | No | No | No
11256 | C1023, LI: NEW 12KV | No | No | No | No
11256 | C1023, LI: NEW 12KV | No | No | No | No
12137 | TL6916-WOOD TO STEEL | No | No | No | No
12137 | TL6916-WOOD TO STEEL | No | No | No | No
12137 | TL6916-WOOD TO STEEL | No | No | No | No
12149 | TL694-WOOD TO STEEL | No | No | No | No
12149 | TL694-WOOD TO STEEL | No | No | No | No
12149 | TL694-WOOD TO STEEL | No | No | No | No
12249 | ADVANCED WEATHER STA | No | No | No | No
12249 | ADVANCED WEATHER STA | No | No | No | No
12249 | ADVANCED WEATHER STA | No | No | No | No
14140 | TL698 WOOD TO STEEL | No | No | No | No
14140 | TL698 WOOD TO STEEL | No | No | No | No
14140 | TL698 WOOD TO STEEL | No | No | No | No
16142 | FIRE MITIGATION - GR | No | No | No | No
16142 | FIRE MITIGATION - GR | No | No | No | No
16142 | FIRE MITIGATION - GR | No | No | No | No
16243 | MICROGRID FOR ENERGY | Yes | Yes | Yes | Yes
16243 | MICROGRID FOR ENERGY | Yes | Yes | Yes | Yes
16243 | MICROGRID FOR ENERGY | Yes | Yes | Yes | Yes
16244 | METEOROLOGY-OUTAGE P | No | No | No | No
16244 | METEOROLOGY-OUTAGE P | No | No | No | No
16244 | METEOROLOGY-OUTAGE P | No | No | No | No
16245 | METEOROLOGY-FIRE BEH | No | No | No | No
16245 | METEOROLOGY-FIRE BEH | No | No | No | No
16245 | METEOROLOGY-FIRE BEH | No | No | No | No
16252 | ELECTRIC INTEGRITY R | Yes | Yes | Yes | Yes
16252 | ELECTRIC INTEGRITY R | Yes | Yes | Yes | Yes
16252 | ELECTRIC INTEGRITY R | Yes | Yes | Yes | Yes
16254 | NEW CIRCUIT 12KV | No | No | No | No
16254 | NEW CIRCUIT 12KV | No | No | No | No
16254 | NEW CIRCUIT 12KV | No | No | No | No
16255 | ADDITION OF BOLLARDS | No | No | No | No
16255 | ADDITION OF BOLLARDS | No | No | No | No
16255 | ADDITION OF BOLLARDS | No | No | No | No
16257 | C791: FE EXTION C791 | Yes | Yes | Yes | Yes
16257 | C791: FE EXTION C791 | Yes | Yes | Yes | Yes
16257 | C791: FE EXTION C791 | Yes | Yes | Yes | Yes
16258 | BQ: NEW BANK 40 | No | No | No | No
16258 | BQ: NEW BANK 40 | No | No | No | No
16258 | BQ: NEW BANK 40 | No | No | No | No
16259 | NCW: NEW BANK 32 | No | No | No | No
16259 | NCW: NEW BANK 32 | No | No | No | No
16259 | NCW: NEW BANK 32 | No | No | No | No
16260 | MORRO HILL SUB REBUI | No | No | No | No
16260 | MORRO HILL SUB REBUI | No | No | No | No
16260 | MORRO HILL SUB REBUI | No | No | No | No
16267 | C1447 MTO: EXTENSION | No | No | No | No
16267 | C1447 MTO: EXTENSION | No | No | No | No
16267 | C1447 MTO: EXTENSION | No | No | No | No
16268 | C1450, MTO:NEW 12 KV | No | No | No | No
16268 | C1450, MTO:NEW 12 KV | No | No | No | No
16268 | C1450, MTO:NEW 12 KV | No | No | No | No
16269 | JAMACHA NEW BANK & N | No | No | No | No
16269 | JAMACHA NEW BANK & N | No | No | No | No
16269 | JAMACHA NEW BANK & N | No | No | No | No
16272 | DOHENY DESALINATION | No | No | No | No
16272 | DOHENY DESALINATION | No | No | No | No
16272 | DOHENY DESALINATION | No | No | No | No
100 | ELEC TRANS LINE RELI | Yes | No | Yes | Yes
100 | ELEC TRANS LINE RELI | Yes | No | Yes | Yes
100 | ELEC TRANS LINE RELI | Yes | No | Yes | Yes
102 | ELEC TRANS LINE RELO | Yes | No | No | No
102 | ELEC TRANS LINE RELO | Yes | No | No | No
102 | ELEC TRANS LINE RELO | Yes | No | No | No
103 | TRANSMISSION SUBSTAT | No | No | No | No
103 | TRANSMISSION SUBSTAT | No | No | No | No
103 | TRANSMISSION SUBSTAT | No | No | No | No
105 | ELECTRIC TRANS. STRE | Yes | No | Yes | No
105 | ELECTRIC TRANS. STRE | Yes | No | Yes | No
105 | ELECTRIC TRANS. STRE | Yes | No | Yes | No
202 | ELECTRIC METERS & RE | No | No | No | No
202 | ELECTRIC METERS & RE | No | No | No | No
202 | ELECTRIC METERS & RE | No | No | No | No
203 | DISTRIBUTION SUBSTAT | No | Yes | No | Yes
203 | DISTRIBUTION SUBSTAT | No | Yes | No | Yes
203 | DISTRIBUTION SUBSTAT | No | Yes | No | Yes
204 | ELECTRIC DISTRIBUTIO | Yes | No | Yes | No
204 | ELECTRIC DISTRIBUTIO | Yes | No | Yes | No
204 | ELECTRIC DISTRIBUTIO | Yes | No | Yes | No
205 | ELECTRIC DIST. STREE | Yes | No | Yes | Yes
205 | ELECTRIC DIST. STREE | Yes | No | Yes | Yes
901 | 2100/00901.0 | #N/A | #N/A | #N/A | #N/A
901 | 2100/00901.0 | #N/A | #N/A | #N/A | #N/A
901 | 2100/00901.0 | #N/A | #N/A | #N/A | #N/A
904 | 2100/00904.0 | #N/A | #N/A | #N/A | #N/A
904 | 2100/00904.0 | #N/A | #N/A | #N/A | #N/A
904 | 2100/00904.0 | #N/A | #N/A | #N/A | #N/A
905 | 2100/00905.0 | #N/A | #N/A | #N/A | #N/A
905 | 2100/00905.0 | #N/A | #N/A | #N/A | #N/A
905 | 2100/00905.0 | #N/A | #N/A | #N/A | #N/A
906 | 2100/00906.0 | #N/A | #N/A | #N/A | #N/A
906 | 2100/00906.0 | #N/A | #N/A | #N/A | #N/A
906 | 2100/00906.0 | #N/A | #N/A | #N/A | #N/A
205 | ELECTRIC DIST. STREE | Yes | No | Yes | Yes
206 | ELECTRIC DISTRIBUTIO | No | No | No | No
206 | ELECTRIC DISTRIBUTIO | No | No | No | No
206 | ELECTRIC DISTRIBUTIO | No | No | No | No
209 | FIELD SHUNT CAPACITO | Yes | No | Yes | Yes
209 | FIELD SHUNT CAPACITO | Yes | No | Yes | Yes
209 | FIELD SHUNT CAPACITO | Yes | No | Yes | Yes
210 | CONVERSION FROM OH T | Yes | No | Yes | Yes
210 | CONVERSION FROM OH T | Yes | No | Yes | Yes
210 | CONVERSION FROM OH T | Yes | No | Yes | Yes
211 | CONVERSION FROM OH-U | Yes | No | Yes | Yes
211 | CONVERSION FROM OH-U | Yes | No | Yes | Yes
211 | CONVERSION FROM OH-U | Yes | No | Yes | Yes
213 | CITY OF SAN DIEGO SU | Yes | Yes | Yes | Yes
213 | CITY OF SAN DIEGO SU | Yes | Yes | Yes | Yes
213 | CITY OF SAN DIEGO SU | Yes | Yes | Yes | Yes
214 | TRANSFORMERS | Yes | No | Yes | No
214 | TRANSFORMERS | Yes | No | Yes | No
214 | TRANSFORMERS | Yes | No | Yes | No
215 | OH RESIDENTIAL NB | Yes | No | Yes | Yes
215 | OH RESIDENTIAL NB | Yes | No | Yes | Yes
215 | OH RESIDENTIAL NB | Yes | No | Yes | Yes
216 | OH NON-RESIDENTIAL N | Yes | No | Yes | Yes
216 | OH NON-RESIDENTIAL N | Yes | No | Yes | Yes
216 | OH NON-RESIDENTIAL N | Yes | No | Yes | Yes
217 | UG RESIDENTIAL NB | Yes | No | Yes | Yes
217 | UG RESIDENTIAL NB | Yes | No | Yes | Yes
217 | UG RESIDENTIAL NB | Yes | No | Yes | Yes
218 | UG NON-RESIDENTIAL N | Yes | No | Yes | Yes
218 | UG NON-RESIDENTIAL N | Yes | No | Yes | Yes
218 | UG NON-RESIDENTIAL N | Yes | No | Yes | Yes
219 | NEW BUSINESS INFRAST | Yes | No | Yes | Yes
219 | NEW BUSINESS INFRAST | Yes | No | Yes | Yes
219 | NEW BUSINESS INFRAST | Yes | No | Yes | Yes
224 | NEW SERVICE INSTALLA | Yes | No | Yes | Yes
224 | NEW SERVICE INSTALLA | Yes | No | Yes | Yes
224 | NEW SERVICE INSTALLA | Yes | No | Yes | Yes
225 | CUSTOMER REQUESTED U | Yes | No | Yes | Yes
225 | CUSTOMER REQUESTED U | Yes | No | Yes | Yes
225 | CUSTOMER REQUESTED U | Yes | No | Yes | Yes
226 | MANAGEMENT OF OH DIS | Yes | No | Yes | Yes
226 | MANAGEMENT OF OH DIS | Yes | No | Yes | Yes
226 | MANAGEMENT OF OH DIS | Yes | No | Yes | Yes
227 | MANAGEMENT OF UG DIS | Yes | No | Yes | Yes
227 | MANAGEMENT OF UG DIS | Yes | No | Yes | Yes
227 | MANAGEMENT OF UG DIS | Yes | No | Yes | Yes
228 | REACTIVE SMALL CAPIT | Yes | No | Yes | Yes
228 | REACTIVE SMALL CAPIT | Yes | No | Yes | Yes
228 | REACTIVE SMALL CAPIT | Yes | No | Yes | Yes
229 | CORRECTIVE MAINTENAN | Yes | No | Yes | Yes
229 | CORRECTIVE MAINTENAN | Yes | No | Yes | Yes
229 | CORRECTIVE MAINTENAN | Yes | No | Yes | Yes
230 | REPLACEMENT OF UNDER | Yes | No | Yes | Yes
230 | REPLACEMENT OF UNDER | Yes | No | Yes | Yes
230 | REPLACEMENT OF UNDER | Yes | No | Yes | Yes
232 | DISTR SUBSTATION PRO | Yes | No | No | No
232 | DISTR SUBSTATION PRO | Yes | No | No | No
235 | TRANSFORMER & METER | Yes | No | Yes | Yes
235 | TRANSFORMER & METER | Yes | No | Yes | Yes
235 | TRANSFORMER & METER | Yes | No | Yes | Yes
236 | CAPITAL RESTORATION | Yes | No | Yes | Yes
236 | CAPITAL RESTORATION | Yes | No | Yes | Yes
236 | CAPITAL RESTORATION | Yes | No | Yes | Yes
289 | SWITCH REPLACEMENT & | Yes | No | Yes | Yes
289 | SWITCH REPLACEMENT & | Yes | No | Yes | Yes
289 | SWITCH REPLACEMENT & | Yes | No | Yes | Yes
1145 | TRANSMISSION INFRAST | No | Yes | No | No
1145 | TRANSMISSION INFRAST | No | Yes | No | No
1241 | KEARNY-ADD 4TH BANK | #N/A | #N/A | #N/A | #N/A
1269 | POINT LOMA-INSTALL T | Yes | Yes | No | Yes
1269 | POINT LOMA-INSTALL T | Yes | Yes | No | Yes
1269 | POINT LOMA-INSTALL T | Yes | Yes | No | Yes
1295 | LOAD RESEARCH/DLP EL | Yes | No | Yes | No
1295 | LOAD RESEARCH/DLP EL | Yes | No | Yes | No
2246 | GRANT HILL-NEW 138/1 | No | No | No | No
2252 | MIRA SORRENTO 138/12 | Yes | Yes | Yes | Yes
2252 | MIRA SORRENTO 138/12 | Yes | Yes | Yes | Yes
2258 | SALT CREEK LAND PURC | Yes | Yes | Yes | Yes
2258 | SALT CREEK LAND PURC | Yes | Yes | Yes | Yes
2258 | SALT CREEK LAND PURC | Yes | Yes | Yes | Yes
2264 | SUSTAINABLE COMMUNIT | Yes | No | Yes | No
2264 | SUSTAINABLE COMMUNIT | Yes | No | Yes | No
3171 | TRANSMISSION SYSTEM | No | Yes | No | No
3171 | TRANSMISSION SYSTEM | No | Yes | No | No
3263 | JAMACHA-NEW 12KV CKT | Yes | Yes | Yes | Yes
3263 | JAMACHA-NEW 12KV CKT | Yes | Yes | Yes | Yes
4138 | SUNRISE POWERLINK | #N/A | #N/A | #N/A | #N/A
4138 | SUNRISE POWERLINK | #N/A | #N/A | #N/A | #N/A
4250 | SMART METER PROJECT- | #N/A | #N/A | #N/A | #N/A
4250 | SMART METER PROJECT- | #N/A | #N/A | #N/A | #N/A
5244 | RANCHO MISSION VIEJO | Yes | No | No | No
5244 | RANCHO MISSION VIEJO | Yes | No | No | No
5253 | OCEAN RANCH 69/12KV | No | Yes | No | No
5253 | OCEAN RANCH 69/12KV | No | Yes | No | No
5253 | OCEAN RANCH 69/12KV | No | Yes | No | No
5255 | STATION C - REMOVE F | No | No | No | No
5255 | STATION C - REMOVE F | No | No | No | No
6129 | SOUTH ORANGE COUNTY | Yes | Yes | No | No
6129 | SOUTH ORANGE COUNTY | Yes | Yes | No | No
6129 | SOUTH ORANGE COUNTY | Yes | Yes | No | No
6132 | RELOCATE SOUTH BAY S | No | No | No | No
6132 | RELOCATE SOUTH BAY S | No | No | No | No
6247 | REPLACEMENT OF LIVE | Yes | No | Yes | Yes
6247 | REPLACEMENT OF LIVE | Yes | No | Yes | Yes
6247 | REPLACEMENT OF LIVE | Yes | No | Yes | Yes
6251 | OTAY SUBSTATION REBU | No | No | No | No
6251 | OTAY SUBSTATION REBU | No | No | No | No
6254 | EMERGENCY TRANSFORME | No | No | No | No
6254 | EMERGENCY TRANSFORME | No | No | No | No
6254 | EMERGENCY TRANSFORME | No | No | No | No
6260 | REMOVE 4KV SUBS. FRO | Yes | No | No | No
6260 | REMOVE 4KV SUBS. FRO | Yes | No | No | No
6260 | REMOVE 4KV SUBS. FRO | Yes | No | No | No
7139 | ECO SUBSTATION | Yes | Yes | Yes | No
7139 | ECO SUBSTATION | Yes | Yes | Yes | No
7143 | ORANGE GROVE PP INTE | No | No | No | No
7143 | ORANGE GROVE PP INTE | No | No | No | No
7144 | FIBER OPTIC FOR RELA | Yes | No | Yes | Yes
7144 | FIBER OPTIC FOR RELA | Yes | No | Yes | Yes
7144 | FIBER OPTIC FOR RELA | Yes | No | Yes | Yes
7245 | TELEGRAPH CANYON-4TH | No | Yes | No | No
7245 | TELEGRAPH CANYON-4TH | No | Yes | No | No
7245 | TELEGRAPH CANYON-4TH | No | Yes | No | No
7249 | SAN YSIDRO-NEW 12KV | Yes | No | Yes | Yes
7249 | SAN YSIDRO-NEW 12KV | Yes | No | Yes | Yes
7251 | POMERADO-NEW 12KV CK | No | No | No | No
7253 | BORDER-INSTALL NEW 1 | Yes | Yes | Yes | Yes
7253 | BORDER-INSTALL NEW 1 | Yes | Yes | Yes | Yes
7256 | C1438, GRANT HILL-NE | No | No | No | No
7256 | C1438, GRANT HILL-NE | No | No | No | No
7257 | NEW JAMUL SUB & 3 12 | No | Yes | No | No
7257 | NEW JAMUL SUB & 3 12 | No | Yes | No | No
8155 | TL 683 LILAC-RINCON | No | No | No | No
8162 | SUBSTATION SECURITY | No | No | No | No
8164 | TL 626 DE-BC-ST SW P | No | No | No | No
8165 | TL 629 DE-GC-CN SW P | Yes | No | Yes | No
8165 | TL 629 DE-GC-CN SW P | Yes | No | Yes | No
8165 | TL 629 DE-GC-CN SW P | Yes | No | Yes | No
8166 | TL 625 DE-BAR SW POL | No | No | No | No
8245 | LOS COCHES-NEW 12KV | No | No | No | No
8245 | LOS COCHES-NEW 12KV | No | No | No | No
8250 | C905: SAN LUIS REY-N | Yes | Yes | No | Yes
8250 | C905: SAN LUIS REY-N | Yes | Yes | No | Yes
8251 | MESA HEIGHTS-INSTALL | No | No | No | No
8253 | SUBSTATION CAPACITOR | No | Yes | No | Yes
8253 | SUBSTATION CAPACITOR | No | Yes | No | Yes
8253 | SUBSTATION CAPACITOR | No | Yes | No | Yes
8254 | CLAIREMONT SUBSTATIO | No | No | No | No
8254 | CLAIREMONT SUBSTATIO | No | No | No | No
8255 | CPP - DEFAULT | No | No | No | No
8257 | C1079, OS: NEW 12KV | Yes | No | Yes | No
8257 | C1079, OS: NEW 12KV | Yes | No | Yes | No
8259 |  | Yes | No | No | No
8261 | VISTA 4KV SUBSTATION | No | No | No | No
8261 | VISTA 4KV SUBSTATION | No | No | No | No
8263 | DOE MICROGRID | No | No | No | No
8263 | DOE MICROGRID | No | No | No | No
8265 | CAMP PEND SAN ONOFRE | No | No | No | No
8265 | CAMP PEND SAN ONOFRE | No | No | No | No
9125 | TL 637 CRE-ST SW POL | No | No | No | No
9125 | TL 637 CRE-ST SW POL | No | No | No | No
9128 | TL698-PA-MON SW POLE | No | No | No | No
9132 | TL 6926 RINCON-VLY C | No | No | No | No
9132 | TL 6926 RINCON-VLY C | No | No | No | No
9133 | TL 689 FELICITA-BERN | No | No | No | No
9134 | TL6910-MIGUEL TO BOR | No | No | No | No
9134 | TL6910-MIGUEL TO BOR | No | No | No | No
9135 | TL616 RCHO ST FE-BER | No | No | No | No
9135 | TL616 RCHO ST FE-BER | No | No | No | No
9136 | TL6914 LOS COCHES-LO | No | No | No | No
9136 | TL6914 LOS COCHES-LO | No | No | No | No
9137 | TL 649 OTAY-SAN YSID | No | No | No | No
9137 | TL 649 OTAY-SAN YSID | No | No | No | No
9137 | TL 649 OTAY-SAN YSID | No | No | No | No
9138 | TL6913 POWAY-POMERAD | No | No | No | No
9138 | TL6913 POWAY-POMERAD | No | No | No | No
9142 | TL686 WARNERS-NARROW | No | No | No | No
9148 | RECOND. TL667, PENAS | No | No | No | No
9148 | RECOND. TL667, PENAS | No | No | No | No
9149 | RECOND TL680A, SAN L | No | No | No | No
9149 | RECOND TL680A, SAN L | No | No | No | No
9151 | RECOND. TL6927 EASTG | No | No | No | No
9153 | TL676-MISSION TO MES | No | No | No | No
9153 | TL676-MISSION TO MES | No | No | No | No
9153 | TL676-MISSION TO MES | No | No | No | No
9160 | NEW TL 6956 (ES-ASH | No | No | No | No
9160 | NEW TL 6956 (ES-ASH | No | No | No | No
9166 | TL13821 & 28-FANITA | No | No | No | No
9166 | TL13821 & 28-FANITA | No | No | No | No
9168 | 69KV & 12KV CAPACITO | No | No | No | No
9171 | NARROWS SUBSTATION R | No | No | No | No
9242 | ARTESIAN SUB-NEW CKT | No | No | No | No
9242 | ARTESIAN SUB-NEW CKT | No | No | No | No
9247 | BAY HO BLK 6J 20SD C | No | No | No | No
9247 | BAY HO BLK 6J 20SD C | No | No | No | No
9249 | SHERMAN HEIGHTS BLK | No | No | No | No
9249 | SHERMAN HEIGHTS BLK | No | No | No | No
9250 | POINT LOMA BLK 2J 20 | No | No | No | No
9250 | POINT LOMA BLK 2J 20 | No | No | No | No
9251 | MESA COLLEGE DR 20SD | No | No | No | No
9251 | MESA COLLEGE DR 20SD | No | No | No | No
9252 | PARADISE HILLS BLK 4 | No | No | No | No
9252 | PARADISE HILLS BLK 4 | No | No | No | No
9253 | SHERMAN HEIGHTS 2 BL | No | No | No | No
9253 | SHERMAN HEIGHTS 2 BL | No | No | No | No
9254 | BONITA RD 20A CONVER | No | No | No | No
9255 | COUNTY SOUTH SANTA F | No | No | No | No
9255 | COUNTY SOUTH SANTA F | No | No | No | No
9256 | ELM AVE 20A | No | No | No | No
9256 | ELM AVE 20A | No | No | No | No
9261 | GARRISON ST 20A | No | No | No | No
9261 | GARRISON ST 20A | No | No | No | No
9262 | CANON ST 20A | No | No | No | No
9262 | CANON ST 20A | No | No | No | No
9263 | ISLAND AV PHASE 2 20 | No | No | No | No
9263 | ISLAND AV PHASE 2 20 | No | No | No | No
9264 | K ST PHASE 2 20A | No | No | No | No
9264 | K ST PHASE 2 20A | No | No | No | No
9265 | BRIARWOOD RD 20A | No | No | No | No
9265 | BRIARWOOD RD 20A | No | No | No | No
9266 | WAITE DR 20A | No | No | No | No
9268 | NEW SANTEE C1139 | No | No | No | No
9268 | NEW SANTEE C1139 | No | No | No | No
9270 | GENERATOR PURCH & PR | No | No | No | No
9271 | MARGARITA SUB-NEW 12 | No | No | No | No
9271 | MARGARITA SUB-NEW 12 | No | No | No | No
9271 | MARGARITA SUB-NEW 12 | No | No | No | No
9272 | NATIONAL AV PHASE 1 | No | No | No | No
9272 | NATIONAL AV PHASE 1 | No | No | No | No
9273 | NATIONAL AV 20A PHAS | No | No | No | No
9273 | NATIONAL AV 20A PHAS | No | No | No | No
9274 | LOS COCHES-INSTALL N | No | No | No | No
9274 | LOS COCHES-INSTALL N | No | No | No | No
9275 | CEC MICROGRID | No | No | No | No
9275 | CEC MICROGRID | No | No | No | No
9276 | POSEIDON PROJ.-MODIF | No | No | No | No
9276 | POSEIDON PROJ.-MODIF | No | No | No | No
9278 | MARGARITA SUB-NEW 12 | No | No | No | No
9278 | MARGARITA SUB-NEW 12 | No | No | No | No
9279 | CABRILLO CIRCUIT 483 | No | No | No | No
9279 | CABRILLO CIRCUIT 483 | No | No | No | No
9295 | C445 BOULEVARD RECON | No | No | No | No
9295 | C445 BOULEVARD RECON | No | No | No | No
10125 | SWEETWATER SUBSTATIO | No | No | No | No
10125 | SWEETWATER SUBSTATIO | No | No | No | No
10128 | TL13826 WOOD TO STEE | No | No | No | No
10131 | TL633 WOOD TO STEEL | No | No | No | No
10134 | BORREGO SOLAR 1 INTE | No | No | No | No
10134 | BORREGO SOLAR 1 INTE | No | No | No | No
10135 | LOS COCHES SUB-REBUI | No | No | No | No
10135 | LOS COCHES SUB-REBUI | No | No | No | No
10135 | LOS COCHES SUB-REBUI | No | No | No | No
10140 | RAMONA TRANSMISSION | No | No | No | No
10140 | RAMONA TRANSMISSION | No | No | No | No
10144 | TL691 AVO-MON WOOD T | No | No | No | No
10144 | TL691 AVO-MON WOOD T | No | No | No | No
10144 | TL691 AVO-MON WOOD T | No | No | No | No
10146 | TL695/6971 RECONDUCT | No | No | No | No
10146 | TL695/6971 RECONDUCT | No | No | No | No
10146 | TL695/6971 RECONDUCT | No | No | No | No
10147 | TL697 SAN LUIS REY W | No | No | No | No
10147 | TL697 SAN LUIS REY W | No | No | No | No
10147 | TL697 SAN LUIS REY W | No | No | No | No
10149 | WOOD TO STEEL POLE R | No | No | No | No
10149 | WOOD TO STEEL POLE R | No | No | No | No
10149 | WOOD TO STEEL POLE R | No | No | No | No
10150 | TL 13833-W2S | No | No | No | No
10150 | TL 13833-W2S | No | No | No | No
10249 | SANTEE-NEW 12KV CKT. | No | No | No | No
10249 | SANTEE-NEW 12KV CKT. | No | No | No | No
10256 | C520, AV: RECONDUCTO | No | No | No | No
10256 | C520, AV: RECONDUCTO | No | No | No | No
10257 | C520, AV: RECONDUCTO | No | No | No | No
10257 | C520, AV: RECONDUCTO | No | No | No | No
10259 | MISSION SUB-REPLACE | No | No | No | No
10259 | MISSION SUB-REPLACE | No | No | No | No
10262 | UPGRADE GENERATORS F | No | No | No | No
10263 | UNDERGROUNDING IN FI | No | No | No | No
10263 | UNDERGROUNDING IN FI | No | No | No | No
10264 | C1243,RMV:OL-RECOND | No | No | No | No
10264 | C1243,RMV:OL-RECOND | No | No | No | No
10265 | AVIAN PROTECTION PRO | No | No | No | No
10265 | AVIAN PROTECTION PRO | No | No | No | No
10265 | AVIAN PROTECTION PRO | No | No | No | No
10266 | C350 LI: RECOND., IN | No | No | No | No
10266 | C350 LI: RECOND., IN | No | No | No | No
10267 | METER FARM EXPANSION | No | No | No | No
10267 | METER FARM EXPANSION | No | No | No | No
10268 | ROSEVILLE 4KV SUBSTA | No | No | No | No
10268 | ROSEVILLE 4KV SUBSTA | No | No | No | No
10269 | EDM GO RULE 18 FIRE | No | No | No | No
10269 | EDM GO RULE 18 FIRE | No | No | No | No
10270 | CHOLLAS WEST-NEW 12K | No | No | No | No
10270 | CHOLLAS WEST-NEW 12K | No | No | No | No
10271 | WIRELESS-COMM. NETWO | No | No | No | No
10271 | WIRELESS-COMM. NETWO | No | No | No | No
10272 | MIDDLETOWN 4 KV SUBS | No | No | No | No
10272 | MIDDLETOWN 4 KV SUBS | No | No | No | No
10274 | DYNAMIC VOLTAGE CONT | No | No | No | No
10274 | DYNAMIC VOLTAGE CONT | No | No | No | No
11125 | TL6961 SYCAMORE-BERN | No | No | No | No
11126 | TL663 MISSION TO KEA | No | No | No | No
11126 | TL663 MISSION TO KEA | No | No | No | No
11126 | TL663 MISSION TO KEA | No | No | No | No
11127 | TL670 MISSION TO CLA | No | No | No | No
11127 | TL670 MISSION TO CLA | No | No | No | No
11144 | ON-RAMP AERIAL LIGHT | No | No | No | No
11144 | ON-RAMP AERIAL LIGHT | No | No | No | No
11144 | ON-RAMP AERIAL LIGHT | No | No | No | No
11243 | SANTA ANA WIND/FIRE | No | No | No | No
11243 | SANTA ANA WIND/FIRE | No | No | No | No
11244 | POM: NEW 12KV CKT. 9 | No | No | No | No
11244 | POM: NEW 12KV CKT. 9 | No | No | No | No
11244 | POM: NEW 12KV CKT. 9 | No | No | No | No
11245 | CKT CTL-1, 2011 CFSP | No | No | No | No
11245 | CKT CTL-1, 2011 CFSP | No | No | No | No
11246 | SMART TRANSFORMERS | No | No | No | No
11246 | SMART TRANSFORMERS | No | No | No | No
11246 | SMART TRANSFORMERS | No | No | No | No
11247 | ADVANCED ENERGY STOR | No | No | No | No
11247 | ADVANCED ENERGY STOR | No | No | No | No
11247 | ADVANCED ENERGY STOR | No | No | No | No
11249 | INSTALL SCADA ON LIN | No | No | No | No
11249 | INSTALL SCADA ON LIN | No | No | No | No
11249 | INSTALL SCADA ON LIN | No | No | No | No
11251 | OPERATIONAL DATA STO | No | No | No | No
11253 | WIRELESS FAULT INDIC | No | No | No | No
11253 | WIRELESS FAULT INDIC | No | No | No | No
11253 | WIRELESS FAULT INDIC | No | No | No | No
11254 | BE: NEW 12KV CIRCUIT | No | No | No | No
11254 | BE: NEW 12KV CIRCUIT | No | No | No | No
11255 | SAN DIEGO EIC SOLAR | No | No | No | No
11255 | SAN DIEGO EIC SOLAR | No | No | No | No
11257 | CAMP PENDLETON 12KV | No | No | No | No
11257 | CAMP PENDLETON 12KV | No | No | No | No
11258 | ASAPNET,AREA SITUATI | No | No | No | No
11258 | ASAPNET,AREA SITUATI | No | No | No | No
11259 | C100, OLD TOWN 12KV | No | No | No | No
11261 | SEWAGE PUMP STATION | No | No | No | No
11261 | SEWAGE PUMP STATION | No | No | No | No
11261 | SEWAGE PUMP STATION | No | No | No | No
11262 | SDGE METRO BUCC RADI | No | No | No | No
11263 | SAMPSON: INSTALL NEW | No | No | No | No
11263 | SAMPSON: INSTALL NEW | No | No | No | No
11264 | STUART SUB-C1299 ALT | No | No | No | No
11264 | STUART SUB-C1299 ALT | No | No | No | No
11267 | SCADA EXPANSION-DIST | No | No | No | No
11267 | SCADA EXPANSION-DIST | No | No | No | No
11267 | SCADA EXPANSION-DIST | No | No | No | No
12125 | SUNNYSIDE 69/12KV RE | No | No | No | No
12125 | SUNNYSIDE 69/12KV RE | No | No | No | No
12156 | TL600-RELIABILITY PO | No | No | No | No
12156 | TL600-RELIABILITY PO | No | No | No | No
12242 | DYNAMIC LINE RATINGS | No | No | No | No
12243 | PHASOR MEASUREMENT U | No | No | No | No
12243 | PHASOR MEASUREMENT U | No | No | No | No
12244 | INTEGRATED TEST FACI | No | No | No | No
12244 | INTEGRATED TEST FACI | No | No | No | No
12246 | ADVANCED GROUND FAUL | No | No | No | No
12246 | ADVANCED GROUND FAUL | No | No | No | No
12246 | ADVANCED GROUND FAUL | No | No | No | No
12247 | SMART ISOLATION & RE | No | No | No | No
12247 | SMART ISOLATION & RE | No | No | No | No
12250 | ARC DETECTION-DISTRI | No | No | No | No
12250 | ARC DETECTION-DISTRI | No | No | No | No
12252 | MISSION PERIMETER SW | No | No | No | No
12252 | MISSION PERIMETER SW | No | No | No | No
12253 | OCE COLORWAVE 600 SY | No | No | No | No
12254 | SAMPSON-NEW 12KV CKT | No | No | No | No
12254 | SAMPSON-NEW 12KV CKT | No | No | No | No
12255 | ADVANCED DIST. MANAG | No | No | No | No
12255 | ADVANCED DIST. MANAG | No | No | No | No
12256 | POWERWORKZ | No | No | No | No
12256 | POWERWORKZ | No | No | No | No
12261 | C221-FIRE RISK MITIG | No | No | No | No
12261 | C221-FIRE RISK MITIG | No | No | No | No
12263 | C444-FIRE RISK MITIG | No | No | No | No
12263 | C444-FIRE RISK MITIG | No | No | No | No
12265 | C1215-FIRE RISK MITI | No | No | No | No
12265 | C1215-FIRE RISK MITI | No | No | No | No
12266 | CONDITION BASED MAIN | No | No | No | No
12266 | CONDITION BASED MAIN | No | No | No | No
12266 | CONDITION BASED MAIN | No | No | No | No
13130 | TL674A DEL MAR RECON | No | No | No | No
13130 | TL674A DEL MAR RECON | No | No | No | No
13130 | TL674A DEL MAR RECON | No | No | No | No
13136 | WABASH SUBSTATION RE | No | No | No | No
13136 | WABASH SUBSTATION RE | No | No | No | No
13242 | KEARNY 69/12KV SUB R | No | No | No | No
13242 | KEARNY 69/12KV SUB R | No | No | No | No
13242 | KEARNY 69/12KV SUB R | No | No | No | No
13243 | NEW VINE 69/12KV SUB | No | No | No | No
13243 | NEW VINE 69/12KV SUB | No | No | No | No
13243 | NEW VINE 69/12KV SUB | No | No | No | No
13244 | STREAMVIEW 69/12KV S | No | No | No | No
13244 | STREAMVIEW 69/12KV S | No | No | No | No
13244 | STREAMVIEW 69/12KV S | No | No | No | No
13245 | SANTA YSABEL MICROGR | No | No | No | No
13245 | SANTA YSABEL MICROGR | No | No | No | No
13247 | FIRM GRC BLANKET BUD | No | No | No | No
13247 | FIRM GRC BLANKET BUD | No | No | No | No
13247 | FIRM GRC BLANKET BUD | No | No | No | No
13249 | BALBOA PARK RELIABIL | No | No | No | No
13249 | BALBOA PARK RELIABIL | No | No | No | No
13250 | C108: RECONFIGURE CK | No | No | No | No
13250 | C108: RECONFIGURE CK | No | No | No | No
13251 | C176, PO: RECONDUCTO | No | No | No | No
13251 | C176, PO: RECONDUCTO | No | No | No | No
13253 | BALBOA PARK MICROGRI | No | No | No | No
13253 | BALBOA PARK MICROGRI | No | No | No | No
13254 | SMART COMMUNITY CIVI | No | No | No | No
13254 | SMART COMMUNITY CIVI | No | No | No | No
13255 | C441-POLE LOADING ST | No | No | No | No
13255 | C441-POLE LOADING ST | No | No | No | No
13256 | DERMS/MICROGRID CONT | No | No | No | No
13256 | DERMS/MICROGRID CONT | No | No | No | No
13257 | ADVANCED DIST MGMT S | No | No | No | No
13257 | ADVANCED DIST MGMT S | No | No | No | No
13258 | OPTIMIZATION OF PRIC | No | No | No | No
13258 | OPTIMIZATION OF PRIC | No | No | No | No
13259 | C1243, RMV:OL-REC. A | No | No | No | No
13259 | C1243, RMV:OL-REC. A | No | No | No | No
13260 | C1288, MSH-NEW CKT T | No | No | No | No
13260 | C1288, MSH-NEW CKT T | No | No | No | No
13261 | SUPER COMPUTER CLUST | No | No | No | No
13264 | DISTRIBUTED GENERATI | No | No | No | No
13264 | DISTRIBUTED GENERATI | No | No | No | No
13264 | DISTRIBUTED GENERATI | No | No | No | No
13266 | DISTRIBUTION AERIAL | No | No | No | No
13266 | DISTRIBUTION AERIAL | No | No | No | No
13266 | DISTRIBUTION AERIAL | No | No | No | No
13273 | C1440 GRANT HILL NEW | No | No | No | No
13281 | INCREASE GRANITE SUB | No | No | No | No
13281 | INCREASE GRANITE SUB | No | No | No | No
13282 | CNF DISTRIBUTION BLA | No | No | No | No
13282 | CNF DISTRIBUTION BLA | No | No | No | No
14143 | POWAY SUBSTATION REB | No | No | No | No
14143 | POWAY SUBSTATION REB | No | No | No | No
14143 | POWAY SUBSTATION REB | No | No | No | No
14242 | ENERGY STORAGE-NON-B | No | No | No | No
14242 | ENERGY STORAGE-NON-B | No | No | No | No
14243 | BORREGO SPRINGS MICR | No | No | No | No
14243 | BORREGO SPRINGS MICR | No | No | No | No
14243 | BORREGO SPRINGS MICR | No | No | No | No
14244 | FIRE POTENTIAL AWARE | No | No | No | No
14245 | ASAPNET IMPROVE.-EME | No | No | No | No
14247 | FIRM FIRE HAZARD PRE | No | No | No | No
14247 | FIRM FIRE HAZARD PRE | No | No | No | No
14249 | SF6 SWITCH REPLACEME | No | No | No | No
14249 | SF6 SWITCH REPLACEME | No | No | No | No
14249 | SF6 SWITCH REPLACEME | No | No | No | No
14252 | C155: SHARP CV ALTER | No | No | No | No
14252 | C155: SHARP CV ALTER | No | No | No | No
14253 | METRO DISPATCH CONSO | No | No | No | No
14253 | METRO DISPATCH CONSO | No | No | No | No
14254 | SGCS LOW POWER COMMU | No | No | No | No
14258 | C589 & C753 DAMAGED | No | No | No | No
14258 | C589 & C753 DAMAGED | No | No | No | No
14259 | VANADIUM FLOW BATTER | No | No | No | No
14259 | VANADIUM FLOW BATTER | No | No | No | No
14259 | VANADIUM FLOW BATTER | No | No | No | No
14261 | EDO ADDITIONAL COMPU | No | No | No | No
15242 | LOADSEER INTEGRATION | No | No | No | No
15242 | LOADSEER INTEGRATION | No | No | No | No
15243 | SUBSTATION SCADA EXP | No | No | No | No
15243 | SUBSTATION SCADA EXP | No | No | No | No
15243 | SUBSTATION SCADA EXP | No | No | No | No
15244 | C1448, MTO: NEW 12KV | No | No | No | No
15244 | C1448, MTO: NEW 12KV | No | No | No | No
15246 | RANCHO SANTA FE SUB | No | No | No | No
15246 | RANCHO SANTA FE SUB | No | No | No | No
15246 | RANCHO SANTA FE SUB | No | No | No | No
15254 | SDGE WEATHER FORECAS | No | No | No | No
15255 | C789: 2013 ERI BRANC | No | No | No | No
15255 | C789: 2013 ERI BRANC | No | No | No | No
15256 | VEHICLE MOUNTED AED | No | No | No | No
15256 | VEHICLE MOUNTED AED | No | No | No | No
15257 | LARGE-SCALE COMM INF | No | No | No | No
15257 | LARGE-SCALE COMM INF | No | No | No | No
15257 | LARGE-SCALE COMM INF | No | No | No | No
15258 | MIDCOAST TROLLEY EXT | No | No | No | No
15258 | MIDCOAST TROLLEY EXT | No | No | No | No
15258 | MIDCOAST TROLLEY EXT | No | No | No | No
15259 | FIRE THREAT ZONE ADV | No | No | No | No
15259 | FIRE THREAT ZONE ADV | No | No | No | No
15259 | FIRE THREAT ZONE ADV | No | No | No | No
16126 | SUBSTATION SECURITY | No | No | No | No
16126 | SUBSTATION SECURITY | No | No | No | No
16132 | TL690A | No | No | No | No
16134 | CARLSBAD ENERGY CENT | No | No | No | No
16242 | UNMANNED AIRCRAFT SY | No | No | No | No
16273 | MOBILE COMMAND TRAIL | #N/A | #N/A | #N/A | #N/A
17242 | TWIN ENGINE HELICOPT | Yes | Yes | Yes | Yes
17242 | TWIN ENGINE HELICOPT | Yes | Yes | Yes | Yes
17242 | TWIN ENGINE HELICOPT | Yes | Yes | Yes | Yes
17244 | VOLT/VAR OPTIMIZATIO | Yes | Yes | Yes | Yes
17244 | VOLT/VAR OPTIMIZATIO | Yes | Yes | Yes | Yes
17244 | VOLT/VAR OPTIMIZATIO | Yes | Yes | Yes | Yes
17245 | ITF-INTEGRATED TEST | Yes | Yes | Yes | Yes
17245 | ITF-INTEGRATED TEST | Yes | Yes | Yes | Yes
17245 | ITF-INTEGRATED TEST | Yes | Yes | Yes | Yes
17246 | BORREGO MICROGRID 3. | Yes | Yes | Yes | Yes
17246 | BORREGO MICROGRID 3. | Yes | Yes | Yes | Yes
17246 | BORREGO MICROGRID 3. | Yes | Yes | Yes | Yes
17247 | SUBSTATION RELAY MOD | Yes | Yes | Yes | Yes
17247 | SUBSTATION RELAY MOD | Yes | Yes | Yes | Yes
17247 | SUBSTATION RELAY MOD | Yes | Yes | Yes | Yes
17249 | 12/4KV SUBSTATION SE | Yes | Yes | Yes | Yes
17249 | 12/4KV SUBSTATION SE | Yes | Yes | Yes | Yes
17249 | 12/4KV SUBSTATION SE | Yes | Yes | Yes | Yes
17250 | PACIFIC AVE 20B CONV | Yes | Yes | Yes | Yes
17250 | PACIFIC AVE 20B CONV | Yes | Yes | Yes | Yes
17250 | PACIFIC AVE 20B CONV | Yes | Yes | Yes | Yes
17251 | ESPOLA RD 20B CONVER | Yes | Yes | Yes | Yes
17251 | ESPOLA RD 20B CONVER | Yes | Yes | Yes | Yes
17251 | ESPOLA RD 20B CONVER | Yes | Yes | Yes | Yes
17252 | SOUTH SANTA FE DR 20 | Yes | Yes | Yes | Yes
17252 | SOUTH SANTA FE DR 20 | Yes | Yes | Yes | Yes
17252 | SOUTH SANTA FE DR 20 | Yes | Yes | Yes | Yes
17253 | ELECTRIC DISTRIBUTIO | Yes | Yes | Yes | Yes
17253 | ELECTRIC DISTRIBUTIO | Yes | Yes | Yes | Yes
17253 | ELECTRIC DISTRIBUTIO | Yes | Yes | Yes | Yes
17254 | ACCELERATED POLE LOA | Yes | Yes | Yes | Yes
17254 | ACCELERATED POLE LOA | Yes | Yes | Yes | Yes
17254 | ACCELERATED POLE LOA | Yes | Yes | Yes | Yes
87232 | POLE REPLACEMENT AND | Yes | No | Yes | Yes
87232 | POLE REPLACEMENT AND | Yes | No | Yes | Yes
87232 | POLE REPLACEMENT AND | Yes | No | Yes | Yes
90220 | PICO SUBSTATION AND | No | No | No | No
93240 | DISTRIBUTION CIRCUIT | Yes | No | Yes | Yes
93240 | DISTRIBUTION CIRCUIT | Yes | No | Yes | Yes
93240 | DISTRIBUTION CIRCUIT | Yes | No | Yes | Yes
93269 | FRIARS - NEW SUBSTAT | No | No | No | No
94241 | POWER QUALITY PROGRA | No | Yes | No | No
94241 | POWER QUALITY PROGRA | No | Yes | No | No
94245 | DIST. AUTOMATION & C | Yes | No | Yes | No
94245 | DIST. AUTOMATION & C | Yes | No | Yes | No
97248 | DISTRIBUTION SYSTEM | Yes | Yes | Yes | Yes
97248 | DISTRIBUTION SYSTEM | Yes | Yes | Yes | Yes
97248 | DISTRIBUTION SYSTEM | Yes | Yes | Yes | Yes
99276 | RANCHO SANTA FE -CIR | #N/A | #N/A | #N/A | #N/A
99276 | RANCHO SANTA FE -CIR | #N/A | #N/A | #N/A | #N/A
99282 | REPLACE OBSOLETE SUB | No | Yes | No | No
99282 | REPLACE OBSOLETE SUB | No | Yes | No | No
99282 | REPLACE OBSOLETE SUB | No | Yes | No | No
Result |  | x | x | x | x

## Split - SDG&E & Customer Costs
|  | SDG&E |  |  | Collectible
BC | Description | 2017 | 2018 | 2019 | 2017 | 2018 | 2019 | TOTAL | Comment | Category Details
211 | CONVERSION FROM OH-UG RULE 20B, 20C | 1396 | 1550 | 1706 | 1161 | 1278 | 1395 | 8486 |  | New Business Customer
213 | CITY OF SAN DIEGO SURCHARGE PROG (20SD) | 0 | 0 | 0 | 18139 | 18499 | 18866 | 55504 |  | Franchise
215 | OH RESIDENTIAL NB | 525 | 640 | 680 | 222 | 266 | 281 | 2614 |  | New Business Demand
216 | OH NON-RESIDENTIAL NB | 681 | 801 | 841 | 128 | 149 | 157 | 2757 |  | New Business Demand
217 | UG RESIDENTIAL NB | 9320 | 12288 | 13070 | 3338 | 3767 | 3923 | 45706 |  | New Business Demand
218 | UG NON-RESIDENTIAL NB | 4655 | 5591 | 5872 | 1596 | 1911 | 2005 | 21630 |  | New Business Demand
219 | NEW BUSINESS INFRASTRUCTURE | 5665 | 6862 | 7247 | 1749 | 2082 | 2190 | 25795 |  | New Business Demand
224 | NEW SERVICE INSTALLATIONS | 4925 | 5918 | 6228 | 26 | 89 | 108 | 17294 |  | New Business Customer
225 | CUSTOMER REQUESTED UPGRADES AND SERVICES | 5130 | 5612 | 6191 | 3507 | 3775 | 4097 | 28312 |  | New Business Customer
230 | REPLACEMENT OF UNDERGROUND CABLES | 11800 | 26257 | 15564 | 0 | 0 | 0 | 53621 | For 2018 and 2019 there is 10,500 and 100 for Downtown Sub | Reliability
235 | TRANSFORMER & METER INSTALLATIONS | 3474 | 3474 | 3474 | 30 | 30 | 30 | 10512 |  | New Business Customer
13264 | Distributed Generation | 0 | 0 | 0 | 507 | 459 | 0 |  |  | Mandated
15258 | MidCoast Trolley Ext | 6303 | 24 | 0 | 615 | 42 | 0 |  |  | New Business Customer