## Q9
IgnitionID | Ignition Date | Tier | Facility ID | Hardened Date | Ignition cause
20171016IG01 | 2017-10-16 | Tier 3 | P112774 | 2016-06-22 | Contact From Object
20180612IG01 | 2018-06-12 | Tier 3 | P44708 | 2015-05-02 | Contact From Object
20201111IG01 | 2020-11-11 | Tier 3 | P270154 | 2018-02-03 | Equipment/Facility Failure
20220621IG01 | 2022-06-21 | Tier 3 | P212279 | 2015-08-31 | Contact From Object
20230817IG01 | 2023-08-17 | Tier 3 | P19512 | 2016-04-08 | Contact From Object
20230817IG01 | 2023-08-17 | Tier 3 | P19512 | 2019-12-27 | Contact From Object

## Q12
Company | IgnitionID | Month | Day | Year | Quarter | Date | Time | Latitude | Longitude | Material at Origin | Land Use at Origin | Size | Suppressed by | Suppressing Agency | Facility Identification/Circuit | Other Companies | Transmission or Distribution | Voltage (Volts) | Equipment Involved With Ignition | Type | Was There an Outage | Outage Date | Outage Time | Suspected Initiating Event | Equipment /Facility Failure | Contact Object | Facility Contacted | Contributing Factor | Circuit | EFD | FCP | PSPS
SDG&E | 20220107IG01 | January | 7 | 2022 | 1 | 2022-01-07 | 5:32 | 33.1087 | -117.1593 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | San Marcos |  |  | Distribution | 12kv | Conductor | Overhead | Yes | 2022-01-07 |  | Equipment/Facility Failure | Splice/Clamp/Connector |  |  | None | 597 | NO | NO | NO
SDG&E | 20220507IG01 | May | 20 | 2022 | 2 | 2022-05-07 | 6:38 | 32.3894 | -116.4016 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | CAL FIRE |  |  | Distribution | 12kv | Other | Overhead | No |  |  | Equipment/Facility Failure | Splice/Clamp/Connector |  |  | Other |  | NO | NO | NO
SDG&E | 20220520IG01 | May | 22 | 2022 | 2 | 2022-05-20 | 12:29 | 33.0997 | -117.028 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Cal FIRE/County | P217169 |  | Distribution | 12kV | Lightning Arrestor | Overhead | Yes | 2022-05-19 | 12:29 | Equipment/Facility Failure | Lightning Arrestor |  |  | None | 470 | NO | NO | NO
SDG&E | 20220526IG01 | May | 23 | 2022 | 2 | 2022-05-26 | 10:06 | 32.682 | -116.311 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CAL FIRE/Couny | P45551 |  | Distribution | 12kv | Transformer | Overhead | Yes | 2022-05-26 | 10:06 | Contact From Object |  | Animal | Electric Facility | None | 445 | NO | NO | NO
SDG&E | 20220610IG02 | June | 25 | 2022 | 2 | 2022-06-10 | 15:30 | 33.0404 | -116.8853 | Vegetation | Urban | Less Than .25 Acres | Fire Agency | Ramona/CAL FIRE | P239347 |  | Distribution | 12kV | Other | Overhead | Yes | 2022-06-10 | 15;30 | Contact From Object |  | Animal | Electric Facility | None | 972 | NO | NO | NO
SDG&E | 20220621IG01 | June | 26 | 2022 | 2 | 2022-06-21 | 10:45 | 33.1719 | -116.7578 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Ramona/CAL FIRE | P212279 |  | Distribution | 12kV | Other | Overhead | Yes | 2022-06-21 | 10:45 | Contact From Object |  | Animal | Electric Facility |  | 220 | NO | NO | NO
SDG&E | 20220711IG01 | July | 11 | 2022 | 3 | 2022-07-11 | 14:16 | 33.3167 | -117.2334 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | Cal Fire | Z15161 |  | Distribution | 12kv | Other | Overhead | Yes | 2022-07-11 | 14:16 | Contact From Object |  | Balloons | Electric Facility | Outside Force | 231 | NO | NO | NO
SDG&E | 20220718IG01 | July | 18 | 2022 | 3 | 2022-07-18 | 12:16 | 32.7301 | -116.8412 | Vegetation | Rural | Less Than .25 Acres | Customer |  | P74614 |  | Distribution | 12kv | Other | Overhead | Yes | 2022-07-18 | 12:16 | Contact From Object |  | Animal | Electric Facility | Outside Force | 524 | YES | NO | NO
SDG&E | 20220803IG01 | August | 3 | 2022 | 3 | 2022-08-03 | 14:45 | 33.478 | -117.6683 | Vegetation | Urban | .26 - 9.99 Acres | Fire Agency | OCFA |  |  | Distribution | 12kv | Conductor | Overhead | No |  |  | Contact From Object |  | Vegetation | Electric Facility | Human Error | 1073 | NO | NO | NO
SDG&E | 20220918IG01 | September | 18 | 2022 | 3 | 2022-09-18 | 16:54 | 32.9804 | -116.7748 | Vegetation | Rural | .26 - 9.99 Acres | Customer |  | P137757J |  | Distribution | 12kv | Other | Overhead | Yes | 2022-09-18 | 16:54 | Contact From Object |  | Balloons | Electric Facility | Outside Force | 973 | NO | NO | NO
SDG&E | 20221019IG01 | October | 19 | 2022 | 4 | 2022-10-19 | 10:45 | 33.1719 | -116.7578 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | Cal Fire | P416491 |  | Secondary | 240v | Other | Overhead | Yes | 2022-10-19 | 10:40 | Contact From Object |  | Vegetation | Electric Facility | Unknown | 1001 | NO | NO | NO
SDG&E | 20221026IG01 | October | 26 | 2022 | 4 | 2022-10-26 | 15:02 | 33.2801 | -117.4099 | Vegetation | Urban | .26 - 9.99 Acres | Fire Agency | Camp Pendleton | Z223660 |  | Transmission | 230kv | Other | Overhead | Yes | 2022-10-26 |  | Contact From Object |  | Balloons | Electric Facility | Outside Force | Z223660 | NO | NO | NO
SDG&E | 20230404IG01 | April | 4 | 2023 | 2 | 2023-04-04 | 22:22 | 33.0708 | -117.1912 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | RSF FPD | P238062 |  | Distribution | 12Kv | Other | Overhead | Yes | 2023-04-04 | 22:22 | Equipment/Facility Failure | Guy/Span Wire |  |  | Unknown | 597 | NO | NO | NO
SDG&E | 20230416IG01 | April | 16 | 2023 | 2 | 2023-04-16 | 12:27 | 32.6836 | -116.4014 | Vegetation | Rural | Less Than .25 Acres | Self Extinguished |  | P111689 |  | Distribution | 12kv/Sec | Other | Overhead | Yes | 2023-04-16 | 12:27 | Equipment/Facility Failure | Splice/Clamp/Connector |  |  | Other | 441 | NO | NO | NO
SDG&E | 20230515IG01 | May | 15 | 2023 | 2 | 2023-05-15 | 12:59 | 33.2635 | -117.0736 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CalFire | P117800 |  | Distribution | 12kV | Conductor | Overhead | Yes | 2023-05-15 | 12:59 | Other | Conductor |  |  | Human Error | 352 | NO | NO | NO
SDG&E | 20230705IG01 | July | 5 | 2023 | 3 | 2023-07-05 | 16:00 | 33.0189 | -116.866 | Vegetation | Urban | Less Than .25 Acres | Utility |  | P419426 |  | Secondary | 120v | Other | Overhead | No |  |  | Unknown |  |  |  | Unknown | 971 | NO | NO | NO
SDG&E | 20230709IG01 | July | 9 | 2023 | 3 | 2023-07-09 | 16:04 | 32.7469 | -116.7981 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | CalFire | P274751 |  | Distribution | 12kv | Conductor | Overhead | Yes | 2023-07-09 | 16:04 | Contact From Object |  | Vehicle | Electric Facility | Human Error | 524 | YES | NO | NO
SDG&E | 20230712IG01 | July | 12 | 2023 | 3 | 2023-07-12 | 17:00 | 32.9 | -117.0139 | Vegetation | Rural | 10 - 99 Acres | Fire Agency | Miramar | Z873113 | No | Transmission | 230kV | Other | Overhead | Yes | 2023-07-12 | 16:47 | Contact From Object |  | Other | Electric Facility | Unknown | Z873113 | NO | NO | NO
SDG&E | 20230815IG01 | August | 15 | 2023 | 3 | 2023-08-15 | 13:00 | 33.3547 | -117.13 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CALFIRE | P713907 | Yes | Distribution | 12kV | Other | Overhead | Yes | 2023-08-15 | 12:45 | Contact From Object |  | Animal | Electric Facility | None | 239 | NO | NO | NO
SDG&E | 20230817IG01 | August | 17 | 2023 | 3 | 2023-08-17 |  | 33.1802 | -116.701 | Vegetation | Rural | Less Than .25 Acres | Fire Agency | CALFIRE | P19512 |  | Distribution | 12kV | Other | Overhead | Yes | 2023-08-17 | 14:23 | Contact From Object |  | Animal | Electric Facility | None | 212 | NO | NO | NO
SDG&E | 20230827IG01 | August | 27 | 2023 | 3 | 2023-08-27 | 20:20 | 32.6521 | -116.7024 | Vegetation | Rural | .26 - 9.99 Acres | Fire Agency | CALFIRE | P239777 |  | Secondary | 120V | Conductor | Overhead | No |  |  | Other | Other |  |  | Unknown | 67 | NO | NO | NO

## Q13
Outage ID | EFD | FCP | Hftd | Circuit | Outage Start Date | Year
220824E266802 | No | No | Tier 2 | 212 | 2022-08-24 | 2022
231110E298164 | No | No | Tier 2 | 230 | 2023-11-10 | 2023
220825E266899 | No | No | Tier 2 | 233 | 2022-08-25 | 2022
221218E274919 | No | No | Tier 2 | 358 | 2022-12-18 | 2022
220327E255925 | No | No | Tier 2 | 520 | 2022-03-27 | 2022
220715E263885 | No | No | Tier 2 | 520 | 2022-07-15 | 2022
221230E275405 | No | No | Tier 2 | 522 | 2022-12-30 | 2022
220326E255915 | No | No | Tier 2 | 770 | 2022-03-26 | 2022
220215E252948 | No | No | Tier 2 | 210 | 2022-02-15 | 2022
220606E261060 | No | No | Tier 2 | 231 | 2022-06-06 | 2022
231109E298033 | No | No | Tier 2 | 450 | 2023-11-09 | 2023
220519E259907 | No | No | Tier 2 | 470 | 2022-05-19 | 2022
231216E300565 | No | No | Tier 2 | 520 | 2023-12-16 | 2023
230917E293933 | No | No | Tier 2 | 972 | 2023-09-17 | 2023
220711E263472 | No | No | Tier 2 | 231 | 2022-07-11 | 2022
230327E281596 | No | No | Tier 2 | 231 | 2023-03-27 | 2023
220704E263010 | No | No | Tier 2 | 233 | 2022-07-04 | 2022
230702E288246 | No | No | Tier 2 | 234 | 2023-07-02 | 2023
230611E286856 | No | No | Tier 2 | 244 | 2023-06-11 | 2023
220304E254291 | No | No | Tier 2 | 522 | 2022-03-04 | 2022
220902E267544 | No | No | Tier 2 | 599 | 2022-09-02 | 2022
230402E281953 | No | No | Tier 2 | 599 | 2023-04-02 | 2023
231014E296203 | No | No | Tier 2 | 599 | 2023-10-14 | 2023
230611E286854 | No | No | Tier 2 | 909 | 2023-06-11 | 2023
220902E267545 | No | No | Tier 2 | 1094 | 2022-09-02 | 2022
220413E257256 | No | No | Tier 2 | 175 | 2022-04-13 | 2022
220315E255103 | No | No | Tier 2 | 212 | 2022-03-15 | 2022
220319E255410 | No | No | Tier 2 | 212 | 2022-03-19 | 2022
220420E257751 | No | No | Tier 2 | 212 | 2022-04-20 | 2022
220725E264525 | No | No | Tier 2 | 212 | 2022-07-25 | 2022
220903E267574 | No | No | Tier 2 | 212 | 2022-09-03 | 2022
230922E294457 | No | No | Tier 2 | 212 | 2023-09-22 | 2023
220222E253446 | No | No | Tier 2 | 217 | 2022-02-22 | 2022
220225E253635 | No | No | Tier 2 | 217 | 2022-02-25 | 2022
230502E284120 | No | No | Tier 2 | 230 | 2023-05-02 | 2023
220531E260646 | No | No | Tier 2 | 231 | 2022-05-31 | 2022
230428E283906 | No | No | Tier 2 | 231 | 2023-04-28 | 2023
220225E253718 | No | No | Tier 2 | 233 | 2022-02-25 | 2022
230225E279462 | No | No | Tier 2 | 233 | 2023-02-25 | 2023
220603E260952 | No | No | Tier 2 | 236 | 2022-06-03 | 2022
231028E297186 | No | No | Tier 2 | 237 | 2023-10-28 | 2023
231012E296082 | No | No | Tier 2 | 240 | 2023-10-12 | 2023
230822E291967 | No | No | Tier 2 | 246 | 2023-08-22 | 2023
220328E256003 | No | No | Tier 2 | 252 | 2022-03-28 | 2022
230605E286419 | No | No | Tier 2 | 311 | 2023-06-05 | 2023
220106E250077 | No | No | Tier 2 | 354 | 2022-01-06 | 2022
220606E261169 | No | No | Tier 2 | 356 | 2022-06-06 | 2022
220804E265378 | No | No | Tier 2 | 356 | 2022-08-04 | 2022
220911E268195 | No | No | Tier 2 | 411 | 2022-09-11 | 2022
230630E288222 | No | No | Tier 2 | 411 | 2023-06-30 | 2023
220314E254960 | No | No | Tier 2 | 445 | 2022-03-14 | 2022
220314E255005 | No | No | Tier 2 | 445 | 2022-03-14 | 2022
220415E257514 | No | No | Tier 2 | 445 | 2022-04-15 | 2022
220510E259212 | No | No | Tier 2 | 445 | 2022-05-10 | 2022
220526E260382 | No | No | Tier 2 | 445 | 2022-05-26 | 2022
220714E263705 | No | No | Tier 2 | 445 | 2022-07-14 | 2022
220718E264006 | No | No | Tier 2 | 520 | 2022-07-18 | 2022
220828E266992 | No | No | Tier 2 | 520 | 2022-08-28 | 2022
221115E272951 | No | No | Tier 2 | 520 | 2022-11-15 | 2022
230223E279309 | No | No | Tier 2 | 536 | 2023-02-23 | 2023
221120E273335 | No | No | Tier 2 | 599 | 2022-11-20 | 2022
221120E273335 | No | No | Tier 2 | 599 | 2022-11-21 | 2022
230326E281499 | No | No | Tier 2 | 909 | 2023-03-26 | 2023
220610E261533 | No | No | Tier 2 | 972 | 2022-06-10 | 2022
220610E261542 | No | No | Tier 2 | 972 | 2022-06-10 | 2022
220725E264486 | No | No | Tier 2 | 973 | 2022-07-25 | 2022
220314E254935 | No | No | Tier 2 | 975 | 2022-03-14 | 2022
220210E252545 | No | No | Tier 2 | 980 | 2022-02-10 | 2022
230522E285407 | No | No | Tier 2 | 1138 | 2023-05-22 | 2023
220630E262845 | No | No | Tier 2 | 1458 | 2022-06-30 | 2022
220826E266975 | No | No | Tier 2 | 463 | 2022-08-26 | 2022
220418E257631 | No | No | Tier 2 | 175 | 2022-04-18 | 2022
230410E282490 | No | No | Tier 2 | 175 | 2023-04-10 | 2023
231130E299349 | No | No | Tier 2 | 209 | 2023-11-30 | 2023
220426E258253 | No | No | Tier 2 | 212 | 2022-04-26 | 2022
220808E265501 | No | No | Tier 2 | 231 | 2022-08-08 | 2022
231125E298962 | No | No | Tier 2 | 231 | 2023-11-25 | 2023
230222E279214 | No | No | Tier 2 | 234 | 2023-02-22 | 2023
230116E276387 | No | No | Tier 2 | 236 | 2023-01-16 | 2023
231014E296198 | No | No | Tier 2 | 351 | 2023-10-14 | 2023
220408E256950 | No | No | Tier 2 | 355 | 2022-04-08 | 2022
220107E251717 | No | No | Tier 2 | 597 | 2022-01-07 | 2022
230509E284604 | No | No | Tier 2 | 599 | 2023-05-09 | 2023
231116E298536 | No | No | Tier 2 | 599 | 2023-11-16 | 2023
221211E274519 | No | No | Tier 2 | 970 | 2022-12-11 | 2022
220426E258241 | No | No | Tier 2 | RA3 | 2022-04-26 | 2022
230524E285668 | No | No | Tier 2 | 210 | 2023-05-24 | 2023
220608E261266 | No | No | Tier 2 | 236 | 2022-06-08 | 2022
230509E284619 | No | No | Tier 2 | 240 | 2023-05-09 | 2023
220715E263902 | No | No | Tier 2 | 355 | 2022-07-15 | 2022
220809E265646 | No | No | Tier 2 | 355 | 2022-08-09 | 2022
230316E280807 | No | No | Tier 2 | 355 | 2023-03-16 | 2023
230515E285014 | No | No | Tier 2 | 355 | 2023-05-15 | 2023
220510E259243 | No | No | Tier 2 | 411 | 2022-05-10 | 2022
220616E261887 | No | No | Tier 2 | 411 | 2022-06-16 | 2022
220706E263162 | No | No | Tier 2 | 411 | 2022-07-06 | 2022
220127E251514 | No | No | Tier 2 | 520 | 2022-01-27 | 2022
220216E253122 | No | No | Tier 2 | 522 | 2022-02-16 | 2022
220922E269045 | No | No | Tier 2 | 599 | 2022-09-22 | 2022
220603E260987 | No | No | Tier 2 | 859 | 2022-06-03 | 2022
220616E261930 | No | No | Tier 2 | 859 | 2022-06-16 | 2022
220720E264177 | No | No | Tier 2 | 971 | 2022-07-20 | 2022
220105E249972 | No | No | Tier 2 | 1243 | 2022-01-05 | 2022
220114E250653 | No | No | Tier 2 | FB1 | 2022-01-14 | 2022
230314E280679 | No | No | Tier 2 | 176 | 2023-03-14 | 2023
230428E283889 | No | No | Tier 2 | 183 | 2023-04-28 | 2023
230422E283437 | No | No | Tier 2 | 204 | 2023-04-22 | 2023
230726E289891 | No | No | Tier 2 | 356 | 2023-07-26 | 2023
230403E282028 | No | No | Tier 2 | 401 | 2023-04-03 | 2023
220630E262913 | No | No | Tier 2 | 445 | 2022-06-30 | 2022
230125E277034 | No | No | Tier 2 | 520 | 2023-01-25 | 2023
231211E300145 | No | No | Tier 2 | 534 | 2023-12-11 | 2023
220131E251813 | No | No | Tier 2 | 540 | 2022-01-31 | 2022
221206E274184 | No | No | Tier 2 | 599 | 2022-12-06 | 2022
221221E275100 | No | No | Tier 2 | 1106 | 2022-12-21 | 2022
231130E299394 | No | No | Tier 2 | 1118 | 2023-11-30 | 2023
231115E298418 | No | No | Tier 2 | 1162 | 2023-11-15 | 2023
231121E298782 | No | No | Tier 2 | 1162 | 2023-11-21 | 2023
220513E259540 | No | No | Tier 2 | 1243 | 2022-05-13 | 2022
230320E280997 | No | No | Tier 2 | 197 | 2023-03-20 | 2023
221215E274794 | No | No | Tier 2 | 212 | 2022-12-15 | 2022
220902E267436 | No | No | Tier 2 | 233 | 2022-09-02 | 2022
231211E300115 | No | No | Tier 2 | 296 | 2023-12-11 | 2023
220327E255927 | No | No | Tier 2 | 315 | 2022-03-27 | 2022
220128E251598 | No | No | Tier 2 | 463 | 2022-01-28 | 2022
230707E288443 | No | No | Tier 2 | 952 | 2023-07-07 | 2023
230710E288623 | No | No | Tier 2 | 952 | 2023-07-10 | 2023
221101E271928 | No | No | Tier 2 | 972 | 2022-11-01 | 2022
230809E290949 | No | No | Tier 2 | 974 | 2023-08-09 | 2023
231130E299394 | No | No | Tier 2 | 1118 | 2023-11-30 | 2023
220211E252701 | No | No | Tier 2 | 536 | 2022-02-11 | 2022
230714E289019 | No | No | Tier 2 | 176 | 2023-07-14 | 2023
230606E286540 | No | No | Tier 2 | 189 | 2023-06-06 | 2023
220907E267938 | No | No | Tier 2 | 197 | 2022-09-07 | 2022
220622E262318 | No | No | Tier 2 | 200 | 2022-06-22 | 2022
230916E293902 | No | No | Tier 2 | 200 | 2023-09-16 | 2023
220809E265624 | No | No | Tier 2 | 212 | 2022-08-09 | 2022
231204E299641 | No | No | Tier 2 | 223 | 2023-12-04 | 2023
220515E259581 | No | No | Tier 2 | 230 | 2022-05-15 | 2022
220608E261299 | No | No | Tier 2 | 230 | 2022-06-08 | 2022
221013E270530 | No | No | Tier 2 | 230 | 2022-10-13 | 2022
220301E253962 | No | No | Tier 2 | 231 | 2022-03-01 | 2022
220501E258601 | No | No | Tier 2 | 231 | 2022-05-01 | 2022
230526E285871 | No | No | Tier 2 | 231 | 2023-05-26 | 2023
230623E287722 | No | No | Tier 2 | 231 | 2023-06-23 | 2023
220315E255110 | No | No | Tier 2 | 233 | 2022-03-15 | 2022
230721E289560 | No | No | Tier 2 | 233 | 2023-07-21 | 2023
220302E254060 | No | No | Tier 2 | 234 | 2022-03-02 | 2022
221013E270637 | No | No | Tier 2 | 234 | 2022-10-13 | 2022
230927E294721 | No | No | Tier 2 | 234 | 2023-09-27 | 2023
230830E292624 | No | No | Tier 2 | 242 | 2023-08-30 | 2023
230104E275626 | No | No | Tier 2 | 246 | 2023-01-04 | 2023
220422E258073 | No | No | Tier 2 | 247 | 2022-04-22 | 2022
230627E287984 | No | No | Tier 2 | 247 | 2023-06-27 | 2023
230724E289659 | No | No | Tier 2 | 290 | 2023-07-24 | 2023
230828E292443 | No | No | Tier 2 | 290 | 2023-08-28 | 2023
220822E266611 | No | No | Tier 2 | 296 | 2022-08-22 | 2022
230812E291180 | No | No | Tier 2 | 296 | 2023-08-12 | 2023
220805E265448 | No | No | Tier 2 | 311 | 2022-08-05 | 2022
230920E294183 | No | No | Tier 2 | 311 | 2023-09-20 | 2023
220327E255916 | No | No | Tier 2 | 315 | 2022-03-27 | 2022
220826E266933 | No | No | Tier 2 | 315 | 2022-08-26 | 2022
220518E259835 | No | No | Tier 2 | 353 | 2022-05-18 | 2022
220930E269745 | No | No | Tier 2 | 353 | 2022-09-30 | 2022
230208E278209 | No | No | Tier 2 | 353 | 2023-02-08 | 2023
220826E266977 | No | No | Tier 2 | 355 | 2022-08-26 | 2022
230606E286480 | No | No | Tier 2 | 355 | 2023-06-06 | 2023
220405E256740 | No | No | Tier 2 | 357 | 2022-04-05 | 2022
220928E269494 | No | No | Tier 2 | 357 | 2022-09-28 | 2022
221202E273919 | No | No | Tier 2 | 357 | 2022-12-02 | 2022
230330E281788 | No | No | Tier 2 | 357 | 2023-03-30 | 2023
230609E286819 | No | No | Tier 2 | 357 | 2023-06-09 | 2023
230612E286947 | No | No | Tier 2 | 357 | 2023-06-12 | 2023
230809E290977 | No | No | Tier 2 | 357 | 2023-08-09 | 2023
230918E294033 | No | No | Tier 2 | 396 | 2023-09-18 | 2023
231027E297099 | No | No | Tier 2 | 396 | 2023-10-27 | 2023
220219E253318 | No | No | Tier 2 | 411 | 2022-02-19 | 2022
230701E288228 | No | No | Tier 2 | 411 | 2023-07-01 | 2023
231022E296719 | No | No | Tier 2 | 411 | 2023-10-22 | 2023
221115E273006 | No | No | Tier 2 | 432 | 2022-11-15 | 2022
220718E263972 | No | No | Tier 2 | 433 | 2022-07-18 | 2022
221221E275062 | No | No | Tier 2 | 433 | 2022-12-21 | 2022
230607E286555 | No | No | Tier 2 | 433 | 2023-06-07 | 2023
231029E297210 | No | No | Tier 2 | 433 | 2023-10-29 | 2023
230605E286374 | No | No | Tier 2 | 450 | 2023-06-05 | 2023
231203E300070 | No | No | Tier 2 | 450 | 2023-12-03 | 2023
220604E260995 | No | No | Tier 2 | 486 | 2022-06-04 | 2022
231110E298160 | No | No | Tier 2 | 486 | 2023-11-10 | 2023
220421E257959 | No | No | Tier 2 | 502 | 2022-04-21 | 2022
220616E261865 | No | No | Tier 2 | 520 | 2022-06-16 | 2022
221009E270223 | No | No | Tier 2 | 520 | 2022-10-09 | 2022
230708E288555 | No | No | Tier 2 | 520 | 2023-07-08 | 2023
220806E265461 | No | No | Tier 2 | 522 | 2022-08-06 | 2022
230123E276876 | No | No | Tier 2 | 522 | 2023-01-23 | 2023
230601E286161 | No | No | Tier 2 | 522 | 2023-06-01 | 2023
231212E300249 | No | No | Tier 2 | 522 | 2023-12-12 | 2023
221008E270209 | No | No | Tier 2 | 523 | 2022-10-08 | 2022
230113E276201 | No | No | Tier 2 | 523 | 2023-01-13 | 2023
220208E252443 | No | No | Tier 2 | 542 | 2022-02-08 | 2022
221227E275231 | No | No | Tier 2 | 542 | 2022-12-27 | 2022
220124E251264 | No | No | Tier 2 | 576 | 2022-01-24 | 2022
231018E296397 | No | No | Tier 2 | 790 | 2023-10-18 | 2023
220819E266425 | No | No | Tier 2 | 791 | 2022-08-19 | 2022
230625E287779 | No | No | Tier 2 | 791 | 2023-06-25 | 2023
231221E300878 | No | No | Tier 2 | 799 | 2023-12-21 | 2023
220927E269325 | No | No | Tier 2 | 908 | 2022-09-27 | 2022
220906E267747 | No | No | Tier 2 | 952 | 2022-09-06 | 2022
220721E264225 | No | No | Tier 2 | 968 | 2022-07-21 | 2022
220908E268024 | No | No | Tier 2 | 968 | 2022-09-08 | 2022
220907E267895 | No | No | Tier 2 | 1001 | 2022-09-07 | 2022
220827E266989 | No | No | Tier 2 | 1023 | 2022-08-27 | 2022
230729E300069 | No | No | Tier 2 | 1030 | 2023-07-29 | 2023
220219E253323 | No | No | Tier 2 | 1039 | 2022-02-19 | 2022
220917E268669 | No | No | Tier 2 | 1039 | 2022-09-17 | 2022
231227E301126 | No | No | Tier 2 | 1039 | 2023-12-27 | 2023
220102E249776 | No | No | Tier 2 | 1101 | 2022-01-02 | 2022
220429E258482 | No | No | Tier 2 | 1234 | 2022-04-29 | 2022
220619E262097 | No | No | Tier 2 | 1234 | 2022-06-19 | 2022
220617E262028 | No | No | Tier 2 | 1446 | 2022-06-17 | 2022
230619E287389 | No | No | Tier 2 | 972 | 2023-06-19 | 2023
220202E251968 | No | No | Tier 2 | 231 | 2022-02-02 | 2022
220222E253436 | No | No | Tier 2 | 240 | 2022-02-22 | 2022
230901E292832 | No | No | Tier 2 | 204 | 2023-09-01 | 2023
231004E295411 | No | No | Tier 2 | 357 | 2023-10-04 | 2023
220522E260062 | No | No | Tier 2 | RA2 | 2022-05-22 | 2022
220909E268088 | No | No | Tier 2 | 197 | 2022-09-09 | 2022
230918E293963 | No | No | Tier 2 | 237 | 2023-09-18 | 2023
220610E261545 | No | No | Tier 2 | 1118 | 2022-06-10 | 2022
220407E256898 | No | No | Tier 2 | 296 | 2022-04-07 | 2022
220331E256214 | No | No | Tier 2 | 986 | 2022-03-31 | 2022
220906E267793 | No | No | Tier 2 | 237 | 2022-09-06 | 2022
220220E253331 | No | No | Tier 2 | 411 | 2022-02-20 | 2022
230605E286374 | No | No | Tier 2 | 450 | 2023-06-05 | 2023
221227E275231 | No | No | Tier 2 | 542 | 2022-12-28 | 2022
220909E268045 | No | No | Tier 2 | 1039 | 2022-09-09 | 2022
220429E258574 | No | No | Tier 2 | 1234 | 2022-04-29 | 2022
231205E299731 | No | No | Tier 2 | 233 | 2023-12-05 | 2023
221022E271254 | No | No | Tier 2 | 522 | 2022-10-22 | 2022
220903E267596 | No | No | Tier 2 | 599 | 2022-09-03 | 2022
221207E274286 | No | No | Tier 2 | 908 | 2022-12-07 | 2022
221107E272355 | No | No | Tier 2 | 233 | 2022-11-07 | 2022
221229E275404 | No | No | Tier 2 | 233 | 2022-12-29 | 2022
231026E297088 | No | No | Tier 2 | 242 | 2023-10-26 | 2023
221219E274955 | No | No | Tier 2 | 281 | 2022-12-19 | 2022
230525E285747 | No | No | Tier 2 | 353 | 2023-05-25 | 2023
231002E295150 | No | No | Tier 2 | 355 | 2023-10-02 | 2023
220303E254118 | No | No | Tier 2 | 536 | 2022-03-03 | 2022
230820E291695 | No | No | Tier 2 | 212 | 2023-08-20 | 2023
230820E291704 | No | No | Tier 2 | 242 | 2023-08-20 | 2023
230417E282955 | No | No | Tier 2 | 236 | 2023-04-17 | 2023
220726E264617 | No | No | Tier 2 | 1138 | 2022-07-26 | 2022
230311E280460 | No | No | Tier 2 | 197 | 2023-03-11 | 2023
220215E253044 | No | No | Tier 2 | 91 | 2022-02-15 | 2022
220621E262254 | No | No | Tier 2 | 176 | 2022-06-21 | 2022
221002E269763 | No | No | Tier 2 | 210 | 2022-10-02 | 2022
220621E262251 | No | No | Tier 2 | 240 | 2022-06-21 | 2022
231115E298442 | No | No | Tier 2 | 242 | 2023-11-15 | 2023
231115E298453 | No | No | Tier 2 | 242 | 2023-11-15 | 2023
220904E267622 | No | No | Tier 2 | 445 | 2022-09-04 | 2022
221011E270432 | No | No | Tier 2 | 599 | 2022-10-11 | 2022
231129E299330 | No | No | Tier 2 | 908 | 2023-11-29 | 2023
230702E288255 | No | No | Tier 2 | 982 | 2023-07-02 | 2023
220803E265287 | No | No | Tier 2 | 1073 | 2022-08-03 | 2022
230712E288794 | No | No | Tier 2 | 952 | 2023-07-12 | 2023
221124E273530 | No | No | Tier 2 | 176 | 2022-11-24 | 2022
220215E253328 | No | No | Tier 2 | 221 | 2022-02-15 | 2022
231115E298472 | No | No | Tier 2 | 231 | 2023-11-15 | 2023
230702E288252 | No | No | Tier 2 | 233 | 2023-07-02 | 2023
230827E292340 | No | No | Tier 2 | 235 | 2023-08-27 | 2023
230222E279143 | No | No | Tier 2 | 311 | 2023-02-22 | 2023
230424E283530 | No | No | Tier 2 | 470 | 2023-04-24 | 2023
220708E263300 | No | No | Tier 2 | 520 | 2022-07-08 | 2022
230404E282138 | No | No | Tier 2 | 597 | 2023-04-04 | 2023
230923E294485 | No | No | Tier 2 | 599 | 2023-09-23 | 2023
220114E250678 | No | No | Tier 2 | FB2 | 2022-01-14 | 2022
221128E273564 | No | No | Tier 2 | 176 | 2022-11-28 | 2022
220519E259937 | No | No | Tier 2 | 212 | 2022-05-19 | 2022
221020E271085 | No | No | Tier 2 | 212 | 2022-10-20 | 2022
230328E281653 | No | No | Tier 2 | 212 | 2023-03-28 | 2023
220409E256990 | No | No | Tier 2 | 233 | 2022-04-09 | 2022
230410E282433 | No | No | Tier 2 | 235 | 2023-04-10 | 2023
220707E263277 | No | No | Tier 2 | 237 | 2022-07-07 | 2022
220728E264838 | No | No | Tier 2 | 237 | 2022-07-28 | 2022
230523E285577 | No | No | Tier 2 | 237 | 2023-05-23 | 2023
220518E259803 | No | No | Tier 2 | 252 | 2022-05-18 | 2022
221110E272709 | No | No | Tier 2 | 260 | 2022-11-10 | 2022
230107E275801 | No | No | Tier 2 | 260 | 2023-01-07 | 2023
220303E254178 | No | No | Tier 2 | 353 | 2022-03-03 | 2022
220322E255538 | No | No | Tier 2 | 520 | 2022-03-22 | 2022
220322E255618 | No | No | Tier 2 | 908 | 2022-03-22 | 2022
220629E262820 | No | No | Tier 2 | 920 | 2022-06-29 | 2022
220913E268351 | No | No | Tier 2 | 972 | 2022-09-13 | 2022
220514E259567 | No | No | Tier 2 | 1023 | 2022-05-14 | 2022
220525E260293 | No | No | Tier 2 | 1023 | 2022-05-25 | 2022
230314E280665 | No | No | Tier 2 | 1235 | 2023-03-14 | 2023
220113E250553 | No | No | Tier 2 | 1243 | 2022-01-13 | 2022
230802E290390 | No | No | Tier 2 | RA1 | 2023-08-02 | 2023
220804E265294 | No | No | Tier 2 | 354 | 2022-08-04 | 2022
221109E272611 | No | No | Tier 2 | 522 | 2022-11-09 | 2022
221114E272911 | No | No | Tier 2 | 908 | 2022-11-14 | 2022
230713E288849 | No | No | Tier 2 | 237 | 2023-07-13 | 2023
230630E288215 | No | No | Tier 2 | 444 | 2023-06-30 | 2023
230602E288568 | No | No | Tier 2 | 520 | 2023-06-02 | 2023
220801E265104 | No | No | Tier 2 | 973 | 2022-08-01 | 2022
230126E277157 | No | No | Tier 2 | 444 | 2023-01-26 | 2023
230127E277381 | No | No | Tier 2 | 260 | 2023-01-27 | 2023
220218E253281 | No | No | Tier 2 | 182 | 2022-02-18 | 2022
220209E252477 | No | No | Tier 2 | 212 | 2022-02-09 | 2022
221115E272940 | No | No | Tier 2 | 212 | 2022-11-15 | 2022
220422E258059 | No | No | Tier 2 | 339 | 2022-04-22 | 2022
230821E291811 | No | No | Tier 2 | 351 | 2023-08-21 | 2023
230515E285029 | No | No | Tier 2 | 352 | 2023-05-15 | 2023
231209E300054 | No | No | Tier 2 | 522 | 2023-12-09 | 2023
220824E266785 | No | No | Tier 2 | 1090 | 2022-08-24 | 2022
230216E278828 | No | No | Tier 2 | 1235 | 2023-02-16 | 2023
230508E284508 | No | No | Tier 2 | 176 | 2023-05-08 | 2023
230125E277061 | No | No | Tier 2 | 202 | 2023-01-25 | 2023
220118E250873 | No | No | Tier 2 | 973 | 2022-01-18 | 2022
220707E263244 | No | No | Tier 2 | 991 | 2022-07-07 | 2022
230918E294053 | No | No | Tier 2 | 1242 | 2023-09-18 | 2023
220906E267793 | No | No | Tier 2 | 237 | 2022-09-06 | 2022
220615E261806 | No | No | Tier 2 | 233 | 2022-06-15 | 2022
230329E281689 | No | No | Tier 2 | 237 | 2023-03-29 | 2023
231122E298907 | No | No | Tier 2 | 909 | 2023-11-22 | 2023
231130E299376 | No | No | Tier 2 | 909 | 2023-11-30 | 2023
220929E269617 | No | No | Tier 2 | 991 | 2022-09-29 | 2022
220120E251018 | No | No | Tier 2 | 175 | 2022-01-20 | 2022
230315E280710 | No | No | Tier 2 | 200 | 2023-03-15 | 2023
220406E256781 | No | No | Tier 2 | 230 | 2022-04-06 | 2022
220903E267583 | No | No | Tier 2 | 307 | 2022-09-03 | 2022
230108E275828 | No | No | Tier 2 | 330 | 2023-01-08 | 2023
230323E281381 | No | No | Tier 2 | 330 | 2023-03-23 | 2023
230608E286719 | No | No | Tier 2 | 523 | 2023-06-08 | 2023
230825E292218 | No | No | Tier 2 | 842 | 2023-08-25 | 2023
230428E283829 | No | No | Tier 2 | 916 | 2023-04-28 | 2023
220530E260542 | No | No | Tier 2 | 980 | 2022-05-30 | 2022
230809E302457 | No | No | Tier 2 | 987 | 2023-08-09 | 2023
220219E253322 | No | No | Tier 2 | 990 | 2022-02-19 | 2022
231003E295265 | No | No | Tier 2 | 993 | 2023-10-03 | 2023
230319E280995 | No | No | Tier 2 | 1100 | 2023-03-19 | 2023
221028E271657 | No | No | Tier 2 | 1104 | 2022-10-28 | 2022
231020E302552 | No | No | Tier 2 | 1106 | 2023-10-20 | 2023
230318E280982 | No | No | Tier 2 | 1242 | 2023-03-18 | 2023
230726E289799 | No | No | Tier 2 | 1250 | 2023-07-26 | 2023
220816E266098 | No | No | Tier 2 | 311 | 2022-08-16 | 2022
230605E286446 | No | No | Tier 2 | 1450 | 2023-06-05 | 2023
231030E297254 | No | No | Tier 2 | 91 | 2023-10-30 | 2023
220412E257218 | No | No | Tier 2 | 175 | 2022-04-12 | 2022
231016E296245 | No | No | Tier 2 | 185 | 2023-10-16 | 2023
230827E292344 | No | No | Tier 2 | 203 | 2023-08-27 | 2023
231001E295142 | No | No | Tier 2 | 206 | 2023-10-02 | 2023
220927E269395 | No | No | Tier 2 | 209 | 2022-09-27 | 2022
220315E255082 | No | No | Tier 2 | 217 | 2022-03-15 | 2022
220510E259253 | No | No | Tier 2 | 230 | 2022-05-10 | 2022
230325E281482 | No | No | Tier 2 | 231 | 2023-03-25 | 2023
220927E269386 | No | No | Tier 2 | 233 | 2022-09-27 | 2022
221104E272185 | No | No | Tier 2 | 233 | 2022-11-04 | 2022
230314E289594 | No | No | Tier 2 | 233 | 2023-03-14 | 2023
221014E270682 | No | No | Tier 2 | 234 | 2022-10-14 | 2022
220307E254439 | No | No | Tier 2 | 236 | 2022-03-07 | 2022
230424E283523 | No | No | Tier 2 | 237 | 2023-04-24 | 2023
231128E299121 | No | No | Tier 2 | 237 | 2023-11-28 | 2023
231013E296096 | No | No | Tier 2 | 266 | 2023-10-13 | 2023
230726E289832 | No | No | Tier 2 | 288 | 2023-07-26 | 2023
221221E275101 | No | No | Tier 2 | 295 | 2022-12-21 | 2022
220526E260334 | No | No | Tier 2 | 307 | 2022-05-26 | 2022
221208E274401 | No | No | Tier 2 | 307 | 2022-12-08 | 2022
220515E259570 | No | No | Tier 2 | 330 | 2022-05-15 | 2022
230623E287663 | No | No | Tier 2 | 351 | 2023-06-23 | 2023
220323E255686 | No | No | Tier 2 | 352 | 2022-03-23 | 2022
220329E256057 | No | No | Tier 2 | 353 | 2022-03-29 | 2022
230427E283779 | No | No | Tier 2 | 353 | 2023-04-27 | 2023
220318E255346 | No | No | Tier 2 | 354 | 2022-03-18 | 2022
220113E250482 | No | No | Tier 2 | 386 | 2022-01-13 | 2022
220225E253629 | No | No | Tier 2 | 387 | 2022-02-25 | 2022
220830E267161 | No | No | Tier 2 | 433 | 2022-08-30 | 2022
220515E259574 | No | No | Tier 2 | 445 | 2022-05-15 | 2022
220909E268153 | No | No | Tier 2 | 470 | 2022-09-09 | 2022
221019E271040 | No | No | Tier 2 | 501 | 2022-10-19 | 2022
220616E261956 | No | No | Tier 2 | 502 | 2022-06-16 | 2022
230328E281637 | No | No | Tier 2 | 520 | 2023-03-28 | 2023
230727E290010 | No | No | Tier 2 | 520 | 2023-07-27 | 2023
220422E258074 | No | No | Tier 2 | 522 | 2022-04-22 | 2022
230308E280300 | No | No | Tier 2 | 523 | 2023-03-08 | 2023
230530E285924 | No | No | Tier 2 | 557 | 2023-05-30 | 2023
220522E260066 | No | No | Tier 2 | 597 | 2022-05-22 | 2022
230121E276764 | No | No | Tier 2 | 599 | 2023-01-21 | 2023
220105E250022 | No | No | Tier 2 | 753 | 2022-01-05 | 2022
230810E291046 | No | No | Tier 2 | 791 | 2023-08-10 | 2023
220105E250027 | No | No | Tier 2 | 795 | 2022-01-05 | 2022
220207E252326 | No | No | Tier 2 | 835 | 2022-02-07 | 2022
220901E267422 | No | No | Tier 2 | 835 | 2022-09-01 | 2022
221008E270211 | No | No | Tier 2 | 842 | 2022-10-08 | 2022
220412E257161 | No | No | Tier 2 | 855 | 2022-04-12 | 2022
230118E276497 | No | No | Tier 2 | 908 | 2023-01-18 | 2023
230421E283416 | No | No | Tier 2 | 912 | 2023-04-21 | 2023
220901E267423 | No | No | Tier 2 | 937 | 2022-09-01 | 2022
220427E258341 | No | No | Tier 2 | 960 | 2022-04-27 | 2022
230421E283417 | No | No | Tier 2 | 960 | 2023-04-21 | 2023
220712E263613 | No | No | Tier 2 | 972 | 2022-07-12 | 2022
220120E251024 | No | No | Tier 2 | 983 | 2022-01-20 | 2022
220620E262169 | No | No | Tier 2 | 983 | 2022-06-20 | 2022
220620E262169 | No | No | Tier 2 | 983 | 2022-06-21 | 2022
220110E250328 | No | No | Tier 2 | 987 | 2022-01-10 | 2022
220228E253820 | No | No | Tier 2 | 987 | 2022-02-28 | 2022
220505E258931 | No | No | Tier 2 | 987 | 2022-05-05 | 2022
220505E258939 | No | No | Tier 2 | 987 | 2022-05-05 | 2022
220515E259511 | No | No | Tier 2 | 987 | 2022-05-15 | 2022
230829E292513 | No | No | Tier 2 | 988 | 2023-08-29 | 2023
220815E266097 | No | No | Tier 2 | 1001 | 2022-08-15 | 2022
230226E279491 | No | No | Tier 2 | 1001 | 2023-02-26 | 2023
231007E295665 | No | No | Tier 2 | 1023 | 2023-10-08 | 2023
220324E255781 | No | No | Tier 2 | 1100 | 2022-03-24 | 2022
230612E286924 | No | No | Tier 2 | 1118 | 2023-06-12 | 2023
230712E288821 | No | No | Tier 2 | 1138 | 2023-07-12 | 2023
230111E276086 | No | No | Tier 2 | 1225 | 2023-01-11 | 2023
230907E293241 | No | No | Tier 2 | 1225 | 2023-09-07 | 2023
220831E267270 | No | No | Tier 2 | 1247 | 2022-08-31 | 2022
230927E294836 | No | No | Tier 2 | 1258 | 2023-09-27 | 2023
231015E296393 | No | No | Tier 2 | 1258 | 2023-10-15 | 2023
230320E281080 | No | No | Tier 2 | RA3 | 2023-03-20 | 2023
220615E261827 | No | No | Tier 2 | 231 | 2022-06-15 | 2022
230116E276357 | No | No | Tier 2 | 233 | 2023-01-16 | 2023
220831E267195 | No | No | Tier 2 | 240 | 2022-08-31 | 2022
220210E252589 | No | No | Tier 2 | 357 | 2022-02-10 | 2022
230920E294270 | No | No | Tier 2 | 522 | 2023-09-20 | 2023
221107E272371 | No | No | Tier 2 | 909 | 2022-11-07 | 2022
230222E279140 | No | No | Tier 2 | 972 | 2023-02-22 | 2023
230315E280742 | No | No | Tier 2 | 1138 | 2023-03-15 | 2023
220909E268075 | No | No | Tier 2 | 357 | 2022-09-09 | 2022
230820E291731 | No | No | Tier 2 | 980 | 2023-08-20 | 2023
230820E291731 | No | No | Tier 2 | 980 | 2023-08-21 | 2023
220909E268045 | No | No | Tier 2 | 1039 | 2022-09-09 | 2022
230321E281173 | No | No | Tier 2 | 1039 | 2023-03-21 | 2023
230115E276327 | No | No | Tier 2 | 1138 | 2023-01-15 | 2023
230717E289094 | No | No | Tier 2 | 183 | 2023-07-17 | 2023
230328E281673 | No | No | Tier 2 | 210 | 2023-03-28 | 2023
230620E287449 | No | No | Tier 2 | 230 | 2023-06-20 | 2023
231118E298672 | No | No | Tier 2 | 233 | 2023-11-18 | 2023
230928E294956 | No | No | Tier 2 | 307 | 2023-09-28 | 2023
230524E285575 | No | No | Tier 2 | 358 | 2023-05-24 | 2023
220422E258078 | No | No | Tier 2 | 502 | 2022-04-22 | 2022
231119E298685 | No | No | Tier 2 | 788 | 2023-11-19 | 2023
220430E258572 | No | No | Tier 2 | 986 | 2022-04-30 | 2022
230315E280712 | No | No | Tier 2 | 1094 | 2023-03-15 | 2023
220530E260563 | No | No | Tier 2 | 1257 | 2022-05-30 | 2022
221023E271278 | No | No | Tier 2 | 91 | 2022-10-23 | 2022
220903E267592 | No | No | Tier 2 | 182 | 2022-09-03 | 2022
221203E274007 | No | No | Tier 2 | 204 | 2022-12-03 | 2022
230820E291740 | No | No | Tier 2 | 204 | 2023-08-20 | 2023
220328E256017 | No | No | Tier 2 | 210 | 2022-03-28 | 2022
230509E284580 | No | No | Tier 2 | 210 | 2023-05-09 | 2023
230713E288853 | No | No | Tier 2 | 210 | 2023-07-13 | 2023
230721E289562 | No | No | Tier 2 | 210 | 2023-07-21 | 2023
220712E263594 | No | No | Tier 2 | 212 | 2022-07-12 | 2022
220730E264964 | No | No | Tier 2 | 212 | 2022-07-30 | 2022
220823E266713 | No | No | Tier 2 | 212 | 2022-08-23 | 2022
221012E270472 | No | No | Tier 2 | 212 | 2022-10-12 | 2022
230726E289926 | No | No | Tier 2 | 212 | 2023-07-26 | 2023
230802E290401 | No | No | Tier 2 | 212 | 2023-08-02 | 2023
230816E291463 | No | No | Tier 2 | 212 | 2023-08-16 | 2023
231005E295549 | No | No | Tier 2 | 221 | 2023-10-05 | 2023
220115E250736 | No | No | Tier 2 | 230 | 2022-01-15 | 2022
220213E252784 | No | No | Tier 2 | 230 | 2022-02-13 | 2022
220523E260151 | No | No | Tier 2 | 230 | 2022-05-23 | 2022
220327E255922 | No | No | Tier 2 | 231 | 2022-03-27 | 2022
220330E256118 | No | No | Tier 2 | 231 | 2022-03-30 | 2022
221207E274306 | No | No | Tier 2 | 231 | 2022-12-07 | 2022
231021E296690 | No | No | Tier 2 | 231 | 2023-10-21 | 2023
231019E296498 | No | No | Tier 2 | 234 | 2023-10-19 | 2023
231204E299580 | No | No | Tier 2 | 234 | 2023-12-04 | 2023
230713E288850 | No | No | Tier 2 | 235 | 2023-07-13 | 2023
230326E281493 | No | No | Tier 2 | 237 | 2023-03-26 | 2023
230616E287270 | No | No | Tier 2 | 237 | 2023-06-16 | 2023
220303E254107 | No | No | Tier 2 | 240 | 2022-03-03 | 2022
220909E268164 | No | No | Tier 2 | 240 | 2022-09-09 | 2022
220415E257470 | No | No | Tier 2 | 300 | 2022-04-15 | 2022
221121E273338 | No | No | Tier 2 | 308 | 2022-11-21 | 2022
220616E261936 | No | No | Tier 2 | 315 | 2022-06-16 | 2022
230123E276819 | No | No | Tier 2 | 330 | 2023-01-23 | 2023
220319E255420 | No | No | Tier 2 | 353 | 2022-03-19 | 2022
220626E262533 | No | No | Tier 2 | 355 | 2022-06-26 | 2022
221224E275208 | No | No | Tier 2 | 356 | 2022-12-24 | 2022
230728E290087 | No | No | Tier 2 | 357 | 2023-07-28 | 2023
230726E289932 | No | No | Tier 2 | 386 | 2023-07-26 | 2023
221022E271266 | No | No | Tier 2 | 444 | 2022-10-22 | 2022
230302E279919 | No | No | Tier 2 | 444 | 2023-03-02 | 2023
230731E290170 | No | No | Tier 2 | 444 | 2023-07-31 | 2023
231007E295652 | No | No | Tier 2 | 444 | 2023-10-07 | 2023
231215E300547 | No | No | Tier 2 | 444 | 2023-12-15 | 2023
220414E257427 | No | No | Tier 2 | 445 | 2022-04-14 | 2022
220626E262537 | No | No | Tier 2 | 445 | 2022-06-26 | 2022
220728E264744 | No | No | Tier 2 | 445 | 2022-07-28 | 2022
221124E273533 | No | No | Tier 2 | 460 | 2022-11-24 | 2022
220909E268167 | No | No | Tier 2 | 520 | 2022-09-09 | 2022
221119E273316 | No | No | Tier 2 | 520 | 2022-11-19 | 2022
221120E273322 | No | No | Tier 2 | 520 | 2022-11-20 | 2022
221201E273855 | No | No | Tier 2 | 520 | 2022-12-01 | 2022
230322E281220 | No | No | Tier 2 | 520 | 2023-03-22 | 2023
230605E286456 | No | No | Tier 2 | 520 | 2023-06-05 | 2023
230917E293955 | No | No | Tier 2 | 520 | 2023-09-17 | 2023
231201E299434 | No | No | Tier 2 | 520 | 2023-12-01 | 2023
230301E290020 | No | No | Tier 2 | 534 | 2023-03-01 | 2023
231223E300977 | No | No | Tier 2 | 540 | 2023-12-23 | 2023
230728E290125 | No | No | Tier 2 | 592 | 2023-07-28 | 2023
230528E285893 | No | No | Tier 2 | 597 | 2023-05-28 | 2023
230709E288566 | No | No | Tier 2 | 597 | 2023-07-09 | 2023
230316E280850 | No | No | Tier 2 | 599 | 2023-03-16 | 2023
230506E284412 | No | No | Tier 2 | 791 | 2023-05-06 | 2023
230815E291345 | No | No | Tier 2 | 908 | 2023-08-15 | 2023
231116E298500 | No | No | Tier 2 | 908 | 2023-11-16 | 2023
230722E289571 | No | No | Tier 2 | 909 | 2023-07-22 | 2023
230526E285796 | No | No | Tier 2 | 920 | 2023-05-26 | 2023
230421E283414 | No | No | Tier 2 | 960 | 2023-04-21 | 2023
220817E266275 | No | No | Tier 2 | 971 | 2022-08-17 | 2022
220905E267721 | No | No | Tier 2 | 972 | 2022-09-05 | 2022
220529E260532 | No | No | Tier 2 | 973 | 2022-05-29 | 2022
220729E264906 | No | No | Tier 2 | 973 | 2022-07-29 | 2022
230817E291548 | No | No | Tier 2 | 988 | 2023-08-17 | 2023
230827E292339 | No | No | Tier 2 | 988 | 2023-08-27 | 2023
230714E289029 | No | No | Tier 2 | 991 | 2023-07-14 | 2023
220204E252177 | No | No | Tier 2 | 1090 | 2022-02-04 | 2022
230209E278371 | No | No | Tier 2 | 1090 | 2023-02-09 | 2023
220903E267597 | No | No | Tier 2 | 1102 | 2022-09-03 | 2022
230404E282126 | No | No | Tier 2 | 1104 | 2023-04-04 | 2023
220614E261761 | No | No | Tier 2 | 1118 | 2022-06-14 | 2022
230506E284403 | No | No | Tier 2 | 1162 | 2023-05-06 | 2023
230427E283791 | No | No | Tier 2 | 1235 | 2023-04-27 | 2023
220909E268085 | No | No | Tier 2 | 1458 | 2022-09-09 | 2022
230223E279307 | No | No | Tier 2 | 210 | 2023-02-23 | 2023
220903E267587 | No | No | Tier 2 | 230 | 2022-09-03 | 2022
221108E272433 | No | No | Tier 2 | 233 | 2022-11-08 | 2022
230321E281175 | No | No | Tier 2 | 233 | 2023-03-21 | 2023
221124E273540 | No | No | Tier 2 | 235 | 2022-11-24 | 2022
221124E273538 | No | No | Tier 2 | 236 | 2022-11-24 | 2022
220903E267581 | No | No | Tier 2 | 237 | 2022-09-03 | 2022
220903E267577 | No | No | Tier 2 | 246 | 2022-09-03 | 2022
231222E300959 | No | No | Tier 2 | 351 | 2023-12-22 | 2023
221109E272524 | No | No | Tier 2 | 357 | 2022-11-09 | 2022
221109E272525 | No | No | Tier 2 | 357 | 2022-11-09 | 2022
221124E273532 | No | No | Tier 2 | 444 | 2022-11-24 | 2022
230301E279825 | No | No | Tier 2 | 444 | 2023-03-01 | 2023
220903E267593 | No | No | Tier 2 | 520 | 2022-09-03 | 2022
231115E298473 | No | No | Tier 2 | 520 | 2023-11-15 | 2023
220407E256899 | No | No | Tier 2 | 522 | 2022-04-07 | 2022
220407E260869 | No | No | Tier 2 | 522 | 2022-04-07 | 2022
221108E272446 | No | No | Tier 2 | 599 | 2022-11-08 | 2022
230321E281171 | No | No | Tier 2 | 1023 | 2023-03-21 | 2023
220908E268039 | No | No | Tier 2 | RA2 | 2022-09-08 | 2022
230224E279442 | No | No | Tier 2 | SSC1 | 2023-02-24 | 2023
230605E286375 | No | No | Tier 2 | 444 | 2023-06-05 | 2023
230909E293368 | No | No | Tier 2 | 91 | 2023-09-09 | 2023
231006E295629 | No | No | Tier 2 | 175 | 2023-10-06 | 2023
221130E273794 | No | No | Tier 2 | 176 | 2022-11-30 | 2022
230308E280323 | No | No | Tier 2 | 183 | 2023-03-08 | 2023
230308E280323 | No | No | Tier 2 | 183 | 2023-03-09 | 2023
221015E270752 | No | No | Tier 2 | 209 | 2022-10-15 | 2022
221014E270700 | No | No | Tier 2 | 212 | 2022-10-14 | 2022
230913E293644 | No | No | Tier 2 | 230 | 2023-09-13 | 2023
230401E281939 | No | No | Tier 2 | 231 | 2023-04-01 | 2023
230809E291173 | No | No | Tier 2 | 231 | 2023-08-09 | 2023
220214E252788 | No | No | Tier 2 | 232 | 2022-02-14 | 2022
220331E256321 | No | No | Tier 2 | 232 | 2022-03-31 | 2022
231112E298210 | No | No | Tier 2 | 232 | 2023-11-12 | 2023
220702E262990 | No | No | Tier 2 | 233 | 2022-07-02 | 2022
220825E266901 | No | No | Tier 2 | 233 | 2022-08-25 | 2022
220902E267436 | No | No | Tier 2 | 233 | 2022-09-02 | 2022
230114E276299 | No | No | Tier 2 | 233 | 2023-01-14 | 2023
230422E283443 | No | No | Tier 2 | 233 | 2023-04-22 | 2023
231204E299558 | No | No | Tier 2 | 233 | 2023-12-04 | 2023
220304E254293 | No | No | Tier 2 | 234 | 2022-03-04 | 2022
220601E260650 | No | No | Tier 2 | 234 | 2022-06-01 | 2022
230905E292964 | No | No | Tier 2 | 234 | 2023-09-05 | 2023
230326E281494 | No | No | Tier 2 | 236 | 2023-03-26 | 2023
221219E274923 | No | No | Tier 2 | 237 | 2022-12-19 | 2022
230331E281920 | No | No | Tier 2 | 237 | 2023-03-31 | 2023
220208E252434 | No | No | Tier 2 | 240 | 2022-02-08 | 2022
220920E268851 | No | No | Tier 2 | 240 | 2022-09-20 | 2022
221117E273115 | No | No | Tier 2 | 240 | 2022-11-17 | 2022
231024E296887 | No | No | Tier 2 | 246 | 2023-10-24 | 2023
220105E250021 | No | No | Tier 2 | 247 | 2022-01-05 | 2022
220517E259761 | No | No | Tier 2 | 252 | 2022-05-17 | 2022
220113E250628 | No | No | Tier 2 | 280 | 2022-01-13 | 2022
231021E296718 | No | No | Tier 2 | 280 | 2023-10-21 | 2023
231021E296718 | No | No | Tier 2 | 280 | 2023-10-22 | 2023
230704E288318 | No | No | Tier 2 | 296 | 2023-07-04 | 2023
231211E300115 | No | No | Tier 2 | 296 | 2023-12-11 | 2023
230813E291193 | No | No | Tier 2 | 307 | 2023-08-13 | 2023
220421E257949 | No | No | Tier 2 | 311 | 2022-04-21 | 2022
230418E283053 | No | No | Tier 2 | 351 | 2023-04-18 | 2023
220303E254143 | No | No | Tier 2 | 353 | 2022-03-03 | 2022
230510E284666 | No | No | Tier 2 | 355 | 2023-05-10 | 2023
230808E290872 | No | No | Tier 2 | 396 | 2023-08-08 | 2023
221215E274824 | No | No | Tier 2 | 500 | 2022-12-15 | 2022
221001E269746 | No | No | Tier 2 | 520 | 2022-10-01 | 2022
230224E279432 | No | No | Tier 2 | 520 | 2023-02-24 | 2023
220425E258194 | No | No | Tier 2 | 522 | 2022-04-25 | 2022
220725E264530 | No | No | Tier 2 | 522 | 2022-07-25 | 2022
221227E275269 | No | No | Tier 2 | 522 | 2022-12-27 | 2022
221120E273313 | No | No | Tier 2 | 523 | 2022-11-20 | 2022
221021E271233 | No | No | Tier 2 | 533 | 2022-10-21 | 2022
221128E273569 | No | No | Tier 2 | 542 | 2022-11-28 | 2022
230512E284914 | No | No | Tier 2 | 597 | 2023-05-12 | 2023
230707E288554 | No | No | Tier 2 | 597 | 2023-07-07 | 2023
230730E290157 | No | No | Tier 2 | 597 | 2023-07-30 | 2023
230821E291855 | No | No | Tier 2 | 597 | 2023-08-21 | 2023
220604E261014 | No | No | Tier 2 | 599 | 2022-06-04 | 2022
231219E300755 | No | No | Tier 2 | 599 | 2023-12-19 | 2023
230703E288308 | No | No | Tier 2 | 788 | 2023-07-03 | 2023
220516E259687 | No | No | Tier 2 | 835 | 2022-05-16 | 2022
220223E253534 | No | No | Tier 2 | 840 | 2022-02-23 | 2022
220922E269061 | No | No | Tier 2 | 840 | 2022-09-22 | 2022
220223E253456 | No | No | Tier 2 | 859 | 2022-02-23 | 2022
231209E300046 | No | No | Tier 2 | 859 | 2023-12-09 | 2023
230625E287776 | No | No | Tier 2 | 908 | 2023-06-25 | 2023
230712E288828 | No | No | Tier 2 | 908 | 2023-07-12 | 2023
221214E274767 | No | No | Tier 2 | 912 | 2022-12-14 | 2022
220527E260455 | No | No | Tier 2 | 968 | 2022-05-27 | 2022
230530E285991 | No | No | Tier 2 | 971 | 2023-05-30 | 2023
220627E262595 | No | No | Tier 2 | 972 | 2022-06-27 | 2022
220929E269609 | No | No | Tier 2 | 972 | 2022-09-29 | 2022
230709E288573 | No | No | Tier 2 | 1090 | 2023-07-09 | 2023
231212E300280 | No | No | Tier 2 | 1094 | 2023-12-12 | 2023
231102E297496 | No | No | Tier 2 | 1106 | 2023-11-02 | 2023
230821E291855 | No | No | Tier 2 | 1118 | 2023-08-21 | 2023
230318E280977 | No | No | Tier 2 | 1138 | 2023-03-18 | 2023
230614E287048 | No | No | Tier 2 | 1234 | 2023-06-14 | 2023
221210E274497 | No | No | Tier 2 | 1250 | 2022-12-10 | 2022
220715E263823 | No | No | Tier 2 | FB2 | 2022-07-15 | 2022
220817E266291 | No | No | Tier 2 | RA1 | 2022-08-17 | 2022
220817E266291 | No | No | Tier 2 | RA1 | 2022-08-18 | 2022
220817E266291 | No | No | Tier 2 | RA3 | 2022-08-17 | 2022
220929E269553 | No | No | Tier 2 | 536 | 2022-09-29 | 2022
220909E268045 | No | No | Tier 2 | RC1 | 2022-09-09 | 2022
230820E291718 | No | No | Tier 2 | 91 | 2023-08-20 | 2023
230123E276874 | No | No | Tier 2 | 233 | 2023-01-23 | 2023
220905E267712 | No | No | Tier 2 | 237 | 2022-09-05 | 2022
230126E277222 | No | No | Tier 2 | 240 | 2023-01-26 | 2023
230116E276362 | No | No | Tier 2 | 522 | 2023-01-16 | 2023
230316E280845 | Yes | No | Tier 2 | 445 | 2023-03-16 | 2023
221217E274913 | Yes | No | Tier 2 | 445 | 2022-12-17 | 2022
220227E253766 | Yes | No | Tier 2 | 350 | 2022-02-27 | 2022
230221E279079 | Yes | No | Tier 2 | 445 | 2023-02-21 | 2023
220109E250239 | Yes | No | Tier 2 | 350 | 2022-01-09 | 2022
220416E257543 | Yes | No | Tier 2 | 350 | 2022-04-16 | 2022
220420E257839 | Yes | No | Tier 2 | 350 | 2022-04-20 | 2022
220207E252297 | Yes | No | Tier 2 | 75 | 2022-02-07 | 2022
230404E282128 | Yes | No | Tier 2 | 211 | 2023-04-04 | 2023
230901E292831 | Yes | No | Tier 2 | 521 | 2023-09-01 | 2023
230222E279276 | Yes | No | Tier 2 | 445 | 2023-02-22 | 2023
230226E279483 | Yes | No | Tier 2 | 445 | 2023-02-26 | 2023
230226E279484 | Yes | No | Tier 2 | 445 | 2023-02-26 | 2023
230615E287130 | Yes | No | Tier 2 | 521 | 2023-06-15 | 2023
221015E270746 | Yes | No | Tier 2 | 445 | 2022-10-15 | 2022
230506E284413 | Yes | No | Tier 2 | 354 | 2023-05-06 | 2023
220219E253315 | Yes | No | Tier 2 | 350 | 2022-02-19 | 2022
220222E253392 | Yes | No | Tier 2 | 350 | 2022-02-22 | 2022
230814E291252 | Yes | No | Tier 2 | 521 | 2023-08-14 | 2023
220202E251989 | Yes | No | Tier 2 | 211 | 2022-02-02 | 2022
231214E300449 | Yes | No | Tier 2 | 75 | 2023-12-14 | 2023
231102E297533 | Yes | No | Tier 2 | 445 | 2023-11-02 | 2023
230209E278379 | Yes | No | Tier 2 | 521 | 2023-02-09 | 2023
230301E279812 | Yes | No | Tier 2 | 521 | 2023-03-01 | 2023
230113E276206 | Yes | No | Tier 2 | 211 | 2023-01-13 | 2023
230301E279771 | Yes | No | Tier 2 | 211 | 2023-03-01 | 2023
220210E252650 | Yes | No | Tier 2 | 350 | 2022-02-10 | 2022
220724E264433 | Yes | No | Tier 2 | 350 | 2022-07-24 | 2022
230211E278511 | Yes | No | Tier 2 | 445 | 2023-02-11 | 2023
230301E279795 | Yes | No | Tier 2 | 445 | 2023-03-01 | 2023
230423E283457 | Yes | No | Tier 2 | 445 | 2023-04-23 | 2023
230721E289544 | Yes | No | Tier 2 | 445 | 2023-07-21 | 2023
230731E290192 | Yes | No | Tier 2 | 445 | 2023-07-31 | 2023
231204E299669 | Yes | No | Tier 2 | 445 | 2023-12-04 | 2023
230326E281501 | Yes | No | Tier 2 | 521 | 2023-03-26 | 2023
230608E286724 | Yes | No | Tier 2 | 521 | 2023-06-08 | 2023
230301E279801 | Yes | No | Tier 2 | 445 | 2023-03-01 | 2023
220227E253769 | Yes | No | Tier 2 | 75 | 2022-02-27 | 2022
231104E297631 | Yes | No | Tier 2 | 75 | 2023-11-04 | 2023
230403E282042 | Yes | No | Tier 2 | 211 | 2023-04-03 | 2023
230701E288237 | Yes | No | Tier 2 | 445 | 2023-07-01 | 2023
230101E275473 | Yes | No | Tier 2 | 521 | 2023-01-01 | 2023
230128E277424 | Yes | No | Tier 2 | 521 | 2023-01-28 | 2023
231022E296727 | Yes | No | Tier 2 | 521 | 2023-10-22 | 2023
231111E298162 | Yes | No | Tier 2 | 521 | 2023-11-11 | 2023
220223E253449 | Yes | No | Tier 2 | 211 | 2022-02-23 | 2022
230119E276601 | Yes | No | Tier 2 | 445 | 2023-01-19 | 2023
221029E271770 | No | Yes | Tier 2 | 217 | 2022-10-29 | 2022
221217E274908 | No | Yes | Tier 2 | 215 | 2022-12-17 | 2022
221205E274099 | No | Yes | Tier 2 | 217 | 2022-12-05 | 2022
220920E268804 | No | Yes | Tier 2 | 215 | 2022-09-20 | 2022
220920E268804 | No | Yes | Tier 2 | 215 | 2022-09-21 | 2022
221108E272489 | No | Yes | Tier 2 | 215 | 2022-11-08 | 2022
221230E275422 | Yes | Yes | Tier 2 | 350 | 2022-12-30 | 2022
230915E293806 | Yes | Yes | Tier 2 | 211 | 2023-09-15 | 2023
230211E278491 | Yes | Yes | Tier 2 | 350 | 2023-02-11 | 2023
230305E280041 | Yes | Yes | Tier 2 | 350 | 2023-03-05 | 2023
230510E284710 | Yes | Yes | Tier 2 | 350 | 2023-05-10 | 2023
220930E269738 | Yes | Yes | Tier 2 | 350 | 2022-09-30 | 2022
230429E283960 | Yes | Yes | Tier 2 | 350 | 2023-04-29 | 2023
231016E296299 | Yes | Yes | Tier 2 | 350 | 2023-10-16 | 2023
231224E300986 | Yes | Yes | Tier 2 | 350 | 2023-12-24 | 2023
220909E268172 | Yes | Yes | Tier 2 | 350 | 2022-09-09 | 2022
230926E294688 | Yes | Yes | Tier 2 | 217 | 2023-09-26 | 2023
230601E286128 | Yes | Yes | Tier 2 | 350 | 2023-06-01 | 2023
230820E291713 | Yes | Yes | Tier 2 | 350 | 2023-08-20 | 2023
230801E290353 | Yes | Yes | Tier 2 | 211 | 2023-08-01 | 2023
221219E274921 | Yes | Yes | Tier 2 | 350 | 2022-12-19 | 2022
230309E280330 | Yes | Yes | Tier 2 | 350 | 2023-03-09 | 2023
230602E286336 | Yes | Yes | Tier 2 | 350 | 2023-06-02 | 2023
230705E288359 | Yes | Yes | Tier 2 | 350 | 2023-07-05 | 2023
220830E267188 | Yes | Yes | Tier 2 | 350 | 2022-08-30 | 2022
220905E267708 | Yes | Yes | Tier 2 | 350 | 2022-09-05 | 2022
230115E276344 | Yes | Yes | Tier 2 | 350 | 2023-01-15 | 2023
230126E279010 | No | No | Tier 3 | 442 | 2023-01-26 | 2023
230126E277253 | No | No | Tier 3 | 449 | 2023-01-26 | 2023
221007E270191 | No | No | Tier 3 | 73 | 2022-10-07 | 2022
230818E291603 | No | No | Tier 3 | 157 | 2023-08-18 | 2023
220412E257157 | No | No | Tier 3 | 470 | 2022-04-12 | 2022
230802E290364 | No | No | Tier 3 | 1215 | 2023-08-02 | 2023
221208E274398 | No | No | Tier 3 | 221 | 2022-12-08 | 2022
221202E273905 | No | No | Tier 3 | 237 | 2022-12-02 | 2022
231028E297181 | No | No | Tier 3 | 239 | 2023-10-28 | 2023
230815E291321 | No | No | Tier 3 | 1458 | 2023-08-15 | 2023
221111E272711 | No | No | Tier 3 | 239 | 2022-11-11 | 2022
220918E268676 | No | No | Tier 3 | 973 | 2022-09-18 | 2022
221209E274448 | No | No | Tier 3 | 67 | 2022-12-09 | 2022
220302E254008 | No | No | Tier 3 | 79 | 2022-03-02 | 2022
230503E284218 | No | No | Tier 3 | 79 | 2023-05-03 | 2023
220308E254547 | No | No | Tier 3 | 157 | 2022-03-08 | 2022
230402E281949 | No | No | Tier 3 | 157 | 2023-04-02 | 2023
230713E288902 | No | No | Tier 3 | 157 | 2023-07-13 | 2023
220515E259580 | No | No | Tier 3 | 175 | 2022-05-15 | 2022
230717E289106 | No | No | Tier 3 | 175 | 2023-07-17 | 2023
230817E291532 | No | No | Tier 3 | 212 | 2023-08-17 | 2023
220618E262095 | No | No | Tier 3 | 220 | 2022-06-18 | 2022
220621E262220 | No | No | Tier 3 | 220 | 2022-06-21 | 2022
230216E278884 | No | No | Tier 3 | 220 | 2023-02-16 | 2023
220210E252571 | No | No | Tier 3 | 237 | 2022-02-10 | 2022
230413E282689 | No | No | Tier 3 | 237 | 2023-04-13 | 2023
230528E285896 | No | No | Tier 3 | 237 | 2023-05-28 | 2023
230815E291337 | No | No | Tier 3 | 239 | 2023-08-15 | 2023
220824E266720 | No | No | Tier 3 | 283 | 2022-08-24 | 2022
220320E255443 | No | No | Tier 3 | 356 | 2022-03-20 | 2022
220516E259586 | No | No | Tier 3 | 356 | 2022-05-16 | 2022
231029E297197 | No | No | Tier 3 | 442 | 2023-10-29 | 2023
230808E290792 | No | No | Tier 3 | 909 | 2023-08-08 | 2023
231230E301274 | No | No | Tier 3 | 909 | 2023-12-30 | 2023
230221E279028 | No | No | Tier 3 | 920 | 2023-02-21 | 2023
231010E295870 | No | No | Tier 3 | 973 | 2023-10-10 | 2023
220802E265200 | No | No | Tier 3 | 1021 | 2022-08-02 | 2022
220724E264438 | No | No | Tier 3 | 1030 | 2022-07-24 | 2022
220815E266089 | No | No | Tier 3 | 1030 | 2022-08-15 | 2022
231010E295880 | No | No | Tier 3 | 1030 | 2023-10-10 | 2023
220713E263699 | No | No | Tier 3 | 1090 | 2022-07-13 | 2022
221014E270725 | No | No | Tier 3 | 1166 | 2022-10-14 | 2022
220309E254661 | No | No | Tier 3 | 1215 | 2022-03-09 | 2022
220811E265794 | No | No | Tier 3 | 1215 | 2022-08-11 | 2022
230328E281675 | No | No | Tier 3 | 1215 | 2023-03-28 | 2023
230522E285487 | No | No | Tier 3 | 1215 | 2023-05-22 | 2023
231102E297560 | No | No | Tier 3 | 1022 | 2023-11-02 | 2023
221103E272093 | No | No | Tier 3 | 157 | 2022-11-03 | 2022
230716E289058 | No | No | Tier 3 | 221 | 2023-07-16 | 2023
230926E294694 | No | No | Tier 3 | 222 | 2023-09-26 | 2023
220909E268092 | No | No | Tier 3 | 237 | 2022-09-09 | 2022
230320E281082 | No | No | Tier 3 | 240 | 2023-03-20 | 2023
220215E253081 | No | No | Tier 3 | 441 | 2022-02-15 | 2022
220524E260153 | No | No | Tier 3 | 521 | 2022-05-24 | 2022
220306E254347 | No | No | Tier 3 | 1021 | 2022-03-06 | 2022
220109E250237 | No | No | Tier 3 | 1090 | 2022-01-09 | 2022
220115E250732 | No | No | Tier 3 | 1090 | 2022-01-15 | 2022
220331E256253 | No | No | Tier 3 | 79 | 2022-03-31 | 2022
231028E297177 | No | No | Tier 3 | 221 | 2023-10-28 | 2023
220124E251263 | No | No | Tier 3 | 222 | 2022-01-24 | 2022
221102E272034 | No | No | Tier 3 | 236 | 2022-11-02 | 2022
220125E251297 | No | No | Tier 3 | 237 | 2022-01-25 | 2022
231028E297174 | No | No | Tier 3 | 237 | 2023-10-28 | 2023
230223E279281 | No | No | Tier 3 | 972 | 2023-02-23 | 2023
230825E292257 | No | No | Tier 3 | 1233 | 2023-08-25 | 2023
220211E252677 | No | No | Tier 3 | OK1 | 2022-02-11 | 2022
230223E279275 | No | No | Tier 3 | 79 | 2023-02-23 | 2023
230824E292125 | No | No | Tier 3 | 157 | 2023-08-24 | 2023
230305E280036 | No | No | Tier 3 | 283 | 2023-03-05 | 2023
230812E291188 | No | No | Tier 3 | 1030 | 2023-08-12 | 2023
230823E292102 | No | No | Tier 3 | 1030 | 2023-08-23 | 2023
221129E273672 | No | No | Tier 3 | 157 | 2022-11-29 | 2022
220911E268192 | No | No | Tier 3 | 214 | 2022-09-11 | 2022
220717E263923 | No | No | Tier 3 | 246 | 2022-07-18 | 2022
220828E267000 | No | No | Tier 3 | 441 | 2022-08-29 | 2022
230306E280047 | No | No | Tier 3 | 441 | 2023-03-06 | 2023
220320E255436 | No | No | Tier 3 | 520 | 2022-03-20 | 2022
230412E282675 | No | No | Tier 3 | 973 | 2023-04-12 | 2023
230809E290949 | No | No | Tier 3 | 973 | 2023-08-09 | 2023
231029E297198 | No | No | Tier 3 | 356 | 2023-10-29 | 2023
230621E287502 | No | No | Tier 3 | 222 | 2023-06-21 | 2023
220319E255416 | No | No | Tier 3 | 214 | 2022-03-19 | 2022
220717E263923 | No | No | Tier 3 | 246 | 2022-07-17 | 2022
220918E268678 | No | No | Tier 3 | 246 | 2022-09-18 | 2022
220516E259662 | No | No | Tier 3 | 247 | 2022-05-16 | 2022
220828E267000 | No | No | Tier 3 | 441 | 2022-08-28 | 2022
220607E261122 | No | No | Tier 3 | 442 | 2022-06-07 | 2022
221119E273320 | No | No | Tier 3 | 442 | 2022-11-19 | 2022
220216E253139 | No | No | Tier 3 | 521 | 2022-02-16 | 2022
230113E276297 | No | No | Tier 3 | 970 | 2023-01-13 | 2023
230616E287200 | No | No | Tier 3 | 970 | 2023-06-16 | 2023
230806E290695 | No | No | Tier 3 | 970 | 2023-08-06 | 2023
220304E254192 | No | No | Tier 3 | 973 | 2022-03-04 | 2022
220803E265271 | No | No | Tier 3 | 973 | 2022-08-03 | 2022
220916E268604 | No | No | Tier 3 | 973 | 2022-09-16 | 2022
220914E268478 | No | No | Tier 3 | 975 | 2022-09-14 | 2022
220831E267275 | No | No | Tier 3 | 157 | 2022-08-31 | 2022
230301E279823 | No | No | Tier 3 | 356 | 2023-03-01 | 2023
230821E291782 | No | No | Tier 3 | 220 | 2023-08-21 | 2023
220814E266004 | No | No | Tier 3 | 442 | 2022-08-14 | 2022
220415E257555 | No | No | Tier 3 | 975 | 2022-04-15 | 2022
220617E262055 | No | No | Tier 3 | 973 | 2022-06-17 | 2022
230101E275480 | No | No | Tier 3 | 1458 | 2023-01-01 | 2023
230222E279125 | No | No | Tier 3 | 214 | 2023-02-22 | 2023
230224E279400 | No | No | Tier 3 | 214 | 2023-02-24 | 2023
230301E289593 | No | No | Tier 3 | 214 | 2023-03-01 | 2023
230223E279278 | No | No | Tier 3 | 1215 | 2023-02-23 | 2023
230605E286408 | No | No | Tier 3 | 79 | 2023-06-05 | 2023
221122E273421 | No | No | Tier 3 | 214 | 2022-11-22 | 2022
230227E279559 | No | No | Tier 3 | 214 | 2023-02-27 | 2023
230210E278422 | No | No | Tier 3 | 222 | 2023-02-10 | 2023
220418E257615 | No | No | Tier 3 | 237 | 2022-04-18 | 2022
230719E289370 | No | No | Tier 3 | 237 | 2023-07-19 | 2023
230828E292351 | No | No | Tier 3 | 356 | 2023-08-28 | 2023
220712E263598 | No | No | Tier 3 | 920 | 2022-07-12 | 2022
220622E262258 | No | No | Tier 3 | 73 | 2022-06-22 | 2022
220911E268202 | No | No | Tier 3 | 73 | 2022-09-11 | 2022
231117E298670 | No | No | Tier 3 | 73 | 2023-11-17 | 2023
220222E253444 | No | No | Tier 3 | 214 | 2022-02-22 | 2022
221011E270413 | No | No | Tier 3 | 221 | 2022-10-11 | 2022
221016E270757 | No | No | Tier 3 | 222 | 2022-10-16 | 2022
231115E298491 | No | No | Tier 3 | 222 | 2023-11-15 | 2023
230101E275485 | No | No | Tier 3 | 237 | 2023-01-01 | 2023
220813E265991 | No | No | Tier 3 | 442 | 2022-08-13 | 2022
231115E298482 | No | No | Tier 3 | 907 | 2023-11-15 | 2023
231222E300953 | No | No | Tier 3 | 907 | 2023-12-22 | 2023
220407E256919 | No | No | Tier 3 | 79 | 2022-04-07 | 2022
221117E273154 | No | No | Tier 3 | 79 | 2022-11-17 | 2022
230222E279185 | No | No | Tier 3 | 79 | 2023-02-22 | 2023
220511E259549 | No | No | Tier 3 | 157 | 2022-05-11 | 2022
230711E288691 | No | No | Tier 3 | 157 | 2023-07-11 | 2023
220826E266959 | No | No | Tier 3 | 176 | 2022-08-26 | 2022
220214E252873 | No | No | Tier 3 | 221 | 2022-02-14 | 2022
220414E257452 | No | No | Tier 3 | 221 | 2022-04-14 | 2022
230228E279685 | No | No | Tier 3 | 221 | 2023-03-02 | 2023
231201E299433 | No | No | Tier 3 | 221 | 2023-12-01 | 2023
220221E253353 | No | No | Tier 3 | 237 | 2022-02-21 | 2022
220929E269614 | No | No | Tier 3 | 520 | 2022-09-29 | 2022
231209E300052 | No | No | Tier 3 | 1022 | 2023-12-09 | 2023
230920E294231 | No | No | Tier 3 | 67 | 2023-09-20 | 2023
220203E252081 | No | No | Tier 3 | 73 | 2022-02-03 | 2022
230511E284794 | No | No | Tier 3 | 176 | 2023-05-11 | 2023
220911E268192 | No | No | Tier 3 | 214 | 2022-09-11 | 2022
220420E257398 | No | No | Tier 3 | 222 | 2022-04-20 | 2022
220824E266782 | No | No | Tier 3 | 236 | 2022-08-24 | 2022
220727E264742 | No | No | Tier 3 | 239 | 2022-07-27 | 2022
230808E290801 | No | No | Tier 3 | 239 | 2023-08-08 | 2023
220114E250639 | No | No | Tier 3 | 240 | 2022-01-14 | 2022
221031E271820 | No | No | Tier 3 | 247 | 2022-10-31 | 2022
220830E267079 | No | No | Tier 3 | 972 | 2022-08-30 | 2022
221010E270286 | No | No | Tier 3 | 973 | 2022-10-10 | 2022
230806E290699 | No | No | Tier 3 | 1022 | 2023-08-06 | 2023
231108E297973 | No | No | Tier 3 | JU1 | 2023-11-08 | 2023
220419E257686 | No | No | Tier 3 | OK1 | 2022-04-19 | 2022
230605E286433 | No | No | Tier 3 | SL1 | 2023-06-05 | 2023
220505E258904 | No | No | Tier 3 | 176 | 2022-05-05 | 2022
230302E279864 | No | No | Tier 3 | 176 | 2023-03-02 | 2023
230510E284645 | No | No | Tier 3 | 249 | 2023-05-10 | 2023
220629E262819 | No | No | Tier 3 | 449 | 2022-06-29 | 2022
220422E258042 | No | No | Tier 3 | 520 | 2022-04-22 | 2022
220116E250746 | No | No | Tier 3 | 520 | 2022-01-16 | 2022
220222E253425 | No | No | Tier 3 | TM1 | 2022-02-22 | 2022
220625E262526 | No | No | Tier 3 | TM1 | 2022-06-25 | 2022
221031E271838 | No | No | Tier 3 | 157 | 2022-10-31 | 2022
230905E302920 | No | No | Tier 3 | 216 | 2023-09-05 | 2023
230426E283641 | No | No | Tier 3 | 216 | 2023-04-26 | 2023
230510E284644 | No | No | Tier 3 | 216 | 2023-05-10 | 2023
220708E263315 | No | No | Tier 3 | 440 | 2022-07-08 | 2022
230621E287546 | No | No | Tier 3 | 176 | 2023-06-21 | 2023
231121E299547 | No | No | Tier 3 | 907 | 2023-11-21 | 2023
230508E284532 | No | No | Tier 3 | 970 | 2023-05-08 | 2023
220103E249853 | No | No | Tier 3 | 973 | 2022-01-03 | 2022
220118E250770 | No | No | Tier 3 | 973 | 2022-01-18 | 2022
230713E288846 | No | No | Tier 3 | 975 | 2023-07-13 | 2023
221122E273465 | No | No | Tier 3 | 1090 | 2022-11-22 | 2022
230303E280013 | No | No | Tier 3 | 67 | 2023-03-03 | 2023
230201E277733 | No | No | Tier 3 | 79 | 2023-02-01 | 2023
220913E268301 | No | No | Tier 3 | 175 | 2022-09-13 | 2022
230830E292688 | No | No | Tier 3 | 175 | 2023-08-31 | 2023
221108E272463 | No | No | Tier 3 | 214 | 2022-11-08 | 2022
220411E257113 | No | No | Tier 3 | 220 | 2022-04-11 | 2022
230728E290026 | No | No | Tier 3 | 221 | 2023-07-28 | 2023
220705E263085 | No | No | Tier 3 | 222 | 2022-07-05 | 2022
220419E257718 | No | No | Tier 3 | 283 | 2022-04-19 | 2022
230729E290155 | No | No | Tier 3 | 357 | 2023-07-29 | 2023
230126E277165 | No | No | Tier 3 | 442 | 2023-01-26 | 2023
220215E253041 | No | No | Tier 3 | 521 | 2022-02-15 | 2022
220909E268134 | No | No | Tier 3 | 971 | 2022-09-09 | 2022
230628E288023 | No | No | Tier 3 | 971 | 2023-06-28 | 2023
220208E252437 | No | No | Tier 3 | 975 | 2022-02-08 | 2022
220228E253912 | No | No | Tier 3 | 1030 | 2022-02-28 | 2022
230522E285441 | No | No | Tier 3 | 1030 | 2023-05-22 | 2023
221213E274623 | No | No | Tier 3 | 1090 | 2022-12-13 | 2022
221124E273544 | No | No | Tier 3 | 442 | 2022-11-24 | 2022
220808E265583 | No | No | Tier 3 | 175 | 2022-08-08 | 2022
230224E279382 | No | No | Tier 3 | 214 | 2023-02-24 | 2023
221124E273537 | No | No | Tier 3 | 222 | 2022-11-24 | 2022
230225E279449 | No | No | Tier 3 | 358 | 2023-02-25 | 2023
230126E277182 | No | No | Tier 3 | 442 | 2023-01-26 | 2023
221124E273534 | No | No | Tier 3 | 449 | 2022-11-24 | 2022
230831E292812 | No | No | Tier 3 | 907 | 2023-08-31 | 2023
230301E279779 | No | No | Tier 3 | 175 | 2023-03-01 | 2023
230224E279400 | No | No | Tier 3 | 214 | 2023-02-24 | 2023
230224E279433 | No | No | Tier 3 | 214 | 2023-02-24 | 2023
230224E281669 | No | No | Tier 3 | 214 | 2023-02-24 | 2023
230126E277236 | No | No | Tier 3 | 221 | 2023-01-26 | 2023
220909E268116 | No | No | Tier 3 | 240 | 2022-09-09 | 2022
230126E279010 | No | No | Tier 3 | 442 | 2023-01-26 | 2023
230301E279752 | No | No | Tier 3 | 1090 | 2023-03-01 | 2023
220223E253541 | No | No | Tier 3 | CTL1 | 2022-02-23 | 2022
230126E277180 | No | No | Tier 3 | SL1 | 2023-01-26 | 2023
220802E265181 | No | No | Tier 3 | 176 | 2022-08-02 | 2022
220405E256720 | No | No | Tier 3 | 214 | 2022-04-05 | 2022
220823E266634 | No | No | Tier 3 | 67 | 2022-08-23 | 2022
220924E269217 | No | No | Tier 3 | 73 | 2022-09-24 | 2022
231103E297624 | No | No | Tier 3 | 73 | 2023-11-03 | 2023
231205E299744 | No | No | Tier 3 | 73 | 2023-12-05 | 2023
230301E279783 | No | No | Tier 3 | 79 | 2023-03-01 | 2023
230810E291013 | No | No | Tier 3 | 79 | 2023-08-10 | 2023
220320E255428 | No | No | Tier 3 | 157 | 2022-03-20 | 2022
220523E260102 | No | No | Tier 3 | 157 | 2022-05-23 | 2022
220919E268679 | No | No | Tier 3 | 157 | 2022-09-19 | 2022
230104E275557 | No | No | Tier 3 | 157 | 2023-01-04 | 2023
230221E279099 | No | No | Tier 3 | 157 | 2023-02-21 | 2023
230409E282396 | No | No | Tier 3 | 157 | 2023-04-09 | 2023
230802E290457 | No | No | Tier 3 | 157 | 2023-08-02 | 2023
230915E293842 | No | No | Tier 3 | 157 | 2023-09-15 | 2023
230228E279608 | No | No | Tier 3 | 176 | 2023-02-28 | 2023
230329E281779 | No | No | Tier 3 | 176 | 2023-03-29 | 2023
230405E282195 | No | No | Tier 3 | 176 | 2023-04-05 | 2023
220325E255826 | No | No | Tier 3 | 214 | 2022-03-25 | 2022
220718E263983 | No | No | Tier 3 | 214 | 2022-07-18 | 2022
230629E288120 | No | No | Tier 3 | 216 | 2023-06-29 | 2023
220106E250113 | No | No | Tier 3 | 220 | 2022-01-06 | 2022
220307E254446 | No | No | Tier 3 | 220 | 2022-03-07 | 2022
220706E263184 | No | No | Tier 3 | 220 | 2022-07-06 | 2022
220901E267349 | No | No | Tier 3 | 220 | 2022-09-01 | 2022
220317E255259 | No | No | Tier 3 | 221 | 2022-03-17 | 2022
220419E257721 | No | No | Tier 3 | 221 | 2022-04-19 | 2022
230225E279470 | No | No | Tier 3 | 221 | 2023-02-25 | 2023
230510E284700 | No | No | Tier 3 | 221 | 2023-05-10 | 2023
220115E250739 | No | No | Tier 3 | 222 | 2022-01-15 | 2022
220418E257650 | No | No | Tier 3 | 222 | 2022-04-18 | 2022
220622E262317 | No | No | Tier 3 | 222 | 2022-06-22 | 2022
220801E265109 | No | No | Tier 3 | 222 | 2022-08-01 | 2022
220906E267766 | No | No | Tier 3 | 222 | 2022-09-06 | 2022
220929E269602 | No | No | Tier 3 | 222 | 2022-09-29 | 2022
230117E276396 | No | No | Tier 3 | 222 | 2023-01-17 | 2023
230723E289591 | No | No | Tier 3 | 222 | 2023-07-23 | 2023
230819E291671 | No | No | Tier 3 | 222 | 2023-08-19 | 2023
230911E302551 | No | No | Tier 3 | 222 | 2023-09-11 | 2023
230917E293935 | No | No | Tier 3 | 222 | 2023-09-17 | 2023
220422E258068 | No | No | Tier 3 | 236 | 2022-04-22 | 2022
230827E292328 | No | No | Tier 3 | 236 | 2023-08-27 | 2023
231030E297232 | No | No | Tier 3 | 237 | 2023-10-30 | 2023
230504E284298 | No | No | Tier 3 | 239 | 2023-05-04 | 2023
230823E292046 | No | No | Tier 3 | 239 | 2023-08-23 | 2023
221213E274659 | No | No | Tier 3 | 240 | 2022-12-13 | 2022
230225E279482 | No | No | Tier 3 | 356 | 2023-02-25 | 2023
220923E269115 | No | No | Tier 3 | 358 | 2022-09-23 | 2022
220314E254917 | No | No | Tier 3 | 441 | 2022-03-14 | 2022
231118E298671 | No | No | Tier 3 | 441 | 2023-11-18 | 2023
220529E260533 | No | No | Tier 3 | 442 | 2022-05-29 | 2022
220817E266271 | No | No | Tier 3 | 442 | 2022-08-17 | 2022
220903E267578 | No | No | Tier 3 | 442 | 2022-09-03 | 2022
230301E279783 | No | No | Tier 3 | 442 | 2023-03-01 | 2023
220108E250225 | No | No | Tier 3 | 449 | 2022-01-08 | 2022
220131E251723 | No | No | Tier 3 | 449 | 2022-01-31 | 2022
230601E286118 | No | No | Tier 3 | 449 | 2023-06-01 | 2023
231027E297128 | No | No | Tier 3 | 449 | 2023-10-27 | 2023
231127E299037 | No | No | Tier 3 | 449 | 2023-11-27 | 2023
231023E296742 | No | No | Tier 3 | 470 | 2023-10-23 | 2023
220525E260313 | No | No | Tier 3 | 909 | 2022-05-25 | 2022
230122E276801 | No | No | Tier 3 | 971 | 2023-01-22 | 2023
220329E256035 | No | No | Tier 3 | 972 | 2022-03-29 | 2022
231023E296757 | No | No | Tier 3 | 975 | 2023-10-23 | 2023
230225E279446 | No | No | Tier 3 | 1022 | 2023-02-25 | 2023
230309E280397 | No | No | Tier 3 | 1030 | 2023-03-09 | 2023
220223E253450 | No | No | Tier 3 | 1215 | 2022-02-23 | 2022
230731E290171 | No | No | Tier 3 | 1215 | 2023-07-31 | 2023
220903E267615 | No | No | Tier 3 | 1233 | 2022-09-03 | 2022
231031E297369 | No | No | Tier 3 | 1233 | 2023-10-31 | 2023
220730E264925 | No | No | Tier 3 | 1234 | 2022-07-30 | 2022
221108E272484 | No | No | Tier 3 | 78 | 2022-11-08 | 2022
230223E279318 | No | No | Tier 3 | 79 | 2023-02-23 | 2023
220328E256027 | No | No | Tier 3 | 157 | 2022-03-28 | 2022
230321E281088 | No | No | Tier 3 | 157 | 2023-03-21 | 2023
221108E272444 | No | No | Tier 3 | 175 | 2022-11-08 | 2022
230116E276354 | No | No | Tier 3 | 175 | 2023-01-16 | 2023
220909E268143 | No | No | Tier 3 | 214 | 2022-09-09 | 2022
230330E281783 | No | No | Tier 3 | 214 | 2023-03-30 | 2023
221124E273539 | No | No | Tier 3 | 237 | 2022-11-24 | 2022
230820E291696 | No | No | Tier 3 | 1022 | 2023-08-20 | 2023
220905E267736 | No | No | Tier 3 | 1030 | 2022-09-05 | 2022
221108E272505 | No | No | Tier 3 | 1233 | 2022-11-08 | 2022
220609E261405 | No | No | Tier 3 | 79 | 2022-06-09 | 2022
221212E274580 | No | No | Tier 3 | 79 | 2022-12-12 | 2022
221027E271554 | No | No | Tier 3 | 157 | 2022-10-27 | 2022
221109E272522 | No | No | Tier 3 | 157 | 2022-11-09 | 2022
230219E278999 | No | No | Tier 3 | 157 | 2023-02-19 | 2023
231108E297903 | No | No | Tier 3 | 157 | 2023-11-08 | 2023
231013E296171 | No | No | Tier 3 | 176 | 2023-10-13 | 2023
231031E297354 | No | No | Tier 3 | 176 | 2023-10-31 | 2023
230731E290266 | No | No | Tier 3 | 221 | 2023-07-31 | 2023
230211E278512 | No | No | Tier 3 | 222 | 2023-02-11 | 2023
230423E283447 | No | No | Tier 3 | 222 | 2023-04-23 | 2023
230309E280427 | No | No | Tier 3 | 237 | 2023-03-09 | 2023
230917E293957 | No | No | Tier 3 | 237 | 2023-09-17 | 2023
220721E264223 | No | No | Tier 3 | 249 | 2022-07-21 | 2022
230722E289572 | No | No | Tier 3 | 249 | 2023-07-22 | 2023
220523E260150 | No | No | Tier 3 | 283 | 2022-05-23 | 2022
221130E273755 | No | No | Tier 3 | 283 | 2022-11-30 | 2022
230603E286353 | No | No | Tier 3 | 283 | 2023-06-03 | 2023
230608E286563 | No | No | Tier 3 | 283 | 2023-06-08 | 2023
230120E276731 | No | No | Tier 3 | 352 | 2023-01-20 | 2023
231215E300466 | No | No | Tier 3 | 356 | 2023-12-15 | 2023
230902E292921 | No | No | Tier 3 | 470 | 2023-09-02 | 2023
230727E289944 | No | No | Tier 3 | 907 | 2023-07-27 | 2023
221107E272414 | No | No | Tier 3 | 973 | 2022-11-07 | 2022
230516E285050 | No | No | Tier 3 | 973 | 2023-05-16 | 2023
220419E257742 | No | No | Tier 3 | 974 | 2022-04-19 | 2022
231208E300045 | No | No | Tier 3 | 974 | 2023-12-08 | 2023
220530E260551 | No | No | Tier 3 | 975 | 2022-05-30 | 2022
221026E271484 | No | No | Tier 3 | 1021 | 2022-10-26 | 2022
220316E255167 | No | No | Tier 3 | 1030 | 2022-03-16 | 2022
230423E283458 | No | No | Tier 3 | 1030 | 2023-04-23 | 2023
230818E291653 | No | No | Tier 3 | 1458 | 2023-08-18 | 2023
230613E286955 | No | No | Tier 3 | CTL1 | 2023-06-13 | 2023
220125E251332 | No | No | Tier 3 | OK1 | 2022-01-25 | 2022
230731E290266 | No | No | Tier 3 | SL1 | 2023-07-31 | 2023
220909E268067 | No | No | Tier 3 | 78 | 2022-09-09 | 2022
230313E280616 | No | No | Tier 3 | 176 | 2023-03-13 | 2023
220224E253575 | No | No | Tier 3 | 214 | 2022-02-24 | 2022
230222E279125 | No | No | Tier 3 | 214 | 2023-02-22 | 2023
220909E268151 | No | No | Tier 3 | 222 | 2022-09-09 | 2022
220909E268141 | No | No | Tier 3 | 441 | 2022-09-09 | 2022
220909E268094 | No | No | Tier 3 | 909 | 2022-09-09 | 2022
230301E279699 | No | No | Tier 3 | 1233 | 2023-03-01 | 2023
230321E281163 | No | No | Tier 3 | 1233 | 2023-03-21 | 2023
220128E251665 | Yes | No | Tier 3 | 448 | 2022-01-28 | 2022
230821E291846 | Yes | No | Tier 3 | 521 | 2023-08-21 | 2023
220528E260521 | Yes | No | Tier 3 | 75 | 2022-05-28 | 2022
220210E252590 | Yes | No | Tier 3 | 448 | 2022-02-10 | 2022
220309E254628 | Yes | No | Tier 3 | 448 | 2022-03-09 | 2022
220529E260539 | Yes | No | Tier 3 | 448 | 2022-05-29 | 2022
220718E263992 | Yes | No | Tier 3 | 524 | 2022-07-18 | 2022
231121E298792 | Yes | No | Tier 3 | 524 | 2023-11-21 | 2023
220616E261911 | Yes | No | Tier 3 | 448 | 2022-06-16 | 2022
220725E264466 | Yes | No | Tier 3 | 448 | 2022-07-25 | 2022
220913E268339 | Yes | No | Tier 3 | 448 | 2022-09-13 | 2022
230113E276229 | Yes | No | Tier 3 | 448 | 2023-01-13 | 2023
220212E252751 | Yes | No | Tier 3 | 524 | 2022-02-12 | 2022
220212E252752 | Yes | No | Tier 3 | 524 | 2022-02-12 | 2022
230904E292944 | Yes | No | Tier 3 | 75 | 2023-09-04 | 2023
220906E267837 | Yes | No | Tier 3 | 211 | 2022-09-06 | 2022
230612E286875 | Yes | No | Tier 3 | 448 | 2023-06-12 | 2023
230915E293810 | Yes | No | Tier 3 | 521 | 2023-09-15 | 2023
221124E273529 | Yes | No | Tier 3 | 448 | 2022-11-24 | 2022
230207E278108 | Yes | No | Tier 3 | 524 | 2023-02-07 | 2023
230628E288046 | Yes | No | Tier 3 | 524 | 2023-06-28 | 2023
230111E276108 | Yes | No | Tier 3 | 448 | 2023-01-11 | 2023
231002E295180 | Yes | No | Tier 3 | 75 | 2023-10-02 | 2023
231115E298448 | Yes | No | Tier 3 | 448 | 2023-11-15 | 2023
220515E259582 | Yes | No | Tier 3 | 524 | 2022-05-15 | 2022
230701E288245 | Yes | No | Tier 3 | 448 | 2023-07-01 | 2023
230716E289067 | Yes | No | Tier 3 | 448 | 2023-07-16 | 2023
230607E286603 | Yes | No | Tier 3 | 524 | 2023-06-07 | 2023
220928E269398 | Yes | No | Tier 3 | 524 | 2022-09-28 | 2022
230707E288465 | Yes | No | Tier 3 | 524 | 2023-07-07 | 2023
230925E294577 | Yes | No | Tier 3 | 214 | 2023-09-25 | 2023
221122E273398 | Yes | No | Tier 3 | 75 | 2022-11-22 | 2022
230731E290189 | Yes | No | Tier 3 | 448 | 2023-07-31 | 2023
221109E272526 | Yes | No | Tier 3 | 521 | 2022-11-09 | 2022
220708E263276 | Yes | No | Tier 3 | 524 | 2022-07-08 | 2022
221109E272597 | Yes | No | Tier 3 | 524 | 2022-11-09 | 2022
220424E258103 | Yes | No | Tier 3 | 448 | 2022-04-24 | 2022
220516E259654 | Yes | No | Tier 3 | 448 | 2022-05-16 | 2022
220523E260102 | Yes | No | Tier 3 | 448 | 2022-05-23 | 2022
220909E268171 | Yes | No | Tier 3 | 448 | 2022-09-09 | 2022
230111E276037 | Yes | No | Tier 3 | 448 | 2023-01-11 | 2023
230517E285213 | Yes | No | Tier 3 | 448 | 2023-05-17 | 2023
230606E286531 | Yes | No | Tier 3 | 448 | 2023-06-06 | 2023
230824E292200 | Yes | No | Tier 3 | 448 | 2023-08-24 | 2023
220623E262378 | Yes | No | Tier 3 | 524 | 2022-06-23 | 2022
220719E264103 | Yes | No | Tier 3 | 524 | 2022-07-19 | 2022
220813E266001 | Yes | No | Tier 3 | 524 | 2022-08-13 | 2022
221016E270760 | Yes | No | Tier 3 | 524 | 2022-10-16 | 2022
230802E290457 | Yes | No | Tier 3 | 524 | 2023-08-02 | 2023
220506E259014 | Yes | No | Tier 3 | 524 | 2022-05-06 | 2022
220526E260347 | Yes | No | Tier 3 | 524 | 2022-05-26 | 2022
230709E288576 | Yes | No | Tier 3 | 524 | 2023-07-09 | 2023
220909E268083 | Yes | No | Tier 3 | 524 | 2022-09-09 | 2022
220621E262184 | No | Yes | Tier 3 | 217 | 2022-06-21 | 2022
220621E262184 | No | Yes | Tier 3 | 217 | 2022-06-22 | 2022
220526E260426 | No | Yes | Tier 3 | 215 | 2022-05-26 | 2022
220621E262250 | No | Yes | Tier 3 | 217 | 2022-06-21 | 2022
230820E291697 | No | Yes | Tier 3 | 215 | 2023-08-20 | 2023
230116E276386 | No | Yes | Tier 3 | 217 | 2023-01-16 | 2023
220621E262184 | No | Yes | Tier 3 | 217 | 2022-06-21 | 2022
230812E291191 | Yes | Yes | Tier 3 | 217 | 2023-08-12 | 2023