## Summary
SDG&E Covered Conductor
($ Capital Expenditures, Fully Loaded with AFUDC)
Current 2024 Submission
Cost Components | SDG&E |  |  | Direct Costs Category | $ Amount
| Cost per Circuit Mile | Cost per Circuit Mile | %
Labor (Internal) | 278000 | 278451.2369 | 18.27% | Labor (Internal) | 278000
Materials | 197000 | 196670.3769 | 12.94% | Materials | 197000
Contractor | 260000 | 260025.2369 | 17.08% | Contractor | 260000
Overhead (division, corporate, etc.) | 350000 | 350094 | 23% | Overhead (division, corporate, etc.) | 350000
Other | 286000 | 285945.9542 | 18.79% | Total Direct Cost per Mile 2023 $ | 1085000
Financing Costs | 151000 | 150830.5485 | 9.921% | Indirects & AFUDC | 437000
Total | 1522000 | 1522017.3535 | 100% | Total Cost per Mile | 1522000
Check Total Cost per Mile |  | 1551881.6138
Variance |  | 29864.2603
O&M Check |  | 29864.2603
Difference (Over/Under) |  | 0
Prior Cost per Mile |  | $
Labor |  | 22000
Total Engineering/Design/PM |  | 440000
Labor as a % of Total Engineering |  | 5%
Labor |  | 0
Total Engineering/Design/PM
Total Overhead (division, corporate, etc.) |  | 0

## Cost Input
Cost per Mile Summary |  |  | Calculations
Engineering/Design |  |  | Category | % | Input
|  |  | Engineering & Design to Internal | 5%
Category | Cost per Mile |  | Engineering & Design to 'Overhead' | 95% | Category | Cost per Mile
Engineering/Design Fully Loaded | 444000 |  |  |  | Labor (Internal) | 278451.2369
E&D AFUDC (11%) | 138165.1055 |  | Internal Construction | 50% | Materials | 196670.3769
|  |  | External Construction | 50% | Contractor | 260025.2369
E&D Directs | 368520 |  |  |  | Overhead (division, corporate, etc.) | 350094
E&D Indirects | 75480 |  |  |  | Other | 285945.9542
Total E&D wo AFUDC | 444000 |  | Internal | $ | Financing Costs | 150830.5485
|  |  | Engineering & Design | 18426 | Cost per Mile $ | 1522017.3535
E&D Indirects % | 17% |  | Construction | 260025.2369 | O&M (Excluded) | 29864.2603
|  | Labor (Internal) | Total Internal | 278451.2369 | Total Cost per Mile $ | 1551881.6138
Construction
|  |  | Contracted | $ | Check Cost per Mile Tab | 1551881.6138
Category | Cost per Mile | Contractor | External Construction | 260025.2369 | Difference (Over/Under) | 0
Total Construction | 969716.5083
Total Directs | 716720.8507 |  | Contracted | $
|  | Materials | Material | 196670.3769
Material | 196670.3769
Construction* | 520050.4738 |  | Overhead (division, corporate, etc.) | $
Total Directs | 716720.8507 | Overhead (division, corporate, etc.) | Engineering & Design | 350094
Indirect Capital | 210465.9542
AFUDC | 12665.4431 |  | Other | $
O&M | 29864.2603 |  | Construction Indirects | 210465.9542
Total Costs | 969716.5083 |  | E&D Indirects | 75480
|  | Other | Total Other | 285945.9542
Check (Over/Under):
Total Costs | 0 |  | Financing Costs | $
Total Directs | 0 |  | Construction AFUDC | 12665.4431
|  |  | E&D AFUDC | 138165.1055
|  | Financing Costs | Total Other | 150830.5485

## Construction Cost per Mile
ESH Covered Conductor
December 2023 Project-to-Date (PTD) |  |  | Total Cost per Mile | 1551881.6138 | 1160720.8507
Construction Cost per Mile Analysis $ |  |  | Construction Cost per Mile | 969716.5083 | 716720.8507
|  |  | Engineering/Design | 444000 | 444000
|  |  | Capital AFUDC (5%) | 138165.1055
Difference (Over/Under)
|  | Total $ | 148.2682 | 969716.5083 | 716720.8507 | 196670.3769 | 520050.4738 | 210465.9542 | 12665.4431 | 29864.2603 | 143778103.57 | 106266897.41 | 29159959.2 | 77106938.21 | 31205404.37 | 1877882.22 | 4427919.57 | 143778103.57 | -5.0001e-11
|  | % of Total |  |  |  | 27.44% | 72.56% | 29.37% | 1.366% | 3.221% |  |  | 27.44% | 72.56% | 29.37% | 1.366% | 3.221%
|  |  |  | Cost Per Mile $ | [7 empty] | Total Costs $ (TM1)
Project ID | Work Order Number | ISD | Miles | Total Costs | Total Directs | Material | Construction* | Indirect Capital | AFUDC | O&M | Total Costs | Total Directs | Material | Construction* | Indirect Capital | AFUDC | O&M | Check TM1: | Over/(Under)
0972-F-CC | 530000203276 | 2020-10-31 | 1.6871 | 563121.6674 | 388053.3807 | 130017.9432 | 258035.4374 | 141351.6577 | 33716.629 | 0 | 950054.51 | 654693.09 | 219356.03 | 435337.06 | 238477.38 | 56884.04 | 0 | 950054.51 | 0
0157-P-CC-FT | 530000220772 | 2021-04-24 | 0.14886 | 1626886.2962 | 1418745.8076 | 127412.7145 | 1291333.0931 | 187829.2153 | 20311.2733 | 0 | 242184.21 | 211199.66 | 18967.12 | 192232.54 | 27960.94 | 3023.61 | 0 | 242184.21 | 0
0157-O-CC-FT | 530000220623 | 2021-04-24 | 0.049621 | 826552.1588 | 712254.0641 | 119848.1405 | 592405.9237 | 103674.4122 | 10623.6824 | 0 | 41014.52 | 35342.91 | 5947.01 | 29395.9 | 5144.45 | 527.16 | 0 | 41014.52 | 0
0157-S-CC-PH-02-FT | 530000220762 | 2021-04-24 | 0.099242 | 592808.574 | 521077.3557 | 66515.8076 | 454561.5481 | 63635.2855 | 8095.9328 | 0 | 58831.76 | 51712.98 | 6601.19 | 45111.79 | 6315.32 | 803.46 | 0 | 58831.76 | 0
0445-S-CC-FT | 530000227463 | 2021-05-12 | 0.099242 | 280387.8504 | 217505.2672 | 78064.2962 | 139440.971 | 62790.284 | 92.2992 | 0 | 27826.37 | 21585.75 | 7747.29 | 13838.46 | 6231.46 | 9.16 | 0 | 27826.37 | 0
448II | 530000225290 | 2021-05-27 | 0.54583 | 466800.7511 | 329892.3664 | 50838.3939 | 279053.9725 | 131263.3282 | 5645.0565 | 0 | 254795.41 | 180066.25 | 27749.29 | 152316.96 | 71647.9 | 3081.26 | 0 | 254795.41 | 0
0078-H-CC-FT | 530000224684 | 2021-06-01 | 0.049621 | 550889.2031 | 392747.9634 | 102137.3679 | 290610.5954 | 154406.1435 | 3735.0962 | 0 | 27335.79 | 19488.63 | 5068.18 | 14420.45 | 7661.82 | 185.34 | 0 | 27335.79 | 0
0445-T-CC-FT | 530000227922 | 2021-06-01 | 0.099242 | 247986.687 | 177946.9832 | 45253.429 | 132693.5542 | 69590.4 | 449.3038 | 0 | 24610.8 | 17659.89 | 4491.06 | 13168.83 | 6906.32 | 44.59 | 0 | 24610.8 | 0
448DD | 530000231176 | 2021-07-14 | 0.44659 | 502118.573 | 361217.2723 | 123214.3084 | 238002.9639 | 132133.2539 | 8768.0468 | 0 | 224241.59 | 161316.35 | 55026.39 | 106289.96 | 59009.51 | 3915.73 | 0 | 224241.59 | 0
448LL | 530000230330 | 2021-07-19 | 0.39697 | 506030.6656 | 365835.2794 | 115678.855 | 250156.4244 | 138891.5336 | 1303.8527 | 0 | 200878.84 | 145225.52 | 45921 | 99304.52 | 55135.73 | 517.59 | 0 | 200878.84 | 0
0222-CC-CC | 530000221987 | 2021-07-21 | 0.84356 | 493312.1426 | 357931.3541 | 144411.177 | 213520.1771 | 130267.7475 | 5113.041 | 0 | 416138.69 | 301936.79 | 121819.58 | 180117.21 | 109888.74 | 4313.16 | 0 | 416138.69 | 0
448RRR | 530000232231 | 2021-07-24 | 0.59545 | 649388.4595 | 477725.8855 | 185705.0565 | 292020.829 | 171458.142 | 204.4321 | 0 | 386681.31 | 284464.05 | 110578.92 | 173885.13 | 102095.53 | 121.73 | 0 | 386681.31 | 0
0448-E2-CC-FT | 530000232588 | 2021-07-26 | 0.049621 | 299885.8626 | 276288.2931 | 51296.6107 | 224991.6824 | 23133.8565 | 463.713 | 0 | 14880.7 | 13709.76 | 2545.4 | 11164.36 | 1147.93 | 23.01 | 0 | 14880.7 | 0
448HH | 530000233909 | 2021-07-29 | 0.44659 | 540367.6275 | 399393.9786 | 128118.8865 | 271275.0921 | 138502.5954 | 2471.0534 | 0 | 241323.27 | 178365.72 | 57216.73 | 121148.99 | 61854 | 1103.55 | 0 | 241323.27 | 0
448GG | 530000234588 | 2021-08-02 | 0.29773 | 335011.029 | 250564.2473 | 135607.9664 | 114956.2809 | 80072.2076 | 4374.574 | 0 | 99741.92 | 74599.81 | 40374.19 | 34225.62 | 23839.68 | 1302.43 | 0 | 99741.92 | 0
0212-GG-CC | 530000228618 | 2021-08-07 | 0.84356 | 802155.1921 | 742808.49 | 70072.7246 | 672735.7654 | 48398.7158 | 10947.9863 | 0 | 676666.52 | 626603.98 | 59110.59 | 567493.39 | 40827.25 | 9235.29 | 0 | 676666.52 | 0
448MM | 530000235390 | 2021-08-17 | 0.89318 | 460116.173 | 360406.4071 | 163694.9018 | 196711.5053 | 98156.7674 | 1552.9985 | 0 | 410967.4 | 321908.45 | 146209.31 | 175699.14 | 87671.84 | 1387.11 | 0 | 410967.4 | 0
448QQQ | 530000232107 | 2021-08-20 | 0.44659 | 325037.427 | 247058.343 | 139260.6718 | 107797.6712 | 76974.2718 | 1004.8122 | 0 | 145158.76 | 110334.01 | 62192.55 | 48141.46 | 34376.01 | 448.74 | 0 | 145158.76 | 0
448G | 530000237145 | 2021-08-28 | 0.54583 | 517543.5664 | 376890.9618 | 103953.7099 | 272937.2519 | 134575.3649 | 6077.2397 | 0 | 282492.53 | 205719.65 | 56741.4 | 148978.25 | 73455.72 | 3317.16 | 0 | 282492.53 | 0
0448-K2-CC-FT | 530000232506 | 2021-08-21 | 0.049621 | 629403.2061 | 546062.6382 | 73582.4427 | 472480.1954 | 79576.0489 | 3764.5191 | 0 | 31231.75 | 27096.29 | 3651.25 | 23445.04 | 3948.66 | 186.8 | 0 | 31231.75 | 0
0445-L-CC-FT | 530000231921 | 2021-07-31 | 0.14886 | 462854.8763 | 415452.5679 | 59126.4611 | 356326.1069 | 44257.4168 | 3144.8916 | 0 | 68902.26 | 61845.78 | 8801.78 | 53044 | 6588.32 | 468.16 | 0 | 68902.26 | 0
448FF | 530000240907 | 2021-09-15 | 0.49621 | 677910.4653 | 496861.4418 | 145518.513 | 351342.9289 | 178510.9557 | 2538.0678 | 0 | 336387.39 | 246548.67 | 72208.05 | 174340.62 | 88579.3 | 1259.42 | 0 | 336387.39 | 0
448BB | 530000240773 | 2021-09-18 | 0.34735 | 371255.3117 | 289499.9529 | 114434.8737 | 175065.0792 | 80051.1625 | 1704.1963 | 0 | 128954.97 | 100557.37 | 39748.78 | 60808.59 | 27805.65 | 591.95 | 0 | 128954.97 | 0
448F | 530000243941 | 2021-09-30 | 0.49621 | 454244.3652 | 345616.0031 | 169603.7368 | 176012.2663 | 106649.3899 | 1978.9722 | 0 | 225401.56 | 171498.85 | 84159.43 | 87339.42 | 52920.72 | 981.99 | 0 | 225401.56 | 0
448KK | 530000244566 | 2021-10-04 | 0.39697 | 412719.7901 | 286249.784 | 46322.5534 | 239927.2305 | 126142.5 | 327.5061 | 0 | 163837.25 | 113632.49 | 18388.65 | 95243.84 | 50074.75 | 130.01 | 0 | 163837.25 | 0
448RR | 530000236064 | 2021-10-08 | 0.49621 | 511835.6024 | 384507.8785 | 188793.2721 | 195714.6064 | 118511.313 | 8816.411 | 0 | 253979.03 | 190797.47 | 93681.51 | 97115.96 | 58806.75 | 4374.81 | 0 | 253979.03 | 0
0445-T-CC-FT-02 | 530000235974 | 2021-10-02 | 0.099242 | 216332.3817 | 195080.5832 | 42475.6855 | 152604.8977 | 20064.9069 | 1186.8916 | 0 | 21469.35 | 19360.27 | 4215.39 | 15144.88 | 1991.29 | 117.79 | 0 | 21469.35 | 0
0157-DD-CC | 530000226655 | 2021-10-02 | 1.6375 | 1662055.5359 | 1488897.5878 | 183404.171 | 1305493.4168 | 141911.1878 | 31246.7603 | 0 | 2721615.94 | 2438069.8 | 300324.33 | 2137745.47 | 232379.57 | 51166.57 | 0 | 2721615.94 | 0
448JJ | 530000237818 | 2021-12-15 | 0.54583 | 347515.658 | 243935.542 | 71255.8534 | 172679.6885 | 100605.8931 | 2974.2229 | 0 | 189685.63 | 133148.15 | 38893.82 | 94254.33 | 54914.05 | 1623.43 | 0 | 189685.63 | 0
0448-E4-CC | 530000244185 | 2021-12-17 | 1.3894 | 521867.9594 | 360293.2083 | 102364.5029 | 257928.7053 | 153276.6294 | 7611.3834 | 686.7383 | 725080.18 | 500589.2 | 142224.62 | 358364.58 | 212961.62 | 10575.21 | 954.15 | 725080.18 | 0
0445-D-CC-FT | 530000236435 | 2021-12-21 | 0.54583 | 665381.2763 | 589393.1908 | 148173.6 | 441219.5908 | 72413.7344 | 3574.3511 | 0 | 363187.28 | 321710.45 | 80878.09 | 240832.36 | 39525.83 | 1951 | 0 | 363187.28 | 0
0448-E2-CC | 530000244776 | 2021-12-31 | 1.9352 | 595550.9651 | 402231.8469 | 83964.8615 | 318266.9853 | 183652.0625 | 9667.0558 | 0 | 1152526.47 | 778410.04 | 162491.09 | 615918.95 | 355408.48 | 18707.95 | 0 | 1152526.47 | 0
0445-T-CC-FT-04 | 530000247227 | 2022-01-20 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 13200.05 | 11467.79 | 2237.88 | 9229.91 | 1704.73 | 27.53 | 0 | 13200.05 | 0
1090-A-CC | 530000243881 | 2021-12-16 | 1.3398 | 2575263.2889 | 1799963.8975 | 309935.2835 | 1490028.6141 | 730384.9079 | 44914.4835 | 0 | 3450267.52 | 2411542.54 | 415242.84 | 1996299.7 | 978549.78 | 60175.2 | 0 | 3450267.52 | 0
1090-A-CC | 530000243881 | 2021-12-16 | 1.3398 | 2575263.2889 | 1799963.8975 | 309935.2835 | 1490028.6141 | 730384.9079 | 44914.4835 | 0 | 3450267.52 | 2411542.54 | 415242.84 | 1996299.7 | 978549.78 | 60175.2 | 0 | 3450267.52 | 0
0445-B-CC-FT | 530000248957 | 2022-01-29 | 0.099242 | 1163143.6947 | 1049666.8214 | 177933.6824 | 871733.1389 | 107921.487 | 5555.3863 | 0 | 115433.2 | 104171.48 | 17658.57 | 86512.91 | 10710.39 | 551.33 | 0 | 115433.2 | 0
0176-K-CC-FT-02 | 530000250095 | 2022-02-06 | 0.099242 | 713210.913 | 659907.9023 | 120708.1557 | 539199.7466 | 52629.0046 | 674.0061 | 0 | 70780.78 | 65490.86 | 11979.37 | 53511.49 | 5223.03 | 66.89 | 0 | 70780.78 | 0
0445-S-CC-FT-02 | 530000260705 | 2022-02-16 | 0.049621 | 462157.9969 | 300453.3618 | 68005.5939 | 232447.7679 | 161445.0687 | 259.5664 | 0 | 22932.84 | 14908.86 | 3374.52 | 11534.34 | 8011.1 | 12.88 | 0 | 22932.84 | 0
0448-F2-CC | 530000250164 | 2022-02-26 | 1.4886 | 481351.2403 | 316344.7982 | 142799.1249 | 173545.6733 | 162563.6898 | 2442.7524 | 0 | 716556.96 | 470922.37 | 212575.97 | 258346.4 | 241998.22 | 3636.37 | 0 | 716556.96 | 0
0448-XX-CC | 530000260080 | 2022-03-09 | 0.54583 | 593958.4489 | 416657.1847 | 142308.6595 | 274348.5252 | 170435.3405 | 4681.2275 | 2184.6962 | 324202.32 | 227425.38 | 77676.81 | 149748.57 | 93029.29 | 2555.17 | 1192.48 | 324202.32 | 0
0448-H-CC-FT | 530000251820 | 2022-03-12 | 0.049621 | 1425425.8809 | 852166.8092 | 141579.5725 | 710587.2366 | 558737.0565 | 14522.0153 | 0 | 70731.36 | 42285.55 | 7025.35 | 35260.2 | 27725.21 | 720.6 | 0 | 70731.36 | 0
0176-T-CC | 530000264121 | 2022-04-22 | 0.79394 | 1516684.5469 | 902017.4908 | 171333.7706 | 730683.7202 | 604733.1115 | 9933.9447 | 0 | 1204155.61 | 716147.22 | 136028.63 | 580118.59 | 480121.44 | 7886.95 | 0 | 1204155.61 | 0
0157-S-CC | 530000240286 | 2021-12-25 | 1.836 | 873664.7807 | 807183.1972 | 164534.4025 | 642648.7947 | 57763.3743 | 8718.2092 | 0 | 1604035.3 | 1481976.12 | 302082.67 | 1179893.45 | 106052.68 | 16006.5 | 0 | 1604035.3 | 0
0157-S-CC | 530000240286 | 2021-12-25 | 1.836 | 873664.7807 | 807183.1972 | 164534.4025 | 642648.7947 | 57763.3743 | 8718.2092 | 0 | 1604035.3 | 1481976.12 | 302082.67 | 1179893.45 | 106052.68 | 16006.5 | 0 | 1604035.3 | 0
0157-P-CC | 530000244184 | 2021-12-25 | 0.89318 | 5448491.372 | 4414974.3532 | 966244.7807 | 3448729.5725 | 1001089.6794 | 32427.3394 | 0 | 4866493.43 | 3943374.82 | 863032.27 | 3080342.55 | 894155.1 | 28963.51 | 0 | 4866493.43 | 0
0157-P-CC | 530000244184 | 2021-12-25 | 0.89318 | 5448491.372 | 4414974.3532 | 966244.7807 | 3448729.5725 | 1001089.6794 | 32427.3394 | 0 | 4866493.43 | 3943374.82 | 863032.27 | 3080342.55 | 894155.1 | 28963.51 | 0 | 4866493.43 | 0
0157-O-CC | 530000241994 | 2022-05-25 | 1.836 | 2154191.9495 | 1616536.2434 | 196269.1796 | 1420267.0638 | 526487.896 | 11167.81 | 0 | 3955063.78 | 2967936.05 | 360347.24 | 2607588.81 | 966623.8 | 20503.93 | 0 | 3955063.78 | 0
0448-L3-CC | 530000272589 | 2022-06-01 | 0.79394 | 518874.6435 | 333095.0473 | 64495.729 | 268599.3183 | 167993.1882 | 218.7447 | 17567.6634 | 411955.02 | 264457.28 | 51205.7 | 213251.58 | 133376.41 | 173.67 | 13947.66 | 411955.02 | 0
0448-N-CC | 530000263410 | 2022-06-08 | 1.5879 | 879301.8149 | 551027.5323 | 164294.9714 | 386732.5609 | 316372.9775 | 10850.9164 | 1050.3887 | 1396224.7 | 874964.93 | 260880.5 | 614084.43 | 502361.94 | 17229.94 | 1667.89 | 1396224.7 | 0
0448-J3-CC | 530000269594 | 2022-05-28 | 0.6947 | 1035113.7998 | 663281.0709 | 217122.8414 | 446158.2294 | 351821.7304 | 11419.4971 | 8591.5014 | 719090.42 | 460779.35 | 150834.58 | 309944.77 | 244409.49 | 7933.09 | 5968.49 | 719090.42 | 0
448CC CC | 530000270046 | 2022-05-28 | 1.5383 | 1151625.1556 | 886890.4802 | 188122.272 | 698768.2082 | 263643.8893 | 1069.5608 | 21.2253 | 1771496.12 | 1364266 | 289380.51 | 1074885.49 | 405552.21 | 1645.26 | 32.65 | 1771496.12 | 0
0445-S-CC-FT-03 | 530000277889 | 2022-06-27 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 7224.11 | 0 | 0 | 0 | 0 | 0 | 7224.11 | 7224.11 | 0
0448-E3-CC | 530000277308 | 2022-07-16 | 1.042 | 239524.4554 | 140970.9522 | 6488.1143 | 134482.8379 | 69860.3882 | 2295.0822 | 26398.0327 | 249595.37 | 146898.14 | 6760.91 | 140137.23 | 72797.7 | 2391.58 | 27507.95 | 249595.37 | 0
448CCC CC | 530000274932 | 2022-07-21 | 0.74432 | 525844.5911 | 323836.3053 | 198237.9762 | 125598.3292 | 166852.9038 | 2593.1518 | 32562.2302 | 391395.69 | 241037.25 | 147552.13 | 93485.12 | 124191.65 | 1930.13 | 24236.66 | 391395.69 | 0
0157-S-CC-PH-02 | 530000262356 | 2022-07-22 | 2.878 | 494216.4884 | 332608.673 | 135921.9462 | 196686.7268 | 148940.7285 | 8306.146 | 4360.9409 | 1422370.03 | 957257.84 | 391187.48 | 566070.36 | 428655.93 | 23905.34 | 12550.92 | 1422370.03 | 0
448CCC2 CC | 530000278955 | 2022-07-23 | 0.14886 | 290294.5344 | 165734.0947 | 0 | 165734.0947 | 124560.4397 | 0 | 0 | 43214.3 | 24671.78 | 0 | 24671.78 | 18542.52 | 0 | 0 | 43214.3 | 0
0176-R-CC | 530000273382 | 2022-08-12 | 1.9848 | 1056011.9153 | 615502.9209 | 180385.5069 | 435117.414 | 376174.8092 | 8849.7032 | 55484.482 | 2096023.65 | 1221680.04 | 358037.9 | 863642.14 | 746650 | 17565.32 | 110128.29 | 2096023.65 | 0
0445-T-CC-FT-05 | 530000283418 | 2022-08-20 | 0.049621 | 331196.0611 | 207028.5985 | 0 | 207028.5985 | 123336.5679 | 247.2733 | 583.6214 | 16434.35 | 10273.01 | 0 | 10273.01 | 6120.11 | 12.27 | 28.96 | 16434.35 | 0
0212-B-CC | 530000284232 | 2022-08-26 | 0.049621 | 856710.229 | 310295.7252 | 176470.4977 | 133825.2275 | 72673.9603 | 822.0275 | 472918.516 | 42511 | 15397.25 | 8756.68 | 6640.57 | 3606.17 | 40.79 | 23466.79 | 42511 | 0
0078-H-CC | 530000245089 | 2022-08-27 | 1.5383 | 1156850.4898 | 877777.6955 | 184563.5181 | 693214.1774 | 265553.68 | 13519.1143 | 0 | 1779534.03 | 1350248.19 | 283906.23 | 1066341.96 | 408489.96 | 20795.88 | 0 | 1779534.03 | 0
0212-R-CC | 530000274303 | 2022-09-24 | 2.8284 | 775610.2351 | 568531.3469 | 137351.0223 | 431180.3246 | 183424.5554 | 4661.0372 | 18993.2956 | 2193743.04 | 1608039.23 | 388484.88 | 1219554.35 | 518799.68 | 13183.32 | 53720.81 | 2193743.04 | 0
0176-Q-CC | 530000269397 | 2022-09-28 | 1.6375 | 1059483.4382 | 649696.8672 | 181806.5588 | 467890.3084 | 353226.0336 | 26192.5008 | 30368.0366 | 1734904.13 | 1063878.62 | 297708.24 | 766170.38 | 578407.63 | 42890.22 | 49727.66 | 1734904.13 | 0
0448-L2-CC | 530000277408 | 2022-09-30 | 1.7864 | 1561445.1858 | 1118173.9369 | 266877.8239 | 851296.113 | 399256.1455 | 4502.829 | 39512.2743 | 2789308.9 | 1997465.26 | 476740.84 | 1520724.42 | 713216.66 | 8043.69 | 70583.29 | 2789308.9 | 0
0445-H-CC | 530000273422 | 2022-10-13 | 0.84356 | 805286.1823 | 539826.7021 | 211259.889 | 328566.8131 | 216024.3125 | 6826.0893 | 42609.0784 | 679307.7 | 455376.54 | 178210.52 | 277166.02 | 182229.6 | 5758.22 | 35943.34 | 679307.7 | 0
0448-C2-CC | 530000282104 | 2022-10-01 | 0.79394 | 1071511.0706 | 629600.6645 | 116975.0496 | 512625.6149 | 312613.4084 | 7183.7347 | 122113.263 | 850714.85 | 499864.77 | 92871.1 | 406993.67 | 248196.1 | 5703.45 | 96950.53 | 850714.85 | 0
0448-J2-CC | 530000275285 | 2022-10-01 | 0.64508 | 2034476.5938 | 1305451.4452 | 332182.1468 | 973269.2984 | 614362.8176 | 18470.1407 | 96192.1903 | 1312391.53 | 842115.08 | 214282.65 | 627832.43 | 396310.56 | 11914.64 | 62051.25 | 1312391.53 | 0
0448-M-CC | 530000282092 | 2022-10-22 | 1.7864 | 1201167.543 | 827188.5298 | 166313.2265 | 660875.3033 | 274946.0132 | 2825.455 | 96207.545 | 2145722.02 | 1477659.51 | 297095.9 | 1180563.61 | 491153.56 | 5047.29 | 171861.66 | 2145722.02 | 0
0212-A-CC | 530000292451 | 2022-11-18 | 0.34735 | 519002.2351 | 374968.9309 | 177293.504 | 197675.4268 | 127474.7176 | 1004.4379 | 15554.1487 | 180274.64 | 130244.89 | 61582.63 | 68662.26 | 44278.15 | 348.89 | 5402.71 | 180274.64 | 0
0176-S-CC | 530000281986 | 2022-10-29 | 2.4314 | 1145830.6947 | 743251.7358 | 190923.5621 | 552328.1737 | 341883.319 | 13677.6594 | 47017.9805 | 2786017.89 | 1807171.55 | 464219.07 | 1342952.48 | 831268.57 | 33256.4 | 114321.37 | 2786017.89 | 0
0448-C-CC | 530000287526 | 2022-11-30 | 0.6947 | 842747.8246 | 505369.183 | 265918.7647 | 239450.4183 | 317855.3234 | 8287.2537 | 11236.0646 | 585454.36 | 351078.44 | 184732.96 | 166345.48 | 220813.13 | 5757.13 | 7805.66 | 585454.36 | 0
0157-C-CC | 530000276274 | 2022-10-29 | 3.0765 | 1452782.7233 | 1005415.1524 | 215946.3475 | 789468.8049 | 342909.0214 | 19273.9665 | 85184.5829 | 4469508.06 | 3093174.95 | 664362.21 | 2428812.74 | 1054964.8 | 59296.65 | 262071.66 | 4469508.06 | 0
0157-EE-CC | 530000278342 | 2022-12-03 | 2.6795 | 731951.6811 | 505754.8241 | 213889.2509 | 291865.5732 | 205338.8902 | 5784.0668 | 15073.8999 | 1961297.8 | 1355193.04 | 573125.97 | 782067.07 | 550214.89 | 15498.67 | 40391.2 | 1961297.8 | 0
0448-L-CC | 530000288499 | 2022-11-19 | 1.9848 | 1007886.3829 | 694844.0098 | 193052.2118 | 501791.798 | 173427.9834 | 8225.2072 | 131389.1826 | 2000501.76 | 1379160.08 | 383179.39 | 995980.69 | 344228.27 | 16325.79 | 260787.62 | 2000501.76 | 0
0237-T-CC-FT | 530000228047 | 2022-12-13 | 0.84356 | 1207699.2604 | 847813.1564 | 106327.4048 | 741485.7516 | 354651.732 | 5234.372 | 0 | 1018767.52 | 715181.78 | 89693.61 | 625488.17 | 299170.23 | 4415.51 | 0 | 1018767.52 | 0
0448-P2-CC | 530000293786 | 2022-12-17 | 1.7864 | 618968.315 | 473053.5557 | 205738.8275 | 267314.7282 | 143710.0234 | 1223.3455 | 981.3903 | 1105702.49 | 845045.67 | 367524.36 | 477521.31 | 256718.36 | 2185.34 | 1753.12 | 1105702.49 | 0
448AA CC | 530000270406 | 2022-12-17 | 0.34735 | 541502.8083 | 394034.2508 | 153523.4277 | 240510.8231 | 144327.4181 | 3141.1394 | 0 | 188090.18 | 136867.2 | 53326.13 | 83541.07 | 50131.91 | 1091.07 | 0 | 188090.18 | 0
0448-H2-CC | 530000282828 | 2022-12-03 | 2.0841 | 585898.8371 | 432056.9636 | 203554.6089 | 228502.3546 | 133485.487 | 5923.8347 | 14432.5518 | 1221066.44 | 900445.99 | 424226.31 | 476219.68 | 278195.89 | 12345.81 | 30078.75 | 1221066.44 | 0
0448-M2-CC | 530000282079 | 2022-12-17 | 1.6871 | 1056084.7598 | 795045.3532 | 200608.7396 | 594436.6136 | 157528.0472 | 4835.1594 | 98676.1999 | 1781743 | 1341337.88 | 338451.26 | 1002886.62 | 265768.91 | 8157.5 | 166478.71 | 1781743 | 0
0445-T-CC-FT-06 | 530000297226 | 2023-01-12 | 0.049621 | 198686.1985 | 170988.1649 | 84420.9527 | 86567.2122 | 27196.4336 | 0 | 501.6 | 9859.05 | 8484.64 | 4189.07 | 4295.57 | 1349.52 | 0 | 24.89 | 9859.05 | 0
0445-L-CC | 530000245632 | 2021-12-18 | 1.1413 | 1282793.27 | 1173604.9553 | 237892.1787 | 935712.7766 | 101120.7796 | 8067.5351 | 0 | 1464036.41 | 1339421.11 | 271503.46 | 1067917.65 | 115407.92 | 9207.38 | 0 | 1464036.41 | 0
0445-L-CC | 530000245632 | 2021-12-18 | 1.1413 | 1282793.27 | 1173604.9553 | 237892.1787 | 935712.7766 | 101120.7796 | 8067.5351 | 0 | 1464036.41 | 1339421.11 | 271503.46 | 1067917.65 | 115407.92 | 9207.38 | 0 | 1464036.41 | 0
0157-N-PH-02-CC | 530000275850 | 2022-12-17 | 2.2826 | 1468071.0241 | 1049545.3928 | 204535.8356 | 845009.5571 | 312173.2576 | 9998.7831 | 96353.5906 | 3350983.33 | 2395666.87 | 466868.54 | 1928798.33 | 712559.11 | 22822.98 | 219934.37 | 3350983.33 | 0
0448-I-CC | 530000290866 | 2023-02-06 | 2.5307 | 733766.8911 | 620267.5653 | 149333.5026 | 470934.0627 | 77787.2661 | 11150.1809 | 24561.8788 | 1856930.53 | 1569699.85 | 377915.58 | 1191784.27 | 196854.82 | 28217.56 | 62158.3 | 1856930.53 | 0
0448-K2-CC | 530000287252 | 2022-12-17 | 1.042 | 2280255.0212 | 1792671.3963 | 430884.294 | 1361787.1023 | 335169.026 | 38751.3998 | 113663.1991 | 2376129.38 | 1868045.08 | 449001.02 | 1419044.06 | 349261.36 | 40380.72 | 118442.22 | 2376129.38 | 0
0448-K2-CC | 530000287252 | 2022-12-17 | 1.042 | 2280255.0212 | 1792671.3963 | 430884.294 | 1361787.1023 | 335169.026 | 38751.3998 | 113663.1991 | 2376129.38 | 1868045.08 | 449001.02 | 1419044.06 | 349261.36 | 40380.72 | 118442.22 | 2376129.38 | 0
0448-B-CC | 530000298546 | 2023-04-12 | 2.5307 | 451544.2802 | 318604.1264 | 87364.6574 | 231239.4691 | 96138.5261 | 5193.4581 | 31608.1696 | 1142714.9 | 806285.67 | 221092.15 | 585193.52 | 243296.02 | 13142.99 | 79990.22 | 1142714.9 | 0
0445-I-CC | 530000292750 | 2023-04-15 | 1.4886 | 381494.5234 | 305718.3212 | 147968.7487 | 157749.5725 | 63684.3908 | 488.9173 | 11602.894 | 567906.62 | 455103.41 | 220271.66 | 234831.75 | 94802.9 | 727.82 | 17272.49 | 567906.62 | 0
0448-B2-CC | 530000301775 | 2023-05-05 | 1.9848 | 523223.1618 | 401972.8287 | 138474.2776 | 263498.5511 | 106768.3864 | 3891.6169 | 10590.3298 | 1038518.7 | 797855.16 | 274850.46 | 523004.7 | 211919.07 | 7724.27 | 21020.2 | 1038518.7 | 0
0157-A-CC | 530000283848 | 2022-12-17 | 1.2902 | 4452231.86 | 3380439.6994 | 559873.7989 | 2820565.9004 | 796691.3715 | 121683.8628 | 153416.9264 | 5744053.68 | 4361279.4 | 722322.03 | 3638957.37 | 1027852.58 | 156990.62 | 197931.08 | 5744053.68 | 0
0157-A-CC | 530000283848 | 2022-12-17 | 1.2902 | 4452231.86 | 3380439.6994 | 559873.7989 | 2820565.9004 | 796691.3715 | 121683.8628 | 153416.9264 | 5744053.68 | 4361279.4 | 722322.03 | 3638957.37 | 1027852.58 | 156990.62 | 197931.08 | 5744053.68 | 0
0448-G2-CC | 530000295416 | 2023-05-13 | 2.0345 | 537837.7332 | 424733.2714 | 178667.0013 | 246066.2701 | 96435.774 | 4601.5136 | 12067.1741 | 1094214.57 | 864106.97 | 363492.6 | 500614.37 | 196195.66 | 9361.64 | 24550.3 | 1094214.57 | 0
0212-O-CC | 530000289899 | 2022-12-03 | 4.0689 | 820146.664 | 657016.8393 | 164654.9936 | 492361.8457 | 120303.7014 | 4833.7781 | 37992.3452 | 3337127.07 | 2673361.7 | 669971.19 | 2003390.51 | 489508.47 | 19668.35 | 154588.55 | 3337127.07 | 0
0176-K-CC | 530000289487 | 2023-06-03 | 2.6795 | 1437954.3491 | 1152090.4879 | 257855.9318 | 894234.5561 | 227515.827 | 8250.2351 | 50097.7992 | 3853064.04 | 3087078.83 | 690936.69 | 2396142.14 | 609639 | 22106.88 | 134239.33 | 3853064.04 | 0
0448-O2-CC | 530000285514 | 2022-12-24 | 0.89318 | 923293.5257 | 701405.4219 | 272805.0382 | 428600.3837 | 211451.4718 | 9081.4656 | 1355.1664 | 824668.99 | 626482.57 | 243664.5 | 382818.07 | 188864.61 | 8111.4 | 1210.41 | 824668.99 | 0
0448-O2-CC | 530000285514 | 2022-12-24 | 0.89318 | 923293.5257 | 701405.4219 | 272805.0382 | 428600.3837 | 211451.4718 | 9081.4656 | 1355.1664 | 824668.99 | 626482.57 | 243664.5 | 382818.07 | 188864.61 | 8111.4 | 1210.41 | 824668.99 | 0
0448-O-CC | 530000306360 | 2023-07-10 | 2.2826 | 731210.2104 | 559008.8109 | 197498.6278 | 361510.1831 | 152818.5949 | 5206.6837 | 14176.1209 | 1669042.7 | 1275979.96 | 450805.58 | 825174.38 | 348820.02 | 11884.65 | 32358.07 | 1669042.7 | 0
0448-E-CC | 530000294472 | 2023-08-03 | 2.6795 | 492030.9554 | 376786.0807 | 206572.8346 | 170213.2461 | 98902.7484 | 5829.8582 | 10512.268 | 1318419.31 | 1009615.43 | 553521.3 | 456094.13 | 265014.41 | 15621.37 | 28168.1 | 1318419.31 | 0
0448-F3-CC | 530000288479 | 2023-08-15 | 1.439 | 448822.6822 | 372741.5583 | 140997.1117 | 231744.4466 | 60562.2949 | 849.7478 | 14669.0811 | 645862.64 | 536380.75 | 202896.98 | 333483.77 | 87150.06 | 1222.8 | 21109.03 | 645862.64 | 0
0157-A2-CC | 530000315338 | 2023-08-18 | 0.34735 | 871180.2216 | 637727.152 | 320825.8992 | 316901.2528 | 176337.778 | 4592.1317 | 52523.1599 | 302603.13 | 221513.56 | 111438.39 | 110075.17 | 61250.66 | 1595.07 | 18243.84 | 302603.13 | 0
0448-N2-CC | 530000293715 | 2023-09-06 | 1.7864 | 533226.5506 | 392158.912 | 158867.5308 | 233291.3812 | 111284.9567 | 13969.7761 | 15812.9059 | 952536.52 | 700538.42 | 283795.18 | 416743.24 | 198795.4 | 24955.1 | 28247.6 | 952536.52 | 0
0157-Z-CC | 530000273881 | 2023-09-21 | 1.6871 | 904325.7882 | 655243.602 | 260447.2796 | 394796.3224 | 176655.8134 | 14013.9546 | 58412.4183 | 1525707.22 | 1105475.38 | 439406.13 | 666069.25 | 298039.77 | 23643.24 | 98548.83 | 1525707.22 | 0
0448-A3-CC | 530000297624 | 2023-09-22 | 2.0345 | 657622.7515 | 467157.1179 | 183457.7141 | 283699.4038 | 140549.2451 | 3814.0455 | 46102.3431 | 1337913.56 | 950417 | 373239.16 | 577177.84 | 285943.18 | 7759.56 | 93793.82 | 1337913.56 | 0
0448-J-CC | 530000286867 | 2022-12-14 | 2.6299 | 972400.0444 | 625128.0411 | 182125.0484 | 443002.9927 | 268477.1708 | 51277.6672 | 27517.1653 | 2557338.45 | 1644039.39 | 478975.08 | 1165064.31 | 706074.62 | 134856.38 | 72368.06 | 2557338.45 | 0
0448-J-CC | 530000286867 | 2022-12-14 | 2.6299 | 972400.0444 | 625128.0411 | 182125.0484 | 443002.9927 | 268477.1708 | 51277.6672 | 27517.1653 | 2557338.45 | 1644039.39 | 478975.08 | 1165064.31 | 706074.62 | 134856.38 | 72368.06 | 2557338.45 | 0
0212-N-CC | 530000286063 | 2023-10-02 | 4.8133 | 5.8761e-11 | -102793.5618 | 5.0627e-12 | -102793.5618 | 102793.5618 | 1.5072e-12 | 2.0974e-11 | 2.8283e-10 | -494771.89 | 2.4368e-11 | -494771.89 | 494771.89 | 7.2546e-12 | 1.0095e-10 | 2.3283e-10 | -5.0001e-11
0448-D-CC | 530000314516 | 2023-10-17 | 3.2254 | 492574.1919 | 371139.5928 | 211853.1233 | 159286.4695 | 102512.4123 | 2692.552 | 16229.6349 | 1588738.35 | 1197065.77 | 683306.57 | 513759.2 | 330641.36 | 8684.5 | 52346.72 | 1588738.35 | 0
0448-G-CC | 530000311282 | 2023-10-17 | 1.836 | 821244.4679 | 632151.9325 | 392445.0633 | 239706.8692 | 153983.4984 | 8910.6291 | 26198.4079 | 1507792.4 | 1160621.37 | 720523.19 | 440098.18 | 282711.37 | 16359.78 | 48099.88 | 1507792.4 | 0
0445-E-CC | 530000325087 | 2023-10-17 | 0.49621 | 582340.9942 | 309912.8849 | 67541.2763 | 242371.6085 | 59546.389 | 5522.3359 | 207359.3844 | 288964.66 | 153782.53 | 33514.8 | 120267.73 | 29547.64 | 2740.25 | 102894.24 | 288964.66 | 0
0212-N2-CC | 530000332704 | 2023-11-02 | 0.19848 | 393714.3344 | 255741.1328 | 59092.6214 | 196648.5115 | 121690.0947 | 443.7618 | 15839.345 | 78146.33 | 50760.74 | 11728.99 | 39031.75 | 24153.64 | 88.08 | 3143.87 | 78146.33 | 0
0972-S-CC | 530000327143 | 2023-11-03 | 0.84356 | 941293.6715 | 679832.7659 | 299480.1656 | 380352.6003 | 198352.9444 | 8972.8348 | 54135.1264 | 794038.26 | 573480.14 | 252629.67 | 320850.47 | 167322.73 | 7569.13 | 45666.26 | 794038.26 | 0
0445-D-CC | 530000326401 | 2023-11-06 | 1.1413 | 452957.8204 | 349710.8288 | 87230.4279 | 262480.4009 | 60937.8066 | 1636.0377 | 40673.1473 | 516955.27 | 399120.73 | 99555.03 | 299565.7 | 69547.58 | 1867.19 | 46419.77 | 516955.27 | 0
0445-P-CC-FT-04 | 530000256307 | 2023-11-09 | 0.099242 | 319876.6076 | 218598.3481 | 110612.4733 | 107985.8748 | 89246.7115 | 12031.5481 | 0 | 31745.33 | 21694.23 | 10977.45 | 10716.78 | 8857.06 | 1194.04 | 0 | 31745.33 | 0
0445-J-CC | 530000332218 | 2023-11-10 | 0.6947 | 523991.5328 | 411392.7115 | 115394.2561 | 295998.4554 | 67085.5668 | 258.5732 | 45254.6814 | 364015.33 | 285793.27 | 80164.04 | 205629.23 | 46604.14 | 179.63 | 31438.29 | 364015.33 | 0
0445-P-CC | 530000293453 | 2023-11-10 | 2.3322 | 463144.3416 | 343489.9798 | 169347.7846 | 174142.1952 | 89505.1973 | 3066.3148 | 27082.8497 | 1080143.83 | 801086.29 | 394952.39 | 406133.9 | 208743.75 | 7151.25 | 63162.54 | 1080143.83 | 0
448HH-TU | 530000308130 | 2023-11-15 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 683.7 | 0 | 0 | 0 | 0 | 0 | 683.7 | 683.7 | 0
0972-R-CC | 530000326506 | 2023-11-16 | 0.79394 | 1008936.0172 | 729389.2889 | 317865.0813 | 411524.2076 | 232782.4912 | 8544.8084 | 38219.4286 | 801034.05 | 579090.89 | 252365.61 | 326725.28 | 184815.19 | 6784.06 | 30343.91 | 801034.05 | 0
0445-K-CC | 530000335134 | 2023-12-14 | 1.6375 | 337248.9649 | 245402.9618 | 128351.4076 | 117051.5542 | 56808.5679 | 1041.4412 | 33995.9939 | 552245.18 | 401847.35 | 210175.43 | 191671.92 | 93024.03 | 1705.36 | 55668.44 | 552245.18 | 0
0073-N-CC | 530000332083 | 2023-12-15 | 0.84356 | 675655.117 | 579279.2675 | 246346.2714 | 332932.9961 | 84765.7886 | 1680.0571 | 9930.0038 | 569956.04 | 488657.17 | 207808.01 | 280849.16 | 71505.08 | 1417.23 | 8376.56 | 569956.04 | 0
0445-A-CC | 530000328044 | 2023-12-16 | 1.8856 | 549446.4521 | 422554.9422 | 138396.6808 | 284158.2615 | 68622.8119 | 3795.3527 | 54473.3453 | 1036039.56 | 796772.16 | 260961.62 | 535810.54 | 129395.59 | 7156.54 | 102715.27 | 1036039.56 | 0
0972-Q-CC | 530000330499 | 2023-12-18 | 1.7864 | 1027280.9649 | 733324.0351 | 238213.4305 | 495110.6046 | 231438.8692 | 7753.9476 | 54764.113 | 1835097.36 | 1309983.39 | 425535.81 | 884447.58 | 413433.98 | 13851.37 | 97828.62 | 1835097.36 | 0
0157-Y-CC | 530000281119 | 2023-12-06 | 1.5879 | 686433.9824 | 489759.4866 | 158466.6109 | 331292.8758 | 150500.2723 | 7885.6334 | 38288.5901 | 1089973.96 | 777678.7 | 251625.77 | 526052.93 | 238976.19 | 12521.43 | 60797.64 | 1089973.96 | 0
0448-D2-CC | 530000300907 | 2023-12-14 | 1.1909 | 917389.8565 | 719263.1634 | 364907.2237 | 354355.9397 | 166888.6076 | 9100.9046 | 22137.1809 | 1092527.92 | 856577.04 | 434571.33 | 422005.71 | 198749.16 | 10838.35 | 26363.37 | 1092527.92 | 0
0448-A2-CC | 530000305869 | 2023-06-12 | 1.5383 | 1022922.8803 | 755262.2125 | 373810.9788 | 381451.2337 | 203690.5229 | 29888.3105 | 34081.8344 | 1573518.87 | 1161787.82 | 575017.57 | 586770.25 | 313328.49 | 45975.92 | 52426.64 | 1573518.87 | 0
0445-G-CC | 530000331761 | 2023-12-01 | 0.79394 | 571927.5092 | 419978.0015 | 207113.8443 | 212864.1573 | 64493.3863 | 5162.3966 | 82293.7248 | 454075.78 | 333437.08 | 164435.84 | 169001.24 | 51203.84 | 4098.63 | 65336.23 | 454075.78 | 0
0448-P-CC | 530000290511 | 2023-07-26 | 2.7788 | 596109.6752 | 445686.7721 | 148906.8644 | 296779.9076 | 122755.3181 | 15925.1846 | 11742.4004 | 1656462.34 | 1238469 | 413780.59 | 824688.41 | 341110.99 | 44252.71 | 32629.64 | 1656462.34 | 0
0073-BB-CC | 530000332081 | 2023-12-14 | 0.24811 | 547237.2568 | 374407.5811 | 199253.8186 | 175153.7624 | 55881.666 | 1714.3878 | 115233.622 | 135772.88 | 92892.79 | 49436.08 | 43456.71 | 13864.58 | 425.35 | 28590.16 | 135772.88 | 0

## Cost Mapping Lookups (hidden)
Lookup 1 | Lookup 2 | Output
Capital | Direct Costs | Total Directs
Capital | Materials | Material
Capital | Non Direct Costs wo AFUDC | Indirect Capital
Capital | AFUDC | AFUDC
O & M | All Cost Elements | O&M
All Costs | AFUDC | AFUDC
O & M | AFUDC | O&M
O & M | Direct Costs | O&M
O & M | Materials | O&M
O & M | Non Direct Costs wo AFUDC | O&M