## CEC Loads
Form 1.4 -- Statewide Noncoincident Peak Demand
2018-2019 TPP Used the CED 2017 forecast adopted by the CEC in February 2018 for the 2017 IEPR | [11 empty] | 2015-2016 TPP Used the CEDU 2014 forecast adopted in January 2015 for the 2014 IEPR | [8 empty] | 2009 IEPR Draft Staff Forecast
Form 1.4 - Statewide | [11 empty] | Form 1.4 - STATEWIDE | [8 empty] | Form 1.4 - Statewide
California Energy Demand 2018-2030 Revised Baseline Forecast - Mid Demand Case | [11 empty] | California Energy Demand Updated Forecast, 2015-2025 - Mid Demand Case | [8 empty] | California Energy Demand 2010-2020 Staff Revised Forecast
Noncoincident Peak Demand (MW) | [11 empty] | Peak Demand (MW) | [8 empty] | Noncoincident Peak Demand (MW)
Year | Peak End Use Load | Net Losses | Gross Generation | Non-PV Self Generation | PV | Total Private Supply | Load-Modifying Demand Response | Unadjusted Net Peak Demand | Peak Shift Impact* | Final Net Peak Demand | Gross Gen. Less Demand Response | Year | Total End Use Load | Net Losses | Gross Generation | Non-PV Self Generation | PV | Total Private Supply | Net Peak Demand | Load Factor (%) | Year | Total End Use Load | Net Losses | Gross Generation | Non-PV Self Generation | PV Self Generation | Total Private Supply | Net Peak Demand | Load Factor (%)
1990 | 44640.8759 | 3795.698 | 48436.5739 | 1313.6052 | 0 | 1313.6052 | 0 | 47122.9687 | 0 | 47122.9687 | 48436.5739 | 1990 | 45015.4 | 3840.7524 | 48856.152 | 1313.6052 | 0 | 1313.6052 | 47542.547 | 57.1281 | 1990 | 45195.9096 | 3839.1727 | 49035.0823 | 1513.6428 | 0 | 1513.6428 | 47521.4396 | 57.1831
1991 | 42826.34 | 3640.7001 | 46467.0401 | 1309.3551 | 0 | 1309.3551 | 0 | 45157.685 | 0 | 45157.685 | 46467.0401 | 1991 | 42865.015 | 3664.7895 | 46529.804 | 1309.3551 | 0 | 1309.3551 | 45220.449 | 58.3433 | 1991 | 43112.7574 | 3666.8018 | 46779.5591 | 1523.6097 | 0 | 1523.6097 | 45255.9494 | 58.3273
1992 | 44883.0407 | 3808.5463 | 48691.5869 | 1296.0911 | 0.0046487 | 1296.0958 | 0 | 47395.4911 | 0 | 47395.4911 | 48691.5869 | 1992 | 44894.03 | 3830.6247 | 48724.655 | 1296.0911 | 0.0048154 | 1296.096 | 47428.559 | 56.8804 | 1992 | 45139.6712 | 3832.2932 | 48971.9644 | 1513.9265 | 0 | 1513.9265 | 47458.0379 | 56.8734
1993 | 43077.5972 | 3651.0778 | 46728.6751 | 1423.5037 | 0.0046255 | 1423.5083 | 0 | 45305.1667 | 0 | 45305.1667 | 46728.6751 | 1993 | 43113.82 | 3676.9674 | 46790.788 | 1423.5037 | 0.0047672 | 1423.5085 | 45367.279 | 59.0632 | 1993 | 43380.4048 | 3676.9671 | 47057.3719 | 1690.0932 | 0 | 1690.0932 | 45367.2786 | 59.0871
1994 | 45006.6378 | 3806.7449 | 48813.3827 | 1449.8855 | 0.31123 | 1450.1968 | 0 | 47363.186 | 0 | 47363.186 | 48813.3827 | 1994 | 45094.683 | 3834.6025 | 48929.286 | 1449.8855 | 0.32234 | 1450.2079 | 47479.078 | 56.7245 | 1994 | 45409.5579 | 3834.5982 | 49244.156 | 1764.8299 | 0.31762 | 1765.1475 | 47479.0085 | 56.7545
1995 | 45371.0194 | 3846.1448 | 49217.1641 | 1450.1058 | 0.46057 | 1450.5664 | 0 | 47766.5978 | 0 | 47766.5978 | 49217.1641 | 1995 | 45335.405 | 3868.2058 | 49203.611 | 1450.1058 | 0.47034 | 1450.5762 | 47753.035 | 56.6623 | 1995 | 45667.7012 | 3867.62 | 49535.3213 | 1792.1658 | 0.46084 | 1792.6266 | 47742.6946 | 56.7016
1996 | 47372.0457 | 4016.6658 | 51388.7115 | 1528.1566 | 0.64191 | 1528.7985 | 0 | 49859.913 | 0 | 49859.913 | 51388.7115 | 1996 | 47477.971 | 4048.9538 | 51526.924 | 1528.1566 | 0.65586 | 1528.8124 | 49998.112 | 55.9193 | 1996 | 47843.0738 | 4050.7301 | 51893.8039 | 1863.6229 | 0.65107 | 1864.2739 | 50029.53 | 55.9096
1997 | 49487.6375 | 4203.5053 | 53691.1428 | 1556.2424 | 0.75794 | 1557.0003 | 0 | 52134.1424 | 0 | 52134.1424 | 53691.1428 | 1997 | 49624.676 | 4237.9529 | 53862.629 | 1556.2424 | 0.77282 | 1557.0152 | 52305.614 | 55.3077 | 1997 | 49966.7132 | 4237.9657 | 54204.6789 | 1898.0462 | 0.77458 | 1898.8207 | 52305.8582 | 55.3307
1998 | 51650.3427 | 4394.9972 | 56045.3399 | 1495.495 | 0.89667 | 1496.3917 | 0 | 54548.9482 | 0 | 54548.9482 | 56045.3399 | 1998 | 51601.516 | 4419.6446 | 56021.161 | 1495.495 | 0.89177 | 1496.3868 | 54524.774 | 52.5724 | 1998 | 51969.6965 | 4419.6631 | 56389.3596 | 1863.3434 | 0.89976 | 1864.2432 | 54525.1165 | 52.5878
1999 | 50399.7243 | 4283.5446 | 54683.2689 | 1508.6177 | 1.3045 | 1509.9221 | 0 | 53173.3468 | 0 | 53173.3468 | 54683.2689 | 1999 | 50535.744 | 4319.2964 | 54855.041 | 1508.6177 | 1.2105 | 1509.8282 | 53345.213 | 55.7984 | 1999 | 50888.0482 | 4319.3204 | 55207.3685 | 1860.5971 | 1.2382 | 1861.8353 | 53345.5332 | 55.8253
2000 | 50616.6849 | 4309.6297 | 54926.3146 | 1394.1427 | 2.2456 | 1396.3883 | 0 | 53529.9263 | 0 | 53529.9263 | 54926.3146 | 2000 | 50803.401 | 4345.9017 | 55149.303 | 1445.1427 | 1.9416 | 1447.0843 | 53702.219 | 57.9332 | 2000 | 51166 | 4345.9392 | 55511.9392 | 1807.3919 | 1.8703 | 1809.2622 | 53702.677 | 58.4308
2001 | 47104.1056 | 3999.2532 | 51103.3588 | 1411.0494 | 4.5054 | 1415.5549 | 0 | 49687.8039 | 0 | 49687.8039 | 51103.3588 | 2001 | 47304.833 | 4039.0521 | 51343.885 | 1397.6413 | 3.7325 | 1401.3738 | 49942.511 | 59.8897 | 2001 | 47517.4193 | 4036.2062 | 51553.6255 | 1643.0231 | 4.3374 | 1647.3605 | 49906.265 | 59.229
2002 | 50133.4787 | 4252.4484 | 54385.9272 | 1592.1365 | 12.8955 | 1605.032 | 0 | 52780.8951 | 0 | 52780.8951 | 54385.9272 | 2002 | 50504.202 | 4303.3251 | 54807.527 | 1587.6928 | 9.5612 | 1597.254 | 53210.273 | 57.1061 | 2002 | 50753.1978 | 4289.2553 | 55042.4531 | 1995.677 | 9.9557 | 2005.6326 | 53036.8205 | 56.9073
2003 | 52023.7717 | 4396.5676 | 56420.3393 | 1713.128 | 28.4877 | 1741.6157 | 0 | 54678.7236 | 0 | 54678.7236 | 56420.3393 | 2003 | 52445.087 | 4450.7107 | 56895.797 | 1704.5887 | 18.9521 | 1723.5409 | 55172.257 | 56.2483 | 2003 | 52795.5496 | 4445.5038 | 57241.0534 | 2096.0079 | 22.3364 | 2118.3443 | 55122.7091 | 56.0658
2004 | 52955.1823 | 4470.9735 | 57426.1557 | 1740.9562 | 50.6184 | 1791.5746 | 0 | 55634.5811 | 0 | 55634.5811 | 57426.1557 | 2004 | 53439.643 | 4529.9481 | 57969.591 | 1733.2697 | 32.7339 | 1766.0035 | 56203.588 | 56.9883 | 2004 | 53596.7211 | 4526.1608 | 58122.8818 | 1913.5525 | 38.7452 | 1952.2977 | 56170.5841 | 57.0711
2005 | 55293.5793 | 4659.9322 | 59953.5115 | 1779.9809 | 76.4432 | 1856.4242 | 0 | 58097.0873 | 0 | 58097.0873 | 59953.5115 | 2005 | 55642.794 | 4712.276 | 60355.07 | 1771.5818 | 47.429 | 1819.0108 | 58536.059 | 54.923 | 2005 | 55840.6437 | 4716.445 | 60557.0886 | 1913.905 | 58.4929 | 1972.3979 | 58584.6908 | 54.8322
2006 | 60352.9657 | 5121.6838 | 65474.6495 | 1781.0308 | 109.0869 | 1890.1177 | 0 | 63584.5318 | 0 | 63584.5318 | 65474.6495 | 2006 | 60765.048 | 5183.413 | 65948.461 | 1777.1336 | 67.564 | 1844.6976 | 64103.763 | 51.7394 | 2006 | 61020.8891 | 5189.8323 | 66210.7215 | 1950.7594 | 82.0702 | 2032.8295 | 64177.8919 | 51.6854
2007 | 59238.4834 | 5006.1324 | 64244.6158 | 1772.6209 | 154.8634 | 1927.4843 | 0 | 62317.1315 | 0 | 62317.1315 | 64244.6158 | 2007 | 59691.398 | 5069.8311 | 64761.229 | 1751.3405 | 93.9436 | 1845.2841 | 62915.945 | 53.6745 | 2007 | 59962.1225 | 5077.8545 | 65039.977 | 1919.2671 | 111.9968 | 2031.2639 | 63008.7131 | 53.7121
2008 | 58540.3167 | 4949.4901 | 63489.8067 | 1843.7135 | 201.5631 | 2045.2766 | 0 | 61444.5301 | 0 | 61444.5301 | 63489.8067 | 2008 | 58639.711 | 4989.5071 | 63629.218 | 1813.4709 | 189.731 | 2003.2019 | 61626.016 | 54.75 | 2008 | 58881.6269 | 5004.8485 | 63886.4754 | 1894.4936 | 165.6212 | 2060.1149 | 61826.3606 | 55.0335
2009 | 55993.0304 | 4700.1755 | 60693.2059 | 1820.8287 | 281.7016 | 2102.5302 | 0 | 58590.6756 | 0 | 58590.6756 | 60693.2059 | 2009 | 56067.329 | 4732.8496 | 60800.179 | 1803.4127 | 276.3868 | 2079.7995 | 58720.38 | 55.7751 | 2009 | 59277.8387 | 5008.0899 | 64285.9287 | 1915.842 | 261.7256 | 2177.5676 | 62108.361 | 53.3217
2010 | 59307.0953 | 4988.4874 | 64295.5827 | 1860.0964 | 375.207 | 2235.3033 | 0 | 62060.2794 | 0 | 62060.2794 | 64295.5827 | 2010 | 59668.011 | 5040.7001 | 64708.711 | 1830.874 | 368.0179 | 2198.8919 | 62509.819 | 51.3206 | 2010 | 59680.7963 | 5035.6527 | 64716.449 | 1921.2683 | 336.1047 | 2257.3729 | 62459.0761 | 53.1123
2011 | 56022.5272 | 4677.2949 | 60699.8221 | 1896.6736 | 512.8251 | 2409.4987 | 0 | 58290.3235 | 0 | 58290.3235 | 60699.8221 | 2011 | 56325.071 | 4723.5389 | 61048.61 | 1852.9939 | 492.9352 | 2345.929 | 58702.681 | 55.0247 | 2011 | 60509.6011 | 5101.8506 | 65611.4517 | 1922.9684 | 406.8136 | 2329.7821 | 63281.6697 | 52.9844
2012 | 57551.8489 | 4800.2026 | 62352.0514 | 1891.3212 | 700.2151 | 2591.5363 | 0 | 59760.5151 | 0 | 59760.5151 | 62352.0514 | 2012 | 57638.973 | 4831.0305 | 62470.004 | 1856.795 | 682.6017 | 2539.3968 | 59930.607 | 54.9472 | 2012 | 61493.6216 | 5182.0018 | 66675.6234 | 1924.6686 | 476.9843 | 2401.653 | 64273.9704 | 52.9073
2013 | 58694.8125 | 4886.3896 | 63581.2021 | 1926.4862 | 944.9491 | 2871.4353 | 0 | 60709.7668 | 0 | 60709.7668 | 63581.2021 | 2013 | 58926.461 | 4943.1663 | 63869.628 | 1842.6819 | 877.9457 | 2720.6276 | 61149 | 53.034 | 2013 | 62466.3842 | 5260.6941 | 67727.0782 | 1925.8513 | 547.968 | 2473.8193 | 65253.2589 | 52.9191
2014 | 60379.0284 | 4973.109 | 65352.1374 | 2104.2594 | 1311.2107 | 3415.4701 | 154.62 | 61782.0473 | 0 | 61782.0473 | 65197.5174 | 2014 | 60423.716 | 5044.3443 | 65468.06 | 1883.9937 | 1129.8458 | 3013.8396 | 62454.221 | 52.4656 | 2014 | 63235.4091 | 5321.1359 | 68556.545 | 1927.0496 | 618.8297 | 2545.8792 | 66010.6658 | 52.8967
2015 | 60839.5757 | 4984.7213 | 65824.297 | 2043.5863 | 1839.5683 | 3883.1545 | 140.7 | 61800.4425 | 0 | 61800.4425 | 65683.597 | 2015 | 61605.269 | 5126.0295 | 66731.298 | 1976.5977 | 1295.2956 | 3271.8934 | 63459.405 | 51.9734 | 2015 | 64025.0309 | 5383.1909 | 69408.2218 | 1928.2638 | 689.772 | 2618.0358 | 66790.186 | 52.8618
2016 | 61936.1108 | 4995.2021 | 66931.3129 | 2102.3576 | 2542.175 | 4644.5326 | 169.5 | 62117.2803 | 0 | 62117.2803 | 66761.8129 | 2016 | 62269.571 | 5172.344 | 67441.915 | 2003.268 | 1399.9619 | 3403.2299 | 64038.685 | 51.9355 | 2016 | 64825.9475 | 5446.1563 | 70272.1038 | 1929.4943 | 760.695 | 2690.1893 | 67581.9144 | 52.8245
2017 | 60859.4753 | 4835.4712 | 65694.9466 | 2241.2763 | 3114.0415 | 5355.3178 | 107.0392 | 60232.5896 | 480.3338 | 60712.9234 | 65587.9074 | 2017 | 63029.695 | 5232.9054 | 68262.6 | 2023.5158 | 1446.779 | 3470.2948 | 64792.305 | 51.9013 | 2017 | 65622.1815 | 5513.602 | 71135.7834 | 1930.7413 | 777.037 | 2707.7784 | 68428.0051 | 52.772
2018 | 61576.3627 | 4809.9861 | 66386.3489 | 2652.2101 | 3705.3716 | 6357.5818 | 144.0184 | 59884.7487 | 701.5402 | 60586.2889 | 66242.3305 | 2018 | 63869.639 | 5299.7106 | 69169.349 | 2043.8611 | 1503.747 | 3547.6081 | 65621.741 | 51.7558 | 2018 | 66381.2171 | 5578.3001 | 71959.5172 | 1932.0051 | 787.8195 | 2719.8246 | 69239.6926 | 52.7258
2019 | 62362.6769 | 4819.1858 | 67181.8627 | 2811.346 | 4221.7543 | 7033.1003 | 169.7977 | 59978.9647 | 869.3407 | 60848.3054 | 67012.0649 | 2019 | 64706.966 | 5365.3972 | 70072.363 | 2063.9083 | 1570.999 | 3634.9073 | 66437.456 | 51.7591 | 2019 | 67152.2922 | 5644.0005 | 72796.2927 | 1933.286 | 798.8832 | 2732.1692 | 70064.1235 | 52.679
2020 | 63454.739 | 4854.2478 | 68308.9868 | 3013.9777 | 4715.0282 | 7729.0059 | 173.1017 | 60406.8792 | 887.8459 | 61294.7251 | 68135.8851 | 2020 | 65565.913 | 5431.0952 | 70997.009 | 2082.862 | 1661.1158 | 3743.9778 | 67253.031 | 51.7613 | 2020 | 67993.1591 | 5715.8172 | 73708.9763 | 1934.5844 | 810.2466 | 2744.831 | 70964.1453 | 52.6003
2021 | 64442.0627 | 4894.8882 | 69336.9509 | 3105.0611 | 5145.7091 | 8250.7703 | 168.6499 | 60917.5307 | 1090.1643 | 62007.6949 | 69168.301 | 2021 | 66357.593 | 5488.7502 | 71846.343 | 2100.381 | 1781.0795 | 3881.4605 | 67964.882 | 51.8055 | [7 empty] | 71775.7502 | <=trend based on last five years
2022 | 65572.4144 | 4943.6001 | 70516.0145 | 3195.2946 | 5630.2368 | 8825.5313 | 175.1954 | 61515.2878 | 1283.3655 | 62798.6534 | 70340.8192 | 2022 | 67197.755 | 5548.5351 | 72746.29 | 2116.0935 | 1926.9143 | 4043.0078 | 68703.282 | 51.8634 | [7 empty] | 72615.8083
2023 | 66718.5928 | 4985.7941 | 71704.3869 | 3283.5416 | 6185.5679 | 9469.1095 | 173.2668 | 62062.0107 | 1518.7967 | 63580.8074 | 71531.1202 | 2023 | 67999.49 | 5602.5507 | 73602.041 | 2129.5884 | 2096.841 | 4226.4293 | 69375.612 | 51.924 | [7 empty] | 73455.8663
2024 | 67645.2565 | 5018.1434 | 72663.3999 | 3369.8334 | 6655.7446 | 10025.578 | 188.643 | 62449.1789 | 1668.3184 | 64117.4973 | 72474.7569 | 2024 | 68781.726 | 5652.9631 | 74434.689 | 2141.549 | 2289.6753 | 4431.2242 | 70003.465 | 51.9865 | [7 empty] | 74295.9243
2025 | 68588.4687 | 5054.6754 | 73643.1441 | 3454.7786 | 7101.8515 | 10556.63 | 193.0318 | 62893.4824 | 2041.6872 | 64935.1695 | 73450.1124 | 2025 | 69575.763 | 5704.4672 | 75280.231 | 2153.5096 | 2482.382 | 4635.8915 | 70644.339 | 52.0677 | [7 empty] | 75135.9823
2026 | 69447.0719 | 5085.9205 | 74532.9924 | 3538.2272 | 7525.583 | 11063.8102 | 198.4334 | 63270.7488 | 2244.4211 | 65515.1699 | 74334.559
2027 | 70279.5814 | 5126.9361 | 75406.5175 | 3621.4192 | 7818.4871 | 11439.9063 | 204.7691 | 63761.8422 | 2275.5047 | 66037.3469 | 75201.7484
2028 | 71080.6881 | 5144.617 | 76225.3051 | 3704.3686 | 8325.5585 | 12029.9271 | 196.4567 | 63998.9213 | 2401.0456 | 66399.9669 | 76028.8484
2029 | 71860.6097 | 5172.2427 | 77032.8525 | 3786.9559 | 8707.3826 | 12494.3385 | 203.8098 | 64334.7041 | 2746.5894 | 67081.2935 | 76829.0427
2030 | 72637.7617 | 5197.9146 | 77835.6763 | 3866.696 | 9112.4223 | 12979.1182 | 203.3235 | 64653.2346 | 3050.8013 | 67704.0359 | 77632.3528
Last historic year is weather normalized 2017. Net peak demand includes the impact of demand response programs. | [11 empty] | Last historic year is 2014. | [8 empty] | Last historical year is 2008
*Peak shift impact accounts for utility peaks occurring later in the day compared to the end use peak due to demand modifiers. Unadjusted net peak measures noncoincident utility demand at "traditional" peak hours.
Annual Growth Rates (%) | [11 empty] | Annual Growth Rates (%) | [8 empty] | Annual Growth Rates (%)
1990-2000 | 1.264% | 1.278% | 1.265% | 0.5968% | -- | 0.613% | -- | 1.283% |  | 1.283% |  | 1990-2000 | 1.217% | 1.243% | 1.219% | 0.9589% | 0% | 0.9725% | 1.226% | 0.14% | 1990-2000 | 1.248% | 1.248% | 1.248% | 1.789% | - | 1.8% | 1.23%
2000-2017 | 1.09% | 0.6795% | 1.059% | 2.832% | 53.05% | 8.228% | -- | 0.6964% |  | 0.7434% |  | 2000-2014 | 1.246% | 1.07% | 1.233% | 1.912% | 57.58% | 5.38% | 1.084% | -0.7056% | 2000-2008 | 1.771% | 1.78% | 1.772% | 0.5901% | 75.15% | 1.636% | 1.776%
2017-2020 | 1.402% | 0.1293% | 1.309% | 10.38% | 14.83% | 13.01% | 17.38% | 0.09636% |  | 0.3184% |  | 2014-2016 | 1.516% | 1.261% | 1.496% | 3.117% | 11.31% | 6.264% | 1.261% | -0.5065% | 2008-2010 | 0.6763% | 0.3073% | 0.6475% | 0.7042% | 42.46% | 4.678% | 0.5104%
2017-2030 | 1.37% | 0.5575% | 1.313% | 4.284% | 8.61% | 7.047% | 5.059% | 0.5463% |  | 0.8419% |  | 2014-2025 | 1.29% | 1.124% | 1.278% | 1.223% | 7.418% | 3.992% | 1.127% | -0.0692% | 2010-2020 | 1.313% | 1.275% | 1.31% | 0.06909% | 9.198% | 1.974% | 1.285%
Note on Y9: Lynn Marshall: