## Summary
Marginal Transmission Cost |  | Real Economic Carrying Charge |  |  | Utility Capital Cost Structure
Slope ($/kW) | 2388.3 | 50 | Economic Life of Asset
General Plant Loader (%) | 2.807% | 7.55% | Utility Weighted Average Rate of Return
General Plant Loader ($/kW) | 67.0495 | 2% | Inflation
Total ($/kW) | 2455.3495 | 7.25% | State Tax
RECC Factor | 6.55% | 21% | Federal Tax
Annualized ($/kW-yr) | 160.8254 | 19.48% | Effective Federal Tax Rate
O&M ($/kW-yr) | 27.6681 | 26.73% | Composite Income Tax
Total Annual Cost ($/kW-yr) | 188.4935 | 1.1897 | Present Worth Revenue Requirement
$/kW-month | 15.7078 | 1.0761 | Infinite Series Adjustment
|  | 0.051604 | Deferal Value
|  | 6.606% | RECC = PWRR x ISA x Deferral Value
|  |  | Capital Ratio | Cost Factor | Weighted Cost | Net-to-Gross Multiplier | Ratio x Multiplier
|  | Debt | 48% | 4.68% | 2.246% | 1 | 0.48
|  | Equity | 52% | 10.2% | 5.304% | 1.3648 | 0.70968
|  | Total |  |  | 7.55% |  | 1.1897
from CPUC summary page on utility rate of return

## Form 1 Data
[22 empty] | Year of Growth | 2004-2018 |  |  |  |  | match
SDG&E | [21 empty] | Slope ($/kW) | 2388.2996 | Regression on: | Historical Maximum | Annual Peak | Historical Maximum | 2
[5 empty] | Average 2014,2016 value = | 187261370 | [15 empty] | Intercept | 0 | Exclude Sunrise? | Yes | Yes | No | 1
[5 empty] | 2015 assumption w/o Sunr. | 187261370 | [15 empty] | Annualized $/kW-yr | 188.4935 | Zero Intercept? | Yes | Yes | No | 1
[22 empty] | R Squared | 65.3% | Nominal or 2020$? | 2020$ | Nominal | 2020$ | 2
[24 empty] | Regression on: | Net Additions | Additions | Net Additions | 2
| Monthly Transmission System Peak Load (p. 400) |  | Monthly Peaks (page 401b) |  | Transmission Plant in Service (p. 204) | [5 empty] | Transmission O&M |  |  |  | General Plant Loader A&G |  |  | Linear Regression
| Monthly Peak MW | Firm Network for Self | Monthly Peak | Maximum Historical | Begin of Year (End of Previous) | Additions | Retirements | Adjustments | Transfers | End of Year | Operations Expenses | Maintenance Expenses | Total Transmission Expenses | Total O&M $/kW | General Plant | All Plant | Ratio | Historical Maximum | Change in Historical Maximum | Nominal Net Additions | SDG&E's Escalation Factors | Cumulative Net Additions 2020$ | Linear Regression
2002 | 3031 | 3031 | 3031 | 3031 | 765152822 | 66832563 | 3931197 | 0 | -1756306 | 826297882 | 72666325 | 6932805 | 79599130 | 26.2617 | 108429852 | 4751863345 | 2.282% | 3031
2003 | 3937 | 3937 | 3937 | 3937 | 826297882 | 48040915 | 3106512 | 0 | 1393295 | 872625580 | 138660589 | 8827915 | 147488504 | 37.4622 | 119912676 | 5019863998 | 2.389% | 3937
2004 | 4065 | 4065 | 4065 | 4065 | 872625580 | 85375331 | 7136868 | -1 | 3838637 | 954702679 | 210874971 | 9358065 | 220233036 | 54.1779 | 113432171 | 5313457626 | 2.135% | 4065 | 128 | 46327698 | 0.52259 | 96202640.0881 | 305702343.7884
2005 | 4058 | 4058 | 4058 | 4065 | 954702679 | 104653341 | 5729049 | 1573676 | 5957025 | 1061157672 | 203540166 | 11175611 | 214715777 | 52.9117 | 123237715 | 5584232353 | 2.207% | 4065 | 128 | 82077099 | 0.57737 | 250469785.2874 | 305702343.7884
2006 | 4502 | 4502 | 4502 | 4502 | 1061157672 | 116199343 | 9867130 | -4461 | 8928832 | 1176414256 | 243278718 | 18507617 | 261786335 | 58.1489 | 136042272 | 5942107600 | 2.289% | 4502 | 565 | 106454993 | 0.6379 | 431571538.874 | 1349389251.8786
2007 | 4636 | 4636 | 4636 | 4636 | 1176414256 | 203686431 | 8763776 | -114972 | 1810913 | 1373032852 | 10212089 | 22089060 | 32301149 | 6.9675 | 146332085 | 6751863922 | 2.167% | 4636 | 699 | 115256584 | 0.70373 | 609304337.6183 | 1669421393.0321
2008 | 4351 | 4351 | 4351 | 4636 | 1373032852 | 154140918 | 5707932 | 334679 | -6941 | 1521793576 | 93009110 | 19229675 | 112238785 | 25.7961 | 152081614 | 7255663693 | 2.096% | 4636 | 699 | 196618596 | 0.76889 | 886807652.1804 | 1669421393.0321
2009 | 4482 | 4482 | 4482 | 4636 | 1521793576 | 134513607 | 6071337 | -50309 | -463589 | 1649721948 | 64718865 | 85844441 | 150563306 | 33.5929 | 161082698 | 7650327394 | 2.106% | 4636 | 699 | 148760724 | 0.78662 | 1092031919.5972 | 1669421393.0321
2010 | 4687 | 4687 | 4687 | 4687 | 1649721948 | 103897914 | 11559895 | 154622 | -14111277 | 1728103312 | 71051129 | 92117879 | 163169008 | 34.8131 | 171081428 | 8114074314 | 2.108% | 4687 | 750 | 127928372 | 0.81927 | 1261483952.4322 | 1791224670.6353
2011 | 4371 | 4371 | 4371 | 4687 | 1728103312 | 138087041 | 5608398 | 966077 | 0 | 1861548032 | 39868457 | 21533587 | 61402044 | 14.0476 | 187204624 | 8569379655 | 2.185% | 4687 | 750 | 78381364 | 0.85447 | 1361029773.0954 | 1791224670.6353
2012 | 4600 | 4600 | 4600 | 4687 | 1861548032 | 187261370 | 5230769 | 13935 | -17315373 | 2026277195 | 53476343 | 22059108 | 75535451 | 16.4208 | 203501252 | 9316078103 | 2.184% | 4687 | 750 | 133444720 | 0.88403 | 1524840686.2418 | 1791224670.6353
2013 | 4604 | 4604 | 4604 | 4687 | 2026277195 | 236435699 | 17230045 | -673720 | -1257499 | 2243551630 | 56139939 | 53476343 | 109616282 | 23.8089 | 232593567 | 11489748602 | 2.024% | 4687 | 750 | 164729163 | 0.91593 | 1720010512.384 | 1791224670.6353
2014 | 4890 | 4890 | 4890 | 4890 | 2243551630 | 599991676 | 10915871 | -936187 | 320664 | 2832011912 | 49603604 | 31489913 | 81093517 | 16.5835 | 266955908 | 10372233351 | 2.574% | 4890 | 953 | 217274435 | 0.94415 | 1969743035.5594 | 2276049481.4873
2015 | 4711 | 4711 | 4711 | 4890 | 2832011912 | 360021004 | 8413671 | -6449710 | 923884 | 3178093419 | 54493233 | 30847864 | 85341097 | 18.1153 | 301645136 | 11301251484 | 2.669% | 4890 | 953 | 588460282 | 0.96699 | 2630136569.164 | 2276049481.4873
2016 | 4343 | 4343 | 4343 | 4890 | 3178093419 | 294785914 | 13601255 | 169290 | -1844 | 3459445524 | 53991977 | 33884584 | 87876561 | 20.2341 | 332015542 | 12012937207 | 2.764% | 4890 | 953 | 346081507 | 0.98044 | 3013194989.8723 | 2276049481.4873
2017 | 4544 | 4544 | 4544 | 4890 | 3459445524 | 477152556 | 5816263 | -129790 | 6421682 | 3937073709 | 53385432 | 33710178 | 87095610 | 19.1672 | 348911868 | 12656886295 | 2.757% | 4890 | 953 | 281352105 | 1 | 3318515966.7345 | 2276049481.4873
2018 | 4377 | 4377 | 4377 | 4890 | 3937073709 | 609823456 | 16151271 | -81751 | 4664797 | 4535328940 | 52409192 | 36166053 | 88575245 | 20.2365 | 383134489 | 13647237397 | 2.807% | 4890 | 953 | 477628185 | 1.0242 | 3824592968.5834 | 2276049481.4873
1.0536
2004-2018 | [13 empty] | 27.6681 | [6 empty] | 1.0852 | 1599329088.5142 | 1700946947.2353